|  |  |
| --- | --- |
| **Question** | **Answer** |
| 12 & 13 Electrical testing and Festive light infrastructure testing – can you please provide us with a copy of the existing certification for both sets of testing. | The Jubilee Green festoon lighting is powered by a meter in a secured unit outside the Waterside cabin. The Town Council is awaiting certification, as the meter, installed less than a year ago, is due for an EICR certification.The Waterside Green festoon lighting is powered by a street lighting column, managed by Cornwall Council. Infrastructure and testing certificates will be obtained once a contractor is appointed for Christmas Lighting.  |
| 17. Switch on event – can you please confirm which is the case either a) switch on and leave on at install or b) install, test and switch off in readiness for your own switch on event. | b. Install, test and switch off in readiness for our own switch on event |
| Is the budget of £28,500 + VAT to be spread evenly over 3 years or could year 1 be front loaded to accommodate the costs of infrastructure and replacement product? | If the tenderer clearly outlines how the specified total amount will be allocated over the three years and stays within the overall budget, there is no restriction on the annual spending. |