## Naming Convention
BUILDING ROOM NAMING CONVENTION
Category | Prefix | Descriptor
SITE (Geographical site) | RAL | Rutherford Appleton Laboratory
LOCATION (Building) | R120 | STFC building number - 4 digits long
SUB-LOCATION (Floor) | External/Tunnel/Basement/Ground/Mezzanine/1st/2nd/3rd | As prefix format
SUB-LOCATION 2 (Room) | E.01 | External plant, storage or waste room 1 (3 digit 1 decimal point
| T.01 | Tunnel number 1 (3 digits 1 decimal point)
| B.01 | Basement room 1 (3 digits 1 decimal point)
| G.01 | Ground floor room 1 (3 digits 1 decimal point)
| 1.01 | First floor room 1 (3 digits 1 decimal point)
| 2.01 | Second floor room 1 (3 digits 1 decimal point)
| 3.01 | Third floor room 1 (3 digits 1 decimal point)
| 4.01 | Fourth floor room 1 (3 digits 1 decimal point)
| #U.## | Prefix 'U' is added to the floor number descriptor (as the second digit) to describe 'Utility' areas. These include; Toilets, Kitchens, Plant rooms, Switch rooms, Electrical cupboards, Risers, Cleaners cupboard, etc. This is an additional descriptor and does not interupt the sequential numbering of the rooms. For example, G.01 (Office) G.02 (Lab) GU.03 (Cleaners Cupboard).
| C.01 | Corridor number 1 (3 digits 1 decimal point)
| S.01 | Staircase number 1 (3 digits 1 decimal point)
Naming Convention Example
Location Descriptors
Site | Building | Sub Location | Sub Location 2 | Sub Location 3 | Sub Location 4 | Address Line 1 | Address Line 2 | Address Line 3 | Address Line 4 | Telephone | Email Address | Fax | Town | County | Post Code | Country
RAL | R120 | Ground | G.01 | Office
RAL | R120 | Ground | G.02 | Lab
RAL | R120 | 1st Floor | 1.01 | Office
RAL | R120 | 1st Floor | 1U.01 | Kitchen
RAL | R120 | 1st Floor | 1U.02 | Toilet
RAL | R120 | 1st Floor | 1C.03 | Corridor
RAL | R120 | 2nd Floor | 2U.01 | Plant room
RAL | R120 | External | 1EU.01 | Transformer
RAL | R120 | 2nd Floor | 2U.02 | Switch room
RAL | R120 | - | 1S.01 | Staircase