**Sheffield Children’s NHS Foundation Trust**

**Invitation to Tender (ITT)**

**Lift Maintenance Service**

## Date of advertisement on Contract Finder: **01/02/2017** Trust's reference number: **1637/T/JS** Deadline for Tenders to be received: **03/03/2017 12pm**

**SCHEDULE 1 - Lift Details**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **LIFT**  **NO.’S** | **MANUFACTURER** | **MAKER'S**  **NUMBERS** | **DATE OF**  **MANUFACTURER** | **LOCATION** | **CONTRACT**  **LOAD** | **NO OF**  **FLOORS**  **SERVED** |
| 1 | H & C | 3155287 | 1988 | Phase 1 | Bed/Passenger  1800 kg / Hydraulic | 4 |
| 2 | H & C | 3155187 | 1988 | Phase 1 | Bed/Passenger  1800 kg / Hydraulic | 4 |
| 3 | H & C | 3155387 | 1988 | Medical Wing West | Bed/Passenger  1800 kg / Hydraulic | 6 |
| 4 | H & C | 3155487 | 1988 | Medical Wing West | Bed/Passenger  1800 kg / Hydraulic | 6 |
| **Note:** The above 4 lifts will be replaced over the coming years as part of a Trust  Capital lift replacement programme. The replacement of the lifts is not part of the bidding process.  The appointed supplier will be expected to maintain the new lifts from an agreed date. | | | | | | |
| 5 | OTIS  (Lift refurbished) | 47017 | 1968  (2002) | Stephenson LTD | Passenger 1500 lbs / Traction | 5 |
| 6 | OTIS  (Lift refurbished) | 47015 | 1968  (2002) | Stephenson RH | Passenger 1500 lbs / Traction | 5 |
| 7 | SCHINDLER | 17549/  DYN'S | 1992 | Medical Wing East | Passenger1600 kg / Traction | 5 |
| 8 | INDEPENDENT LIFTS |  | 1999 | PHASE II | PASSENGER LIFT / Hydraulic | 4 |
| 9 | ECM | 5079 | 1963 | Admin Block | Goods/  Passenger  900 lbs / Traction | 4 |
| 10 | HUSBANDS | DUMB WAITER | 1999 | MORTUARY | LABS SPECIMENS | 3 |
| 11 | OTIS | 47019 | 1968  (Refurbed 2005) | Path Lab | Passenger  1500 lbs / Traction | 5 |
| 12 | UK | 3882 | 1999 | Mortuary Pollock | Service Lift  500 kg |  |
| 14 | Brittanic | S0085MA18 | 1977 | Centenary House | Hydraulic | 5 |
| 15 |  |  |  | Centenary House | Passenger Platform Lift (Disabled Access) / Hydraulic | 1 |
| 16 | Stannah SX | AS23018 | 2004 | 16 Northumberland  Road (Theatres) | Access Lift / Stairlift | 3 Steps |
| 17 | FURSE | 3282 | 1977 | Ryegate  Assess | Passenger/Goods  600Kg / Traction | 2 |
| 18 | FURSE | 3283 | 1977 | Ryegate  Residence | Goods/Passenger  600Kg / Traction | 2 |
| 19 | Stannah |  |  | Barnsley Patient Retrieval Ctr,  Embrace Unit 7, Capitol Park | Passenger / Hydraulic |  |
| 21 | Stannah |  |  | Clinical Skills Lab, Stephenson Wing, F Floor | Disabled Platform Lift |  |
| 22 |  |  |  | 26 Northumberland Road | Dumb Waiter |  |
| 24 | Stannah |  |  | Building 27, Magnolia House | Passenger / Hydraulic |  |
| **Note:** Lift 24 – This lift need to be on the Schedule but all costs to be paid by the  Sick Children’s Trust. Costs for this will need to be itemised separately. | | | | | | |
| 25 | OTIS | 78NX3944 | 2015/16 | NEW Wing | Passenger | 5 |
| 26 | OTIS | 78NX3945 | 2015/16 | NEW Wing | Passenger | 5 |
| 27 | OTIS | 78NX3943 | 2015/16 | NEW Wing | Passenger | 5 |
| 28 | OTIS |  | 2015/16 | NEW Wing | Passenger | 5 |
| 29 | OTIS |  | 2015/16 | NEW Wing | Dock Leveller |  |
| 30 | OTIS |  | 2015/16 | NEW Wing | Dock Leveller |  |
| 31 | Brechtenbreiter |  | 2017 | Phase 1 | MRL | 4 |
| 32 | Brechtenbreiter |  | 2017 | Phase 1 | MRL | 4 |
| 33 | Brechtenbreiter |  | 2017 | Medical Wing West | MRL | 6 |
| 34 | Brechtenbreiter |  | 2017 | Medical Wing West | MRL | 6 |
| **Note:** Lifts 31 TO 34 will replace lifts 1 to 4 | | | | | | |

Signature ..................................... for and on behalf of........................................