Schedule D

Tender Ref HSL T30 1516 Digital Mass Flow Controllers

Evaluation Criteria

Tenderers are required to demonstrate and provide evidence that meets or exceeds the specification (schedule A). Tender Submissions will be scored on the following criteria

| Score | Scoring of Tenders |
| --- | --- |
| 4 | Fully meets requirements and may offer a degree of additional benefits |
| 3 | Meets requirements, but with some minor reservations. |
| 2 | Meets some of the requirement, but with major reservations. |
| 1 | Unlikely to be able to deliver what HSE wants. |
| 0 | Cannot deliver what HSE wants or does not address the requirement. |

| Weighting | Description |
| --- | --- |
| 3 | Critical |
| 2 | Important |
| 1 | Standard |

See over page for evaluation  criteria table

Schedule D

Tender Ref HSL T30 1516 Digital Mass Flow Controllers

| Tender Evaluation - Scoring Criteria |  |  |  |
| --- | --- | --- | --- |
| Criteria | Score (0-4) | Weighting (1-3) | Weighted Score |
| Digital Mass Flow Controllers (MFCs) calibrated for air with a flow range of 1-250 ml/min @ STP |  | 3 |  |
| Inlet and outlet connectors with standard 1/8”” fittings |  | 3 |  |
| Associated assembly to include chassis for mounting MFCs, power supply for MFCs and communication with HSL propriety software/PC via RS485 |  | 3 |  |
| Copy of protocol for communicating with MFCs must be supplied. |  | 3 |  |
| Warranty Period (24 Months) |  | 1 |  |
| On Site Training |  | 1 |  |
| Maintenance |  | 1 |  |
| Delivery |  | 1 |  |
|  |  | Total Score |  |