## 521 MOP GF Internal Doors
Dombey Court, Pilgrim Centre, Brickhill Drive,
Bedford, Bedfordshire, MK41 7PZ
tel: 01234 247697
da@devonshirearchitects.co.uk
Project: | [5 empty] | SHUTTLEWORTH SALIX
Job no.: | 2211 |  | Title: |  |  | 520 INTERNAL DOOR SCHEDULE (MOP) | [27 empty] | Rev: | T2
| DOOR NO | LOCATION | DOOR TYPE | [9 empty] | Existing Door Width | Existing Door Height | Structural Opening Width | Structural Opening Height | Door Leaf Width | Door Leaf Height | Door Thickness | Acoustic Rating | Fire Rating | Ventilation | Door Action | Fire Seal | Smoke Seal | Signage | Self Closing Device | Mag Lock Linked to Fire Alarm | Ironmongery Set No | Access Requirements | Vision Panel | Door Descritpion | Door Frame Finish | Architrave | COMMENTS
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
GROUND FLOOR
| DMG-01 | MG-01 BEDROOM 33 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DMG-02 | MG-12 BEDROOM 34 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DMG-03 | MG-02 BATHROOM | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DMG-04 | MG-03 STORE | [10 empty] | 690 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DMG-05 | MG-10 BEDROOM 35 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DMG-06 | MG-04 STAIRWELL | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● | ● | B |  | ● | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | Mag lock linked to fire alarm. | bar: DOOR TYPE 1 to DOOR TYPE 10
| DMG-07 | MG-09 BEDROOM 36 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DMG-08 | MG-05 STORE | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DMG-09 | MG-06 WC | [10 empty] | 660 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DMG-10 | MG-07 BEDROOM 38 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DMG-11 | MG-08 BEDROOM 37 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DOG-12 | OG-01 BEDROOM 49 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DOG-13 | OG-12 BEDROOM 50 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DOG-14 | OG-02 BATHROOM | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DOG-15 | OG-03 STORE | [10 empty] | 690 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DOG-16 | OG-10 BEDROOM 51 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DOG-17 | OG-04 STAIRWELL | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● | ● | B |  | ● | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | Mag lock linked to fire alarm. | bar: DOOR TYPE 1 to DOOR TYPE 10
| DOG-18 | OG-09 BEDROOM 52 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DOG-19 | OG-05 STORE | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DOG-20 | OG-06 WC | [10 empty] | 660 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DOG-21 | OG-07 BEDROOM 54 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DOG-22 | OG-08 BEDROOM 53 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DPG-23 | PG-12 BEDROOM 66 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DPG-24 | PG-01 BEDROOM 65 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DPG-25 | PG-02 BATHROOM | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DPG-26 | PG-03 STORE | [10 empty] | 690 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DPG-27 | PG-10 BEDROOM 67 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DPG-28 | PG-04 STAIRWELL | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● | ● | B |  | ● | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | Mag lock linked to fire alarm. | bar: DOOR TYPE 1 to DOOR TYPE 10
| DPG-29 | PG-09 BEDROOM 68 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DPG-30 | PG-05 STORE | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DPG-31 | PG-06 WC | [10 empty] | 660 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DPG-32 | PG-07 BEDROOM 70 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DPG-33 | PG-08 BEDROOM 69 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
|  | GROUND FLOOR TOTAL | 18 | 3 | 6 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | [22 empty] | (cont'd)
|  | DOOR TYPE REF NO: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
|  | COMBINED TOTAL FOR EACH DOOR TYPE: | 18 | 3 | 6 | 6 | 0 | 0 | 0 | 0 | 0 | 0
GENERAL NOTES
1. | All gaps between frame/lining and masonry to fire doors (as noted in Schedule Drawing) to be filled with mineral wool packed into gap after fitting frame (small gaps to be filled with intumescent mastic/paste applied to both sides after frame is installed).
2. | Ironmongery morticed into fire doors to be bedded/surrounded in intumescent paste.
3. | Fire doors to be sucessfully tested to BS. 476 Pt8 & 22 & 31:1 & BS 5588 for required fire rating & supplier to forward copy of fire certificate for doors.
4. | Fire and smoke seals rebated in frames except to pairs of doors where seals are rebated into the lippings at the meeting styles.
5. | All fire doors to be fitted with overhead self closing device - satin stainless steel type.
6. | All fire doors (& associated sidelights) to be fitted with pyroguard clear fire glass.
7. | For door handing refer to Architect's drawings.
8. | Include for stainless steel 'Fire Door Keep Shut' signs on all fire doors.
9. | Include for floor mounted door stops for all doors. Stainless steel with rubber buffer.
10. | All dimensions are to be checked and confirmed on site prior to fabrication.
11. | Door lining depth to be confimed on site prior to fabrication.
12. | Requirements for Air Transfer Grilles TBC by M&E Consultant / Sub-Contractor
13. | Fire Certificates for doors with glazed screen must be for the door and side screen.
NOTE:
TO BE READ IN CONJUNCTION WITH PROPOSED ELEVATIONS (DRAWING520) & DOOR SCHEDULE (2211-DA-00-DR-A-520_T1)
Dimensions are for pricing purposes only. Exact dimensions to be confirmed by Contractor on site.

## 521 MOP 1F Internal Doors
Dombey Court, Pilgrim Centre, Brickhill Drive,
Bedford, Bedfordshire, MK41 7PZ
tel: 01234 247697
da@devonshirearchitects.co.uk
Project: | [5 empty] | SHUTTLEWORTH SALIX
Job no.: | 2211 |  | Title: |  |  | 521 INTERNAL DOOR SCHEDULE (MOP) | [27 empty] | Rev:
| DOOR NO | LOCATION | DOOR TYPE | [9 empty] | Existing Door Width | Existing Door Height | Structural Opening Width | Structural Opening Height | Door Leaf Width | Door Leaf Height | Door Thickness | Acoustic Rating | Fire Rating | Ventilation | Door Action | Fire Seal | Smoke Seal | Signage | Self Closing Device | Mag Lock Linked to Fire Alarm | Ironmongery Set No | Access Requirements | Vision Panel | Door Descritpion | Door Frame Finish | Architrave | COMMENTS
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
FIRST FLOOR
| DM1-01 | M1-01 BEDROOM 39 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM1-02 | M1-12 BEDROOM 40 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM1-03 | M1-02 BATHROOM | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM1-04 | M1-04 STORE | [10 empty] | 690 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM1-05 | M1-11 KITCHEN | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Roller Shutter Door | ● | ● | Fire Door Keep shut |  |  | F | Key Switch |  | Roller Shutter Door | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM1-06 | M1-04 STAIRWELL | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● | ● | B |  | ● | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | Mag lock linked to fire alarm. | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM1-07 | M1-05 WHB | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM1-08 | M1-06 WC | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM1-09 | M1-07 BEDROOM 42 | [10 empty] | 660 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM1-10 | M1-08 BEDROOM 41 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO1-11 | O1-01 BEDROOM 55 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO1-12 | O1-12 BEDROOM 56 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO1-13 | O1-02 BATHROOM | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO1-14 | O1-03 STORE | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO1-15 | O1-11 KITCHEN | [10 empty] | 690 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Roller Shutter Door | ● | ● | Fire Door Keep Locked |  |  | F | Key Switch |  | Roller Shutter Door | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO1-16 | O1-04 STAIRWELL | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● | ● | B |  | ● | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | Mag lock linked to fire alarm. | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO1-17 | O1-05 WHB | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO1-18 | O1-06 WC | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO1-19 | O1-07 BEDROOM 58 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO1-20 | O1-08 BEDROOM 57 | [10 empty] | 660 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | WC | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP1-21 | P1-12 BEDROOM 72 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP1-22 | P1-01 BEDROOM 71 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP1-23 | P1-02 BATHROOM | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP1-24 | P1-03 STORE | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP1-25 | P1-11 KITCHEN | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Roller Shutter Door | ● | ● | Fire Door Keep shut |  |  | F | Key Switch |  | Roller Shutter Door | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP1-26 | P1-04 STAIRWELL | [10 empty] | 690 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked | ● | ● | B |  | ● | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | Mag lock linked to fire alarm. | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP1-27 | P1-05 WHB | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP1-28 | P1-06 WC | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP1-29 | P1-07 BEDROOM 74 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP1-30 | P1-08 BEDROOM 73 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP1-31 | P1-09 CORRIDOR | [10 empty] | 580 | 1980 | 580 | 2020 | 500 | 1980 | 44 |  | FD30(S) |  | Single Door Single Swing | [5 empty] | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO1-32 | O1-09 CORRIDOR | [10 empty] | 580 | 1980 | 580 | 2020 | 500 | 1980 | 44 |  | FD30(S) |  | Single Door Single Swing | [5 empty] | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM1-33 | M1-09 CORRIDOR | [10 empty] | 580 | 1980 | 580 | 2020 | 500 | 1980 | 44 |  | FD30(S) |  | Single Door Single Swing | [5 empty] | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
|  | FIRST FLOOR TOTAL | 12 | 3 | 9 | 6 | 0 | 3 | 0 | 0 | 0 | 0 | [22 empty] | (cont'd)
|  | DOOR TYPE REF NO: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
|  | COMBINED TOTAL FOR EACH DOOR TYPE: | 12 | 3 | 9 | 6 | 0 | 3 | 0 | 0 | 0 | 0
GENERAL NOTES
1. | All gaps between frame/lining and masonry to fire doors (as noted in Schedule Drawing) to be filled with mineral wool packed into gap after fitting frame (small gaps to be filled with intumescent mastic/paste applied to both sides after frame is installed).
2. | Ironmongery morticed into fire doors to be bedded/surrounded in intumescent paste.
3. | Fire doors to be sucessfully tested to BS. 476 Pt8 & 22 & 31:1 & BS 5588 for required fire rating & supplier to forward copy of fire certificate for doors.
4. | Fire and smoke seals rebated in frames except to pairs of doors where seals are rebated into the lippings at the meeting styles.
5. | All fire doors to be fitted with overhead self closing device - satin stainless steel type.
6. | All fire doors (& associated sidelights) to be fitted with pyroguard clear fire glass.
7. | For door handing refer to Architect's drawings.
8. | Include for stainless steel 'Fire Door Keep Shut' signs on all fire doors.
9. | Include for floor mounted door stops for all doors. Stainless steel with rubber buffer.
10. | All dimensions are to be checked and confirmed on site prior to fabrication.
11. | Door lining depth to be confimed on site prior to fabrication.
12. | Requirements for Air Transfer Grilles TBC by M&E Consultant / Sub-Contractor
13. | Fire Certificates for doors with glazed screen must be for the door and side screen.
NOTE:
TO BE READ IN CONJUNCTION WITH PROPOSED ELEVATIONS (DRAWING312) & WINDOW SCHEDULE (2211-DA-00-DR-A-520_T1)
Dimensions are for pricing purposes only. Exact dimensions to be confirmed by Contractor on site.

## 521 MOP 2F Internal Doors
Dombey Court, Pilgrim Centre, Brickhill Drive,
Bedford, Bedfordshire, MK41 7PZ
tel: 01234 247697
da@devonshirearchitects.co.uk
Project: | [5 empty] | SHUTTLEWORTH SALIX
Job no.: | 2211 |  | Title: |  |  | 522 INTERNAL DOOR SCHEDULE (MOP) | [27 empty] | Rev:
| DOOR NO | LOCATION | DOOR TYPE | [9 empty] | Existing Door Width | Existing Door Height | Structural Opening Width | Structural Opening Height | Door Leaf Width | Door Leaf Height | Door Thickness | Acoustic Rating | Fire Rating | Ventilation | Door Action | Fire Seal | Smoke Seal | Signage | Self Closing Device | Mag Lock Linked to Fire Alarm | Ironmongery Set No | Access Requirements | Vision Panel | Door Descritpion | Door Frame Finish | Architrave | COMMENTS
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
SECOND FLOOR
| DM2-01 | M2-01 BEDROOM 43 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM2-02 | M2-12 BEDROOM 44 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM2-03 | M2-02 BATHROOM | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM2-04 | M2-03 STORE | [10 empty] | 690 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM2-05 | M2-11 BEDROOM 45 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM2-06 | M2-04 STAIRWELL | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● | ● | B |  | ● | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | Mag lock linked to fire alarm. | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM2-07 | M2-10 BEDROOM 46 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM2-08 | M2-05 STORE | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM2-09 | M2-06 WC | [10 empty] | 660 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM2-10 | M2-07 BEDROOM 48 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DM2-11 | M2-08 BEDROOM 47 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO2-12 | O2-01 BEDROOM 59 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO2-13 | O2-12 BEDROOM 60 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO2-14 | O2-02 BATHROOM | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO2-15 | O2-03 STORE | [10 empty] | 690 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO2-16 | O2-11 BEDROOM 61 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO2-17 | O2-04 STAIRWELL | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● | ● | B |  | ● | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | Mag lock linked to fire alarm. | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO2-18 | O2-10 BEDROOM 62 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO2-19 | O2-05 STORE | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO2-20 | O2-06 WC | [10 empty] | 660 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO2-21 | O2-07 BEDROOM 64 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DO2-22 | O2-08 BEDROOM 63 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP2-23 | P2-12 BEDROOM 76 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP2-24 | P2-01 BEDROOM 75 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP2-25 | PG-02 BATHROOM | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP2-26 | P2-03 STORE | [10 empty] | 690 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP2-27 | P2-1 BEDROOM 77 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP2-28 | P2-04 STAIRWELL | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● | ● | B |  | ● | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | Mag lock linked to fire alarm. | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP2-29 | P2-10 BEDROOM 78 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP2-30 | P2-05 STORE | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP2-31 | P2-06 WC | [10 empty] | 660 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP2-32 | P2-07 BEDROOM 80 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DP2-33 | P2-08 BEDROOM 79 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
|  | SECOND FLOOR TOTAL | 18 | 3 | 6 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | [22 empty] | (cont'd)
|  | DOOR TYPE REF NO: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
|  | COMBINED TOTAL FOR EACH DOOR TYPE: | 18 | 3 | 6 | 6 | 0 | 0 | 0 | 0 | 0 | 0
GENERAL NOTES
1. | All gaps between frame/lining and masonry to fire doors (as noted in Schedule Drawing) to be filled with mineral wool packed into gap after fitting frame (small gaps to be filled with intumescent mastic/paste applied to both sides after frame is installed).
2. | Ironmongery morticed into fire doors to be bedded/surrounded in intumescent paste.
3. | Fire doors to be sucessfully tested to BS. 476 Pt8 & 22 & 31:1 & BS 5588 for required fire rating & supplier to forward copy of fire certificate for doors.
4. | Fire and smoke seals rebated in frames except to pairs of doors where seals are rebated into the lippings at the meeting styles.
5. | All fire doors to be fitted with overhead self closing device - satin stainless steel type.
6. | All fire doors (& associated sidelights) to be fitted with pyroguard clear fire glass.
7. | For door handing refer to Architect's drawings.
8. | Include for stainless steel 'Fire Door Keep Shut' signs on all fire doors.
9. | Include for floor mounted door stops for all doors. Stainless steel with rubber buffer.
10. | All dimensions are to be checked and confirmed on site prior to fabrication.
11. | Door lining depth to be confimed on site prior to fabrication.
12. | Requirements for Air Transfer Grilles TBC by M&E Consultant / Sub-Contractor
13. | Fire Certificates for doors with glazed screen must be for the door and side screen.
NOTE:
TO BE READ IN CONJUNCTION WITH PROPOSED ELEVATIONS (DRAWING312) & WINDOW SCHEDULE (2211-DA-00-DR-A-520_T1)
Dimensions are for pricing purposes only. Exact dimensions to be confirmed by Contractor on site.

## 521 CE GF Internal Doors
Dombey Court, Pilgrim Centre, Brickhill Drive,
Bedford, Bedfordshire, MK41 7PZ
tel: 01234 247697
da@devonshirearchitects.co.uk
Project: | [5 empty] | SHUTTLEWORTH SALIX
Job no.: | 2211 |  | Title: |  |  | 523 INTERNAL DOOR SCHEDULE (CE) | [27 empty] | Rev: | T2
| DOOR NO | LOCATION | DOOR TYPE | [9 empty] | Existing Door Width | Existing Door Height | Structural Opening Width | Structural Opening Height | Door Leaf Width | Door Leaf Height | Door Thickness | Acoustic Rating | Fire Rating | Ventilation | Door Action | Fire Seal | Smoke Seal | Signage | Self Closing Device | Mag Lock Linked to Fire Alarm | Ironmongery Set No | Access Requirements | Vision Panel | Door Descritpion | Door Frame Finish | Architrave | COMMENTS
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
GROUND FLOOR
| DEG-01 | EG-02 BEDROOM 2 | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DEG-02 | EG-01 BEDROOM 1 | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DEG-03 | EG-14 BATHROOM | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DEG-04 | EG-13 STORE | [10 empty] | 690 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DEG-05 | EG-03 BEDROOM 3 | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DEG-06 | EG-12 STAIRWELL | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● | ● | B |  | ● | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | Mag lock linked to fire alarm. | bar: DOOR TYPE 1 to DOOR TYPE 10
| DEG-07 | EG-10 WC | [10 empty] | 790 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DEG-08 | EG-08 FLAT 4 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DEG-09 | EG-09 STORE | [10 empty] | 660 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DEG-10 | EG-06 BEDROOM | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DEG-11 | EG-05 KITCHEN | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) | Undercut 10mm | Single Door Single Swing | ● | ● | Fire Door Keep shut |  |  | D |  | ● | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DEG-12 | EG-04 SITTING ROOM | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DEG-13 | EG-07 WC | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DCG-14 | CG-01 EN-SUITE | [10 empty] | 860 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DCG-15 | CG-02 BEDROOM | [10 empty] | 820 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DCG-16 | CG-12 BATHROOM | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DCG-17 | CG-11 STORE | [10 empty] | 690 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DCG-18 | CG-03 BEDROOM 19 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DCG-19 | CG-10 STAIRWELL | [10 empty] | 860 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● | ● | B |  | ● | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | Mag lock linked to fire alarm. | bar: DOOR TYPE 1 to DOOR TYPE 10
| DCG-20 | CG-04 BEDROOM 20 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DCG-21 | CG-08 STORE | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DCG-22 | CG-07 WC | [10 empty] | 690 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DCG-23 | CG-06 BEDROOM 22 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DCG-24 | CG-05 BEDROOM 21 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
|  | GROUND FLOOR TOTAL | 11 | 2 | 6 | 4 | 1 | 0 | 0 | 0 | 0 | 0 | [22 empty] | (cont'd)
|  | DOOR TYPE REF NO: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
|  | COMBINED TOTAL FOR EACH DOOR TYPE: | 11 | 2 | 6 | 4 | 1 | 0 | 0 | 0 | 0 | 0
GENERAL NOTES
1. | All gaps between frame/lining and masonry to fire doors (as noted in Schedule Drawing) to be filled with mineral wool packed into gap after fitting frame (small gaps to be filled with intumescent mastic/paste applied to both sides after frame is installed).
2. | Ironmongery morticed into fire doors to be bedded/surrounded in intumescent paste.
3. | Fire doors to be sucessfully tested to BS. 476 Pt8 & 22 & 31:1 & BS 5588 for required fire rating & supplier to forward copy of fire certificate for doors.
4. | Fire and smoke seals rebated in frames except to pairs of doors where seals are rebated into the lippings at the meeting styles.
5. | All fire doors to be fitted with overhead self closing device - satin stainless steel type.
6. | All fire doors (& associated sidelights) to be fitted with pyroguard clear fire glass.
7. | For door handing refer to Architect's drawings.
8. | Include for stainless steel 'Fire Door Keep Shut' signs on all fire doors.
9. | Include for floor mounted door stops for all doors. Stainless steel with rubber buffer.
10. | All dimensions are to be checked and confirmed on site prior to fabrication.
11. | Door lining depth to be confimed on site prior to fabrication.
12. | Requirements for Air Transfer Grilles TBC by M&E Consultant / Sub-Contractor
13. | Fire Certificates for doors with glazed screen must be for the door and side screen.
NOTE:
TO BE READ IN CONJUNCTION WITH PROPOSED ELEVATIONS (DRAWING520) & DOOR SCHEDULE (2211-DA-00-DR-A-520_T1)
Dimensions are for pricing purposes only. Exact dimensions to be confirmed by Contractor on site.

## 521 CE 1F Internal Doors
Dombey Court, Pilgrim Centre, Brickhill Drive,
Bedford, Bedfordshire, MK41 7PZ
tel: 01234 247697
da@devonshirearchitects.co.uk
Project: | [5 empty] | SHUTTLEWORTH SALIX
Job no.: | 2211 |  | Title: |  |  | 524 INTERNAL DOOR SCHEDULE (CE) | [27 empty] | Rev: | T2
| DOOR NO | LOCATION | DOOR TYPE | [9 empty] | Existing Door Width | Existing Door Height | Structural Opening Width | Structural Opening Height | Door Leaf Width | Door Leaf Height | Door Thickness | Acoustic Rating | Fire Rating | Ventilation | Door Action | Fire Seal | Smoke Seal | Signage | Self Closing Device | Mag Lock Linked to Fire Alarm | Ironmongery Set No | Access Requirements | Vision Panel | Door Descritpion | Door Frame Finish | Architrave | COMMENTS
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
FIRST FLOOR
| DE1-01 | E1-02 BEDROOM 2 | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE1-02 | E1-01 BEDROOM 1 | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE1-03 | E1-12 BATHROOM | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE1-04 | E1-11 STORE | [10 empty] | 690 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE1-05 | E1-03 KITCHEN | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Roller Shutter Door | ● | ● | Fire Door Keep shut |  |  | F | Key Switch |  | Roller Shutter Door | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE1-06 | EG-12 STAIRWELL | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● | ● | B |  | ● | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | Mag lock linked to fire alarm. | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE1-07 | E1-08 WC | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE1-08 | E1-07 WC | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE1-09 | E1-06 BEDROOM 10 | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE1-10 | E1-05 BEDROOM 9 | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC1-11 | C1-12 BEDROOM 25 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC1-12 | C1-01 BEDROOM 26 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC1-13 | C1-11 BATHROOM | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC1-14 | C1-10 STORE | [10 empty] | 690 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC1-15 | C1-02 KITCHEN | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Roller Shutter Door | ● | ● | Fire Door Keep shut |  |  | F | Key Switch |  | Roller Shutter Door | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC1-16 | C1-09 STAIRWELL | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● | ● | B |  | ● | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | Mag lock linked to fire alarm. | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC1-17 | C1-08 WHB | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC1-18 | C1-07 WC | [10 empty] | 790 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC1-19 | C1-06 BEDROOM 24 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC1-20 | C1-05 BEDROOM 23 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC1-21 | C1-04 CORRIDOR | [10 empty] | 580 | 1980 | 580 | 2020 | 500 | 1980 | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE1-22 | E1-09 CORRIDOR | [10 empty] | 580 | 1980 | 580 | 2020 | 500 | 1980 | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
|  | FIRST FLOOR TOTAL | 8 | 2 | 6 | 4 | 0 | 2 | 0 | 0 | 0 | 0 | [22 empty] | (cont'd)
|  | DOOR TYPE REF NO: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
|  | COMBINED TOTAL FOR EACH DOOR TYPE: | 8 | 2 | 6 | 4 | 0 | 2 | 0 | 0 | 0 | 0
GENERAL NOTES
1. | All gaps between frame/lining and masonry to fire doors (as noted in Schedule Drawing) to be filled with mineral wool packed into gap after fitting frame (small gaps to be filled with intumescent mastic/paste applied to both sides after frame is installed).
2. | Ironmongery morticed into fire doors to be bedded/surrounded in intumescent paste.
3. | Fire doors to be sucessfully tested to BS. 476 Pt8 & 22 & 31:1 & BS 5588 for required fire rating & supplier to forward copy of fire certificate for doors.
4. | Fire and smoke seals rebated in frames except to pairs of doors where seals are rebated into the lippings at the meeting styles.
5. | All fire doors to be fitted with overhead self closing device - satin stainless steel type.
6. | All fire doors (& associated sidelights) to be fitted with pyroguard clear fire glass.
7. | For door handing refer to Architect's drawings.
8. | Include for stainless steel 'Fire Door Keep Shut' signs on all fire doors.
9. | Include for floor mounted door stops for all doors. Stainless steel with rubber buffer.
10. | All dimensions are to be checked and confirmed on site prior to fabrication.
11. | Door lining depth to be confimed on site prior to fabrication.
12. | Requirements for Air Transfer Grilles TBC by M&E Consultant / Sub-Contractor
13. | Fire Certificates for doors with glazed screen must be for the door and side screen.
NOTE:
TO BE READ IN CONJUNCTION WITH PROPOSED ELEVATIONS (DRAWING520) & DOOR SCHEDULE (2211-DA-00-DR-A-520_T1)
Dimensions are for pricing purposes only. Exact dimensions to be confirmed by Contractor on site.

## 521 CE 2F Internal Doors
Dombey Court, Pilgrim Centre, Brickhill Drive,
Bedford, Bedfordshire, MK41 7PZ
tel: 01234 247697
da@devonshirearchitects.co.uk
Project: | [5 empty] | SHUTTLEWORTH SALIX
Job no.: | 2211 |  | Title: |  |  | 521 INTERNAL DOOR SCHEDULE (CE) | [27 empty] | Rev: | T2
| DOOR NO | LOCATION | DOOR TYPE | [9 empty] | Existing Door Width | Existing Door Height | Structural Opening Width | Structural Opening Height | Door Leaf Width | Door Leaf Height | Door Thickness | Acoustic Rating | Fire Rating | Ventilation | Door Action | Fire Seal | Smoke Seal | Signage | Self Closing Device | Mag Lock Linked to Fire Alarm | Ironmongery Set No | Access Requirements | Vision Panel | Door Descritpion | Door Frame Finish | Architrave | COMMENTS
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
SECOND FLOOR
| DE2-01 | E2-01 BEDROOM 12 | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE2-02 | E2-12 BEDROOM 11 | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE2-03 | E2-11 BATHROOM | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE2-04 | E2-10 STORE | [10 empty] | 790 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE2-05 | E2-02 BEDROOM 13 | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE2-06 | E2-09 STAIRWELL | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● | ● | B |  | ● | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | Mag lock linked to fire alarm. | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE2-07 | E2-03 BEDROOM 14 | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE2-08 | E2-07 WHB | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE2-09 | E2-06 WC | [10 empty] | 660 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE2-10 | E2-05 BEDROOM 16 | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DE2-11 | E2-04 BEDROOM 15 | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC2-12 | C2-12 BEDROOM 27 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC2-13 | C2-01 BEDROOM 28 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC2-14 | C2-11 BATHROOM | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC2-15 | CG-10 STORE | [10 empty] | 690 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC2-16 | C2-02 BEDROOM 29 | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC2-17 | C2-08 STAIRWELL | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD60(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● | ● | B |  | ● | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | Mag lock linked to fire alarm. | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC2-18 | C2-03 BEDROOM 30 | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC2-19 | CG-07 STORE | [10 empty] | 720 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep Locked |  |  | C |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC2-20 | C2-06 WC | [10 empty] | 660 | 1980 | To suit existing |  |  |  | 44 |  |  | Undercut 10mm | Single Door Single Swing |  |  | WC |  |  | E |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC2-21 | C2-05 BEDROOM 32 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
| DC2-22 | CG-04 BEDROOM 31 | [10 empty] | 760 | 1980 | To suit existing |  |  |  | 44 |  | FD30(S) |  | Single Door Single Swing | ● | ● | Fire Door Keep shut | ● |  | A |  |  | Oak Veneer, Satin Lacquer Finish | Paint Finish | Paint Finish | bar: DOOR TYPE 1 to DOOR TYPE 10
|  | SECOND FLOOR TOTAL | 12 | 2 | 5 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | [22 empty] | (cont'd)
|  | DOOR TYPE REF NO: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
|  | COMBINED TOTAL FOR EACH DOOR TYPE: | 12 | 2 | 5 | 3 | 0 | 0 | 0 | 0 | 0 | 0
GENERAL NOTES
1. | All gaps between frame/lining and masonry to fire doors (as noted in Schedule Drawing) to be filled with mineral wool packed into gap after fitting frame (small gaps to be filled with intumescent mastic/paste applied to both sides after frame is installed).
2. | Ironmongery morticed into fire doors to be bedded/surrounded in intumescent paste.
3. | Fire doors to be sucessfully tested to BS. 476 Pt8 & 22 & 31:1 & BS 5588 for required fire rating & supplier to forward copy of fire certificate for doors.
4. | Fire and smoke seals rebated in frames except to pairs of doors where seals are rebated into the lippings at the meeting styles.
5. | All fire doors to be fitted with overhead self closing device - satin stainless steel type.
6. | All fire doors (& associated sidelights) to be fitted with pyroguard clear fire glass.
7. | For door handing refer to Architect's drawings.
8. | Include for stainless steel 'Fire Door Keep Shut' signs on all fire doors.
9. | Include for floor mounted door stops for all doors. Stainless steel with rubber buffer.
10. | All dimensions are to be checked and confirmed on site prior to fabrication.
11. | Door lining depth to be confimed on site prior to fabrication.
12. | Requirements for Air Transfer Grilles TBC by M&E Consultant / Sub-Contractor
13. | Fire Certificates for doors with glazed screen must be for the door and side screen.
NOTE:
TO BE READ IN CONJUNCTION WITH PROPOSED ELEVATIONS (DRAWING520) & DOOR SCHEDULE (2211-DA-00-DR-A-520_T1)
Dimensions are for pricing purposes only. Exact dimensions to be confirmed by Contractor on site.