Process Flow for Contractors Working for Corby Borough Council Regarding Asbestos

Have you consulted / checked the asbestos register for the premises you are working at.

No

Yes

Ask the person who has issued the work (e.g. the project manager) is the asbestos register available?

Is there asbestos in the area / room you are working in the report?

Yes

Carry out work as planned

Do not carry out the work; inform the duty holder / manager at the premises that work can not go ahead. The duty manager must contact the Asbestos Team Leader, Mike Warburton on 01536 464181, Mobile 07824 694423 or by email michael.warburton@corby.gov.uk to have the material removed,

Yes

Carry out work as planned

No

Will the asbestos be disturbed by the work or is there the potential for the asbestos to be damaged or accidentally damaged by the work?

Do not carry out work until register is made available for you to check the area is safe to work in

No

Yes

No