## Tender Summary
ELM PARK HOUSE, LONDON, SW10 9QD
Elm Park House – Boiler Plant Room Replacement and Associated Works
PRICING SCHEDULE - TENDER SUMMARY
To be completed at the time of Tender. The price inserted by the Contractor against each item shall be for the whole of the work as described in this Specification and as indicated on any drawings or schedules enclosed including supply, delivery, installation, testing and commissioning. The total shall be carried forward to the Tender Summary. Tenderers must insert separate prices against each of the individual items detailed below. The statement “included” will not suffice.
Prelims, Plant Room Works, Electrical Switch Room Works are to be exclusive of of OH&P. This is to be added as indicated within the Tender Summary. Note - this percentage will be applied to any additional items instructed post contract where applicable.
| TENDER SUMMARY |  | £
1 | Preliminaries |  | 0
2 | Plant room works |  | 2000
3 | Electrical switch room works |  | 6000
| Cost of Preliminaries & Works |  | 8000
| Add Overhead and Profit | 0% | 0 | Add Overhead and Profit percentage
| Total: |  | 8000
| TOTAL CARRIED FORWARD TO FORM OF TENDER and the space provided in the COMMERCIAL ENVELOPE of capitalEsourcing |  | 8000
Note: Costs relating to preliminaries items that are not specifically identified in the contractor's full and detailed breakdown shall be deemed to have no cost implications or have been included elsewhere within the contractor's rates and prices.
Note equal and approved means approved by the CA tenderers must price for all works including sub contracted elements and specialist works, detailed materials, as detailed within the specification any cost saving alternatives must be identified in the previous Section above for consideration AT TENDER STAGE.
Any suggested alterations not identified at tender stage will not be accepted.
All works items must be priced - Included will not be accepted. Any Preliminaries items not priced will be deemed included.

## Prelims
ELM PARK HOUSE, LONDON, SW10 9QD
Elm Park House – Boiler Plant Room Replacement and Associated Works
PRICING SCHEDULE - PRELIM COSTS
To be completed at the time of Tender. The price inserted by the Contractor against each item shall be for the whole of the work as described in this Specification and as indicated on any drawings or schedules enclosed including supply, delivery, installation, testing and commissioning. The total shall be carried forward to the Tender Summary. Tenderers must insert separate prices against each of the individual items detailed below. The statement “included” will not suffice.
Ref | Component | Time-related charges £ | Fixed charges £ | Total charges £
1.1 | GENERAL REQUIREMENTS
1.1.1 | Site accommodation
1.1.1.1 | Site accommodation and meetings space |  |  | 0
1.1.1.2 | Furniture and equipment |  |  | 0
1.1.1.3 | Telecommunications and IT systems |  |  | 0
1.1.2 | Site records
1.1.2.1 | Validations and Site records |  |  | 0
1.1.2.2 | Measured surveys of the building , including all plans, layouts and elevations in CAD |  |  | 0
1.1.3 | Completion and post-completion requirements
1.1.3.1 | Handover requirements |  |  | 0
1.1.3.2 | Operation and maintenance services |  |  | 0
1.2 | MAIN CONTRACTOR'S COST ITEMS
1.2.1 | Management and staff
| Project specific management and staff |  |  | 0
1.2.1.1 | Project manager |  |  | 0
1.2.1.2 | Supervisor |  |  | 0
1.2.1.3 | RLO |  |  | 0
Visiting/office management and staff
1.2.1.4 | Director |  |  | 0
1.2.1.5 | Contracts manager |  |  | 0
1.2.1.6 | QS |  |  | 0
1.2.1.7 | QC |  |  | 0
1.2.1.8 | H&S |  |  | 0
1.2.2 | Site establishment
1.2.2.1 | Site accommodation |  |  | 0
1.2.2.2 | Temporary works in connection with site establishment |  |  | 0
1.2.2.3 | Furniture and equipment |  |  | 0
1.2.2.4 | IT systems |  |  | 0
1.2.2.5 | Consumables and services |  |  | 0
1.2.2.6 | Brought-in services |  |  | 0
1.2.2.7 | Sundries |  |  | 0
1.2.3 | Temporary services and Equipment
1.2.3.1 | Temporary water supply |  |  | 0
1.2.3.2 | Temporary gas supply |  |  | 0
1.2.3.3 | Temporary electricity supply |  |  | 0
1.2.3.4 | Temporary telecommunications systems |  |  | 0
1.2.3.5 | Temporary drainage |  |  | 0
1.2.4 | Security
1.2.4.1 | Security staff |  |  | 0
1.2.4.2 | Security equipment |  |  | 0
1.2.4.3 | Hoardings, fences and gates |  |  | 0
1.2.5 | Safety and environmental protection
1.2.5.1 | Safety programme |  |  | 0
1.2.5.2 | Barriers and safety scaffolding |  |  | 0
1.2.5.3 | Environmental protection measures |  |  | 0
1.2.6 | Control and protection
1.2.6.1 | Surveys |  |  | 0
1.2.6.2 | Validations temperatures and flowrates within properties and plantroom |  |  | 0
1.2.6.3 | Water quality monitoring and protection |  |  | 0
1.2.6.4 | Setting out |  |  | 0
1.2.6.5 | Protection of works |  |  | 0
1.2.6.6 | Samples |  |  | 0
1.2.6.7 | Environmental control of building |  |  | 0
1.2.7 | Mechanical plant
1.2.7.1 | Generally |  |  | 0
1.2.7.2 | Tower cranes |  |  | 0
1.2.7.3 | Mobile cranes |  |  | 0
1.2.7.4 | Hoists |  |  | 0
1.2.7.5 | Access plant |  |  | 0
1.2.7.6 | Concrete plant |  |  | 0
1.2.7.7 | Other plant |  |  | 0
1.2.8 | Temporary works
1.2.8.1 | Scaffolding |  |  | 0
1.2.8.2 | Temporary works |  |  | 0
1.2.9 | Site records
1.2.9.1 | Site records |  |  | 0
1.2.10 | Completion and post-completion requirements
1.2.10.1 | Quality assurance, inspection, testing and commissioning plan |  |  | 0
1.2.10.2 | O&M and Handover |  |  | 0
1.2.10.3 | Post-completion services |  |  | 0
1.2.11 | Cleaning
1.2.11.1 | Site tidy |  |  | 0
1.2.11.2 | Maintenance of roads, paths and paving's. |  |  | 0
1.2.11.3 | Building clean |  |  | 0
1.2.12 | Design, Fees and charges
1.2.12.1 | Consultant and local authority Fees |  |  | 0
1.2.12.2 | RIBA/BSRIA stages Design , including all Setting out drawings, working drawings, builders works drawings, Record drawings, valve schematics (A1), valve charts and specifications |  |  | 0
1.2.12.3 | Full measured survey of the building, apartments and CAD drawings |  |  | 0
1.2.12.4 | Structural surveys |  |  | 0
1.2.12.5 | Utility surveys |  |  | 0
1.2.12.6 | R&D asbestos surveys |  |  | 0
1.2.12.7 | General Charges |  |  | 0
1.2.12.8 | Maintenance term service provider, throughout project |  |  | 0
1.2.13 | Site services
1.2.13.1 | Temporary works |  |  | 0
1.2.13.2 | Mult-service gang |  |  | 0
1.2.13.3 | Temporary plant costs |  |  | 0
1.2.13.4 | Cost of fuel for temporary plant |  |  | 0
1.2.14 | Insurance, bonds, guarantees and warranties
1.2.14.1 | Works insurances |  |  | 0
1.2.14.2 | Public liability insurance |  |  | 0
1.2.14.3 | Employer's (main contractor's) liability insurance |  |  | 0
1.2.14.4 | Other insurances |  |  | 0
1.2.14.5 | Performance Bond |  |  | 0
1.2.14.6 | Guarantees |  |  | 0
1.2.14.7 | Warranties |  |  | 0
| Totals £ | 0 | 0 | 0
| TOTAL CARRIED TO TENDER SUMMARY: | 0 | 0 | 0

## Plant room works
ELM PARK HOUSE, LONDON, SW10 9QD
Elm Park House – Boiler Plant Room Replacement and Associated Works
PRICING SCHEDULE - PLANT ROOM WORKS
To be completed at the time of Tender. The price inserted by the Contractor against each item shall be for the whole of the work as described in this Specification and as indicated on any drawings or schedules enclosed including supply, delivery, installation, testing and commissioning. The total shall be carried forward to the Tender Summary. Tenderers must insert separate prices against each of the individual items detailed below. The statement “included” will not suffice. Provisional sums will not be accepted unless already shown below - failure to comply with this may result in your tender being disqualified .
Ref | Component | Total charges £
1.3 | PLANT ROOMS AND ASSOCIATED WORKS
1.3.1 | General Items
1.3.1.1 | Condition Surveys and validations of all services and fabric before and after works
1.3.1.2 | Temporary boiler plant and connections to existing
1.3.1.3 | Strip out of existing services , equipment, doors , concrete etc
1.3.1.4 | Asbestos removal works (prov sum) £2000.00 | 2000
1.3.2 | Boilers and Gas works
1.3.2.1 | Supply and installation of new gas fired condensing boilers, including shunt pumps, psv/discharge .
1.3.2.2 | Supply and installation of Flue system
1.3.2.3 | New gas supply to boilers
1.3.2.4 | Any gas compliance works
1.3.3 | Plantroom Equipment
1.3.3.1 | Supply and installation of new double-insulated thermal store and associated equipment .
1.3.3.2 | Supply and installation of new fully insulated LTHW plate heat exchangers (Duty / Standby @ 100% duty each), complete with valve's and flushing arrangements .
1.3.3.3 | New primary LTHW twin heating pumps
1.3.3.4 | New Secondary landlords and residents heating pumps
1.3.3.5 | New primary & secondary LTHW circuit pressurisation set and provision for expansion
1.3.3.6 | New dirt/air separator (Primary LTHW)
1.3.3.7 | New dirt/air separator (Secondary LTHW)
1.3.3.8 | New Magna clean dosing pot (Primary LTHW)
1.3.3.9 | New Magna clean dosing pot (Secondary LTHW)
1.3.4 | Pipework and associated items
1.3.4.1 | Primary pipework , all associated equipment , valves etc
1.3.4.2 | Secondary pipework residents , all associated equipment , valves etc
1.3.4.3 | Secondary pipework landlords circuit , all associated equipment , valves etc
1.3.4.4 | Future temporary plant pipework connections to outside
1.3.4.5 | Installation of insulation, hammerclad protective coverings, valve boxes/bags/muffs, IDs and direction of flow arrows to all new and existing services.
1.3.5 | Electrical , Controls & power
1.3.5.1 | New central BMS, block heat metering and future apartment heat metering controls, MCC panels and all associated controls ancillaries, to monitor , adjust and control all mechanical and electrical equipment
1.3.5.2 | head end supervisor and remote monitoring
1.3.5.3 | Wiring and containment of all boiler room power, isolators, plant power and controls services
1.3.5.4 | Supply and installation of new lighting and emergency to boiler room, old oil tank room.
1.3.5.5 | New high and low level ventilation to plant room, including any louvres or mechanical plant
1.3.6 | Structural, Architectural and BWIC
1.3.5.7 | BWIC with new openings to car park area and old oil tank room , including all structural assessments , structural works, fire /acoustic doors and louvres, removal of existing tank and tank concrete base supports , relevelling of floors .
1.3.5.8 | Installation of new fire doorsets (1nr Carpark double set, 1nr access into old oil store double set, 1nr main plantroom door ,1nr entrance to basement, 1nr BCWS tank room, 2nr miscellaneous entrances to other areas )
1.3.1.20 | BWIC with installation, including the removal of plant bases , re-levelling of floors , construction of all new plant bases, acoustic and vibration control isolation and services support systems.
1.3.1.21 | All fire stopping, Making good and decorating of the boiler room and old oil tank room complete (walls, timber works, ceiling, bases and floors
1.3.1.22 | Rockwall slab insulation
1.3.1.23 | Cleansing and flushing of LTHW system.
1.3.1.24 | Cleaning and chlorination of all domestic services
1.3.1.25 | Test and Commission the system, including 3No. seasonal commissioning exercises and their associated reports
1.3.1.26 | Water quality monitor
| Totals £ | 2000
| TOTAL CARRIED TO TENDER SUMMARY: | 2000

## Electrical Switch Room Works
ELM PARK HOUSE, LONDON, SW10 9QD
Elm Park House – Boiler Plant Room Replacement and Associated Works
PRICING SCHEDULE - AG DISTRIBUTION WORKS
To be completed at the time of Tender. The price inserted by the Contractor against each item shall be for the whole of the work as described in this Specification and as indicated on any drawings or schedules enclosed including supply, delivery, installation, testing and commissioning. The total shall be carried forward to the Tender Summary. Tenderers must insert separate prices against each of the individual items detailed below. The statement “included” will not suffice. Provisional sums will not be accepted unless already shown below - failure to comply with this may result in your tender being disqualified .
Ref | Component | Total charges £
1.4 | Electrical Switch room works
1.4.1 | General
1.4.1.1 | Condition Surveys before and after.
1.4.1.2 | Removal of redundant electrical systems, existing switch gear and distribution boards and existing cabling to be replaced.
1.4.1.3 | Asbestos removal allowance (prov sum) £2,000.00 | 2000
1.4.2 | Switch room
1.4.2.1 | Supply and install of landlords service head and busbar chamber
1.4.2.2 | Supply and install of main intake TPN isolator between service head and busbar chamber.
1.4.2.3 | Renewal of all containment .
1.4.2.4 | Installation of distribution equipment and meters to supply existing services
1.4.2.5 | Installation of distribution equipment to supply Landlord's CCU, 02 meter, Vodafone meter and Orange meter.
1.4.2.6 | Installation of distribution equipment and meters to supply Landlord's lifts, lift generator and smoke control system.
1.4.2.7 | Allowance for incumbent contractors in association with item 1.4.1.8 & 1.4.1.9 - £4,000.00 Provisional Sum | 4000
1.4.2.8 | Replacement of existing Landlord's distribution boards with new TP and N distribution board.
1.4.2.9 | Replacement of distribution and tray to serve new plantroom distribution board
1.4.2.10 | Installation of new earth bar and associated earth cables to comply with BS7671.
1.4.2.11 | Installation of future distribution equipment, meters, distribution and distribution boards for phase 2 , future car charging and plantroom
1.4.2.12 | installation of LED lighting and emergency lighting
1.4.2.13 | Installation of new fire doors
1.4.2.14 | rock wall slab insulation
1.4.2.15 | Installation of bund to doorway
1.4.2.16 | Making good of all builder's work holes, fire stopping on all wall and ceiling penetrations and decorations to all walls and ceilings.
1.4.2.17 | Testing and commissioning/Demonstrations/O&M/labelling of equipment.
| Totals £ | 6000
| TOTAL CARRIED TO TENDER SUMMARY: | 6000