| Client: Project Surveyor (Contact): Principal Contractor: |  |  |  | Kettering Borough Council Baz Kalsi – Senior Surveyor TBA |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| LOCATION: CHESHAM HOUSE 53 LOWER STREET KETTERING |  |  |  |  |  |  |
| WORK ACTIVITY SUMMARY: EXTERNAL WORKS (Re-rendering, Minor Roof and Brickwork Repairs, Decoration) |  |  |  |  |  |  |
| HAZARDS | Yes | No |  | COMMENTS | CONTROL Yes No |  |
| LAND |  |  |  |  |  |  |
| Contamination |  | X |  |  |  |  |
| Geological structures unstable/flooding |  | X |  |  |  |  |
| Tunnels/shafts |  | X |  |  |  |  |
| Vegetation |  | X |  |  |  |  |
| Rights of Way |  | X |  |  |  |  |
| ACCESS/EGRESS |  |  |  |  |  |  |
| Bus route |  | X |  |  |  |  |
| Traffic and Parking | x |  |  | Car parking has limited spaces and has dedicated spaces used daily by the tenants, must maintain safe access / egress for tenants. |  |  |
| Schools |  | X |  |  |  |  |
| Emergency Services | X |  |  | Keep access clear from main access area into car park and to the rear of the premises. |  |  |
| EXISTING SERVICES |  |  |  |  |  |  |
| Electricity | x |  |  | Contractor to check external fabric of premises prior to carrying out works |  |  |
| Gas |  |  | x |  |  |  |
| Telephone cables | x |  |  | Contractor to check external fabric of premises prior to carrying out works |  |  |
| Water and Foul Sewers |  |  | X |  |  |  |
| Data Cables | X |  |  | Contractor to check external fabric of premises prior to carrying out works |  |  |
| NOISE |  |  |  |  |  |  |
| Hospitals |  |  | X |  |  |  |
| Public | X |  |  | Must give consideration and notice to Tenants within the premises prior to ‘noisy’ works. |  |  |
| Schools |  |  | X |  |  |  |
| Other buildings affected |  |  | x |  |  |  |
| Vibration | x |  |  | Suitable electric / portable hand tools to be used, to reduce vibration when in use |  |  |
| BUILDING WORKS |  |  |  |  |  |  |
| Hazardous substances (COSHH) | X |  |  | Provide R.A.M.S. |  |  |
| Materials handling / manual lifting | X |  |  | Provide R.A.M.S. |  |  |
| Disposal of waste | X |  |  | Provide R.A.M.S. |  |  |
| Working at heights | x |  |  | Provide R.A.M.S. |  |  |
| Safe use of portable tools | x |  |  | Provide R.A.M.S. |  |  |
| Proper use of PPE | X |  |  | Provide R.A.M.S. |  |  |
| Signature ............................................................ Date…15 :01:2021………………… B Kalsi : Senior Surveyor |  |  |  |  |  |  |