REPAIRS TO AND REPAINTING OF THE EXTERIOR OF THE MANOR HOUSE

FREQUENTLY ASKED QUESTIONS

- Can you provide further evidence of the nature of the cracked render?

A selection of more detailed pictures are attached for information.

- Can I visit the site?

A site visit can be arranged by contacting the Town Council’s Project Manager, Mrs Juliet Harris 01903 732063 or by email to: jharris@littlehampton-tc.gov.uk

- How many square meters is the external surface area of the building?

Attached is a recent survey of the surface area of the external facades of the building including approximate measurements.

- Materials specification.

The render is hydrated lime and the current colour scheme of the walls is two-tone (thought to be “gardenia” and white). The colour will need to be matched to the existing and agreed with the client. It is suggested that quotations contain a provisional sum for two coats of masonry paint, e.g.: Dulux weathershield or equivalent.

Please note: These will be updated on a weekly basis until the closing date.

Updated.JH.29.1.18

Pictures of the chips / cracks in the render: