## 10A Gas-Repair 1
Description | TP Part No. | Van Stock Qty | Unit Price | Total Price | Alternative Product Description | Alternative Price | Alternative Total
Temporary heaters | 716290 | 6 |  | 0 |  |  | 0
3amp fuses (per pack 5) | 773032 | 2 |  | 0 |  |  | 0
¾ inch sealing discs | 543534 | 10 |  | 0 |  |  | 0
1 inch sealing discs | 543537 | 10 |  | 0 |  |  | 0
External filling loops | 905399 | 2 |  | 0 |  |  | 0
Closure plate tape (10metre rolls) | 518694 | 2 |  | 0 |  |  | 0
Tracpipe tape | 760372 | 1 |  | 0 |  |  | 0
Smoke pellets (x100) | 865690 | 2 |  | 0 |  |  | 0
Smoke Matches | 876527 | 2 |  | 0 |  |  | 0
Gas on/off tape | 861557 | 1 |  | 0 |  |  | 0
Gas pipe label tape | 693351 | 1 |  | 0 |  |  | 0
4mm regin clear hose (manometer/drain tube) | 995402 | 1 |  | 0 |  |  | 0
Dust sheet small Regin service mat | 604726 | 1 |  | 0 |  |  | 0
Dust sheet medium cotton sheet | 902374 | 1 |  | 0 |  |  | 0
Air spray | 858518 | 1 |  | 0 |  |  | 0
Do not use labels | 150082 | 10 |  | 0 |  |  | 0
Co alarms | 287261 | 2 |  | 0 |  |  | 0
Smoke alarms | 745161 | 2 |  | 0 |  |  | 0
300mm x 300mm Hatch | 508309 | 1 |  | 0 |  |  | 0
Jubilee clips (pack 2) | 281805 | 2 |  | 0 |  |  | 0
¼ inch plugs | 754741 | 10 |  | 0 |  |  | 0
½ inch plugs | 754743 | 10 |  | 0 |  |  | 0
15mm cap ends | 954352 | 10 |  | 0 |  |  | 0
22mm cap ends | 954353 | 8 |  | 0 |  |  | 0
P.T.F.E tape | 149837 | 10 |  | 0 |  |  | 0
5 way connection plug |  | 5 |  | 0 |  |  | 0
Jet blue compound | 504492 | 1 |  | 0 |  |  | 0
Silicone grease | 866396 | 1 |  | 0 |  |  | 0
Non setting paste (FJC) | 845728 | 1 |  | 0 |  |  | 0
Fire cement (2kg) | 861486 | 1 |  | 0 |  |  | 0
Leak detector fluid | 814077 | 2 |  | 0 |  |  | 0
Solvent weld glue | 613637 | 1 |  | 0 |  |  | 0
Solvent weld overflow 90’ elbows | 402047 | 4 |  | 0 |  |  | 0
Solvent weld overflow inline couplers | 402034 | 4 |  | 0 |  |  | 0
Solvent weld 35mm couplers |  | 2 |  | 0 |  |  | 0
15mm copper tube | 701962 | 4 |  | 0 |  |  | 0
22mm copper tube | 119755 | 2 |  | 0 |  |  | 0
Overflow tube | 402028 | 2 |  | 0 |  |  | 0
15mm speedfit cap ends | 954604 | 6 |  | 0 |  |  | 0
Compression overflow couplers Mcalpine | 896116 | 4 |  | 0 |  |  | 0
15mm end feed 90’ elbows | 950504 | 10 |  | 0 |  |  | 0
15mm end feed couplers | 954668 | 10 |  | 0 |  |  | 0
22mm end feed 90’ elbows | 950505 | 8 |  | 0 |  |  | 0
22mm end feed couplers | 950490 | 8 |  | 0 |  |  | 0
Lead free solder | 551627 | 1 |  | 0 |  |  | 0
Blue roll | 299574 | 2 |  | 0 |  |  | 0
Flux | 872744 | 1 |  | 0 |  |  | 0
Danfoss cp715si programmer Single | 390795 | 1 |  | 0 |  |  | 0
Danfoss fp715si programmer Double | 390794 | 1 |  | 0 |  |  | 0
Myson contract trv | 457755 | 2 |  | 0 |  |  | 0
Danfoss trv RAS-C2 | 850369 | 2 |  | 0 |  |  | 0
Drayton trv RT212 | 842100 | 2 |  | 0 |  |  | 0
Grundfoss ups2 pump 15/50 | 708951 | 1 |  | 0 |  |  | 0
22mm pump valves | 833111 | 2 |  | 0 |  |  | 0
22mm Honeywell zone valve V4043H | 833756 | 2 |  | 0 |  |  | 0
22mm Honeywell mid position valve V4073 | 833133 | 2 |  | 0 |  |  | 0
15mm ballafix valves | 961159 | 4 |  | 0 |  |  | 0
Drayton room thermostat RTS1 | 818674 | 2 |  | 0 |  |  | 0
Drayton mid position valve MA1/679-3 | 808784 | 1 |  | 0 |  |  | 0
Drayton LP111 Programmer | 214385 | 1 |  | 0 |  |  | 0
Honeywell cylinder thermostat |  | 1 |  | 0 |  |  | 0
Honeywell room thermostat T6360B | 833753 | 2 |  | 0 |  |  | 0
Syncro motors | 717387 | 2 |  | 0 |  |  | 0
Honeywell ST9400C programmer twin | ST9400C | 1 |  | 0 |  |  | 0
Honeywell ST9100C programmer single | ST9100C | 1 |  | 0 |  |  | 0
Worcester greenstar pump kit | 87161063550 | 1 |  | 0 |  |  | 0
Worcester divertor stepper motor | 87161068470 | 1 |  | 0 |  |  | 0
Worcester greenstar fan assembly | 87161160670 | 2 |  | 0 |  |  | 0
Worcester greenstar electrode kit | 87161163810 | 1 |  | 0 |  |  | 0
Worcester greenstar prv | 87161064310 | 2 |  | 0 |  |  | 0
Worcester greenstar gas valve hose | 87161065050 | 2 |  | 0 |  |  | 0
Worcester greenstar auto air vent | 87161064450 | 2 |  | 0 |  |  | 0
Worcester plate heat exchanger | 87161066850 | 1 |  | 0 |  |  | 0
Worcester PCB greenstar RI | 87186871640 | 1 |  | 0 |  |  | 0
Worcester MT-10 timeswitch | 7716192036 | 1 |  | 0 |  |  | 0
Worcester greenstar left hand hydroblock | 87161063560 | 1 |  | 0 |  |  | 0
Worcester greenstar flow turbine Oring | 87161064330 | 2 |  | 0 |  |  | 0
Ideal spark generator | 173538 | 1 |  | 0 |  |  | 0
Ideal isar divertor head kit | 173624 | 1 |  | 0 |  |  | 0
Ideal thermistor control kit | 170917 | 1 |  | 0 |  |  | 0
Ideal he ignition electrode | 173528 | 1 |  | 0 |  |  | 0
Ideal PRV | 170992 | 1 |  | 0 |  |  | 0
Ideal user control kit Isar | 173533 | 1 |  | 0 |  |  | 0
Ideal Dry fire stat | 170916 | 2 |  | 0 |  |  | 0
Ideal auto air vent | 170988 | 2 |  | 0 |  |  | 0
Ideal PCB M series | 172490 | 1 |  | 0 |  |  | 0
Ideal control knob | 172491 | 2 |  | 0 |  |  | 0
Ideal pump kit | 173963 | 1 |  | 0 |  |  | 0
Ideal divertor cartridge (plastic type) | 174200 | 1 |  | 0 |  |  | 0
Ideal user control harness | 171041 | 1 |  | 0 |  |  | 0
Ideal DHW thermistor | 170996 | 1 |  | 0 |  |  | 0
Ideal dhw heat exchanger | 170995 | 2 |  | 0 |  |  | 0
Ideal isar v9 PCB | 174486 | 1 |  | 0 |  |  | 0
Ideal user control housing | 173536 | 2 |  | 0 |  |  | 0
Ideal user control kit Icos | 173532 | 2 |  | 0 |  |  | 0
Ideal s trap kit | 174244 | 2 |  | 0 |  |  | 0
Ideal o ring kit | 171031 | 2 |  | 0 |  |  | 0
Ideal isar fan assembly | 172625 | 2 |  | 0 |  |  | 0
Glowworm PCB twin fuse | S900847 | 1 |  | 0 |  |  | 0
Glowworm PCB single fuse | S900817 | 1 |  | 0 |  |  | 0
Baxi solo door seal | 237329 | 1 |  | 0 |  |  | 0
Potterton suprima door seal | 237329 | 1 |  | 0 |  |  | 0
Potterton suprima PCB 30-100 | 5111603 | 1 |  | 0 |  |  | 0
Inhibitor | 559308 | 1 |  | 0 |  |  | 0
System Cleaner |  | 1 |  | 0 |  |  | 0
Leak Seal | 830279 | 1 |  | 0 |  |  | 0
Ideal Insulation Kit HE Series | 173520 | 1 |  | 0 |  |  | 0
Ideal Insulation Kit m Series | 172626 | 1 |  | 0 |  |  | 0
15mm Ballcock kit |  | 1 |  | 0 |  |  | 0
|  |  | Grand Total | 0 |  | Alternative Total | 0

## 10B Gas-Service Van Stock 1
Description | TP Part No. | Van Stock Qty | Unit Price | Total Price | Alternative Product Description | Alternative Price | Alternative Total
Temporary heaters | 716290 | 6 |  | 0 |  |  | 0
3amp fuses (per pack 5) | 773032 | 2 |  | 0 |  |  | 0
¾ inch sealing discs | 543534 | 10 |  | 0 |  |  | 0
1 inch sealing discs | 543537 | 10 |  | 0 |  |  | 0
External filling loops | 905399 | 2 |  | 0 |  |  | 0
Closure plate tape (10metre rolls) | 518694 | 2 |  | 0 |  |  | 0
Tracpipe tape | 760372 | 1 |  | 0 |  |  | 0
Smoke pellets (x100) | 865690 | 2 |  | 0 |  |  | 0
Smoke Matches | 876527 | 2 |  | 0 |  |  | 0
Gas on/off tape | 861557 | 1 |  | 0 |  |  | 0
Gas pipe label tape | 693351 | 1 |  | 0 |  |  | 0
4mm regin clear hose (manometer/drain tube) | 995402 | 1 |  | 0 |  |  | 0
Dust sheet small Regin service mat | 604726 | 1 |  | 0 |  |  | 0
Dust sheet medium cotton sheet | 902374 | 1 |  | 0 |  |  | 0
Air spray | 858518 | 1 |  | 0 |  |  | 0
Do not use labels | 150082 | 10 |  | 0 |  |  | 0
Co alarms | 287261 | 2 |  | 0 |  |  | 0
Smoke alarms | 745161 | 2 |  | 0 |  |  | 0
300mm x 300mm Hatch | 508309 | 1 |  | 0 |  |  | 0
Jubilee clips (pack 2) | 281805 | 2 |  | 0 |  |  | 0
¼ inch plugs | 754741 | 10 |  | 0 |  |  | 0
½ inch plugs | 754743 | 10 |  | 0 |  |  | 0
15mm cap ends | 954352 | 10 |  | 0 |  |  | 0
22mm cap ends | 954353 | 8 |  | 0 |  |  | 0
P.T.F.E tape | 149837 | 10 |  | 0 |  |  | 0
5 way connection plug |  | 1 |  | 0 |  |  | 0
Jet blue compound | 504492 | 1 |  | 0 |  |  | 0
Silicone grease | 866396 | 1 |  | 0 |  |  | 0
Non setting paste (FJC) | 845728 | 1 |  | 0 |  |  | 0
Fire cement (2kg) | 861486 | 1 |  | 0 |  |  | 0
Leak detector fluid | 814077 | 2 |  | 0 |  |  | 0
Solvent weld glue | 613637 | 1 |  | 0 |  |  | 0
Solvent weld overflow 90’ elbows | 402047 | 4 |  | 0 |  |  | 0
Solvent weld overflow inline couplers | 402034 | 4 |  | 0 |  |  | 0
Solvent weld 35mm couplers |  | 2 |  | 0 |  |  | 0
15mm copper tube | 701962 | 2 |  | 0 |  |  | 0
22mm copper tube | 119755 | 2 |  | 0 |  |  | 0
Overflow tube | 402028 | 2 |  | 0 |  |  | 0
15mm speedfit cap ends | 954604 | 6 |  | 0 |  |  | 0
Compression overflow couplers Mcalpine | 896116 | 4 |  | 0 |  |  | 0
15mm end feed 90’ elbows | 950504 | 10 |  | 0 |  |  | 0
15mm end feed couplers | 954668 | 10 |  | 0 |  |  | 0
22mm end feed 90’ elbows | 950505 | 8 |  | 0 |  |  | 0
22mm end feed couplers | 950490 | 8 |  | 0 |  |  | 0
Lead free solder | 551627 | 1 |  | 0 |  |  | 0
Blue roll | 299574 | 1 |  | 0 |  |  | 0
Flux | 872744 | 1 |  | 0 |  |  | 0
Danfoss cp715si programmer Single | 390795 | 1 |  | 0 |  |  | 0
Danfoss fp715si programmer Double | 390794 | 1 |  | 0 |  |  | 0
Myson contract trv | 457755 | 2 |  | 0 |  |  | 0
Danfoss trv RAS-C2 | 850369 | 2 |  | 0 |  |  | 0
Drayton trv RT212 | 842100 | 2 |  | 0 |  |  | 0
Grundfoss ups2 pump 15/50 | 708951 | 1 |  | 0 |  |  | 0
22mm pump valves | 833111 | 2 |  | 0 |  |  | 0
22mm Honeywell zone valve V4043H | 833756 | 1 |  | 0 |  |  | 0
22mm Honeywell mid position valve V4073 | 833133 | 1 |  | 0 |  |  | 0
15mm ballafix valves | 961159 | 4 |  | 0 |  |  | 0
Drayton room thermostat RTS1 | 818674 | 2 |  | 0 |  |  | 0
Drayton mid position valve MA1/679-3 | 808784 | 1 |  | 0 |  |  | 0
Drayton LP111 Programmer | 214385 | 1 |  | 0 |  |  | 0
Honeywell cylinder thermostat |  | 1 |  | 0 |  |  | 0
Honeywell room thermostat T6360B | 833753 | 1 |  | 0 |  |  | 0
Syncro motors | 717387 | 2 |  | 0 |  |  | 0
Worcester greenstar pump kit | 87161063550 | 1 |  | 0 |  |  | 0
Worcester divertor stepper motor | 87161068470 | 1 |  | 0 |  |  | 0
Worcester greenstar fan assembly | 87161160670 | 1 |  | 0 |  |  | 0
Worcester greenstar electrode kit | 87161163810 | 1 |  | 0 |  |  | 0
Worcester greenstar prv | 87161064310 | 1 |  | 0 |  |  | 0
Worcester greenstar gas valve hose | 87161065050 | 1 |  | 0 |  |  | 0
Worcester greenstar auto air vent | 87161064450 | 1 |  | 0 |  |  | 0
Worcester greenstar flow turbine Oring | 87161064330 | 1 |  | 0 |  |  | 0
Ideal user control kit Icos | 173532 | 1 |  | 0 |  |  | 0
Ideal s trap kit | 174244 | 2 |  | 0 |  |  | 0
Ideal user control kit Isar | 173533 | 1 |  | 0 |  |  | 0
Ideal he ignition electrode | 173528 | 1 |  | 0 |  |  | 0
Ideal PRV | 170992 | 1 |  | 0 |  |  | 0
Ideal Dry fire stat | 170916 | 1 |  | 0 |  |  | 0
Ideal spark generator | 173538 | 1 |  | 0 |  |  | 0
Ideal divertor cartridge (plastic type) | 173624 | 1 |  | 0 |  |  | 0
Ideal user control housing | 173536 | 1 |  | 0 |  |  | 0
Ideal dhw heat exchanger | 170995 | 1 |  | 0 |  |  | 0
Ideal isar v9 PCB | 174486 | 1 |  | 0 |  |  | 0
Potterton prima burner gasket | 212085 | 1 |  | 0 |  |  | 0
Potterton suprima door seal | 237329 | 1 |  | 0 |  |  | 0
Baxi solo door seal | 237329 | 1 |  | 0 |  |  | 0
Inhibitor | 559308 | 1 |  | 0 |  |  | 0
Leak Seal | 830279 | 1 |  | 0 |  |  | 0
System Cleanse | 357344 | 1 |  | 0 |  |  | 0
15mm Ballcock Kit |  | 1 |  | 0 |  |  | 0
Ideal Insulation Kit HE Series | 173520 | 2 |  | 0 |  |  | 0
Ideal Insulation Kit m Series | 172626 | 2 |  | 0 |  |  | 0
|  |  | Grand Total | 0 |  | Alternative Total | 0

## 10C Gas-Super Stock Van Stock 1
Description | TP Part No. | Van Stock Qty | Unit Price | Total Price | Alternative Product Description | Alternative Price | Alternative Total
Temporary heaters | 716290 | 6 |  | 0 |  |  | 0
3amp fuses (per pack 5) | 773032 | 2 |  | 0 |  |  | 0
¾ inch sealing discs | 543534 | 10 |  | 0 |  |  | 0
1 inch sealing discs | 543537 | 10 |  | 0 |  |  | 0
External filling loops | 905399 | 2 |  | 0 |  |  | 0
Closure plate tape (10metre rolls) | 518694 | 2 |  | 0 |  |  | 0
Tracpipe tape | 760372 | 1 |  | 0 |  |  | 0
Smoke pellets (x100) | 865690 | 2 |  | 0 |  |  | 0
Smoke Matches | 876527 | 2 |  | 0 |  |  | 0
Gas on/off tape | 861557 | 1 |  | 0 |  |  | 0
Gas pipe label tape | 693351 | 1 |  | 0 |  |  | 0
4mm regin clear hose (manometer/drain tube) | 995402 | 1 |  | 0 |  |  | 0
Dust sheet small Regin service mat | 604726 | 1 |  | 0 |  |  | 0
Dust sheet medium cotton sheet | 902374 | 1 |  | 0 |  |  | 0
Air spray | 858518 | 1 |  | 0 |  |  | 0
Do not use labels | 150082 | 10 |  | 0 |  |  | 0
Co alarms | 287261 | 2 |  | 0 |  |  | 0
Smoke alarms | 745161 | 2 |  | 0 |  |  | 0
300mm x 300mm Hatch | 508309 | 1 |  | 0 |  |  | 0
Jubilee clips (pack 2) | 281805 | 2 |  | 0 |  |  | 0
¼ inch plugs | 754741 | 10 |  | 0 |  |  | 0
½ inch plugs | 754743 | 10 |  | 0 |  |  | 0
15mm cap ends | 954352 | 10 |  | 0 |  |  | 0
22mm cap ends | 954353 | 8 |  | 0 |  |  | 0
P.T.F.E tape | 149837 | 10 |  | 0 |  |  | 0
5 way connection plug |  | 5 |  | 0 |  |  | 0
Jet blue compound | 504492 | 1 |  | 0 |  |  | 0
Silicone grease | 866396 | 1 |  | 0 |  |  | 0
Non setting paste (FJC) | 845728 | 1 |  | 0 |  |  | 0
Fire cement (2kg) | 861486 | 1 |  | 0 |  |  | 0
Leak detector fluid | 814077 | 2 |  | 0 |  |  | 0
Solvent weld glue | 613637 | 1 |  | 0 |  |  | 0
Solvent weld overflow 90’ elbows | 402047 | 4 |  | 0 |  |  | 0
Solvent weld overflow inline couplers | 402034 | 4 |  | 0 |  |  | 0
Solvent weld 35mm couplers |  | 2 |  | 0 |  |  | 0
15mm copper tube | 701962 | 4 |  | 0 |  |  | 0
22mm copper tube | 119755 | 2 |  | 0 |  |  | 0
Overflow tube | 402028 | 2 |  | 0 |  |  | 0
15mm speedfit cap ends | 954604 | 6 |  | 0 |  |  | 0
Compression overflow couplers Mcalpine | 896116 | 4 |  | 0 |  |  | 0
15mm end feed 90’ elbows | 950504 | 10 |  | 0 |  |  | 0
15mm end feed couplers | 954668 | 10 |  | 0 |  |  | 0
22mm end feed 90’ elbows | 950505 | 8 |  | 0 |  |  | 0
22mm end feed couplers | 950490 | 8 |  | 0 |  |  | 0
Lead free solder | 551627 | 1 |  | 0 |  |  | 0
Blue roll | 299574 | 2 |  | 0 |  |  | 0
Flux | 872744 | 1 |  | 0 |  |  | 0
Danfoss cp715si programmer Single | 390795 | 1 |  | 0 |  |  | 0
Danfoss fp715si programmer Double | 390794 | 1 |  | 0 |  |  | 0
Myson contract trv | 457755 | 2 |  | 0 |  |  | 0
Danfoss trv ras-c2 | 850369 | 2 |  | 0 |  |  | 0
Drayton trv rt212 | 842100 | 2 |  | 0 |  |  | 0
Grundfoss ups2 pump 15/50 | 708951 | 1 |  | 0 |  |  | 0
22mm pump valves | 833111 | 2 |  | 0 |  |  | 0
22mm Honeywell zone valve | 833756 | 1 |  | 0 |  |  | 0
22mm Honeywell mid position valve | 833133 | 2 |  | 0 |  |  | 0
15mm ballafix valves | 961159 | 4 |  | 0 |  |  | 0
Drayton room thermostat | 818674 | 2 |  | 0 |  |  | 0
Drayton mid position valve | 808784 | 1 |  | 0 |  |  | 0
Drayton Lp111 Programmer | 214385 | 1 |  | 0 |  |  | 0
Honeywell cylinder thermostat | #N/A | 1 |  | 0 |  |  | 0
Honeywell room thermostat | 833753 | 2 |  | 0 |  |  | 0
Syncro motors | 717387 | 2 |  | 0 |  |  | 0
Honeywell ST9400C programmer twin | #N/A | 1 |  | 0 |  |  | 0
Honeywell ST9100C programmer single | #N/A | 1 |  | 0 |  |  | 0
Worcester greenstar pump kit | 87161063550 | 2 |  | 0 |  |  | 0
Worcester divertor stepper motor | 87161068470 | 2 |  | 0 |  |  | 0
Worcester greenstar fan assembly | 87161160670 | 2 |  | 0 |  |  | 0
Worcester greenstar electrode kit | 87161163810 | 2 |  | 0 |  |  | 0
Worcester greenstar prv | 87161064310 | 2 |  | 0 |  |  | 0
Worcester greenstar gas valve hose | 87161065050 | 2 |  | 0 |  |  | 0
Worcester greenstar auto air vent | 87161064450 | 2 |  | 0 |  |  | 0
Worcester plate heat exchanger | 87161066850 | 2 |  | 0 |  |  | 0
Worcester Expansion vessel | 87161055450 | 1 |  | 0 |  |  | 0
Worcester Gas valve sit | 87161113250 | 1 |  | 0 |  |  | 0
Worcester filling key | 87161045910 | 2 |  | 0 |  |  | 0
Worcester DHW sensor | 87145000810 | 1 |  | 0 |  |  | 0
Worcester pressure gauge | 87161164280 | 1 |  | 0 |  |  | 0
Worcester PCB | 87161095400 | 1 |  | 0 |  |  | 0
Worcester charging link assembly | 87161045920 | 1 |  | 0 |  |  | 0
Worcester badge kit | 87161068080 | 1 |  | 0 |  |  | 0
Worcester main heat exchanger | 87161157400 | 1 |  | 0 |  |  | 0
Worcester flow sensor | 87161157540 | 2 |  | 0 |  |  | 0
Worcester PCB 24i Junior | 87161095390 | 1 |  | 0 |  |  | 0
Worcester PCB greenstar RI | 87186871640 | 1 |  | 0 |  |  | 0
Worcester MT-10 timeswitch | 7716192036 | 1 |  | 0 |  |  | 0
Worcester greenstar left hand hydroblock | 87161063560 | 2 |  | 0 |  |  | 0
Worcester greenstar flow sensor adaptor | 87161064330 | 2 |  | 0 |  |  | 0
Ideal divertor cartridge brass type | 173967 | 1 |  | 0 |  |  | 0
Ideal expansion vessel | 170989 | 1 |  | 0 |  |  | 0
Ideal dry fire thermistor | 174087 | 1 |  | 0 |  |  | 0
Ideal gas valve kit | 171035 | 1 |  | 0 |  |  | 0
Ideal flame sensing electrode | 173529 | 1 |  | 0 |  |  | 0
Ideal detection lead | 173512 | 2 |  | 0 |  |  | 0
Ideal fan assembly early M3080 | 170909 | 1 |  | 0 |  |  | 0
Ideal electrode M series | 170919 | 1 |  | 0 |  |  | 0
Ideal auto air vent | 170988 | 2 |  | 0 |  |  | 0
Ideal PCB M series | 172490 | 1 |  | 0 |  |  | 0
Ideal control knob | 172491 | 2 |  | 0 |  |  | 0
Ideal pump kit | 173963 | 1 |  | 0 |  |  | 0
Ideal user control kit Icos | 173532 | 2 |  | 0 |  |  | 0
Ideal s trap kit | 174244 | 2 |  | 0 |  |  | 0
Ideal user control kit Isar | 173533 | 1 |  | 0 |  |  | 0
Ideal Dry fire stat | 170916 | 2 |  | 0 |  |  | 0
Ideal spark generator | 173538 | 1 |  | 0 |  |  | 0
Ideal isar divertor head kit | 173624 | 1 |  | 0 |  |  | 0
Ideal thermistor control kit | 170917 | 1 |  | 0 |  |  | 0
Ideal he ignition electrode | 173528 | 1 |  | 0 |  |  | 0
Ideal PRV | 170992 | 1 |  | 0 |  |  | 0
Ideal o ring kit | 171031 | 2 |  | 0 |  |  | 0
Ideal isar fan assembly | 172625 | 2 |  | 0 |  |  | 0
Ideal divertor cartridge (plastic type) | 174200 | 1 |  | 0 |  |  | 0
Ideal user control harness | 171041 | 1 |  | 0 |  |  | 0
Ideal DHW thermistor | 170996 | 1 |  | 0 |  |  | 0
Ideal dhw heat exchanger | 170995 | 2 |  | 0 |  |  | 0
Ideal isar v9 PCB | 174486 | 1 |  | 0 |  |  | 0
Ideal user control housing | 173536 | 2 |  | 0 |  |  | 0
Ideal logic water turbine | 175662 | 2 |  | 0 |  |  | 0
Ideal Heat engine HE isar/icos | 173554 | 1 |  | 0 |  |  | 0
Ideal divertor valve kit | 173624 | 1 |  | 0 |  |  | 0
Ideal divertor valve head red type | 173969 | 1 |  | 0 |  |  | 0
Ideal Thermistor boiler control | 170917 | 3 |  | 0 |  |  | 0
Ideal classic fan 30-80 | 171461 | 1 |  | 0 |  |  | 0
Ideal Classic PCB | 173799 | 1 |  | 0 |  |  | 0
Potterton prima burner gasket | 212085 | 1 |  | 0 |  |  | 0
Potterton suprima door seal | 237329 | 1 |  | 0 |  |  | 0
Potterton suprima PCB 30-100 | 5111603 | 1 |  | 0 |  |  | 0
Glowworm PCB twin fuse | S900847 | 1 |  | 0 |  |  | 0
Glowworm PCB single fuse | S900817 | 1 |  | 0 |  |  | 0
Glowworm Micron PCB | 2000801990 | 1 |  | 0 |  |  | 0
Glowwrom Micron thermistor | 2000802635 | 1 |  | 0 |  |  | 0
Baxi Solo 1,2,3 | 231711BAX | 1 |  | 0 |  |  | 0
Baxi solo door seal | 237329 | 1 |  | 0 |  |  | 0
Inhibitor | 559308 | 3 |  | 0 |  |  | 0
Leak Seal | 830279 | 3 |  | 0 |  |  | 0
System Cleanse | 357344 | 3 |  | 0 |  |  | 0
15MM Ballcock Valve kit |  | 1 |  | 0 |  |  | 0
Ideal Insulation Kit HE Series | 173520 | 2 |  | 0 |  |  | 0
Ideal Insulation Kit M Series | 172626 | 2 |  | 0 |  |  | 0
Worcester greenstar siphon | 87161066100 | 1 |  | 0 |  |  | 0
Worcester greenstar limit stat | 87229638580 | 1 |  | 0 |  |  | 0
Worcester greenstar ignition lead | 87161067390 | 1 |  | 0 |  |  | 0
Worcester greenstar limit stat | 87072061960 | 1 |  | 0 |  |  | 0
Worcester greenstar filling loop | 87161045920 | 1 |  | 0 |  |  | 0
Worcester greenstar heat engine | 87161157400 | 1 |  | 0 |  |  | 0
Worcester greenstar burner | 87181206190 | 1 |  | 0 |  |  | 0
Worcester greenstar gas valve | 87161113250 | 1 |  | 0 |  |  | 0
Worcester greenstar pcb ri | 87186871640 | 1 |  | 0 |  |  | 0
Worcester heat engine seal | 87101031910 | 1 |  | 0 |  |  | 0
Worcester greenstar case seal | 87161066350 | 1 |  | 0 |  |  | 0
Worcester greenstar badge | 87161068080 | 1 |  | 0 |  |  | 0
Worcester filling loop key kit | 87161211070 | 1 |  | 0 |  |  | 0
Worcester greenstar pump kit | 87161063550 | 1 |  | 0 |  |  | 0
Worcester divertor stepper motor | 87161068470 | 1 |  | 0 |  |  | 0
Worcester greenstar fan assembly | 87161160670 | 1 |  | 0 |  |  | 0
Worcester greenstar electrode kit | 87161163810 | 1 |  | 0 |  |  | 0
Worcester greenstar prv | 87161064310 | 1 |  | 0 |  |  | 0
Worcester greenstar gas valve hose | 87161065050 | 2 |  | 0 |  |  | 0
Worcester greenstar auto air vent | 87161064450 | 1 |  | 0 |  |  | 0
Worcester greenstar flow turbine Oring | 87161064330 | 1 |  | 0 |  |  | 0
Worcester greenstar left hand hydro block | 87161063560 | 1 |  | 0 |  |  | 0
Worcester greenstar plate heat exchanger | 87161066860 | 1 |  | 0 |  |  | 0
Worcester greenstar pump assembly | 87161063550 | 1 |  | 0 |  |  | 0
Worcester divertor stepper motor kit | 87161068450 | 1 |  | 0 |  |  | 0
Worcester mt10 programmer | 87161066630 | 1 |  | 0 |  |  | 0
Worcester greenstar flow sensor | 87161157540 | 1 |  | 0 |  |  | 0
Worcester greenstar terminal outlet | 87161112090 | 1 |  | 0 |  |  | 0
Worcester 4’’ flue bracket | 7716191177 | 3 |  | 0 |  |  | 0
Worcester 5’’ flue bracket | 7716191179 | 2 |  | 0 |  |  | 0
Potterton suprima door seal | 237329 | 1 |  | 0 |  |  | 0
Potterton prima burner gasket | 212085 | 1 |  | 0 |  |  | 0
Baxi solo door seal | 237329 | 1 |  | 0 |  |  | 0
Baxi solo he c/chamber seal kit | 242489 | 1 |  | 0 |  |  | 0
Baxi solo he electrode kit | 5110992 | 1 |  | 0 |  |  | 0
Baxi Duo tec diverter motor | 7216534 | 1 |  | 0 |  |  | 0
Baxi Duo tec Three way diverter valve | 5118381 | 1 |  | 0 |  |  | 0
Baxi Duo tec Dhw washer | 62695 | 2 |  | 0 |  |  | 0
Baxi Duo tec Dhw Sensor | 5114725 | 1 |  | 0 |  |  | 0
Baxi ignition electrode | 720222801 | 1 |  | 0 |  |  | 0
Baxi aav | 248043 | 1 |  | 0 |  |  | 0
Baxi Flue test point plug | 5113313 | 1 |  | 0 |  |  | 0
Glowworm test point cap | 20020502 | 1 |  | 0 |  |  | 0
Vaillant ecotec prv | 178985 | 1 |  | 0 |  |  | 0
Vaillant/glowworm main burner gasket | 20038679 | 2 |  | 0 |  |  | 0
Vaillant turbomax timer 110 | 994415 | 1 |  | 0 |  |  | 0
Vaillant ecotec timer 150 | 340151 | 1 |  | 0 |  |  | 0
Vaillant ecotec aav plastic | 104521 | 2 |  | 0 |  |  | 0
Vaillant ecotec pressure switch | 20059717 | 1 |  | 0 |  |  | 0
Vaillant ecotec condense trap kit | 180985 | 2 |  | 0 |  |  | 0
Vaillant control knob kit set 1 | 20048969 | 1 |  | 0 |  |  | 0
Vaillant control knob kit set 2 | 20074903 | 1 |  | 0 |  |  | 0
Vaillant filling loop handles | 20010292 | 1 |  | 0 |  |  | 0
Vaillant ecotec support | 193583 | 2 |  | 0 |  |  | 0
Vaillant 418 trap kit | 11547 | 1 |  | 0 |  |  | 0
Vaillant turbomax sample plug kit | 139472 | 2 |  | 0 |  |  | 0
Vaillant ecotec sample cap p5 | 147392 | 1 |  | 0 |  |  | 0
Vaillant ecotec pressure switch | 20059717 | 2 |  | 0 |  |  | 0
Vaillant turbomax plus dhw heat exchanger | 65131 | 1 |  | 0 |  |  | 0
Vaillant black rubber hose kit | 80387 | 2 |  | 0 |  |  | 0
Vaillant ecotec cold main filling valve | 20010295 | 1 |  | 0 |  |  | 0
Vaillant ecotec heating flow/filling valve | 20010291 | 1 |  | 0 |  |  | 0
Vaillant ecotec pcb | 20132764 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus pcb | 20034604 | 1 |  | 0 |  |  | 0
Vaillant brass aav | 61707 | 2 |  | 0 |  |  | 0
Vaillant ecotec pump assembly | 178983 | 1 |  | 0 |  |  | 0
Vaillant turbomax+/ ecomax divertor | 252457 | 1 |  | 0 |  |  | 0
Vaillant ecotec divertor kit | 20132682 | 2 |  | 0 |  |  | 0
Vaillant ecotec/ecomax expansion vessel | 181051 | 1 |  | 0 |  |  | 0
Vaillant turbomax prv | 190717 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus prv | 190732 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus NTC | 252805 | 1 |  | 0 |  |  | 0
Vaillant ecotec sump seal | 981329 | 1 |  | 0 |  |  | 0
Vaillant ecotec inner door seal | 981335 | 1 |  | 0 |  |  | 0
Vaillant ecotec heat engine 1 | 103411 | 1 |  | 0 |  |  | 0
Vaillant ecotec heat engine 2 | 20135131 | 1 |  | 0 |  |  | 0
Vaillant ecotec wiring loom | 193586 | 1 |  | 0 |  |  | 0
Vaillant ecotec dhw plate heat exchanger | 178973 | 1 |  | 0 |  |  | 0
Vaillant ecotec fan assembly | 193593 | 1 |  | 0 |  |  | 0
Vaillant ecotec gas valve | 20110996 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus pump assembly | 160928 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus fan assembly 1 | 20020008 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus fan assembly 2 | 190215 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus gas valve sit | 114189 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus gas valve honeywell | 53473 | 1 |  | 0 |  |  | 0
Baxi solo he pcb | 5121025 | 1 |  | 0 |  |  | 0
Baxi solo he door assembly panel | 720012201 | 1 |  | 0 |  |  | 0
Baxi solo he flow switch | 242459 | 1 |  | 0 |  |  | 0
Baxi duo tec gas valve | 720301001 |  |  | 0 |  |  | 0
Baxi duo tec burner gasket | 5114755 | 1 |  | 0 |  |  | 0
|  |  | Grand Total | 0 |  | Alternative Total | 0

## 10D Gas-Service & Repair 2
Description | TP Part No. | Van Stock Qty | Unit Price | Total Price | Alternative Product Description | Alternative Price | Alternative Total
Temporary heaters | 716290 | 6 |  | 0 |  |  | 0
3amp fuses (per pack 5) | 773032 | 2 |  | 0 |  |  | 0
¾ inch sealing discs | 543534 | 10 |  | 0 |  |  | 0
1 inch sealing discs | 543537 | 10 |  | 0 |  |  | 0
External filling loops | 905399 | 2 |  | 0 |  |  | 0
Closure plate tape (10metre rolls) | 518694 | 2 |  | 0 |  |  | 0
Tracpipe tape | 760372 | 1 |  | 0 |  |  | 0
Smoke pellets (x100) | 865690 | 2 |  | 0 |  |  | 0
Smoke Matches | 876527 | 2 |  | 0 |  |  | 0
Gas on/off tape | 861557 | 1 |  | 0 |  |  | 0
Gas pipe label tape | 693351 | 1 |  | 0 |  |  | 0
4mm regin clear hose (manometer/drain tube) | 995402 | 1 |  | 0 |  |  | 0
Dust sheet small Regin service mat | 604726 | 1 |  | 0 |  |  | 0
Dust sheet medium cotton sheet | 902374 | 1 |  | 0 |  |  | 0
Air spray | 858518 | 1 |  | 0 |  |  | 0
Do not use labels | 150082 | 10 |  | 0 |  |  | 0
Co alarms | 287261 | 2 |  | 0 |  |  | 0
Smoke alarms | 745161 | 2 |  | 0 |  |  | 0
300mm x 300mm Hatch | 508309 | 1 |  | 0 |  |  | 0
Jubilee clips (pack 2) | 281805 | 2 |  | 0 |  |  | 0
¼ inch plugs | 754741 | 10 |  | 0 |  |  | 0
½ inch plugs | 754743 | 10 |  | 0 |  |  | 0
15mm cap ends | 954352 | 10 |  | 0 |  |  | 0
22mm cap ends | 954353 | 8 |  | 0 |  |  | 0
P.T.F.E tape | 149837 | 10 |  | 0 |  |  | 0
5 way connection plug regin | 148922 | 1 |  | 0 |  |  | 0
Jet blue compound | 504492 | 1 |  | 0 |  |  | 0
Silicone grease | 866396 | 1 |  | 0 |  |  | 0
Non setting paste (FJC) | 845728 | 1 |  | 0 |  |  | 0
Fire cement (2kg) | 861486 | 1 |  | 0 |  |  | 0
Leak detector fluid | 814077 | 2 |  | 0 |  |  | 0
Solvent weld glue | 613637 | 1 |  | 0 |  |  | 0
Solvent weld overflow 90’ elbows | 402047 | 4 |  | 0 |  |  | 0
Solvent weld overflow inline couplers | 402034 | 4 |  | 0 |  |  | 0
Solvent weld 45 bend couplers | 402050 | 2 |  | 0 |  |  | 0
15mm copper tube | 701962 | 2 |  | 0 |  |  | 0
22mm copper tube | 119755 | 2 |  | 0 |  |  | 0
15mm ballafix valves | 961159 | 6 |  | 0 |  |  | 0
Overflow tube | 402028 | 2 |  | 0 |  |  | 0
15mm speedfit cap ends | 954604 | 6 |  | 0 |  |  | 0
Compression overflow couplers Mcalpine | 896116 | 4 |  | 0 |  |  | 0
15mm end feed 90’ elbows | 950504 | 10 |  | 0 |  |  | 0
15mm end feed couplers | 954668 | 10 |  | 0 |  |  | 0
22mm end feed 90’ elbows | 950505 | 8 |  | 0 |  |  | 0
22mm end feed couplers | 950490 | 8 |  | 0 |  |  | 0
Lead free solder | 551627 | 1 |  | 0 |  |  | 0
Blue roll | 299574 | 1 |  | 0 |  |  | 0
Flux | 872744 | 1 |  | 0 |  |  | 0
Danfoss cp715si programmer Single | 390795 | 1 |  | 0 |  |  | 0
Danfoss fp715si programmer Double | 390794 | 1 |  | 0 |  |  | 0
Honeywell single zone smart thermostat | 907063 | 1 |  | 0 |  |  | 0
Honeywell st9100a timer | 245811 | 1 |  | 0 |  |  | 0
Drayton Lp241 programmer | 25474 | 1 |  | 0 |  |  | 0
Honeywell st9400c 2 channel programmer | 245817 | 1 |  | 0 |  |  | 0
Honeywell trv vt15 | 853318 | 1 |  | 0 |  |  | 0
Myson contract trv | 457755 | 2 |  | 0 |  |  | 0
Danfoss trv ras-c2 | 850369 | 2 |  | 0 |  |  | 0
Drayton trv rt212 | 842100 | 2 |  | 0 |  |  | 0
Grundfoss ups2 pump 15/50 | 708951 | 1 |  | 0 |  |  | 0
22mm pump valves | 833111 | 2 |  | 0 |  |  | 0
22mm Honeywell zone valve | 833756 | 1 |  | 0 |  |  | 0
22mm Honeywell mid position valve | 833133 | 1 |  | 0 |  |  | 0
15mm ballafix valves | 961159 | 4 |  | 0 |  |  | 0
Part 2 Ball valve | 983285 | 1 |  | 0 |  |  | 0
Ball valve float | 991432 | 1 |  | 0 |  |  | 0
Drayton room thermostat | 818674 | 2 |  | 0 |  |  | 0
Drayton mid position valve | 808784 | 1 |  | 0 |  |  | 0
Drayton Lp111 Programmer | 214385 | 1 |  | 0 |  |  | 0
Honeywell cylinder thermostat L641A | 798621 | 1 |  | 0 |  |  | 0
Honeywell room thermostat | 833753 | 1 |  | 0 |  |  | 0
Syncro motors | 717387 | 2 |  | 0 |  |  | 0
Inhibitor | 559308 | 1 |  | 0 |  |  | 0
Leak Seal | 830279 | 1 |  | 0 |  |  | 0
System Cleanse | 357344 | 1 |  | 0 |  |  | 0
Gas seal | 745072 | 1 |  | 0 |  |  | 0
Regin boiler repair kit REG05 | 979057 | 1 |  | 0 |  |  | 0
Ideal logic ignition electrode | 175591 | 1 |  | 0 |  |  | 0
Ideal logic combi turbine | 175661 | 1 |  | 0 |  |  | 0
Ideal logic diverter head | 174813 | 1 |  | 0 |  |  | 0
Ideal logic ignitor unit | 175593 | 1 |  | 0 |  |  | 0
Ideal logic flame detection | 175592 | 1 |  | 0 |  |  | 0
Ideal logic water pressure switch | 175595 | 1 |  | 0 |  |  | 0
Ideal logic Plate heat exchanger | 175418 | 1 |  | 0 |  |  | 0
Ideal logic pump head | 175670 | 1 |  | 0 |  |  | 0
Ideal logic control knob kit | 177387 | 1 |  | 0 |  |  | 0
Ideal logic PCB | 175939 | 1 |  | 0 |  |  | 0
Ideal logic timer link | 175625 | 1 |  | 0 |  |  | 0
Ideal logic Trap | 175583 | 1 |  | 0 |  |  | 0
Ideal logic Diverter cartridge kit | 175668 | 1 |  | 0 |  |  | 0
Ideal logic aav | 174894 | 1 |  | 0 |  |  | 0
Ideal logic filling loop | 176671 | 1 |  | 0 |  |  | 0
Ideal Insulation Kit m Series | 172626 | 2 |  | 0 |  |  | 0
Ideal Insulation Kit HE Series | 173520 | 2 |  | 0 |  |  | 0
Ideal user control kit Icos | 173532 | 1 |  | 0 |  |  | 0
Ideal s trap kit | 174244 | 2 |  | 0 |  |  | 0
Ideal user control kit Isar | 173533 | 1 |  | 0 |  |  | 0
Ideal he ignition electrode | 173528 | 1 |  | 0 |  |  | 0
Ideal PRV | 170992 | 1 |  | 0 |  |  | 0
Ideal Dry fire stat | 170916 | 1 |  | 0 |  |  | 0
Ideal spark generator | 173538 | 1 |  | 0 |  |  | 0
Ideal divertor cartridge (plastic type) | 173624 | 1 |  | 0 |  |  | 0
Ideal user control housing | 173536 | 1 |  | 0 |  |  | 0
Ideal dhw heat exchanger | 170995 | 1 |  | 0 |  |  | 0
Ideal isar v9 PCB | 174486 | 1 |  | 0 |  |  | 0
Ideal brass style divertor assembly | 173967 | 1 |  | 0 |  |  | 0
Ideal isar fan assembly | 172625 | 1 |  | 0 |  |  | 0
Ideal o ring kit | 171031 | 1 |  | 0 |  |  | 0
Ideal isar dhw sensor | 170996 | 1 |  | 0 |  |  | 0
Ideal isar aav | 170988 | 1 |  | 0 |  |  | 0
Ideal pump kit | 170990 | 1 |  | 0 |  |  | 0
Ideal pcb user ctrls harness kit | 171041 | 1 |  | 0 |  |  | 0
Ideal isar flame sensor | 173529 | 1 |  | 0 |  |  | 0
Worcester condense trap washer top | 87161138330 | 3 |  | 0 |  |  | 0
Worcester condense trap washer bottom | 87161138510 | 3 |  | 0 |  |  | 0
Worcester flue point cap | 87161112520 | 2 |  | 0 |  |  | 0
Worcester flue sample point | 87105061990 | 2 |  | 0 |  |  | 0
Worcester greenstar control knob | 87120001290 | 2 |  | 0 |  |  | 0
Worcester heat engine seal | 87101031910 | 1 |  | 0 |  |  | 0
Worcester greenstar case seal | 87161066350 | 1 |  | 0 |  |  | 0
Worcester greenstar badge | 87161068080 | 1 |  | 0 |  |  | 0
Worcester filling loop key kit | 87161211070 | 1 |  | 0 |  |  | 0
Worcester greenstar pump kit | 87161063550 | 1 |  | 0 |  |  | 0
Worcester divertor stepper motor | 87161068470 | 1 |  | 0 |  |  | 0
Worcester greenstar fan assembly | 87161160670 | 1 |  | 0 |  |  | 0
Worcester greenstar electrode kit | 87161163810 | 1 |  | 0 |  |  | 0
Worcester greenstar prv | 87161064310 | 1 |  | 0 |  |  | 0
Worcester greenstar gas valve hose | 87161065050 | 2 |  | 0 |  |  | 0
Worcester greenstar auto air vent | 87161064450 | 1 |  | 0 |  |  | 0
Worcester greenstar flow turbine Oring | 87161064330 | 1 |  | 0 |  |  | 0
Worcester greenstar left hand hydro block | 87161063560 | 1 |  | 0 |  |  | 0
Worcester greenstar plate heat exchanger | 87161066850 | 1 |  | 0 |  |  | 0
Worcester greenstar pump assembly | 87161063550 | 1 |  | 0 |  |  | 0
Worcester divertor stepper motor kit | 87161068450 | 1 |  | 0 |  |  | 0
Worcester mt10 programmer | 87161066630 | 1 |  | 0 |  |  | 0
Worcester greenstar flow sensor | 87161157540 | 1 |  | 0 |  |  | 0
Worcester greenstar terminal outlet | 87161112090 | 1 |  | 0 |  |  | 0
Worcester 4’’ flue bracket | 7716191177 | 3 |  | 0 |  |  | 0
Worcester 5’’ flue bracket | 7716191179 | 2 |  | 0 |  |  | 0
Potterton suprima door seal | 237329 | 1 |  | 0 |  |  | 0
Potterton prima burner gasket | 212085 | 1 |  | 0 |  |  | 0
Baxi solo door seal | 237329 | 1 |  | 0 |  |  | 0
Baxi solo he c/chamber seal kit | 242489 | 1 |  | 0 |  |  | 0
Baxi solo he electrode kit | 5110992 | 1 |  | 0 |  |  | 0
Baxi Duo tec diverter motor | 7216534 | 1 |  | 0 |  |  | 0
Baxi Duo tec Three way diverter valve | 5118381 | 1 |  | 0 |  |  | 0
Baxi Duo tec Dhw washer | 62695 | 2 |  | 0 |  |  | 0
Baxi Duo tec Dhw Sensor | 5114725 | 1 |  | 0 |  |  | 0
Baxi ignition electrode | 720222801 | 1 |  | 0 |  |  | 0
Baxi aav | 248043 | 1 |  | 0 |  |  | 0
Baxi Flue test point plug | 5113313 | 1 |  | 0 |  |  | 0
Glowworm test point cap | 20020502 | 1 |  | 0 |  |  | 0
Vaillant ecotec prv | 178985 | 1 |  | 0 |  |  | 0
Vaillant/glowworm main burner gasket | 20038679 | 2 |  | 0 |  |  | 0
Vaillant turbomax timer 110 | 994415 | 1 |  | 0 |  |  | 0
Vaillant ecotec timer 150 | 340151 | 1 |  | 0 |  |  | 0
Vaillant ecotec aav plastic | 104521 | 2 |  | 0 |  |  | 0
Vaillant ecotec pressure switch | 20059717 | 1 |  | 0 |  |  | 0
Vaillant ecotec condense trap kit | 180985 | 2 |  | 0 |  |  | 0
Vaillant control knob kit set 1 | 20048969 | 1 |  | 0 |  |  | 0
Vaillant control knob kit set 2 | 20074903 | 1 |  | 0 |  |  | 0
Vaillant filling loop handles | 20010292 | 1 |  | 0 |  |  | 0
Vaillant ecotec support | 193583 | 2 |  | 0 |  |  | 0
Vaillant 418 trap kit | 11547 | 1 |  | 0 |  |  | 0
Vaillant turbomax sample plug kit | 139472 | 2 |  | 0 |  |  | 0
Vaillant ecotec sample cap p5 | 147392 | 1 |  | 0 |  |  | 0
Vaillant ecotec pressure switch | 20059717 | 2 |  | 0 |  |  | 0
Vaillant turbomax plus dhw heat exchanger | 65131 | 1 |  | 0 |  |  | 0
Vaillant black rubber hose kit | 80387 | 2 |  | 0 |  |  | 0
Vaillant ecotec cold main filling valve | 20010295 | 1 |  | 0 |  |  | 0
Vaillant ecotec heating flow/filling valve | 20010291 | 1 |  | 0 |  |  | 0
Vaillant ecotec pcb | 20132764 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus pcb | 20034604 | 1 |  | 0 |  |  | 0
Vaillant brass aav | 61707 | 2 |  | 0 |  |  | 0
Vaillant ecotec pump assembly | 178983 | 1 |  | 0 |  |  | 0
Vaillant turbomax+/ ecomax divertor | 252457 | 1 |  | 0 |  |  | 0
Vaillant ecotec divertor kit | 20132682 | 2 |  | 0 |  |  | 0
Vaillant ecotec/ecomax expansion vessel | 181051 | 1 |  | 0 |  |  | 0
Vaillant turbomax prv | 190717 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus prv | 190732 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus NTC | 252805 | 1 |  | 0 |  |  | 0
Vaillant ecotec sump seal | 981329 | 1 |  | 0 |  |  | 0
Vaillant ecotec inner door seal | 981335 | 1 |  | 0 |  |  | 0
|  |  | Grand Total | 0 |  | Alternative Total | 0

## 10E Gas-Service Van Stock 2
Description | TP Part No. | Van Stock Qty | Unit Price | Total Price | Alternative Product Description | Alternative Price | Alternative Total
Temporary heaters | 716290 | 6 |  | 0 |  |  | 0
3amp fuses (per pack 5) | 773032 | 2 |  | 0 |  |  | 0
¾ inch sealing discs | 543534 | 10 |  | 0 |  |  | 0
1 inch sealing discs | 543537 | 10 |  | 0 |  |  | 0
External filling loops | 905399 | 2 |  | 0 |  |  | 0
Closure plate tape (10metre rolls) | 518694 | 2 |  | 0 |  |  | 0
Tracpipe tape | 760372 | 1 |  | 0 |  |  | 0
Smoke pellets (x100) | 865690 | 2 |  | 0 |  |  | 0
Smoke Matches | 876527 | 2 |  | 0 |  |  | 0
Gas on/off tape | 861557 | 1 |  | 0 |  |  | 0
Gas pipe label tape | 693351 | 1 |  | 0 |  |  | 0
4mm regin clear hose (manometer/drain tube) | 995402 | 1 |  | 0 |  |  | 0
Dust sheet small Regin service mat | 604726 | 1 |  | 0 |  |  | 0
Dust sheet medium cotton sheet | 902374 | 1 |  | 0 |  |  | 0
Air spray | 858518 | 1 |  | 0 |  |  | 0
Do not use labels | 150082 | 10 |  | 0 |  |  | 0
Co alarms | 287261 | 2 |  | 0 |  |  | 0
Smoke alarms | 745161 | 2 |  | 0 |  |  | 0
300mm x 300mm Hatch | 508309 | 1 |  | 0 |  |  | 0
Jubilee clips (pack 2) | 281805 | 2 |  | 0 |  |  | 0
¼ inch plugs | 754741 | 10 |  | 0 |  |  | 0
½ inch plugs | 754743 | 10 |  | 0 |  |  | 0
15mm cap ends | 954352 | 10 |  | 0 |  |  | 0
22mm cap ends | 954353 | 8 |  | 0 |  |  | 0
P.T.F.E tape | 149837 | 10 |  | 0 |  |  | 0
5 way connection plug regin | 148922 | 1 |  | 0 |  |  | 0
Jet blue compound | 504492 | 1 |  | 0 |  |  | 0
Silicone grease | 866396 | 1 |  | 0 |  |  | 0
Non setting paste (FJC) | 845728 | 1 |  | 0 |  |  | 0
Fire cement (2kg) | 861486 | 1 |  | 0 |  |  | 0
Leak detector fluid | 814077 | 2 |  | 0 |  |  | 0
Solvent weld glue | 613637 | 1 |  | 0 |  |  | 0
Solvent weld overflow 90’ elbows | 402047 | 4 |  | 0 |  |  | 0
Solvent weld overflow inline couplers | 402034 | 4 |  | 0 |  |  | 0
Solvent weld 45 bend couplers | 402050 | 2 |  | 0 |  |  | 0
15mm copper tube | 701962 | 2 |  | 0 |  |  | 0
22mm copper tube | 119755 | 2 |  | 0 |  |  | 0
Overflow tube | 402028 | 2 |  | 0 |  |  | 0
15mm speedfit cap ends | 954604 | 6 |  | 0 |  |  | 0
Compression overflow couplers Mcalpine | 896116 | 4 |  | 0 |  |  | 0
15mm end feed 90’ elbows | 950504 | 10 |  | 0 |  |  | 0
15mm end feed couplers | 954668 | 10 |  | 0 |  |  | 0
22mm end feed 90’ elbows | 950505 | 8 |  | 0 |  |  | 0
22mm end feed couplers | 950490 | 8 |  | 0 |  |  | 0
Lead free solder | 551627 | 1 |  | 0 |  |  | 0
Blue roll | 299574 | 1 |  | 0 |  |  | 0
Flux | 872744 | 1 |  | 0 |  |  | 0
Danfoss cp715si programmer Single | 390795 | 1 |  | 0 |  |  | 0
Danfoss fp715si programmer Double | 390794 | 1 |  | 0 |  |  | 0
Myson contract trv | 457755 | 2 |  | 0 |  |  | 0
Danfoss trv ras-c2 | 850369 | 2 |  | 0 |  |  | 0
Drayton trv rt212 | 842100 | 2 |  | 0 |  |  | 0
Grundfoss ups2 pump 15/50 | 708951 | 1 |  | 0 |  |  | 0
22mm pump valves | 833111 | 2 |  | 0 |  |  | 0
22mm Honeywell zone valve | 833756 | 1 |  | 0 |  |  | 0
22mm Honeywell mid position valve | 833133 | 1 |  | 0 |  |  | 0
15mm ballafix valves | 961159 | 4 |  | 0 |  |  | 0
Drayton room thermostat | 818674 | 2 |  | 0 |  |  | 0
Drayton mid position valve | 808784 | 1 |  | 0 |  |  | 0
Drayton Lp111 Programmer | 214385 | 1 |  | 0 |  |  | 0
Honeywell cylinder thermostat L641A | 798621 | 1 |  | 0 |  |  | 0
Honeywell room thermostat | 833753 | 1 |  | 0 |  |  | 0
Syncro motors | 717387 | 2 |  | 0 |  |  | 0
Inhibitor | 559308 | 1 |  | 0 |  |  | 0
Leak Seal | 830279 | 1 |  | 0 |  |  | 0
System Cleanse | 357344 | 1 |  | 0 |  |  | 0
Gas seal | 745072 | 1 |  | 0 |  |  | 0
Regin boiler repair kit REG05 | 979057 | 1 |  | 0 |  |  | 0
Ideal logic ignition electrode | 175591 | 1 |  | 0 |  |  | 0
Ideal Insulation Kit m Series | 172626 | 2 |  | 0 |  |  | 0
Ideal Insulation Kit HE Series | 173520 | 2 |  | 0 |  |  | 0
Ideal user control kit Icos | 173532 | 1 |  | 0 |  |  | 0
Ideal s trap kit | 174244 | 2 |  | 0 |  |  | 0
Ideal user control kit Isar | 173533 | 1 |  | 0 |  |  | 0
Ideal he ignition electrode | 173528 | 1 |  | 0 |  |  | 0
Ideal PRV | 170992 | 1 |  | 0 |  |  | 0
Ideal Dry fire stat | 170916 | 1 |  | 0 |  |  | 0
Ideal spark generator | 173538 | 1 |  | 0 |  |  | 0
Ideal divertor cartridge (plastic type) | 173624 | 1 |  | 0 |  |  | 0
Ideal user control housing | 173536 | 1 |  | 0 |  |  | 0
Ideal dhw heat exchanger | 170995 | 1 |  | 0 |  |  | 0
Ideal isar v9 PCB | 174486 | 1 |  | 0 |  |  | 0
Ideal isar flame sencor | 173529 | 1 |  | 0 |  |  | 0
Ideal logic Flame detection | 175592 | 1 |  | 0 |  |  | 0
Ideal logic control knob kit | 177387 | 3 |  | 0 |  |  | 0
Worcester condense trap washer top | 87161138330 | 3 |  | 0 |  |  | 0
Worcester condense trap washer bottom | 87161138510 | 3 |  | 0 |  |  | 0
Worcester flue point cap | 87161112520 | 2 |  | 0 |  |  | 0
Worcester flue sample point | 87105061990 | 2 |  | 0 |  |  | 0
Worcester greenstar control knob | 87120001290 | 2 |  | 0 |  |  | 0
Worcester heat engine seal | 87101031910 | 1 |  | 0 |  |  | 0
Worcester greenstar case seal | 87161066350 | 1 |  | 0 |  |  | 0
Worcester greenstar badge | 87161068080 | 1 |  | 0 |  |  | 0
Worcester filling loop key kit | 87161211070 | 1 |  | 0 |  |  | 0
Worcester greenstar pump kit | 87161063550 | 1 |  | 0 |  |  | 0
Worcester divertor stepper motor | 87161068470 | 1 |  | 0 |  |  | 0
Worcester greenstar fan assembly | 87161160670 | 1 |  | 0 |  |  | 0
Worcester greenstar electrode kit | 87161163810 | 1 |  | 0 |  |  | 0
Worcester greenstar prv | 87161064310 | 1 |  | 0 |  |  | 0
Worcester greenstar gas valve hose | 87161065050 | 1 |  | 0 |  |  | 0
Worcester greenstar auto air vent | 87161064450 | 1 |  | 0 |  |  | 0
Worcester greenstar flow turbine Oring | 87161064330 | 1 |  | 0 |  |  | 0
Worcester greenstar terminal outlet | 87161112090 | 1 |  | 0 |  |  | 0
Worcester 4’’ flue bracket | 7716191177 | 3 |  | 0 |  |  | 0
Worcester 5’’ flue bracket | 7716191179 | 2 |  | 0 |  |  | 0
Potterton suprima door seal | 237329 | 1 |  | 0 |  |  | 0
Potterton prima burner gasket | 212085 | 1 |  | 0 |  |  | 0
Baxi solo door seal | 237329 | 1 |  | 0 |  |  | 0
Baxi Duo tec Dhw washer | 62695 | 2 |  | 0 |  |  | 0
Baxi Duo tec Dhw Sensor | 5114725 | 1 |  | 0 |  |  | 0
Baxi ignition electrode | 720222801 | 1 |  | 0 |  |  | 0
Baxi aav | 248043 | 1 |  | 0 |  |  | 0
Baxi Flue test point plug | 5113313 | 1 |  | 0 |  |  | 0
Glowworm test point cap | 20020502 | 1 |  | 0 |  |  | 0
Vaillant ecotec prv | 178985 | 1 |  | 0 |  |  | 0
Vaillant/glowworm main burner gasket | 20038679 | 2 |  | 0 |  |  | 0
Vaillant turbomax timer 110 | 994415 | 1 |  | 0 |  |  | 0
Vaillant ecotec timer 150 | 340151 | 1 |  | 0 |  |  | 0
Vaillant ecotec aav plastic | 104521 | 2 |  | 0 |  |  | 0
Vaillant ecotec pressure switch | 20059717 | 1 |  | 0 |  |  | 0
Vaillant ecotec condense trap kit | 180985 | 2 |  | 0 |  |  | 0
Vaillant control knob kit set 1 | 20048969 | 1 |  | 0 |  |  | 0
Vaillant control knob kit set 2 | 20074903 | 1 |  | 0 |  |  | 0
Vaillant filling loop handles | 20010292 | 1 |  | 0 |  |  | 0
Vaillant ecotec support | 193583 | 2 |  | 0 |  |  | 0
Vaillant 418 trap kit | 11547 | 1 |  | 0 |  |  | 0
Vaillant turbomax sample plug kit | 139472 | 2 |  | 0 |  |  | 0
Vaillant ecotec sample cap p5 | 147392 | 1 |  | 0 |  |  | 0
Part 2 ball valve | 983285 | 1 |  | 0 |  |  | 0
Ball valve float | 991432 | 1 |  | 0 |  |  | 0
|  |  | Grand Total | 0 |  | Alternative Total | 0

## 10F Gas-Super Stock Van Stock 2
Description | TP Part No. | Van Stock Qty | Unit Price | Total Price | Alternative Product Description | Alternative Price | Alternative Total
Temporary heaters | 716290 | 6 |  | 0 |  |  | 0
3amp fuses (per pack 5) | 773032 | 2 |  | 0 |  |  | 0
¾ inch sealing discs | 543534 | 10 |  | 0 |  |  | 0
1 inch sealing discs | 543537 | 10 |  | 0 |  |  | 0
External filling loops | 905399 | 2 |  | 0 |  |  | 0
Closure plate tape (10metre rolls) | 518694 | 2 |  | 0 |  |  | 0
Tracpipe tape | 760372 | 1 |  | 0 |  |  | 0
Smoke pellets (x100) | 865690 | 2 |  | 0 |  |  | 0
Smoke Matches | 876527 | 2 |  | 0 |  |  | 0
Gas on/off tape | 861557 | 1 |  | 0 |  |  | 0
Gas pipe label tape | 693351 | 1 |  | 0 |  |  | 0
4mm regin clear hose (manometer/drain tube) | 995402 | 1 |  | 0 |  |  | 0
Dust sheet small Regin service mat | 604726 | 1 |  | 0 |  |  | 0
Dust sheet medium cotton sheet | 902374 | 1 |  | 0 |  |  | 0
Air spray | 858518 | 1 |  | 0 |  |  | 0
Do not use labels | 150082 | 10 |  | 0 |  |  | 0
Co alarms | 287261 | 2 |  | 0 |  |  | 0
Smoke alarms | 745161 | 2 |  | 0 |  |  | 0
300mm x 300mm Hatch | 508309 | 1 |  | 0 |  |  | 0
Jubilee clips (pack 2) | 281805 | 2 |  | 0 |  |  | 0
¼ inch plugs | 754741 | 10 |  | 0 |  |  | 0
½ inch plugs | 754743 | 10 |  | 0 |  |  | 0
15mm cap ends | 954352 | 10 |  | 0 |  |  | 0
22mm cap ends | 954353 | 8 |  | 0 |  |  | 0
P.T.F.E tape | 149837 | 10 |  | 0 |  |  | 0
5 way connection plug regin | 148922 | 1 |  | 0 |  |  | 0
Jet blue compound | 504492 | 1 |  | 0 |  |  | 0
Silicone grease | 866396 | 1 |  | 0 |  |  | 0
Non setting paste (FJC) | 845728 | 1 |  | 0 |  |  | 0
Fire cement (2kg) | 861486 | 1 |  | 0 |  |  | 0
Leak detector fluid | 814077 | 2 |  | 0 |  |  | 0
Solvent weld glue | 613637 | 1 |  | 0 |  |  | 0
Solvent weld overflow 90’ elbows | 402047 | 4 |  | 0 |  |  | 0
Solvent weld overflow inline couplers | 402034 | 4 |  | 0 |  |  | 0
Solvent weld 45 bend couplers | 402050 | 2 |  | 0 |  |  | 0
15mm copper tube | 701962 | 2 |  | 0 |  |  | 0
22mm copper tube | 119755 | 2 |  | 0 |  |  | 0
15mm ballafix valves | 961159 | 6 |  | 0 |  |  | 0
Overflow tube | 402028 | 2 |  | 0 |  |  | 0
15mm speedfit cap ends | 954604 | 6 |  | 0 |  |  | 0
Compression overflow couplers Mcalpine | 896116 | 4 |  | 0 |  |  | 0
15mm end feed 90’ elbows | 950504 | 10 |  | 0 |  |  | 0
15mm end feed couplers | 954668 | 10 |  | 0 |  |  | 0
22mm end feed 90’ elbows | 950505 | 8 |  | 0 |  |  | 0
22mm end feed couplers | 950490 | 8 |  | 0 |  |  | 0
Lead free solder | 551627 | 1 |  | 0 |  |  | 0
Blue roll | 299574 | 1 |  | 0 |  |  | 0
Flux | 872744 | 1 |  | 0 |  |  | 0
Danfoss cp715si programmer Single | 390795 | 1 |  | 0 |  |  | 0
Danfoss fp715si programmer Double | 390794 | 1 |  | 0 |  |  | 0
Honeywell single zone smart thermostat | 907063 | 1 |  | 0 |  |  | 0
Honeywell st9100a timer | 245811 | 1 |  | 0 |  |  | 0
Drayton Lp241 programmer | 25474 | 1 |  | 0 |  |  | 0
Honeywell st9400c 2 channel programmer | 245817 | 1 |  | 0 |  |  | 0
Honeywell trv vt15 | 853318 | 1 |  | 0 |  |  | 0
Myson contract trv | 457755 | 2 |  | 0 |  |  | 0
Danfoss trv ras-c2 | 850369 | 2 |  | 0 |  |  | 0
Drayton trv rt212 | 842100 | 2 |  | 0 |  |  | 0
Grundfoss ups2 pump 15/50 | 708951 | 1 |  | 0 |  |  | 0
22mm pump valves | 833111 | 2 |  | 0 |  |  | 0
22mm Honeywell zone valve | 833756 | 1 |  | 0 |  |  | 0
22mm Honeywell mid position valve | 833133 | 1 |  | 0 |  |  | 0
15mm ballafix valves | 961159 | 4 |  | 0 |  |  | 0
Part 2 Ball valve | 983285 | 1 |  | 0 |  |  | 0
Ball valve float | 991432 | 1 |  | 0 |  |  | 0
Drayton room thermostat | 818674 | 2 |  | 0 |  |  | 0
Drayton mid position valve | 808784 | 1 |  | 0 |  |  | 0
Drayton Lp111 Programmer | 214385 | 1 |  | 0 |  |  | 0
Honeywell cylinder thermostat L641A | 798621 | 1 |  | 0 |  |  | 0
Honeywell room thermostat | 833753 | 1 |  | 0 |  |  | 0
Syncro motors | 717387 | 2 |  | 0 |  |  | 0
Inhibitor | 559308 | 1 |  | 0 |  |  | 0
Leak Seal | 830279 | 1 |  | 0 |  |  | 0
System Cleanse | 357344 | 1 |  | 0 |  |  | 0
Gas seal | 745072 | 1 |  | 0 |  |  | 0
Regin boiler repair kit REG05 | 979057 | 1 |  | 0 |  |  | 0
Ideal logic ignition electrode | 175591 | 1 |  | 0 |  |  | 0
Ideal logic combi turbine | 175661 | 1 |  | 0 |  |  | 0
Ideal logic diverter head | 174813 | 1 |  | 0 |  |  | 0
Ideal logic ignitor unit | 175593 | 1 |  | 0 |  |  | 0
Ideal logic flame detection | 175592 | 1 |  | 0 |  |  | 0
Ideal logic water pressure switch | 175595 | 1 |  | 0 |  |  | 0
Ideal logic Plate heat exchanger | 175418 | 1 |  | 0 |  |  | 0
Ideal logic bcc pcb clip | 175932 | 1 |  | 0 |  |  | 0
Ideal logic bcc pcb clip | 175933 | 1 |  | 0 |  |  | 0
Ideal logic bcc pcb clip | 175934 | 1 |  | 0 |  |  | 0
Ideal logic bcc pcb clip | 176399 | 1 |  | 0 |  |  | 0
Ideal logic bcc pcb clip | 176400 | 1 |  | 0 |  |  | 0
Ideal logic bcc pcb clip | 176401 | 1 |  | 0 |  |  | 0
Ideal logic bcc pcb clip | 176152 | 1 |  | 0 |  |  | 0
Ideal logic bcc pcb clip | 176153 | 1 |  | 0 |  |  | 0
Ideal logic bcc pcb clip | 176154 | 1 |  | 0 |  |  | 0
Ideal logic ignition lead | 175598 | 1 |  | 0 |  |  | 0
Ideal logic flue clamp | 175581 | 1 |  | 0 |  |  | 0
Ideal logic heat engine kit | 175615 | 1 |  | 0 |  |  | 0
Ideal logic return group kit | 175552 | 1 |  | 0 |  |  | 0
Ideal logic Detection lead | 175604 | 1 |  | 0 |  |  | 0
Ideal logic heat engine gasket kit | 175618 | 1 |  | 0 |  |  | 0
Ideal logic expansion vessel | 175551 | 1 |  | 0 |  |  | 0
Ideal logic fan assembly | 175569 | 1 |  | 0 |  |  | 0
Ideal logic wiring grommet | 175672 | 1 |  | 0 |  |  | 0
Ideal logic flow group kit | 175553 | 1 |  | 0 |  |  | 0
Ideal logic pump head | 175670 | 1 |  | 0 |  |  | 0
Ideal logic control knob kit | 177387 | 1 |  | 0 |  |  | 0
Ideal logic PCB | 175939 | 1 |  | 0 |  |  | 0
Ideal logic timer link | 175625 | 1 |  | 0 |  |  | 0
Ideal logic Trap | 175583 | 1 |  | 0 |  |  | 0
Ideal logic Diverter cartridge kit | 175668 | 1 |  | 0 |  |  | 0
Ideal logic aav | 174894 | 1 |  | 0 |  |  | 0
Ideal logic filling loop | 176671 | 1 |  | 0 |  |  | 0
Ideal Insulation Kit m Series | 172626 | 2 |  | 0 |  |  | 0
Ideal Insulation Kit HE Series | 173520 | 2 |  | 0 |  |  | 0
Ideal user control kit Icos | 173532 | 1 |  | 0 |  |  | 0
Ideal s trap kit | 174244 | 2 |  | 0 |  |  | 0
Ideal user control kit Isar | 173533 | 1 |  | 0 |  |  | 0
Ideal he ignition electrode | 173528 | 1 |  | 0 |  |  | 0
Ideal PRV | 170992 | 1 |  | 0 |  |  | 0
Ideal Dry fire stat | 170916 | 1 |  | 0 |  |  | 0
Ideal spark generator | 173538 | 1 |  | 0 |  |  | 0
Ideal divertor cartridge (plastic type) | 173624 | 1 |  | 0 |  |  | 0
Ideal user control housing | 173536 | 1 |  | 0 |  |  | 0
Ideal dhw heat exchanger | 170995 | 1 |  | 0 |  |  | 0
Ideal isar v9 PCB | 174486 | 1 |  | 0 |  |  | 0
Ideal brass style divertor assembly | 173967 | 1 |  | 0 |  |  | 0
Ideal isar fan assembly | 172625 | 1 |  | 0 |  |  | 0
Ideal o ring kit | 171031 | 1 |  | 0 |  |  | 0
Ideal isar dhw sensor | 170996 | 1 |  | 0 |  |  | 0
Ideal isar aav | 170988 | 1 |  | 0 |  |  | 0
Ideal pump kit | 170990 | 1 |  | 0 |  |  | 0
Ideal pcb user ctrls harness kit | 171041 | 1 |  | 0 |  |  | 0
Ideal isar flame sensor | 173529 | 1 |  | 0 |  |  | 0
Worcester condense trap washer top | 87161138330 | 3 |  | 0 |  |  | 0
Worcester condense trap washer bottom | 87161138510 | 3 |  | 0 |  |  | 0
Worcester flue point cap | 87161112520 | 2 |  | 0 |  |  | 0
Worcester flue sample point | 87105061990 | 2 |  | 0 |  |  | 0
Worcester greenstar control knob | 87120001290 | 2 |  | 0 |  |  | 0
Worcester greenstar righthand hydro block | 87161064420 | 1 |  | 0 |  |  | 0
Worcester greenstar pcb | 87161095390 | 1 |  | 0 |  |  | 0
Worcester greenstar gauge | 87172081070 | 1 |  | 0 |  |  | 0
Worcester greenstar siphon | 87161066100 | 1 |  | 0 |  |  | 0
Worcester greenstar limit stat | 87229638580 | 1 |  | 0 |  |  | 0
Worcester greenstar ignition lead | 87161067390 | 1 |  | 0 |  |  | 0
Worcester greenstar limit stat | 87072061960 | 1 |  | 0 |  |  | 0
Worcester greenstar filling loop | 87161045920 | 1 |  | 0 |  |  | 0
Worcester greenstar heat engine | 87161157400 | 1 |  | 0 |  |  | 0
Worcester greenstar burner | 87181206190 | 1 |  | 0 |  |  | 0
Worcester greenstar gas valve | 87161113250 | 1 |  | 0 |  |  | 0
Worcester greenstar pcb ri | 87186871640 | 1 |  | 0 |  |  | 0
Worcester heat engine seal | 87101031910 | 1 |  | 0 |  |  | 0
Worcester greenstar case seal | 87161066350 | 1 |  | 0 |  |  | 0
Worcester greenstar badge | 87161068080 | 1 |  | 0 |  |  | 0
Worcester filling loop key kit | 87161211070 | 1 |  | 0 |  |  | 0
Worcester greenstar pump kit | 87161063550 | 1 |  | 0 |  |  | 0
Worcester divertor stepper motor | 87161068470 | 1 |  | 0 |  |  | 0
Worcester greenstar fan assembly | 87161160670 | 1 |  | 0 |  |  | 0
Worcester greenstar electrode kit | 87161163810 | 1 |  | 0 |  |  | 0
Worcester greenstar prv | 87161064310 | 1 |  | 0 |  |  | 0
Worcester greenstar gas valve hose | 87161065050 | 2 |  | 0 |  |  | 0
Worcester greenstar auto air vent | 87161064450 | 1 |  | 0 |  |  | 0
Worcester greenstar flow turbine Oring | 87161064330 | 1 |  | 0 |  |  | 0
Worcester greenstar left hand hydro block | 87161063560 | 1 |  | 0 |  |  | 0
Worcester greenstar plate heat exchanger | 87161066860 | 1 |  | 0 |  |  | 0
Worcester greenstar pump assembly | 87161063550 | 1 |  | 0 |  |  | 0
Worcester divertor stepper motor kit | 87161068450 | 1 |  | 0 |  |  | 0
Worcester mt10 programmer | 87161066630 | 1 |  | 0 |  |  | 0
Worcester greenstar flow sensor | 87161157540 | 1 |  | 0 |  |  | 0
Worcester greenstar terminal outlet | 87161112090 | 1 |  | 0 |  |  | 0
Worcester 4’’ flue bracket | 7716191177 | 3 |  | 0 |  |  | 0
Worcester 5’’ flue bracket | 7716191179 | 2 |  | 0 |  |  | 0
Potterton suprima door seal | 237329 | 1 |  | 0 |  |  | 0
Potterton prima burner gasket | 212085 | 1 |  | 0 |  |  | 0
Baxi solo door seal | 237329 | 1 |  | 0 |  |  | 0
Baxi solo he c/chamber seal kit | 242489 | 1 |  | 0 |  |  | 0
Baxi solo he electrode kit | 5110992 | 1 |  | 0 |  |  | 0
Baxi Duo tec diverter motor | 7216534 | 1 |  | 0 |  |  | 0
Baxi Duo tec Three way diverter valve | 5118381 | 1 |  | 0 |  |  | 0
Baxi Duo tec Dhw washer | 62695 | 2 |  | 0 |  |  | 0
Baxi Duo tec Dhw Sensor | 5114725 | 1 |  | 0 |  |  | 0
Baxi ignition electrode | 720222801 | 1 |  | 0 |  |  | 0
Baxi aav | 248043 | 1 |  | 0 |  |  | 0
Baxi Flue test point plug | 5113313 | 1 |  | 0 |  |  | 0
Glowworm test point cap | 20020502 | 1 |  | 0 |  |  | 0
Vaillant ecotec prv | 178985 | 1 |  | 0 |  |  | 0
Vaillant/glowworm main burner gasket | 20038679 | 2 |  | 0 |  |  | 0
Vaillant turbomax timer 110 | 994415 | 1 |  | 0 |  |  | 0
Vaillant ecotec timer 150 | 340151 | 1 |  | 0 |  |  | 0
Vaillant ecotec aav plastic | 104521 | 2 |  | 0 |  |  | 0
Vaillant ecotec pressure switch | 20059717 | 1 |  | 0 |  |  | 0
Vaillant ecotec condense trap kit | 180985 | 2 |  | 0 |  |  | 0
Vaillant control knob kit set 1 | 20048969 | 1 |  | 0 |  |  | 0
Vaillant control knob kit set 2 | 20074903 | 1 |  | 0 |  |  | 0
Vaillant filling loop handles | 20010292 | 1 |  | 0 |  |  | 0
Vaillant ecotec support | 193583 | 2 |  | 0 |  |  | 0
Vaillant 418 trap kit | 11547 | 1 |  | 0 |  |  | 0
Vaillant turbomax sample plug kit | 139472 | 2 |  | 0 |  |  | 0
Vaillant ecotec sample cap p5 | 147392 | 1 |  | 0 |  |  | 0
Vaillant ecotec pressure switch | 20059717 | 2 |  | 0 |  |  | 0
Vaillant turbomax plus dhw heat exchanger | 65131 | 1 |  | 0 |  |  | 0
Vaillant black rubber hose kit | 80387 | 2 |  | 0 |  |  | 0
Vaillant ecotec cold main filling valve | 20010295 | 1 |  | 0 |  |  | 0
Vaillant ecotec heating flow/filling valve | 20010291 | 1 |  | 0 |  |  | 0
Vaillant ecotec pcb | 20132764 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus pcb | 20034604 | 1 |  | 0 |  |  | 0
Vaillant brass aav | 61707 | 2 |  | 0 |  |  | 0
Vaillant ecotec pump assembly | 178983 | 1 |  | 0 |  |  | 0
Vaillant turbomax+/ ecomax divertor | 252457 | 1 |  | 0 |  |  | 0
Vaillant ecotec divertor kit | 20132682 | 2 |  | 0 |  |  | 0
Vaillant ecotec/ecomax expansion vessel | 181051 | 1 |  | 0 |  |  | 0
Vaillant turbomax prv | 190717 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus prv | 190732 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus NTC | 252805 | 1 |  | 0 |  |  | 0
Vaillant ecotec sump seal | 981329 | 1 |  | 0 |  |  | 0
Vaillant ecotec inner door seal | 981335 | 1 |  | 0 |  |  | 0
Vaillant ecotec heat engine 1 | 103411 | 1 |  | 0 |  |  | 0
Vaillant ecotec heat engine 2 | 20135131 | 1 |  | 0 |  |  | 0
Vaillant ecotec wiring loom | 193586 | 1 |  | 0 |  |  | 0
Vaillant ecotec dhw plate heat exchanger | 178973 | 1 |  | 0 |  |  | 0
Vaillant ecotec fan assembly | 193593 | 1 |  | 0 |  |  | 0
Vaillant ecotec gas valve | 20110996 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus pump assembly | 160928 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus fan assembly 1 | 20020008 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus fan assembly 2 | 190215 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus gas valve sit | 114189 | 1 |  | 0 |  |  | 0
Vaillant turbomax plus gas valve honeywell | 53473 | 1 |  | 0 |  |  | 0
Baxi solo he pcb | 5121025 | 1 |  | 0 |  |  | 0
Baxi solo he door assembly panel | 720012201 | 1 |  | 0 |  |  | 0
Baxi solo he flow switch | 242459 | 1 |  | 0 |  |  | 0
Baxi duo tec gas valve | 720301001 |  |  | 0 |  |  | 0
Baxi duo tec burner gasket | 5114755 | 1 |  | 0 |  |  | 0
|  |  | Grand Total | 0 |  | Alternative Total | 0