Clarification Questions

*How many automated vehicles gates are there? No number is specified in this section of Appendix E”*

2

*“Can you clarify that all CCTV and Access Control network cabling, including providing the 12U network cabinet, UPS and the links into the college’s network are to be provided by the contactor?”*

Yes, contractor to provide

*“NVRs are to be 32-channel models, can a 64-channel model be suggested instead or does the CCTV require splitting across 2 NVRs for redundancy?”*

Specified like this for ease and cross college continuity, but if there is a space where 64 would work better then happy to accept suggestions.

*“Access Control Doors – There are 25 door photos, but only 22 doors marked out on the site plan in Appendix E. Can you confirm the amount of doors please? Also, they all appear to be external doors so these will these all require reader in, reader out?”*

25 doors required – additional doors dropped off drawing – these can be show on a site visit. In out readers on all doors

*“Can we have the dimensions of the spaces for both locations for the speed gates please?”*

4.2m on main corridor side and 2.8m on the cafe side

*Can alternate cameras be specified?*

The college would happily accept any cameras of an equivalent spec.

*Can you confirm if NSI (NACOSS) Gold Accreditation will be accepted in place of SSAIB*

We would accept this as an alternative