A
Technical

Wolston Parish Council – Streetlight Replacement and Upgrade

Invitation to Tender

WORK A: Invitation to tender for conversion of streetlights to LED

Technical proposals – this document should not contain any price information.
Tenders shall be submitted to: tenders@wolstonpc.co.uk, to be received
no later the 2359h on 16th July 2021.

Name of Contractor submitting the tender:

Email address to which all correspondence should be addressed:

Contractor is encouraged to use the table below to summarise its responses, which is provided to enable ease of comparison when bid are evaluated. Contractor is also reminded that full supporting documents and evidence, where appropriate, should also be submitted.

Technical proposal

| 1 | Number of luminaires proposed to replace with LED |  |
| --- | --- | --- |
| 2 | Description or link to specification sheet of proposed luminaire and all associated fittings |  |
| 3 | Number of luminaires on wooden poles or brackets that require special fixing |  |
| 4 | Number of luminaires on concrete columns that require a sleeve |  |
| 5 | Proposed method and scheme for re-numbering all columns |  |
| 6 | Proposed method for obtaining the required geo-location data for all columns |  |
| 7 | Standard to be used for the electrical inspection of all columns |  |
| 8 | Details of luminaire optic types available, together with an isolux drawing for each optic type |  |
| 9 | Proposals and justification for any changes or upgrade to the existing 9 LED streetlights |  |

Total bid £

It is acknowledged that some details and prices may be subject to fluctuation depending on findings from the post-award site survey.

B
Technical

Wolston Parish Council – Streetlight Replacement and Upgrade

Invitation to Tender

WORK B: Invitation to Tender for replacement of concrete columns with steel

Technical proposals – this document should not contain any price information.
Tenders shall be submitted to: tenders@wolstonpc.co.uk, to be received
no later the 2359h on 16th July 2021.

Name of Contractor submitting the tender:

Email address to which all correspondence should be addressed:

Contractor is encouraged to use the table below to summarise its responses, which is provided to enable ease of comparison when bid are evaluated. Contractor is also reminded that full supporting documents and evidence, where appropriate, should also be submitted.

Technical Proposal

| 1 |  |  |
| --- | --- | --- |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
| 6 |  |  |
| 7 |  |  |

Wolston Parish Council – Streetlight Replacement and Upgrade

C

Technical

Invitation to Tender

WORK C: Invitation to Tender for annual streetlight maintenance contract

Technical proposals – this document should not contain any price information.
Tenders shall be submitted to: tenders@wolstonpc.co.uk, to be received
no later the 2359h on 16th July 2021.

Name of Contractor submitting the tender:

Email address to which all correspondence should be addressed:

Contractor is encouraged to use the table below to summarise its responses, which is provided to enable ease of comparison when bid are evaluated. Contractor is also reminded that full supporting documents and evidence, where appropriate, should also be submitted.

Technical proposal

| 1 |  |  |
| --- | --- | --- |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
| 6 |  |  |
| 7 |  |  |