## Spec
APPENDIX 5 - PRICING DOCUMENT - REV 1
Site: |  | Swinbrook Estate, Acklam Road
Project: |  | Swinbrook Estate Greening Project
Address: |  | Swinbrook Estate Acklam Rd, London W10 5YU
Job Ref: |  | Works Package: (A) Hard Landscaping Works
Issue Date: |  | 2021-07-09
Consult End Date |  | XX/07/2021
| Preliminaries |  | Approx Quantity | Item | Rate (£) | Priced Item
| 1 | COMMENCEMENT OF WORK The Contractor will be held responsible for arranging the date of the commencement of the work with the person in charge of the premises or their representative at least fourteen days in advance and shall give ten days’ notice in writing to the Surveying Team Leader of these arrangements. | 1 | ITEM |  | 0
| 1.1 | SAFETY AND WELFARE OF WORKMAN The Contractor’s attention is particularly drawn to the clause relating to the “Safety and Welfare of Workmen” in the General Conditions and Preliminaries and must allow in his tender for the complying with the regulations as will be required on this contract. | 1 | ITEM |  | 0
| 1.2 | GENERAL HEALTH AND SAFETY The site is to be maintained as a clean area at all times free of any litter or debris. The Contractor is to ensure that all public areas and pathways are left clear and free of hazards at all times and leave the premises clean and tidy on completion of the work. The Contractor is to provide suitable first aid facilities on site. The Contractor is to ensure that all personnel are provided with, and instructed to wear, proprietary head protection where and whenever there is a risk of injury. The Contractor is to provide his own toilet facilities to be located within the compound area, suitably ‘plumbed in’ to adequate services with the manhole securely boarded over. If the premises management agree to provide in-house toilet facilities, the Contractor is to ensure that such facilities and access to and from them, are maintained with all due care and ‘left as found’ on completion of the contract. | 1 | ITEM |  | 0
| 1.3 | LEGISLATION The Contractor’s attention is drawn to the following Health, Safety and Welfare Legislation: The Health and Safety at Work Act 1974 Construction and Design Management Regulations 2015 Construction (Health Safety and Welfare) Regulations 1996 Lifting Operations Regulations 2006 Personal and Protective Equipment Third Edition 2015 The Construction (Lifting Operations) The Construction Head Protection Regulations 1989 The Construction Head Protection Regulations 1990 The Construction Head Protection Regulations 1991 The Electricity at Work Regulations 1989 The Fire Precautions Act: 1971 This is not a complete list of the relevant legislation and is presented only as a guide to assist the Contractor. 1.7 SPECIFIC HEALTH AND SAFETY The document “Construction and Building Works at Council Premises/Sites” gives specific guidance to the requirements of RBKC | 1 | ITEM |  | 0
| 1.4 | RISK ASSESSMENT The Contractor is to carry out a detailed and recorded “Risk Assessment” for the works and attach two copies to the completed tender documents when returning. General Principle of Risk Assessment The risk assessment will identify what measures the Contractor needs to take to comply with the requirements and prohibitions imposed on him by or under the “relevant statutory provisions”. | 1 | ITEM |  | 0
|  | TOTAL PRELIMINARIES |  |  |  | 0
Measured Works
| Item No | Description | Approx Quantity | Item | Rate (£) | Priced Item
Permeable Paving
| 1 | Removal of onsite Tarmac & Sublayer (150mm Sub-base excavation), in line with manufacturers specification and disposal in line with current guidance on safe disposal to a licensed site, at 3x locations as shown on attached Area drawings in Appendix A. Area 1 = 64m2 Area 3 = 55m2 Area 5 = 91m2 | 210 | m2 |  | 0
| 2 | Type 1 Sub-base to be laid and prepared to 100mm | 21 | m3 |  | 0
| 3 | Supply and installation of GCL Product X-Grid Permeable Paving in Black to be installed to manufacturers specifications | 210 | m2 |  | 0
| 4 | Supply and installation of X-Grid Delineators for Bay Identification on all designated parking bays as per Parking Diagram attached. | 16 | No |  | 0
| 5 | Woven Membrane supply and installation below permeable paving installed inline with manufacturers specification. | 210 | m2 |  | 0
| 6 | Bound Gravel (Old English path Yellow) to be installed within permeable paving inline with manufacturers specification. | 9 | m3 |  | 0
|  | TOTAL PERMEABLE PAVING |  |  |  | 0
New Bin Store
| 7 | Excavate soils from designated planter in bin area and remove old hedging. Dispose of all materials in line with current guidance on safe disposal to a licensed site. | 15 | m3 |  | 0
| 8 | Remove Eastern side of brick wall planter to create opening. Save bricks for reclamation if condition warrants or dispose of in line with current guidance on safe disposal to a licensed site. Retain southern and western wall sections on site for base of new Bin Store structure. 6m x 500mm | 1 | ITEM |  | 0
| 9 | Excavate Tarmac area and base of wall planter to a depth of 150mm and dispose of in line with best practice. Make sure that base of planter is level. Make sure to secure drainage. | 6 | m3 |  | 0
| 4 | Supply and Install new metal drainage cover for on site current inspection pit to surface water area. Install support for overflow pipe entry from adjacent SuDS project area as per attached pictures. | 1 | ITEM |  | 0
| 5 | Supply and Install Type 1 Sub base to a depth of 125mm | 5 | m3 |  | 0
| 6 | Supply and install a Tarmac cover to a depth of 25mm in Type I-4 | 1 | m3 |  | 0
| 7 | Supply and Install Steel fabricated structure frame for new bin store. approx. 6m length x 1.25m Wide x 1.30m height from remaining wall structure. | 1 | ITEM |  | 0
| 8 | Supply and Install fire resistant treated slatted wooden fencing to western wall and southern wall of Steel fabricated structure frame for new bin store. Fencing to be installed from top of brick work 6m length x 1.20m height to allow for a 100mm ventilation gap below roof. | 1 | ITEM |  | 0
| 9 | Supply and install Sedum Roof to steel structure approx. 6m length x 1.25m wide upon an appropriate supporting structure. | 1 | ITEM |  | 0
| 10 | Supply and Install new Large metal fabricated gate and gate posts to height 1.8m tall for access to new bin area and installation of small infill metal bar fence panel to secure area fully. Gate Colour Black - RAL9005 – Bar design with mesh inserts to allow visual access to area but prevent people putting arm through to access door handles. Punch lock combination with key override lock must be installed and code set as per instruction. Please provide 10x keys for gate override. Gate must be installed on a secure and safe Self closer. Gate must have protective shield around mechanism so people can not open from externally also.Gate Height 1800mm x Single Width: Minimum Gate opening- 1100mm aperture. Approx. 1200 infill fence panel based on gate and fence posts 100mm. | 1 | ITEM |  | 0
| 11 | Supply and Install freestanding supported green wall approx. 9m in length as per specified for secure bin area along the eastern extend of new bin area. Must be abuting front gate posts to prevent access - Specified as Trachelospermum jasminoides "star jasmine" on 1.8m high x 1.2m wide support frames | 1 | ITEM |  | 0
|  | TOTAL BIN STORE |  |  |  | 0
Grey To Green
| 12 | Break out and excavation of all designated “Grey to Green” Areas across site locations 1-5 as per attached drawings, to a minimum depth 300mm | 60 | m3 |  | 0
| 13 | All excavated materials, rubble and paving to be disposed of in accordance with legislation at a licensed waste site. | 1 | ITEM |  | 0
| 14 | Import and installation of graded topsoils to BS standards for usage in areas across the site locations 1-5 as per attached drawings to a minimum depth of 300mm | 60 | m3 |  | 0
| 15 | The demolition and removal from site of the small 0.4m high brick wall from the western side of the 3x tree planted area. Dispose of all materials in line with current guidance on safe disposal to a licensed site. Retain soils behind wall for relandscaping connection. | 1 | ITEM |  | 0
| 16 | Break out and remove hardstanding area in between proposed new bin area and to west of 3x tree planted area approx. 5.0m width x 11.3m length to natural ground approx. 300mm depth. All materials to be removed from site and disposed of in accordance to legislation | 1 | ITEM |  | 0
| 17 | Supply and install new inspection covers for area. Installation of new surface water run off emergency pipe to support excess emergency Swale water overflow. Drainage specification to be designed in correlation with SuDs. | 1 | ITEM |  | 0
| 18 | Import and installation of graded topsoil’s to BS standards to landscape area with natural imported soils to create small even slope with onsite retained soils from 3x tree planted area as per associated drawings. | 1 | ITEM |  | 0
| 19 | Contractor to undertake a Site Investigation to determine Soakaway potential and design a sustainable drainage system for roof surface water run off at Acklam Road properties (Nos.71-101 Acklam Road South Roof Side only) | 1 | ITEM |  | 0
| 20 | Supply and Install designed sustainable drainage system network from roofs of Acklam Road properties 71 - 101 to be designed with minimum of 1x small detention pond to maximum depth of 0.50m (Or as specified in investigation design and agreed with Client) at Swale site entrance as per map, overflow swale route through site as per diagrams to maximum width 0.50m (Or as specified in investigation design and agreed with Client) and 1x large infiltration basin to a maximum depth of 0.8m(Or as specified in investigation design and agreed with Client) with overflow capacity pipe to emergency swale overflow as per above - Please see guidance on Sustainable Drainage Systems. | 1 | ITEM |  | 0
| 21 | Investigate, design and install surface water drainage design to transport surface water run off from roof downpipes of properties Nos. 71-101 to SuDs network. All works requiring paving slab lift to be put back as found. | 1 | ITEM |  | 0
| 22 | Supply and install 1x metal gate with gate posts. Gate Colour Green RAL6005 for entry to site. Height 1800mm x Single Width: Minimum - 1100mm with associated gate posts. (Site to be installed with hedging under soft landscape works package B.) | 1 | ITEM |  | 0
| 23 | Supply Assa Padlock and 10x Keys. | 1 | ITEM |  | 0
|  | TOTAL GREY TO GREEN |  |  |  | 0
|  | PLEASE INSERT THIS TOTAL FIGURE IN THE SPACE PROVIDED IN THE COMMERCIAL ENVELOPE OF CAPITALESOURCING |  |  |  | 0

## Summary (hidden)
CONTRACT INSTRUCTION SUMMARY
Site | Swinbrook Estate, Acklam Road |  |  | Contract Sum |  |  | #REF!
[5 empty] | Estimated Balance |  | #REF!
Project | Swinbrook Estate Greening Project |  |  | Total Value of CI's |  | Surveyor's | #REF!
[6 empty] | Contractor's | #REF!
Contractor | Swinbrook Estate Acklam Rd, London W10 5YU |  |  | Surveyor's Est Final Account |  |  | #REF!
Job Ref | Works Package: (A) Hard Landscaping Works |  |  | Contractor's Est Final Account |  |  | #REF!
|  | Surveyor's Copy |  |  | Contractor's Copy
CI No | Date | Omit | Add | Value of CI | Omit | Add | Value of CI
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
13 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
14 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
17 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
19 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
22 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
23 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
24 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
25 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
26 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
27 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
28 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
29 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
30 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
TOTALS |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## CI.1 (hidden)
CONTRACT INSTRUCTION No.1
FINAL ACCOUNT SUMMARY
| Site: |  |  | Swinbrook Estate, Acklam Road
| Project: |  |  | Swinbrook Estate Greening Project
| Contractor: |  |  | Swinbrook Estate Acklam Rd, London W10 5YU
| Address: |  |  | #REF! |  |  | SURVEYOR'S COPY |  | CONTRACTOR'S COPY
| Job Ref: |  |  | Works Package: (A) Hard Landscaping Works
Specification Breakdown
| Contract Sum: |  |  | #REF!
Issue Date:
Rep/ Imp | CI No | Spec Ref No | Item No | Description | Quant | Rate | Omit | Add | Omit | Add
.
. |  |  |  | Confirmation of contract details
. |  |  |  | Note : The purpose of this instruction is not to vary the contract details but to confirm what has already been agreed
.
. |  |  | 1 | Start Date:
. |  |  | 2 | Contract period:
|  |  | 3 | Length of recognised holidays to be added (list below)
Total-
|  |  | 4 | Completion date (midnight):
Note
Enter date in diary for the computed contract completion date.
or to be extension of time/ non-completion cert to be issued
|  |  |  | Totals |  |  | 0 | 0 | 0 | 0
|  |  |  | Value of this Instruction |  |  | 0 |  | 0
|  | Copies To : |  |  |  |  | Signed...............…………….. |  | Signed...............………….
[7 empty] | (Supervising Officer) |  | (Supervising Officer)
Contractor Struct. Eng
|  | Quantity Surveyor M&E Consult |  |  |  |  | Approval (see note below)
|  | Clerk of Works Planning Supervis. |  |  |  |  | Signed...............……………..
|  | File |  |  |  |  | (Line Manager)
Note: (Line Manger Approval if>£5,000 and F/A breakdown for items >£5,000)

## CI.2 (hidden)
CONTRACT INSTRUCTION No.2
FINAL ACCOUNT SUMMARY
| Site: |  |  | Swinbrook Estate, Acklam Road
| Project: |  |  | Swinbrook Estate Greening Project
| Contractor: |  |  | Swinbrook Estate Acklam Rd, London W10 5YU
| Address: |  |  | #REF! |  |  | SURVEYOR'S COPY |  | CONTRACTOR'S COPY
| Job Ref: |  |  | Works Package: (A) Hard Landscaping Works
Specification Breakdown
| Contract Sum: |  |  | #REF!
Issue Date:
Rep/ Imp | CI No | Spec Ref No | Item No | Description | Quant | Rate | Omit | Add | Omit | Add
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
|  |  |  | Totals |  |  | 0 | 0 | 0 | 0
|  |  |  | Value of this Instruction |  |  | 0 |  | 0
|  | Copies To : |  |  |  |  | Signed...............…………….. |  | Signed...............………….
[7 empty] | (Supervising Officer) |  | (Supervising Officer)
Contractor Struct. Eng
|  | Quantity Surveyor M&E Consult |  |  |  |  | Approval (see note below)
|  | Clerk of Works Planning Supervis. |  |  |  |  | Signed...............……………..
|  | File |  |  |  |  | (Line Manager)
Note: (Line Manger Approval if>£5,000 and F/A breakdown for items >£5,000)

## CI.3 (hidden)
CONTRACT INSTRUCTION No.3
FINAL ACCOUNT SUMMARY
| Site: |  |  | Swinbrook Estate, Acklam Road
| Project: |  |  | Swinbrook Estate Greening Project
| Contractor: |  |  | Swinbrook Estate Acklam Rd, London W10 5YU
| Address: |  |  | #REF! |  |  | SURVEYOR'S COPY |  | CONTRACTOR'S COPY
| Job Ref: |  |  | Works Package: (A) Hard Landscaping Works
Specification Breakdown
| Contract Sum: |  |  | #REF!
Issue Date:
Rep/ Imp | CI No | Spec Ref No | Item No | Description | Quant | Rate | Omit | Add | Omit | Add
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
|  |  |  | Totals |  |  | 0 | 0 | 0 | 0
|  |  |  | Value of this Instruction |  |  | 0 |  | 0
|  | Copies To : |  |  |  |  | Signed...............…………….. |  | Signed...............………….
[7 empty] | (Supervising Officer) |  | (Supervising Officer)
Contractor Struct. Eng
|  | Quantity Surveyor M&E Consult |  |  |  |  | Approval (see note below)
|  | Clerk of Works Planning Supervis. |  |  |  |  | Signed...............……………..
|  | File |  |  |  |  | (Line Manager)
Note: (Line Manger Approval if>£5,000 and F/A breakdown for items >£5,000)

## CI.4 (hidden)
CONTRACT INSTRUCTION No.4
FINAL ACCOUNT SUMMARY
| Site: |  |  | Swinbrook Estate, Acklam Road
| Project: |  |  | Swinbrook Estate Greening Project
| Contractor: |  |  | Swinbrook Estate Acklam Rd, London W10 5YU
| Address: |  |  | #REF! |  |  | SURVEYOR'S COPY |  | CONTRACTOR'S COPY
| Job Ref: |  |  | Works Package: (A) Hard Landscaping Works
Specification Breakdown
| Contract Sum: |  |  | #REF!
Issue Date:
Rep/ Imp | CI No | Spec Ref No | Item No | Description | Quant | Rate | Omit | Add | Omit | Add
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
|  |  |  | Totals |  |  | 0 | 0 | 0 | 0
|  |  |  | Value of this Instruction |  |  | 0 |  | 0
|  | Copies To : |  |  |  |  | Signed...............…………….. |  | Signed...............………….
[7 empty] | (Supervising Officer) |  | (Supervising Officer)
Contractor Struct. Eng
|  | Quantity Surveyor M&E Consult |  |  |  |  | Approval (see note below)
|  | Clerk of Works Planning Supervis. |  |  |  |  | Signed...............……………..
|  | File |  |  |  |  | (Line Manager)
Note: (Line Manger Approval if>£5,000 and F/A breakdown for items >£5,000)

## CI.5 (hidden)
CONTRACT INSTRUCTION No.5
FINAL ACCOUNT SUMMARY
| Site: |  |  | Swinbrook Estate, Acklam Road
| Project: |  |  | Swinbrook Estate Greening Project
| Contractor: |  |  | Swinbrook Estate Acklam Rd, London W10 5YU
| Address: |  |  | #REF! |  |  | SURVEYOR'S COPY |  | CONTRACTOR'S COPY
| Job Ref: |  |  | Works Package: (A) Hard Landscaping Works
Specification Breakdown
| Contract Sum: |  |  | #REF!
Issue Date:
Rep/ Imp | CI No | Spec Ref No | Item No | Description | Quant | Rate | Omit | Add | Omit | Add
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
|  |  |  | Totals |  |  | 0 | 0 | 0 | 0
|  |  |  | Value of this Instruction |  |  | 0 |  | 0
|  | Copies To : |  |  |  |  | Signed...............…………….. |  | Signed...............………….
[7 empty] | (Supervising Officer) |  | (Supervising Officer)
Contractor Struct. Eng
|  | Quantity Surveyor M&E Consult |  |  |  |  | Approval (see note below)
|  | Clerk of Works Planning Supervis. |  |  |  |  | Signed...............……………..
|  | File |  |  |  |  | (Line Manager)
Note: (Line Manger Approval if>£5,000 and F/A breakdown for items >£5,000)

## CI.6 (hidden)
CONTRACT INSTRUCTION No.6
FINAL ACCOUNT SUMMARY
| Site: |  |  | Swinbrook Estate, Acklam Road
| Project: |  |  | Swinbrook Estate Greening Project
| Contractor: |  |  | Swinbrook Estate Acklam Rd, London W10 5YU
| Address: |  |  | #REF! |  |  | SURVEYOR'S COPY |  | CONTRACTOR'S COPY
| Job Ref: |  |  | Works Package: (A) Hard Landscaping Works
Specification Breakdown
| Contract Sum: |  |  | #REF!
Issue Date:
Rep/ Imp | CI No | Spec Ref No | Item No | Description | Quant | Rate | Omit | Add | Omit | Add
.
.
.
.
|  |  |  | Totals |  |  | 0 | 0 | 0 | 0
|  |  |  | Value of this Instruction |  |  | 0 |  | 0
|  | Copies To : |  |  |  |  | Signed...............…………. |  | Signed...............………….
[7 empty] | (Supervising Officer) |  | (Supervising Officer)
Contractor Struct. Eng
|  | Quantity Surveyor M&E Consult |  |  |  |  | Approval (see note below)
|  | Clerk of Works Planning Supervis. |  |  |  |  | Signed...............……………..
|  | File |  |  |  |  | (Line Manager)
Note: (Line Manger Approval if>£5,000 and F/A breakdown for items >£5,000)

## CI.7 (hidden)
CONTRACT INSTRUCTION No.7
FINAL ACCOUNT SUMMARY
| Site: |  |  | Swinbrook Estate, Acklam Road
| Project: |  |  | Swinbrook Estate Greening Project
| Contractor: |  |  | Swinbrook Estate Acklam Rd, London W10 5YU
| Address: |  |  | #REF! |  |  | SURVEYOR'S COPY |  | CONTRACTOR'S COPY
| Job Ref: |  |  | Works Package: (A) Hard Landscaping Works
Specification Breakdown
| Contract Sum: |  |  | #REF!
Issue Date:
Rep/ Imp | CI No | Spec Ref No | Item No | Description | Quant | Rate | Omit | Add | Omit | Add
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
|  |  |  | Totals |  |  | 0 | 0 | 0 | 0
|  |  |  | Value of this Instruction |  |  | 0 |  | 0
|  | Copies To : |  |  |  |  | Signed...............…………. |  | Signed...............………….
[7 empty] | (Supervising Officer) |  | (Supervising Officer)
Contractor Struct. Eng
|  | Quantity Surveyor M&E Consult |  |  |  |  | Approval (see note below)
|  | Clerk of Works Planning Supervis. |  |  |  |  | Signed...............……………..
|  | File |  |  |  |  | (Line Manager)
Note: (Line Manger Approval if>£5,000 and F/A breakdown for items >£5,000)

## CI.8 (hidden)
CONTRACT INSTRUCTION No.8
FINAL ACCOUNT SUMMARY
| Site: |  |  | Swinbrook Estate, Acklam Road
| Project: |  |  | Swinbrook Estate Greening Project
| Contractor: |  |  | Swinbrook Estate Acklam Rd, London W10 5YU
| Address: |  |  | #REF! |  |  | SURVEYOR'S COPY |  | CONTRACTOR'S COPY
| Job Ref: |  |  | Works Package: (A) Hard Landscaping Works
Specification Breakdown
| Contract Sum: |  |  | #REF!
Issue Date:
Rep/ Imp | CI No | Spec Ref No | Item No | Description | Quant | Rate | Omit | Add | Omit | Add
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
|  |  |  | Totals |  |  | 0 | 0 | 0 | 0
|  |  |  | Value of this Instruction |  |  | 0 |  | 0
|  | Copies To : |  |  |  |  | Signed...............…………. |  | Signed...............………….
[7 empty] | (Supervising Officer) |  | (Supervising Officer)
Contractor Struct. Eng
|  | Quantity Surveyor M&E Consult |  |  |  |  | Approval (see note below)
|  | Clerk of Works Planning Supervis. |  |  |  |  | Signed...............……………..
|  | File |  |  |  |  | (Line Manager)
Note: (Line Manger Approval if>£5,000 and F/A breakdown for items >£5,000)

## CI.9 (hidden)
CONTRACT INSTRUCTION No.9
FINAL ACCOUNT SUMMARY
| Site: |  |  | Swinbrook Estate, Acklam Road
| Project: |  |  | Swinbrook Estate Greening Project
| Contractor: |  |  | Swinbrook Estate Acklam Rd, London W10 5YU
| Address: |  |  | #REF! |  |  | SURVEYOR'S COPY |  | CONTRACTOR'S COPY
| Job Ref: |  |  | Works Package: (A) Hard Landscaping Works
Specification Breakdown
| Contract Sum: |  |  | #REF!
Issue Date:
Rep/ Imp | CI No | Spec Ref No | Item No | Description | Quant | Rate | Omit | Add | Omit | Add
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
|  |  |  | Totals |  |  | 0 | 0 | 0 | 0
|  |  |  | Value of this Instruction |  |  | 0 |  | 0
|  | Copies To : |  |  |  |  | Signed...............…………….. |  | Signed...............………….
[7 empty] | (Supervising Officer) |  | (Supervising Officer)
Contractor Struct. Eng
|  | Quantity Surveyor M&E Consult |  |  |  |  | Approval (see note below)
|  | Clerk of Works Planning Supervis. |  |  |  |  | Signed...............……………..
|  | File |  |  |  |  | (Line Manager)
Note: (Line Manger Approval if>£5,000 and F/A breakdown for items >£5,000)

## Final account (hidden)
FINAL ACCOUNT SUMMARY
FINAL ACCOUNT SUMMARY
| Site: |  |  | Swinbrook Estate, Acklam Road
| Project: |  |  | Swinbrook Estate Greening Project
| Contractor: |  |  | Swinbrook Estate Acklam Rd, London W10 5YU
| Address: |  |  | #REF! |  |  |  | SURVEYOR'S COPY |  | CONTRACTOR'S COPY
| Job Ref: |  |  | Works Package: (A) Hard Landscaping Works
Specification Breakdown
| Contract Sum: |  |  | #REF!
Issue Date:
Rep/ Imp |  | Spec Ref No | Item No | Description | Quant | Rate |  | Omit | Add | Omit | Add | Total Value of CI
. |  |  |  | Amt c/f from "spec" w/sht. If zero put Contract Sum in Add columns |  |  |  |  | #REF! |  | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 1 |  |  |  | 0 | 0 | 0 | 0 | 0
. |  |  |  | Totals from Contract Instruction 2 |  |  |  | 0 | 0 | 0 | 0 | 0
. |  |  |  | Totals from Contract Instruction 3 |  |  |  | 0 | 0 | 0 | 0 | 0
. |  |  |  | Totals from Contract Instruction 4 |  |  |  | 0 | 0 | 0 | 0 | 0
. |  |  |  | Totals from Contract Instruction 5 |  |  |  | 0 | 0 | 0 | 0 | 0
. |  |  |  | Totals from Contract Instruction 6 |  |  |  | 0 | 0 | 0 | 0 | 0
. |  |  |  | Totals from Contract Instruction 7 |  |  |  | 0 | 0 | 0 | 0 | 0
. |  |  |  | Totals from Contract Instruction 8 |  |  |  | 0 | 0 | 0 | 0 | 0
. |  |  |  | Totals from Contract Instruction 9 |  |  |  | 0 | 0 | 0 | 0 | 0
. |  |  |  | Totals from Contract Instruction 10 |  |  |  | 0 | 0 | 0 | 0 | 0
. |  |  |  | Totals from Contract Instruction 11 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 12 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 13 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 14 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 15 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 16 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 17 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 18 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 19 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 20 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 21 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 22 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 23 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 24 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 25 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 26 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 27 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 28 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 29 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
. |  |  |  | Totals from Contract Instruction 30 |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
Anticipated further Instructions
. |  | I/we agree to accept the Final Account amount shown below in full and final settlement of all claims under the contract subject to the right of the Employer to audit the account.
. |  | Signed …………………………...…..….Name (Capital letters)……………………………….…
.
On behalf of(Company) …...…………..…….………………..…... Date ……………...…..……
|  |  |  | Totals |  |  |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | Final Account |  |  |  | #REF! |  | #REF!
|  | Copies To : |  |  |  |  | Authority:
Signed...............……………..
|  | Contractor Struct. Eng |  |  |  |  | (Supervising Officer)
Quantity Surveyor M&E Consult
|  | Clerk of Works Planning Supervis. | [5 empty] | Signed............….……….....
|  | File | [5 empty] | (Line Manager <£1,000)

## CI.10 (hidden)
CONTRACT INSTRUCTION No.10
FINAL ACCOUNT SUMMARY
| Site: |  |  | Swinbrook Estate, Acklam Road
| Project: |  |  | Swinbrook Estate Greening Project
| Contractor: |  |  | Swinbrook Estate Acklam Rd, London W10 5YU
| Address: |  |  | #REF! |  |  | SURVEYOR'S COPY |  | CONTRACTOR'S COPY
| Job Ref: |  |  | Works Package: (A) Hard Landscaping Works
Specification Breakdown
| Contract Sum: |  |  | #REF!
Issue Date:
Rep/ Imp | CI No | Spec Ref No | Item No | Description | Quant | Rate | Omit | Add | Omit | Add
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
|  |  |  | Totals |  |  | 0 | 0 | 0 | 0
|  |  |  | Value of this Instruction |  |  | 0 |  | 0
|  | Copies To : |  |  |  |  | Signed...............…………….. |  | Signed...............………….
[7 empty] | (Supervising Officer) |  | (Supervising Officer)
Contractor Struct. Eng
|  | Quantity Surveyor M&E Consult |  |  |  |  | Approval (see note below)
|  | Clerk of Works Planning Supervis. |  |  |  |  | Signed...............……………..
|  | File |  |  |  |  | (Line Manager)
Note: (Line Manger Approval if>£5,000 and F/A breakdown for items >£5,000)