## Bill of Quantities
Item No. | Schedule 4b Ref | Part | Description | Fixed Price | Variable Price | Comments
1 | 2 | M | Preliminaries and mobilisation | 0 | N/A
2 | 5.1 | W | Installation of new 40m³ working capacity underground tank | 0 | N/A
3 | 5.3 | W | Pump house site civils | 0 | N/A
4 | 5.4 | W | Fence & gate | 0 | N/A
5 | 5.5 | W | Pump house | 0 | N/A
6 | 5.5 | W | Pump house drainage to MH389, inc. gulley, MH389-A, connection to MH389 & 102m (+/-10m) Ø100mm TwinWall carrier | 0 | N/A | Fixed price
7 | 5.6.1 | W | Diana Fountain Tank Pumping System | 0 | N/A
8 | 5.6.2 | W | Hyde Park Reservoir and Round Pond Pumping System | 0 | N/A
9 | 5.6.3 | W | Toilet Tanks and Irrigation Tanks Pumping System | 0 | N/A
10 | 5.6.4 | W | Rotten Row Irrigation Pumping System | 0 | N/A
11 | 5.7.1 | W | Installation between existing Diana Plant Room and Diana Borehole No. 2 | 0 | N/A
12 | 5.7.2 | W | Trench between Diana BH No. 2 and Tennis Centre | 0 | N/A | Based on 240-250m between Diana Borehole No. 2 and Tennis Centre
13 | 5.7.2 | W | Trench between Diana BH No. 2 and Tennis Centre | N/A | 0 | Plus or minus whole or part distances of 10m less than 240m or more than 250m
14 | 5.7.3 | W | Additional duct between South side of Rotten Row and Tennis Centre within Trench 2.4.6.B above | 0 | N/A | Fixed price based on 120m only
15 | 5.8.1 | W | Electrical power connection | 0 | N/A
16 | 5.8.2 | W | Pump start switching control in the existing Diana Fountain Control Panel | 0 | N/A
17 | 5.8.3 | W | Extension of Ø90mm PE pipe into existing Diana Fountain Tank | 0 | N/A
18 | 5.8.4 | W | Automation of existing Diana Borehole Control Panel | 0 | N/A
19 | 5.9.1 | W | Replacement water meter and sampling point | 0 | N/A
20 | 5.9.2 | W | New borehole chamber and headworks | 0 | N/A
21 | 5.10 | W | Water meter monitoring at new Tennis Centre Pump House | 0 | N/A
22 | 5.11 | W | Trenching, ducting, pipe work and cabling between new tank and Tennis Centre pump house | 0 | N/A | Based on 20-30m between tank centre and pump house centre along the route
23 | 5.11 | W | Trenching, ducting, pipe work and cabling between new tank and Tennis Centre pump house | N/A | 0 | Plus or minus whole or part distances of 10m less than 20m or more than 30m
24 | 5.12.1 | W | Float switch high and low emergency levels | 0 | N/A
25 | 5.12.2 | W | Ultrasonic level controller | 0 | N/A
26 | 5.13 | W | Motorised valve installation on existing 8” cast iron west of Hyde Park Reservoir | 0 | N/A
27 | 5.14 | W | Control of supply of water to Hyde Park Reservoir | 0 | N/A
28 | 5.15 | W | Removal of existing signalling components from within the Hyde Park Reservoir Pump House | 0 | N/A
29 | 5.16.1 | W | Modification to existing Engine House controls not included in above sections | 0 | N/A
30 | 5.16.2 | W | Modification to existing Engine House water meter logging system | 0 | N/A
31 | 5.16.3 | W | Distribution operation control panel and structure | 0 | N/A
32 | 5.17.1 | W | Crossing of Serpentine Road west of Tennis Centre | 0 | N/A
33 | 5.17.2 | W | Crossing of Serpentine Road north of Serpentine Bar & Kitchen | 0 | N/A
34 | 5.17.3 | W | Crossing of Rotten Row North of the Tennis Centre | 0 | N/A
35 | 5.17.4 | W | Crossing of Rotten Row South East of the Dell | 0 | N/A
36 | 5.18.1 | W | Trenchwork running SW from Tennis Centre PH towards Serpentine Road crossing | 0 | N/A | Based on 110m of 160mm Potable PE80 and 90mm Black PE90
37 | 5.18.1 | W | Trenchwork running SW from Tennis Centre PH towards Serpentine Road crossing | N/A | 0 | Plus or minus whole or part distances of 10m more or less than 110m
38 | 5.18.2 | W | Ø90mm PE pipe to Albert Memorial irrigation connection | 0 | N/A | Based on 150m
39 | 5.18.2 | W | Ø90mm PE pipe to Albert Memorial irrigation connection | N/A | 0 | Plus or minus whole or part distances of 10m more or less than 150m
40 | 5.18.3 | W | Ø90mm PE pipe towards Serpentine Gallery with Ø160mm PE pipe | 0 | N/A | Based on 240m
41 | 5.18.3 | W | Ø90mm PE pipe towards Serpentine Gallery with Ø160mm PE pipe | N/A | 0 | Plus or minus whole or part distances of 10m more or less than 240m
42 | 5.18.4 | W | Ø50mm PE pipe to connect to Mount Gate Toilet | 0 | N/A | Based on 20m
43 | 5.18.4 | W | Ø50mm PE pipe to connect to Mount Gate Toilet | N/A | 0 | Plus or minus whole or part distances of 10m more or less than 20m
44 | 5.18.5 | W | Ø90mm PE pipe to Serpentine Gallery alone | 0 | N/A | Based on 50m
45 | 5.18.5 | W | Ø90mm PE pipe to Serpentine Gallery alone | N/A | 0 | Plus or minus whole or part distances of 10m more or less than 50m
46 | 5.18.6 | W | Remove section of 6" cast iron main and cap off | 0 | N/A
47 | 5.18.5 | W | Remove 6" gate valve south of Round Pond and replace with new pipe section | 0 | N/A
48 | 5.18.6 | W | West of Serpentine Gallery expose 6" cast-iron pipe and join in with new Ø160mm PE100 | 0 | N/A
49 | 5.18.5 | W | Ø160mm PE pipe to Connect with existing 6” cast-iron main | 0 | N/A | Based on 100m
50 | 5.18.6 | W | Ø160mm PE pipe to Connect with existing 6” cast-iron main | N/A | 0 | Plus or minus whole or part distances of 10m more or less than 100m
51 | 5.18.7 | W | Ø63mm Potable connection to St. Gover’s Well | 0 | N/A | Based on 200m
52 | 5.18.7 | W | Ø63mm Potable connection to St. Gover’s Well | N/A | 0 | Plus or minus whole or part distances of 10m more or less than 200m
53 | 5.19.1 | W | Trench work north side of Tennis Centre | 0 | N/A | Based on 170m
54 | 5.19.1 | W | Trench work north side of Tennis Centre | N/A | 0 | Plus or minus whole or part distances of 10m more or less than 170m
55 | 5.19.1 | W | Tee for Ø90mm blue potable PE80 and DN100 valve | 0 | N/A
56 | 5.19.2 | W | Trench work north side of Rotten Row Recreational Pitches | 0 | N/A | Based on 475m
57 | 5.19.2 | W | Trench work north side of Rotten Row Recreational Pitches | N/A | 0 | Plus or minus whole or part distances of 10m more or less than 475m
58 | 5.19.3 | W | Rotten Row Hydrants - based on 9 No. Hydrants | 0 | N/A | Based on 9 No. Hydrants
59 | 5.19.3 | W | Rotten Row Hydrants | N/A | 0 | Additional or fewer hydrants
60 | 5.19.4 | W | Trench work north side of Rotten Row to Westbourne | 0 | N/A | Based on 380m
61 | 5.19.4 | W | Trench work north side of Rotten Row to Westbourne | N/A | 0 | Plus or minus whole or part distances of 10m more or less than 380m
62 | 5.19.5 | W | Lido connections - pipe work | 0 | N/A | Based on 120m of Ø50mm PE100
63 | 5.19.5 | W | Lido connections - pipe work | N/A | 0 | Plus or minus whole or part distances of 10m more or less than 120m
64 | 5.19.5 | W | Lido tee and valves | 0 | N/A
65 | 5.19.6 | W | Connection to existing Dell Irrigation tank | 0 | N/A | Based on 50m of Ø50mm PE100
66 | 5.19.6 | W | Connection to existing Dell Irrigation tank | N/A | 0 | Plus or minus whole or part distances of 10m more or less than 50m
67 | 5.19.6 | W | Connections and valves at existing Dell Irrigation tank | 0 | N/A
68 | 5.19.7 | W | Pipe work across Westbourne and to north of Serpentine Bar & Kitchen | 0 | N/A | Based on 280m of Ø90mm PE100 and Ø160mm PE100
69 | 5.19.7 | W | Pipe work across Westbourne and to north of Serpentine Bar & Kitchen | N/A | 0 | Plus or minus whole or part distances of 10m more or less than 280m
70 | 5.19.8 | W | Pipe work to Hyde Park Reservoir | 0 | N/A | Based on 380m of Ø160mm PE100
71 | 5.19.8 | W | Pipe work to Hyde Park Reservoir | N/A | 0 | Plus or minus whole or part distances of 10m more or less than 380m
72 |  |  | Engineer's contingency for variations only | 20000 | 0
73 |  |  | Total: | 20000 |  | Total price exclusive of VAT