## 18A Combi Swap RHEAT
TP Code | Item - Combi Swap | Quantity | Unit Price | Total Price | Alternative Product Description | Alternative Price | Alternative Total
492491 | Vaillant Ecotec Plus 832 | 1 |  | 0 |  |  | 0
892233 | Vaillant Horizontal Flue | 1 |  | 0 |  |  | 0
340151 | Vaillant TimeSwitch 150 Programmer | 1 |  | 0 |  |  | 0
506340 | Danfoss TRV Pack 15mm | 5 |  | 0 |  |  | 0
506336 | Danfoss Lockshield | 2 |  | 0 |  |  | 0
295064 | Brass End-Feed Test Nipple | 1 |  | 0 |  |  | 0
511598 | Sentry Water King Scale Reducer | 1 |  | 0 |  |  | 0
559308 | Fernox F1 Inhibitor | 1 |  | 0 |  |  | 0
553045 | Fernox F3 | 1 |  | 0 |  |  | 0
795601 | Fernox F5 Cleanser | 1 |  | 0 |  |  | 0
833753 | Honeywell Room Thermostat | 1 |  | 0 |  |  | 0
402028 | 21mm Condensate Pipe | 2 |  | 0 |  |  | 0
402034 | 21mm Condensate Straight Coupling | 2 |  | 0 |  |  | 0
474790 | 21mm Condensate 45 Elbow | 2 |  | 0 |  |  | 0
402047 | 21mm Condensate 90 Elbow | 6 |  | 0 |  |  | 0
536943 | 40mm Mechanical Waste Tee | 1 |  | 0 |  |  | 0
698425 | Vaillant Vertical Flue Kit | 1 |  | 0 |  |  | 0
931056 | Vaillant Ecotec 415 | 1 |  | 0 |  |  | 0
812525 | Vaillant Pitched Roof Slate | 1 |  | 0 |  |  | 0
994766 | Vaillant 1m Flue Extension | 1 |  | 0 |  |  | 0
998805 | Vaillant 45 Flue Bend (2) | 1 |  | 0 |  |  | 0
504352 | Vaillant 90 Flue Bend | 1 |  | 0 |  |  | 0
310159 | Vaillant Plume Management Kit | 1 |  | 0 |  |  | 0
271082 | Vaillant Plume Management Extension | 1 |  | 0 |  |  | 0
181341 | Grundfos Conlift 1 Condensate Pump | 1 |  | 0 |  |  | 0
115668 | Mcalpind Tundish | 1 |  | 0 |  |  | 0
870855 | 15mm Pipe Insulation | 1 |  | 0 |  |  | 0
536938 | Condensate Soakaway | 1 |  | 0 |  |  | 0
996244 | 10mm Gravel | 1 |  | 0 |  |  | 0
861334 | Reducer 32mm - 21.5mm | 1 |  | 0 |  |  | 0
475093 | Honeywell Wireless Room Thermostat | 1 |  | 0 |  |  | 0
852229 | SVP Adapter | 1 |  | 0 |  |  | 0
401988 | 32mm Condensate Pipe | 1 |  | 0 |  |  | 0
506341 | Danfoss TRV Pack 8/10mm | 1 |  | 0 |  |  | 0
271096 | Vaillant Spacing Frame | 1 |  | 0 |  |  | 0
402002 | 32mm 90 Elbow | 1 |  | 0 |  |  | 0
402003 | 32mm 45 Elbow | 1 |  | 0 |  |  | 0
401999 | 32mm Straight Coupling | 1 |  | 0 |  |  | 0
401989 | 32mm Bracket | 1 |  | 0 |  |  | 0
504351 | Vaillant Extended Horizontal Flue | 1 |  | 0 |  |  | 0
658545 | 40mm - 21mm Reducer | 1 |  | 0 |  |  | 0
695666 | 32mm - 21mm Reducer | 1 |  | 0 |  |  | 0
459034 | Talon Boxing Kit | 1 |  | 0 |  |  | 0
|  |  | Grand Total | 0 |  | Alternative Total | 0
Note on F1: Richard Orders: Only fill out if required

## 18B Combi Swap & ConversionRESP
TP Code | Item - Combi Swap & Conversions | Quantity | Unit Price | Total Price | Alternative Product Description | Alternative Price | Alternative Total
968497 | Worcester 30i ERP [combination boiler] | 1 |  | 0 |  |  | 0
472930 | Worcester Horizontal Flue | 1 |  | 0 |  |  | 0
229765 | Worcester MT10 Programmer | 1 |  | 0 |  |  | 0
535220 | Worcester Integral Filling Link | 1 |  | 0 |  |  | 0
459619 | Myson Radpak | 5 |  | 0 |  |  | 0
835699 | Myson Lockshield | 2 |  | 0 |  |  | 0
729139 | Fernox Magnetic Scale Reducer | 1 |  | 0 |  |  | 0
| Adey Magnetic Scale Reducer | 1 |  | 0 |  |  | 0
685316 | Fernox TF1 Filter | 1 |  | 0 |  |  | 0
559308 | Fernox F1 Inhibitor | 1 |  | 0 |  |  | 0
553045 | Fernox F3 | 1 |  | 0 |  |  | 0
795601 | Fernox F5 Cleanser | 1 |  | 0 |  |  | 0
833753 | Honeywell Room Thermostat | 1 |  | 0 |  |  | 0
402028 | 21mm Condensate Pipe | 2 |  | 0 |  |  | 0
402034 | 21mm Condensate Straight Coupling | 2 |  | 0 |  |  | 0
474790 | 21mm Condensate 45 Elbow | 2 |  | 0 |  |  | 0
402047 | 21mm Condensate 90 Elbow | 6 |  | 0 |  |  | 0
536943 | 40mm Mechanical Waste Tee | 1 |  | 0 |  |  | 0
552342 | Worcester Vertical Flue Kit | 1 |  | 0 |  |  | 0
479618 | Worcester Pitched Roof Slate | 1 |  | 0 |  |  | 0
552345 | Worcester 1m Flue Extension | 1 |  | 0 |  |  | 0
308391 | Worcester 200mm Flue Extension | 1 |  | 0 |  |  | 0
486061 | Worcester 45 Flue Bend (2) | 1 |  | 0 |  |  | 0
552344 | Worcester 90 Flue Bend | 1 |  | 0 |  |  | 0
469637 | Worcester Plume Management Kit | 1 |  | 0 |  |  | 0
479614 | Worcester Plume Management Extension | 1 |  | 0 |  |  | 0
245812 | Honeywell Single Channel Programmer | 1 |  | 0 |  |  | 0
181341 | Grundfos Conlift 1 Condensate Pump | 1 |  | 0 |  |  | 0
115668 | Mcalpind Tundish | 1 |  | 0 |  |  | 0
870855 | 15mm Pipe Insulation | 1 |  | 0 |  |  | 0
536938 | Condensate Soakaway | 1 |  | 0 |  |  | 0
996244 | 10mm Gravel | 1 |  | 0 |  |  | 0
861334 | Reducer 32mm - 21.5mm | 1 |  | 0 |  |  | 0
475093 | Honeywell Wireless Room Thermostat | 1 |  | 0 |  |  | 0
852229 | SVP Adapter | 1 |  | 0 |  |  | 0
401988 | 32mm Condensate Pipe | 1 |  | 0 |  |  | 0
820079 | Dimplex Cheriton | 1 |  | 0 |  |  | 0
820064 | Dimplex Hearth Pad | 1 |  | 0 |  |  | 0
341914 | Colston / Bromley Extended Hearth | 1 |  | 0 |  |  | 0
812976 | Colston 42" Fire & Surround | 1 |  | 0 |  |  | 0
652249 | Bromley 48" Fire & Surround | 1 |  | 0 |  |  | 0
402002 | 32mm 90 Elbow | 1 |  | 0 |  |  | 0
402003 | 32mm 45 Elbow | 1 |  | 0 |  |  | 0
401999 | 32mm Straight Coupling | 1 |  | 0 |  |  | 0
401989 | 32mm Bracket | 1 |  | 0 |  |  | 0
658545 | 40mm - 21mm Reducer | 1 |  | 0 |  |  | 0
695666 | 32mm - 21mm Reducer | 1 |  | 0 |  |  | 0
506336 | Danfoss Lockshield | 1 |  | 0 |  |  | 0
459034 | Talon Boxing Kit | 1 |  | 0 |  |  | 0
|  |  | Grand Total | 0 |  | Alternative Total | 0
Note on F1: Richard Orders: Only fill out if required
Note on B2: Richard Orders: A room sealed condensing A rated appliance
Note on B8: Richard Orders: In-line scale reducer of the electrolytic or magnetic type
Note on B9: Richard Orders: In-line scale reducer of the electrolytic or magnetic type

## 18C Conventional Swap RESP
TP Code | Item - Conventional Swap | Quantity | Unit Price | Total Price | Alternative Product Description | Alternative Price | Alternative Total
774408 | Worcester 15RI ERP [heat only boiler] | 1 |  | 0 |  |  | 0
472930 | Worcester Horizontal Flue | 1 |  | 0 |  |  | 0
903019 | Grundfos Circulation Pump | 1 |  | 0 |  |  | 0
833111 | Pump Valves | 2 |  | 0 |  |  | 0
459619 | Myson Radpak | 5 |  | 0 |  |  | 0
835699 | Myson Lockshield | 2 |  | 0 |  |  | 0
833133 | Honeywell Mid-Position Valve | 1 |  | 0 |  |  | 0
685316 | Fernox TF1 Filter | 1 |  | 0 |  |  | 0
559308 | Fernox F1 Inhibitor | 1 |  | 0 |  |  | 0
| Adey MC1+ Inhibitor | 1 |  | 0 |  |  | 0
553045 | Fernox F3 | 1 |  | 0 |  |  | 0
795601 | Fernox F5 Cleanser | 1 |  | 0 |  |  | 0
| Adey MC3+ Cleanser | 1 |  | 0 |  |  | 0
833753 | Honeywell Room Thermostat | 1 |  | 0 |  |  | 0
402028 | 21mm Condensate Pipe | 2 |  | 0 |  |  | 0
245815 | Honeywell Twin Channel Programmer | 1 |  | 0 |  |  | 0
402034 | 21mm Condensate Straight Coupling | 2 |  | 0 |  |  | 0
474790 | 21mm Condensate 45 Elbow | 2 |  | 0 |  |  | 0
402047 | 21mm Condensate 90 Elbow | 6 |  | 0 |  |  | 0
536943 | 40mm Mechanical Waste Tee | 1 |  | 0 |  |  | 0
552342 | Worcester Vertical Flue Kit | 1 |  | 0 |  |  | 0
479618 | Worcester Pitched Roof Slate | 1 |  | 0 |  |  | 0
552345 | Worcester 1m Flue Extension | 1 |  | 0 |  |  | 0
308391 | Worcester 200mm Flue Extension | 1 |  | 0 |  |  | 0
486061 | Worcester 45 Flue Bend (2) | 1 |  | 0 |  |  | 0
552344 | Worcester 90 Flue Bend | 1 |  | 0 |  |  | 0
469637 | Worcester Plume Management Kit | 1 |  | 0 |  |  | 0
479614 | Worcester Plume Management Extension | 1 |  | 0 |  |  | 0
833756 | Honeywell Zone Valve | 1 |  | 0 |  |  | 0
181341 | Grundfos Conlift 1 Condensate Pump | 1 |  | 0 |  |  | 0
536938 | Condensate Soakaway | 1 |  | 0 |  |  | 0
475093 | Honeywell Wireless Room Thermostat | 1 |  | 0 |  |  | 0
852229 | SVP Adapter | 1 |  | 0 |  |  | 0
401988 | 32mm Condensate Pipe | 1 |  | 0 |  |  | 0
506336 | Danfoss Lockshield | 1 |  | 0 |  |  | 0
402002 | 32mm 90 Elbow | 1 |  | 0 |  |  | 0
402003 | 32mm 45 Elbow | 1 |  | 0 |  |  | 0
401999 | 32mm Straight Coupling | 1 |  | 0 |  |  | 0
401989 | 32mm Bracket | 1 |  | 0 |  |  | 0
658545 | 40mm - 21mm Reducer | 1 |  | 0 |  |  | 0
695666 | 32mm - 21mm Reducer | 1 |  | 0 |  |  | 0
459034 | Talon Boxing Kit | 1 |  | 0 |  |  | 0
|  |  | Grand Total | 0 |  | Alternative Total | 0
Note on F1: Richard Orders: Only fill out if required
Note on B2: Richard Orders: A room sealed condensing A rated appliance

## 18D Heating Consumable Items
TP Code | Item - Heating Consumables List | Unit Price | Alternative Product Description | Alternative Price
RADIATORS
422280 | STELRAD SOFTLINE 600X1200MM SGLE CON RAD
422363 | STELRAD SOFTLINE 600X1000MM DBLE CON RAD
422267 | STELRAD SOFTLINE 600X600MM DBLE CON RAD
422189 | STELRAD SOFTLINE 600X700MM SGLE CON RAD
422307 | STELRAD SOFTLINE 600X1000MM P+ CON RAD
422203 | STELRAD SOFTLINE 600X800MM SGLE CON RAD
422162 | STELRAD SOFTLINE 600X500MM SGLE CON RAD
422219 | STELRAD SOFTLINE 600X900MM SGLE CON RAD
422314 | STELRAD SOFTLINE 600X700MM DBLE CON RAD
422308 | STELRAD SOFTLINE 600X800MM DBLE CON RAD
422152 | STELRAD SOFTLINE 600X400MM SGLE CON RAD
422366 | STELRAD SOFTLINE 600X900 DBLE CON RAD
422298 | STELRAD SOFTLINE 600X900MM P+ CON RAD
422343 | STELRAD SOFTLINE 450X1000MM DBLE CON RAD
422228 | STELRAD SOFTLINE 600X600MM P+ CON RAD
422439 | STELRAD SOFTLINE 450X1400MM DBLE CON RAD
422279 | STELRAD SOFTLINE 600X800MM P+ CON RAD
422265 | STELRAD SOFTLINE 600X500MM DBLE CON RAD
422233 | STELRAD SOFTLINE 700X600MM SGLE CON RAD
422273 | STELRAD SOFTLINE 450X1200MM SGLE CON RAD
422407 | STELRAD SOFTLINE 600X1800MM SGLE CON RAD
422322 | STELRAD SOFTLINE 450X900MM DBLE CON RAD
422200 | STELRAD SOFTLINE 700X400MM SGLE CON RAD
422441 | STELRAD SOFTLINE 700X1000MM DBLE CON RAD
422227 | STELRAD SOFTLINE 600X400MM DBLE CON RAD
422284 | STELRAD SOFTLINE 700X500MM DBLE CON RAD
422581 | STELRAD SOFTLINE 600X1800MM DBLE CON RAD
422234 | STELRAD SOFTLINE 450X1000MM SGLE CON RAD
422248 | STELRAD SOFTLINE 600X700MM P+ CON RAD
422344 | STELRAD SOFTLINE 700X700MM DBLE CON RAD
422277 | STELRAD SOFTLINE 600X1100MM SGLE CON RAD
422541 | STELRAD SOFTLINE 600X1600MM DBLE CON RAD
422262 | STELRAD SOFTLINE 450X1100MM SGLE CON RAD
422166 | STELRAD SOFTLINE 450X400MM SGLE CON RAD
422505 | STELRAD SOFTLINE 600X1600MM P+ CON RAD
422175 | STELRAD SOFTLINE 450X500MM SGLE CON RAD
422335 | STELRAD SOFTLINE 450X1200MM P+ CON RAD
422320 | STELRAD SOFTLINE 450X1100MM P+ CON RAD
422329 | STELRAD SOFTLINE 700X1100MM SGLE CON RAD
422211 | STELRAD SOFTLINE 600X400MM P+ CON RAD
422188 | STELRAD SOFTLINE 450X600MM SGLE CON RAD
422195 | STELRAD SOFTLINE 450X700MM SGLE CON RAD
422296 | STELRAD SOFTLINE 450X1400MM SGLE CON RAD
422309 | STELRAD SOFTLINE 300X1000MM DBLE CON RAD
422342 | STELRAD SOFTLINE 700X1200MM SGLE CON RAD
422444 | STELRAD SOFTLINE 600X2000MM SGLE CON RAD
422479 | STELRAD SOFTLINE 600X1400MM P+ CON RAD
COPPER
313813 | 15mm Copper (pm)
119745 | 22mm Copper (pm)
701958 | 10mm Copper (pm)
701957 | 8mm Copper (pm)
701953 | 28mm Copper (pm)
SPEEDFIT
854009 | Speedfit Pipe 22mm x 3m
954602 | Speedfit Elbow 15mm
854008 | Speedfit Pipe 15mm x 3m
955049 | Speedfit Elbow 22mm
954605 | Speedfit Stop End 15mm
880103 | Speedfit Pipe Insert 15mm
955051 | Speedfit Stop End 22mm
954603 | Speedfit Coupler 15mm
954609 | Speedfit Street Elbow 15mm
955048 | Speedfit Tee 22mm
954601 | Speedfit Tee 15mm
955050 | Speedfit Coupler 22mm
880104 | Speedfit Pipe Insert 22mm
955203 | Speedfit Reducer 22mm - 15mm
847901 | Speedfit Street Elbow 22mm
BOILER ITEMS
903658 | Worcester Flue Clamp
321452 | Worcester Vertical Pre-Piping Kit
229746 | Worcester 24i ERP System [system boiler]
905399 | External Filling Link
576565 | Gas Meter Union
740142 | Limestone Chippings 25Kg
852757 | Flue Terminal Guard
833131 | Honeywell Frost Stat
835465 | Honeywell Junction Box 10-Way
798621 | Honeywell Cylinder Stat
TRV & LOCKSHIELDS
TRV: 1) RT212 Drayton (15/10/8)
2) Myson Rad Pack (15/10)
Lockshield: 1) Drayton (15/10/8 inc DO)
2) Matchmaster
PRIMARY HEATING CONTROL FILTER
Magnetic Filter: 1) Adey Magnaclean Professional
2) Fernox TF1 Compact
CONTROLS
Time Clock: 1) Worcester Bosch
2) Neomitis
3) Honeywell
Rome Thermostat (wireless): 1) Neomitis
2) Honeywell
Other (Cyl Stat etc): 1) Neomitis
2) Honeywell
ENDFEED
950505 | Endfeed Elbow 22mm
950504 | Endfeed Elbow 15mm
950515 | Endfeed Tee 15mm
950490 | Endfeed Coupler 22mm
954750 | Endfeed Partial Crossover 15mm
950489 | Endfeed Coupler 15mm
950511 | Endfeed Street Elbow 22mm
950516 | Endfeed Equal Tee 22mm
953117 | Endfeed Full Crossover 15mm
950510 | Endfeed Street Elbow 15mm
950506 | Endfeed Elbow 28mm
950517 | Endfeed Tee 22 x 22 x 15mm
953113 | Endfeed Cap 15mm
950531 | Endfeed Cap 22mm
954749 | Endfeed Full Crossover 22mm
950495 | Endfeed Reducer 22mm - 15mm
858893 | Endfeed 45 Street Elbow 28mm
953097 | Endfeed Reducer 15mm - 8mm
950496 | Endfeed Reducer 28mm - 22mm
954751 | Endfeed Partial Crossover 22mm
950518 | Endfeed Tee 22 x 15 x 22mm
950491 | Endfeed Coupler 28mm
950519 | Endfeed Tee 22 x 15 x 15mm
950512 | Endfeed Street Elbow 28mm
950497 | Endfeed Coupler 22mm - 3/4"
952610 | Endfeed 45 Elbow 28mm
950521 | Endfeed Equal Tee 28mm
950522 | Endfeed Tee 28 x 28 x 15mm
953105 | Endfeed Elbow 10mm
953098 | Endfeed Reducer 15mm - 10mm
953104 | Endfeed Elbow 8mm
950527 | Endfeed Tee 28 x 15 x 28mm
953092 | Endfeed Coupler 10mm
953091 | Endfeed Coupler 8mm
954678 | Endfeed Reducer 10mm - 8mm
950526 | Endfeed Tee 28 x 22 x 28mm
954680 | Endfeed Reducer 28mm - 15mm
953114 | Endfeed Cap 28mm
954717 | Endfeed Tee 28 x 22 x 22mm
950523 | Endfeed Tee 28 x 28 x 22mm
950520 | Endfeed 'Bullhead' Tee 15 x 15 x 22mm
950596 | Endfeed Air Vent
COMPRESSION
954397 | Compression Equal Tee 22mm
950150 | Compression Reducer 22mm - 15mm
954353 | Compression Cap 22mm
954357 | Compression Elbow 22mm
954301 | Compression Coupler 22mm
954352 | Compression Cap 15mm
954396 | Compression Equal Tee 15mm
954300 | Compression Coupler 15mm
954356 | Compression Elbow 15mm
954317 | Compression Male Iron Coupler 15mm x 1/2"
954321 | Compression Male Iron Coupler 22mm x 1"
950220 | Compression Elbow 28mm
954340 | Compression Female Iron Coupler 22mm x 3/4"
950146 | Compression Coupler 22mm
954320 | Compression Male Iron Coupler 22mm x 3/4"
950291 | Compression Tee 22 x 15 x 22mm
954355 | Compression Elbow 10mm
538901 | Compression Reducer 15mm - 10mm
954341 | Compression Female Iron Coupler 22mm x 1"
950293 | Compression Tee 22 x 22 x 15mm
954337 | Compression Female Iron Coupler 15mm x 1/2"
954298 | Compression Coupler 8mm
954299 | Compression Coupler 10mm
954367 | Compression Male Iron Elbow 15mm x 1/2"
950286 | Compression Equal Tee 28mm
950290 | Compression Tee 22 x 15 x 15mm
755960 | Compression Elbow 8mm
950269 | Compression Female Iron Elbow 15mm x 1/2"
954395 | Compression Equal Tee 10mm
954370 | Compression Male Iron Elbow 22mm x 3/4"
950270 | Compression Female Iron Elbow 22mm x 3/4"
950164 | Compression Male Iron Coupler 15mm x 3/4"
954394 | Compression Equal Tee 8mm
950187 | Compression Female Iron Coupler 15mm x 3/4"
961159 | Isolation Valve 15mm
961131 | Drain Off 15mm
570500 | Isolation Valve 15mm (Full Flow)
559111 | Lockshield Radiator Valve w/Drain Off
894403 | Auto Air Vent
960990 | Stoptap 15mm
961708 | Isolation Valve 22mm
510132 | Lever Valve 15mm Blue
510138 | Lever Valve 22mm Blue
570622 | Isolation Valve 22mm (Full Flow)
510192 | Lever Valve 22mm Yellow
281866 | 3/4" Olives (10 Pack)
777802 | Butterfly Valve 15mm
510187 | Lever Valve 15mm Yellow
MISC.
262091 | Punk 20mm Flat Bit
844298 | Punk 25mm Flat Bit
650141 | Punk 6mm SDS Bit
844292 | Punk 12mm Flat Bit
961269 | Punk Metal Cutting Disc
844296 | Punk 16mm Flat Bit
650229 | Punk 22m Flat Bit
650147 | Punk 7mm SDS Bit
650138 | Punk 5.5mm SDS Bit
262131 | Punk PZ2 Bits (2 Pack)
844359 | Punk Stone Cutting Disc
650268 | Punk PZ1 Bits (2 Pack)
866326 | Snappy 5 Piece Countersink Set
866340 | Snappy Quick Release Chuck
764920 | Box Red Wall Plugs
764934 | Box Brown Wall Plugs
698617 | Irwin Knife Blades
526655 | Irwin Wood Saw
579805 | 22mm Pipe Collars (Pack)
588893 | 15mm Pipe Collars (Pack)
944313 | 15mm Nail Clips
141529 | 22mm Nail Clips
851221 | 28mm Clip
851223 | 22mm Double Clip
851219 | 15mm Clip
851220 | 22mm Clip
851222 | 15mm Double Clip
511268 | Ellis Pipe Covering
758540 | Osma Strap-On Boss Adapter 32mm
758541 | Osma Strap-On Boss Adapter 40mm
523524 | Osma Silicone Lubricant Spray
860824 | Osma Strap-On Boss
860840 | Osma Solvent Weld Glue
872744 | Powerflow Flux
854142 | Soldering Matt
555044 | Rothenberger Propane Gas
636290 | Rothenberger MAPP Gas
817154 | Everflux
879422 | Decorators Caulk
740401 | Dow Corning Clear Silicone
740175 | Dow Corning White Silicone
814089 | Lead & Gutter Sealant
876024 | Polyfilla Lightweight Filler
533876 | Sand/Cement Mix 5Kg
836103 | Jetcem 3Kg
211928 | Evo-Stick Sticks Like Clear
345251 | Evo-Stick Sticks Like White
984090 | Roll & Stroll Carpet Protector
824159 | Fragile Surface Protector
984089 | Roll & Stroll Hard Flooring Protector
536940 | Clamp 1GR
749575 | Wipes Black
924164 | Wipes Red
693404 | Stair Dust Sheet
693400 | Dust Sheet
551627 | Lead Free Solder
518694 | Closure Plate Tape
870015 | Armaflex 13 x 35mm (pm)
870855 | Climaflex 15mm
870857 | Climaflex 22mm
533880 | One Coat Plaster 5Kg
897451 | Junior Hacksaw Blade (10 Pack)
773032 | 3 Amp Fuse (10 Pack)
578965 | Earth Bonding Clamp (10 Pack)
814077 | Arctic Leak Detector Fluid
847598 | Arctic Freeze Spray Refill Canister
517517 | Box Penny Washers
776117 | Black Nitrile Gloves (100 Pack)
762968 | Rubble Sacks (Roll 10)
820852 | Plastic Dustpan & Brush
606943 | 1" Meter Sealing Disc
606938 | 3/4" Meter Sealing Disc
999942 | Gas PTFE
606946 | 3/4" Meter Washers
606950 | 1" Meter Washers
557307 | Blue Roll
149837 | Water PTFE
CALIBRATION
132059 | Analyser Calibration
SCREWS
886134 | 10 x 4" Box 100
886119 | 8 x 1" Box 200
886125 | 8 x 3" Box 100
886126 | 10 x 1" Box 200
886130 | 10 x 2" Box 200
886131 | 10 x 2.5" Box 100
886128 | 10 x 1.5" Box 200
886127 | 10 x 1.25 Box 200
886123 | 8 x 2" Box 200
886121 | 8 x 1.5" Box 200
|  | 0 |  | 0
Note on D1: Richard Orders: Only fill out if required
Note on A2: Richard Orders: All radiators/emitters must conform to BS EN442
Note on A50: Richard Orders: Copper tube complying with BS2871 Part 1 Table X, jointed with Endex end-feed capillary fittings complying with BS864
Note on B75: Richard Orders: A room sealed condensing A rated appliance
Note on B84: Richard Orders: TRV of 15mm/10mm/8mm capable of mechanical adjustment
Note on B85: Richard Orders: TRV of 15mm/10mm/8mm capable of mechanical adjustment
Note on A88: Richard Orders: magnetic type filter fitted to the primary heating circuit as per the manufacturer’s instructions
Note on A91: Richard Orders: fixed wored or wireless controls capable of accurate timed and manual adjustment of heating and hot water systems. Where relevant these will be integrated to the appliance