STRATTON ST MARGARET PARISH COUNCIL

Please contact Chris.Matthews@strattonstmargaret.gov.uk to arrange a site visit or ask any questions

To install a PV system with batteries at Meadowcroft Community Centre

Location:

Meadowcroft Community Centre

Addison Crescent

Swindon

SN2 7JX

Budget: Up to but not exceeding £30,000.00 (excl VAT)

Usage:

Estimated 15MWh a year

40 to 45kWh a day

Council would like to add air source heating after the installation of the solar system if the system produces excess energy.

Building size: roughly 35m by 14m

Obstructions:

East side - Building has some shading from large trees and has one small window on the roof.

South side - No obstructions

South side of building

West side – No obstructions

West Side of building

East side of building