| ELECTRICAL FORM OF TENDER |  |  |
| --- | --- | --- |
| schedule ref | Revision D2/P02 – 2022.02.23 |

| Electrical Services |  |  |
| --- | --- | --- |
|  | Preliminaries. | £ |
|  | Survey of Existing. Carry out a site survey of existing areas to facilitate co-ordination and production of developed installation drawings. | £ |
|  | Coordination of Services. Provisions for co-ordination of mechanical, electrical and other related services, including co-ordinated drawings for approval. | £ |
|  | Drawings. Complete design and prepare working drawings. | £ |
|  | Utilities. Supply, installation and commissioning of new TP&N distribution boards, including protective devices, to serve the new building. | £ |
|  | LV Distribution. Supply, installation and commission of new LV distribution system within the main extension, including sub-main cabling. | £ |
|  | Primary Containment. Supply, co-ordination and installation of new primary containment system. | £ |
|  | Secondary Containment. Design, supply, co-ordination and installation of new secondary containment. | £ |
|  | Small Power. Supply, installation and commissioning of new small power provision to include circuits to public toilets and the café. | £ |
|  | Fire Alarm. Design, supply, installation and commissioning of new Fire Alarm system. | £ |
|  | Disabled WC. Design, supply, installation and commission of a new disabled WC Alarm System including changing places and disabled WC. | £ |
|  | Lighting. Supply, installation and commissioning of new general and emergency lighting. | £ |
|  | External Lighting. Supply, installation and commissioning of external lighting to the building perimeter. | £ |
|  | Lighting Controls. Design, supply, installation and commissioning of lighting control system. | £ |
|  | Security Alarm. Design, supply, installation and commissioning of a new Intruder Alarm system to the building. | £ |
|  | Data. Design, supply, installation and commissioning of data infrastructure. | £ |
|  | Earthing. Design, supply, installation and commissioning of a new earthing system. | £ |
|  | Builders Work. Design and provision of all builder’s work holes, channels, fixings and making good to existing fabric. | £ |
|  | Lightning Protection. Design, supply, installation and commissioning of a new lightning protection system. | £ |
|  | Photovoltaics Design, supply, installation, and commissioning of new PV array including all ancillary items. |  |
|  | Training. Client training of all new and modified systems. | £ |
|  | Commissioning. Full testing and commissioning of all electrical services and systems, to include existing systems that are being extended. | £ |
|  | O&M Manuals & as Installed Drawings. O&M Manuals & As Installed Record drawings, to an agreed format. | £ |
| External Services |  |  |
|  |  | £ |
|  |  | £ |
|  |  | £ |
|  |  | £ |
|  |  | £ |
|  |  | £ |
| Any Other Items |  |  |
|  |  | £ |
|  |  | £ |
|  |  | £ |
|  |  | £ |
|  |  | £ |
|  | Total Electrical (excluding MCD) | £ |
|  | PROVISIONAL SUMS |  |
| 1. | Statutory Costs for incoming electrical supply | £9,500 |
| 2. | Fire Alarm extension to WC Area | £ |
| 3. |  | £ |
| 4. |  | £ |
| Others Proposed |  |  |
| 5. |  | £ |
| 6. |  | £ |
| 7. |  |  |
|  | Total | £ |

| MECHANICAL FORM OF TENDER |  |  |
| --- | --- | --- |
| schedule ref | Revision D2/P02 – 2022.02.23 |

|  | Preliminaries | £ |
| --- | --- | --- |
|  | Coordination of Services. Strip Out of existing mechanical and PH services prior to demolition. | £ |
|  | Coordination of Services. Provisions for co-ordination of mechanical, electrical, and other related services, including co-ordinated drawings for approval. | £ |
|  | Drawings. Production of co-ordinated working drawings and technical submissions. | £ |
|  | Utilities. Provision of new incoming mains water supply. Co-ordination & provision of incoming supply arrangement including all necessary correspondence with the utility providers. (Application has been made – awaiting response from statutory authority) | £ |
|  | Electric Heating. Supply, installation and commissioning of radiant panels. | £ |
|  | Heat Recovery Ventilation – Public Toilets Supply, installation, testing and commissioning of ventilation systems. |  |
|  | Extract Ventilation – Cafe Supply, installation, testing and commissioning of ventilation systems. |  |
|  | Domestic Cold Water Services. Supply, installation, testing and commissioning of domestic cold water services. | £ |
|  | Domestic Hot Water Services. Supply, installation, testing and commissioning of domestic hot water services. Including direct electric water heaters. | £ |
|  | Above Ground Drainage. Supply, installation, testing and commissioning of above ground drainage. (inc. condensate installation for water heaters & ventilation systems etc) | £ |
|  | Air Conditioning Systems. Supply, installation, testing and commissioning of VRF air conditioning system. | £ |
|  | Thermal Insulation. Design, supply and installation of thermal insulation to domestic hot & cold water pipework services as well as the ductwork. | £ |
|  | Commissioning. Full testing and Commissioning of Services. | £ |
|  | Flushing and water treatment. | £ |
|  | O&M Manuals & As Installed Drawings. The provision of O&M Manuals & As Installed Record Drawings. In a agreed format. | £ |
|  | Control Systems Design, supply, installation and commissioning of automatic controls systems. | £ |
|  | Builders Work Design and provision of all builderswork holes, channels and making good to existing fabric. | £ |
|  | Thermal Expansion & Contraction Design, supply and installation of adequate provision for movement of pipework due to thermal expansion and contraction, hydraulic pressures and building movement. | £ |
|  | Building logbook and User Guide | £ |
|  | Training. Client training of the new mechanical services systems. | £ |
|  | Other (please identify); | £ |
|  | Other (please identify); | £ |

|  | PROVISIONAL SUMS |  |
| --- | --- | --- |
| 1. | Statutory Costs for incoming Water Main | £5,000 |
| 2. |  | £ |
| 3. |  | £ |
| 4. |  | £ |
| Others Proposed |  |  |
| 5. |  | £ |
| 6. |  | £ |
| 7. |  |  |
|  | Total | £ |

|  | COST SAVING |  |
| --- | --- | --- |
| 1. | Exchange VRV system for DX Multisplit Heating / Cooling System to Cafe | £ |