DEFENCE INFRASTRUCTURE ORGANISATION (NEPAL)

BOOKLET 3 CONTRACT No: DIO(N)/CON/21/311 SPECIFICATION FOR THE SEISMIC ENHANCEMENTS TO JAYA & REETU NIWAS SERVICE FAMILY ACCOMMODATION AT BRITISH GURKHAS KATHMANDU

References

- The Health & Safety at Work Act 1974 (HASWA).

- Construction (Design & Management) Regulations 2015 (CDM 2015).

- The Latest Edition of the UK Building Regulations.

- The Latest Applicable JSPs.

- The Latest Applicable Defence Works Functional Standards Publications.

- Electricity at Works Regulations 1989.

- The Electricity Safety, Quality and Continuity Regulations 2002.

- 18th Edition of BS 7671: Requirements for Electrical Installations.

- Lighting should be in accordance with the Chartered Institute of Building Services Engineers (CIBSE) Code for Interior Lighting.

# The drawings attached to this document, are to be read in conjunction with this Performance Specification (PS) for the Seismic Enhancements for Jaya and Reetu Niwas construction.  It should be noted that these drawings are final designs and the contractor is not required to produce any design drawings. Any temporary work design drawings required to be produced by the Contractor, Authority acceptance and approval must first be requested before works commences on site.

# UK Building Regulations.  All works shall comply with the latest UK Building Regulations where possible.  Should any variation be required, approval from the Authority shall be obtained in writing prior to the commencement of any works.

# Health and Safety.  All works shall be carried out in accordance with the Health & Safety at Work Act 1974 (HASWA).  The Contractor shall submit a pre-construction H&S file to the Authority for approval, including all risk assessments, method statements, hazardous material procedures, etc. to comply fully with Construction (Design & Management) Regulations 2015 (CDM 2015).

# Upon project completion the H&S file shall be presented to the Authority 10 days before the Board of Officers is convened and in compliance with CDM 2015.

# Design Life.  The design life of all new civil and structural components and assemblies to first major overhaul, repair or replacement shall be a minimum of 10 years.  The Contractor shall supply and install all components, elements and systems/structures to satisfy this requirement, and provide documentary evidence as per CDM 2015 and any additional Contractual requirements that may apply.

# Existing Services.  The Contractor is responsible for ensuring all services on or adjacent to the site that will be affected by the works are identified, located and appropriate action taken to prevent damage before work commences.  The Contractor shall ensure that any existing services and concrete slabs are reinstated to a condition at least similar to existing, with the minimum of disruption to existing facilities and services during construction.  All works that could possibly influence existing services may only commence with written approval – this includes but is not limited to a Permit to Dig.  The Authority must be informed immediately if any unknown services are discovered that will have an impact on the works.

# The Contractor shall ensure that any existing services and affecting works – including all connections and services tied into – are of an acceptable standard to ensure the required performance over the life of the facility.  Should it be found that one or more of the services (including but not limited to existing water, sewerage, drainage and electrical reticulation) is not considered acceptable to the project requirements, the Contractor shall inform the Authority and obtain written approval/instruction prior to taking any actions to rectify or make good the pertinent unacceptable situation.

Scope of the Overall Project.

# General.  This Performance Specification (PS) outlines the requirements for the construction of the Seismic Enhancements to Jaya and Reetu Niwas

# The Authority.  The Project Manager (PM) has overall Authority on this project.  For the purpose of this Performance / Prescriptive Specification, the PM is any person from within the Authority acting on behalf of the PM, the Superintending Officer (SO) in most cases.

# The sites are situated near the British Gurkhas Camp, Manbhawan.  The specific site demarcations are shown in the drawing pack at Booklet 4. The Authority is to be approached for confirmation of when the sites are to be clear of obstructions.

# Use of the Site.  The Sites shall not be used for any purpose other than undertaking the specified works.  The Contractor shall erect the site and storage compound in a location agreed with the Authority for no longer than is required to complete the Works.  No storage of materials, parking of vehicles, temporary accommodation or any other use of areas beyond the boundaries shall be permitted.  Under no circumstances shall it be permissible for the Contractor to cause an obstruction to normal pedestrian or vehicular movements within the vicinity of the sites.  The sites and site compounds are to be suitably fenced off.

# Restrictions to the Works.  The Works are to be undertaken without interfering with everyday running of the Authority’s operations within the area.  The demarcation of the Site boundary is to be obvious and clearly marked to restrict access to the Site whilst the Works are being undertaken.

Proposed Works

# The proposed works for the task is as follows:

## Outline details of work referenced to drawings.

## As required.

### Seismic Enhancement

Management of the Works

# Personnel.  The contractor is fully responsible for ensuring all personnel within the workforce are authorised to gain access to and work within UK Bases, British Gurkhas Nepal.  The contractor is solely responsible for the submission and approval of passes and the Authority will not grant extensions to performance periods based on delays obtaining passes for access to the Base.  The Contractor shall be responsible for the transportation of Contractor Personnel at all times both to and from the site.  Contractor management staff shall ensure that all employees and sub-contract employees’ visas and passports shall remain current during the life of the contract.  At no time shall contractor management staff permit personnel currently issued a pass to hold visa or passports that expire during the performance period.

# Liaison with the Authority.  The Contractor shall designate one person from within his organisation who will be responsible for liaising with the PM or his representative (SO) on a day to day basis and as the need arises.  The person so designated shall be responsible for communicating with the Authority regarding notification of intended work and explaining the effect that the works will or may have on the operation or systems within the building.  The Liaison Officer will be responsible for responding to the Authority's enquiries and dealing with any issues or complaints.  It is a requirement that the Contractor's Liaison Officer makes daily contact with the Authority such that an active rather than a responsive attitude to liaison is maintained.  The Contractor's Liaison Officer is a key person in achieving the successful execution of this Contract.

# Supervision.  The Contractor shall accept responsibility for design, co-ordination, supervision and administration of the Works, including all subcontracts.  They shall arrange and monitor a programme with each subcontractor, supplier, local Employer and any statutory undertaker, and obtain and supply information as necessary for co-ordination of the work.  In addition to constant management and supervision of the Works provided by the Liaison Officer, all significant types of work must be under the close control of competent trade supervisors to ensure maintenance of satisfactory progress and quality.

# Co-ordination of Engineering Services.  The site organisation staff must include one or more persons with appropriate knowledge and experience of mechanical and electrical engineering services to ensure compatibility between engineering services, one with another and each in relation to the Works generally.

# Approvals.  Where products or work are specified to be approved or the PM instructs or requires that they are to be approved, the same must be supplied and executed to comply with all requirements.

# Photographs.  No photographs shall be taken of the site without the express Authority of the PM.

# Programme of Works.  Prior to the commencement of the works, the Contractor shall liaise with the Authority, in order to produce a detailed programme of works.  This programme shall be agreed and approved and shall form the baseline programme for the project.  Any deviations from the agreed programme shall be communicated to the Authority, with programme updates being produced if required and approved by the Superintending Officer.  The programme must be daily resolution and show when stores equipment and plant deliveries will occur.

# Programme Status.  The Contractor shall also show on this programme each state of both design and construction of the various elements of the works so as to illustrate the latest dates by which instructions requiring changes can be accommodated in each part of the Works without effecting the completion thereof.  Thereafter, the Contractor shall amend and revise the programme as required by the Conditions of Contract and as required by the PM.  The submission of a programme will not relieve the Contractor of his responsibility to apply in writing for instructions, drawings etc. in accordance with the Conditions of Contract.

# Commissioning Period.  One month before the start of any commissioning period the Contractor shall submit a Works Commissioning Plan, setting out his commissioning proposals including the preparation of handover documentation.

# Commencement of Work.  Inform the PM at least five days before the proposed date for commencement of work on site.

# Monitoring.  Record progress on a copy of the programme kept on site. If any circumstances arise, this may affect the progress of the works, put forward proposals or take other action as appropriate to minimise any delay and to recover any lost time.  A daily site diary in an appropriate format is to be kept by the contractor.  The site diary is to include details of personnel and plant/equipment on site and is also to include delays and their reasons, visitors to site and works progress. Variation orders and both written and verbal site instructions are also to be included.  This is to form the basis of the Weekly Progress Report that is to be submitted to the Authority weekly.  A proposed format for the Weekly Progress Report can be obtained from the Authority.

# Site Meetings.  The PM, or his representative, will hold regular site meetings to review progress and other matters arising from the administration of the Contract.  It will be the Contractors responsibility to ensure the availability of accommodation and attend all such meetings.

# Contractors Site Meetings.  The Contractor is to hold meetings with appropriate subcontractors and suppliers shortly before site meetings with the Authority to facilitate accurate reporting of progress.

# Notice of Completion.  The Contractor is to provide the PM at least seven days notice of the anticipated dates of Practical Completion of the whole or parts of the Works.

# Extension of Time.  When it is necessary to report a cause of a delay or likely delay in the progress of the Works this shall be given in the form of a written notice that must also be given of all other causes, which apply concurrently.  The notice shall state the following details.

## Relevant particulars of the expected effects if appropriate related to the concurrent causes.

## An estimate of the extent, if any, of the expected delay in the completion of the Works beyond the Date of Completion.

## Any other relevant information required by the PM.

# Quality Standards/Control.  The contractor will provide evidence to the PM of his quality standards and controls, and will produce a plan detailing QC activities in order for the PM to plan for witnessing of critical activities.

## General Quality of Products.  All products shall conform to the following subparagraphs:

### Products to be new unless otherwise specified by the Authority.

### For products specified to a BS or EN obtain certificates of compliance from manufacturers when requested.

### Where a choice of manufacturer or source is allowed for any particular product, the whole quantity required must be of the same type, manufacture and/or source unless otherwise approved.  Produce written evidence of sources of supply when requested by PM.

### Ensure that the whole quantity of each product required to complete the work is of consistent kind, size, quality and overall appearance.

### Where consistency of appearance is desirable ensure consistency of supply from the same source.  Do not use different colour batches where they can be seen together.

### If products are prone to deterioration or have a limited shelf life, order in suitable quantities to a programme and use in appropriate sequence.  Do not use if there are any signs of deterioration, setting or other unsatisfactory condition.

## Proprietary Products.  All products shall conform to the following subparagraphs.

### Handle, store, prepare and use or fix each product in accordance with its manufacturer's current printed or written recommendations/instructions.  Inform PM if these recommendations/instructions conflict with any other specified requirement. Submit copies to PM when requested.

### The tender will be deemed to be based on the products specified and recommendations on their use given in the manufacturer’s literature current at the date of tender.

### Obtain confirmation from manufacturers that the products specified and recommendations on their use have not been changed since that time.  Where such change has occurred inform PM and do not place orders for or use the affected products without further instructions.

## Checking Compliance of Products.  The Contractor shall check all delivery tickets, labels, identification marks and where appropriate the products themselves to ensure that all products comply with the project documents. In particular, check that the products comply with the following sub-paragraphs.

### The sources, types, qualities, finishes and colours are correct, and match any approved samples.

### All accessories and fixings that should be supplied with the products have been supplied.

### Sizes are correct.  Where tolerances are critical, measure a sufficient quantity to ensure compliance.

### The delivered quantities are correct, to ensure that shortages do not cause delays in the work.

### The products are clean, undamaged and otherwise in good condition.

### Any products with a limited shelf life are not out of date.

## Protection of Products.  All products shall be protected to ensure that they remain in the condition they are required to be in.  In particular the contractor is to ensure that products are to be prevented from overstressing, kept clean, protected from the elements and kept in original wrappings until required for the project.

# Prohibited Products.  The Contractor shall not employ on or incorporate in the Works any of the following products and shall impose a like obligation upon all Sub-Contractors.

## Asbestos materials as described in the Asbestos Prohibitions Regulations 1985 and the Asbestos Products (Safety) Regulations 1985.

## Lead or any products containing lead for use in connection with drinking water.

## Materials that are generally composed of mineral fibres either manmade or naturally occurring which have a diameter of 3 microns or less and a length of 200 microns or less or which contain any fibres not scaled or otherwise stabilised to ensure that fibre migration is prevented.

## Other products or substances generally known to be deleterious to health and safety at the time of use or to the durability of the property in the particular circumstances in which they are being used.

## Air conditioning refrigerants R12 & R22 (all refrigerants used must be Montreal Protocol compliant).

# Setting Out.  The Authority will establish a local control point.  A detailed setting out drawing will be issued to the Contractor.  The Contractor is responsible for all setting out and shall check out the dimensions of the site against those shown on the drawings, and record the results on a copy of the drawings.  The Contractor shall inform the PM when overall setting out is complete and before commencing construction.

# Record Drawings.  The Contractor shall record details of all grid lines, setting out stations, bench-marks and profiles on the site setting out drawing.  Retain on site throughout the contract and hand to PM on Completion.

# Service Runs.  The Contractor shall make adequate provision for services, including unobstructed routes and fixings.  Wherever possible ducts, chases and holes are to be formed during construction rather than cut.

# Mechanical and Electrical Services.  Not Used.

# Access.  The Contractor shall provide at all reasonable times, access to the Works.  The Contractor shall supply the PM or his representative with copies of any documentation and drawings, which may reasonably be required for the purposes of monitoring the work performed under this or any sub-contract.  The PM is to be provided with three copies of all construction drawings prior to the commencement of the works.  These drawings are to be updated as necessary by the Contractor during the works.

# Defects in Existing Construction/Services.  This shall be reported to the PM without delay. Obtain instructions before proceeding with work which may be covered up or otherwise hinder access to the defective construction or be rendered abortive by the carrying out of remedial work.  This is particularly relevant in relation to the expansion of the existing service runs.

# Timing of Tests and Inspections.  The Contractor is to agree dates and times of tests and inspections with PM four days in advance, to enable the PM and other affected parties to be present. On the previous working day to each such test or inspection the Contractor is to confirm to the PM that the work or sample in question will be ready or, if not ready, agree a new date and time.

# Test Certificates.  The Contractor is to submit a copy of each certificate to PM as soon as practicable and keep copies of all certificates on site. Copies should be included in the Health and Safety File on handover of the works.

# Proposals for Rectification of Defective Work/Products.  As soon as possible after any part(s) of the work or any products are known to be not in accordance with the Contract, or appear that they may not be in accordance, the Contractor is to submit proposals to the PM for opening up, inspection, testing, making good, or removal and re-execution. Such proposals may be unacceptable to the PM and he may issue contrary instructions.

# Quality Control.  Not Used.

# Work at or after completion.  The Contractor is required to undertake the following works prior to handover.

## Make good all damage consequent upon the work.

## Remove all temporary markings, coverings and protective wrappings unless otherwise instructed.

## Clean the works thoroughly inside and out including all accessible ducts and voids; remove all splashes, deposits, efflorescence, rubbish and surplus materials consequent upon the execution of the work.

## Cleaning materials and methods to be as recommended by manufacturers of products being cleaned, and to be such that there is no damage or disfigurement to other materials.

## Obtain COSHH dated data sheets for all materials used for cleaning and ensure they are used only as recommended by their manufacturers.

## Touch up minor faults in newly painted/repainted work, carefully matching colour and brushing out edges.  Repaint badly marked areas back to suitable breaks or junctions.

## Adjust, ease and lubricate moving parts as necessary to ensure easy and efficient operation, including doors, windows, drawers, ironmongery, appliances, valves and controls.

# Security at Completion.  The Contractor is to leave the Works secure with all accesses locked.  Account for and adequately label all keys and hand over to PM with itemised schedule, retaining duplicate schedule signed by PM as a receipt.

# Making Good Defects.  The Contractor is to make arrangements with the PM and give reasonable notice of the precise dates for access to the various parts of the Works for purposes of making good defects.  The PM is to be informed by the Contractor when remedial works to the various parts of the Works are completed and ready for approval.

# The signed and approved drawings shall be used as the construction drawings on site for all work purposes and to satisfy the requirements as specified by CDM 2015.

# Construction and ‘As Built’ Drawings.   During the contract period and as directed by the Authority, the Contractor / Sub-Contractor shall use the signed and approved construction drawings indicating his intentions to comply with specified work and service installations.  Any construction drawing on site must be approved by the Authority prior to commencement of any works, with any amendments required during the works clearly and timely communicated to the Authority for agreement and approval.  ‘As Built’ drawings shall be submitted 28 days after completion of the works as directed by the Authority.

# Site Diary.  The Contractor shall keep an up to date, daily, site diary.  This document is to be used to record all decisions made on the site both verbal and written.  The document is also to be used to record visits to site and note anything, which has a direct effect on the project in terms of cost and extensions to time, or any other occurrence that affects the project programme.  All changes must have been agreed and authorised by the Authority.  The site diary shall list in writing all issued variation orders and site instructions, including amended drawings, and verbal decisions made on site.  All verbal decisions must be recorded in writing no less than 24hrs after they have been made and entered in the site diary.  The Contractor shall on request make the site diary available for the Authority to inspect.  This document will be used as the audit trail in light of any disputes, concerning the project.

General Conditions

# Preparatory Works.  All local services are to be identified and adequate precautions taken to protect such services from damage for the duration of the works, or alternatively to relocate or disconnect with alternate provision, as per design and site requirements.  The Authority shall be informed immediately if any unknown services are discovered that will have an impact on the works.  All existing buildings and other facilities if any shall be identified, and precautions taken to mitigate the effects of works ongoing operations and facilities.  This includes but is not limited to dust, noise, security, H&S, maintaining unobstructed access, establishment of clearly demarcated works and storage areas.

# The Contractor shall verify with the Authority which site features are to be removed and protected during construction works.  All setting out shall be completed by the Contractor, as well as any and all ongoing monitoring of works to ensure accuracy, plumb and level.

# Signage.  The Contractor shall supply and erect all applicable and appropriate signage to the site.  This shall include as a minimum all H&S signage, directions and location of site office and emergency contact details of the Contractor’s representative on site.  Temporary warning signs and careful demarcation of works areas must be undertaken with care to ensure compliance with any and all requirements.

# Workmanship.  Notwithstanding any clauses in the Conditions of Contract or elsewhere in the Specifications or Scope of Works, the Contractor shall be responsible for ensuring that all work-related activities shall be carried out in a neat and workmanlike manner, in accordance with accepted good practice.  The Contractor shall pay full attention to quality control and adherence to the specifications.  Particular care shall be taken in respect to Health and Safety matters, which shall include the provision of any relevant temporary warning signs and safety barriers.  All working areas are to be kept clean and tidy on a daily basis.  All redundant materials must be cleared to the requirements laid down in the Authorities Environmental Regulations.

# Site Manager.  At all times the Contractor shall have a Site Manager present on site that has the capability of reading, writing, speaking and receiving instructions in the English Language, including being able to understand and interpret technical drawings and specifications.  This Site Manager must be able to explain the work operations to persons performing the work in a language that those performing the work are capable of understanding.  The PM shall have the right to determine, whether the proposed representative has sufficient technical and linguistic capabilities.

# Dust Protection.  Where work is carried out in an occupied building/area containing personnel or equipment, or adjacent to sensitive areas/facilities (airfields, hospitals, etc.) the Contractor shall ensure that all necessary dust control measures are taken to protect the same.  This may include the following, but not limited to: Mechanical protection to equipment and personnel, suppression of dust on roads.

# Visit to Site.  The Contractor shall acquaint himself completely with the exact conditions relating to access and site environment, along with the layout, conditions and positions of existing services, the full extent of the works required, and the supply and conditions affecting labour, carriage, carting, unloading, storage, tools, scaffolding, etc., as well as any security and access constraints.

# Existing Record Drawings.  The Contractor will upon request, be supplied with copies of all available and relevant existing record drawings.  The Contractor during tender stages shall fully acquaint himself with the nature and extent of all existing services within the area of the contract works.

# Permits to Work and Authorisations.  The contractor shall comply with the Client’s permit to work system and the JSP 375, Volume 3, (details of which are obtainable from the Authority SO), including the provision of method statements, risk assessments, switching/isolating safety programmes, permit to dig, etc.

# The responsibility remains with the Contractor to obtain all necessary authorisations including but not limited to a permit to dig, security and access to the camp and site, fencing/screens to isolate runways, taxiways, and other existing facilities from the works, etc. required to commence and complete the works.

# The Contractor shall at all times ensure that full coordination, cooperation and liaising with the Superintending Officer of the Client and Authorities is achieved and maintained.

# Site Instructions.  Where there is a change in design or specification, which does not have a cost or time implication a Site Instruction shall be issued by the SO to authorise the proposed change at nil cost to the Authority.  The site instruction shall also be used to authorise a change in a specified material/item/equipment as long as the replacement meets the standards required by the original specification and is authorised by the SO.

# Variation Order.  Where there is a change in design or specification, which does have a cost or time implication a Variation Order shall be raised by the Superintending Officer to describe the proposed change, this will have a cost implication to the Authority.  The Works Contract Officer will issue the Variation Order to the Contractor for pricing; the Contractor will price the variation and return it to the Works Contract Officer.  All Variation Orders must be authorised by the Project Manager, Commercial Officer, Financial Officer and issued via the Works Contract Officer prior to the commencement of any works on site.  All Variation Orders are incorporated into the Contract by the issue of a Contract Amendment.

# Rejection of Work.  The Authority reserves the right to reject or condemn any area of the works that he considers to be below an acceptable standard and the Contractor shall replace or repair the said works within 7 days of being notified in writing of the rejection by means of a Non Conformance Report.

# Operations and Maintenance Documentation.  Upon completion of the works the Contractor shall forward all manufacturers’ details relating to equipment/materials used to the Authority for inclusion into the O&M Manual/H&S File.  Refer also to CDM 2015, this documentation less ‘As Built Drawings’ is to be made available at the Pre Board of Officers not less than 10 days before the due project handover date.  A full list of snagging items shall be produced and presented to the Authority with a rectification programme at this very same board.

# Regulations.  It is the Contractors duty to be fully conversant with all local/MOD regulations and requirements in respect of fire, safety, security and occupational health, etc.  These are to be fully complied with throughout the contract period.

# Inspection, Testing and Commissioning.  The installations shall be tested and inspected in accordance with but not limited to the current CIBSE Codes, BS7671:2008– Requirements for Electrical Installations, IEE Wiring Regulations 18th Edition where appropriate, etc.  Advance notice of tests shall be given (minimum of 7 days prior to notification).  Test and inspection certificates are to be approved by the Authority, preferred document templates will be provided by the Authority on request.  Test certificates shall serve as a record that the item referred to has been shown under test to meet the requirements of the specifications and of British Standards as applicable and shall be dated, numbered and clearly referenced to the item tested by means of serial, chassis or other manufactures reference number permanently marked in a conspicuous position.  On completion, all original test and inspection certificates are to be provided to the Authority and included in the H&S file CDM 2015.  All test instruments shall be provided by the Contractor.  The calibration certificates for the testing of the equipment are to be available on request to be shown to the Authority for scrutiny.  The Contractor shall ensure all calibrations are in date.  The Authority reserves the right to have an independent electrician available during the test and inspection phase.  Any defects of workmanship, materials or non-compliance with the specifications or other irregularities which become apparent during the tests shall be rectified by the Contractor, at his own expense, until the whole work is free from defects and in full working order to the complete satisfaction of the Superintending Officer.

# All materials used for construction of permanent works shall have suppliers’ specifications and/or testing certificates available.  Where materials are used as part of a whole or in conjunction with other materials, and in any case where site testing is required by best practice, verification of quality and specifications should be allowed for the parts / items / products (suppliers’ specification) as well as the whole (site testing).

# Defects Liability Period.  A defects liability period of 12 months shall apply for the works.  The Contractor will be responsible for making good at his own expense defects in the works for a 12 month period from handover.

Construction Preliminaries

# Location Plan.  The locations of the proposed works is near the British Gurkhas Camp shown in the Drawing Pack within Booklet 4.

# Existing Ground Conditions.  The Contractor is responsible for confirming the existing ground conditions, which are to be taken into account whilst designing and compiling the Pre-Construction Health and Safety Plan (PCHSP).

# Obstructions.  As the proposed works are to be carried out in the existing compound and surrounding areas, there are obstructions in the form of fences, the contractor is to review the site before commencing works.

# Provision of Information.  Unless otherwise specified the following is to be provided:

## Three copies of all information, including valid certification, in respect to work, goods and materials proposed by the Contractor, shall be supplied to the Authority.  Where the original document is written in a language other than English, it shall be accompanied by an English translation.

## Information and certificates shall be supplied at least two weeks prior to the use of the work, goods or materials in the Works.

## Three copies of detailed working and fabrication drawings and calculations shall be submitted to the Authority for reference purposes.  Such submittal shall in no way relieve the Contractor of his responsibilities for the work under the contract.

# Health and Safety Restrictions, Precautions and Monitoring.  The Contractor shall implement the requirements described in the Health and Safety at Work Act 1974 (HASAW) to protect members of the public and persons visiting the site from risks arising from the use of equipment, materials or substances defined therein.

# Control of Noise and Vibration.  The Contractor shall comply with the recommendations for practical measures to reduce noise set out in BS 5228: Parts 1, 2 and 4.

Preliminary Groundworks

# Existing Ground Levels.  The Contractor shall identify all existing site levels required prior to any construction works.

# Ground Water Level.  The ground water level has not been established but it is not expected to impact on any of the works.  It is the Contractors responsibility to take into account the ground water levels when submitting technical and commercial proposals.

# Excavations.  All excavations must be carried out in a safe manner and all excavations must be cordoned off and be clearly marked.

# Buried Services.  Prior to carrying out any excavation work the Contractor must:

## Obtain a Permit to Dig (Statement of Known Services) and all drawings relating to existing services that may interfere with the proposed works. A copy of the Permit to Dig must be given to the Authority prior to any works commencing.

## Identify all local services and take adequate precautions to protect such services from damage for the duration of the works.

## Inform the Authority immediately if any unknown services are discovered that will impact on the works.

# Hazardous, Aggressive or Unstable Materials.  The Contractor is not to import or use fill materials which would either in themselves or in combination with other material or ground water, give rise to health hazards, damage buildings or structures.  The construction materials should not include any finishes that may lead to shedding of particles.

# Placing Fill.  The Contractor shall ensure that excavations and areas to be filled are free from loose soil, organics, rubbish and standing water, frozen materials or materials containing ice are not to be used.  All fill is to placed and compacted against structures, membranes or buried services in a sequence and manner which will ensure stability and avoid damage.  The plant employed for transporting, laying and compacting must be suited to the type of fill material being used.  All compaction works are to be carried out in accordance with the Specification of Highway Works Volumes 1 – 3, the Contractor is to inform the Authority of the method to be used.

# Survey.  The Contractor is to conduct a thorough survey of the site prior to Works commencing.

# Obstructions.  There are no known obstructions in the area.  However, if any obstructions are discovered before or during construction the Contractor is to break out old foundations, beds, drains, as directed by the appointed SO and remove off site.  Seal off any drain ends and remove contaminated earth and backfill as specified.

# Compaction.  All compaction operations are to be carried out with suitable compaction methods and equipment to ensure that the compacted layer facilitates all the upper layers.

Construction Specification

# Concrete

# All new concrete is to be joined to the existing concrete with bonding chemical SIKA or approved brand.  All structural concrete of foundation and jacketing to be grade M25.  The compressive cube characteristic strength to be at least 25 N/sq mm.  The concrete to have 20 mm down stone aggregate with proper compaction, perfect in line, level and finishing including curing.  The concrete shall be thoroughly compacted as the depositing proceeds using a suitable type of vibrator.   During compaction needle vibrators should not come in contact with reinforcements in order to prevent damage to the bond between concrete and reinforcement.

# Cement.  All cements are to be ordinary Portland cement packed in bags of 50 kg net weight.  The contractor shall test its compressive strength, setting and quality at the time of delivery to site before use in work.  Only approved quality cement shall be used in work.

# Coarse aggregate.  Aggregate shall be sized as per the specification and tender drawing. They shall be hard, strong, dense, durable, clean and free from quarry refuse and adherent coatings. It shall be free from soft pebbles, thin, elongated or laminated pieces and shall be roughly cubical in shape.  It shall be clear and free from dirt and any other deleterious matter.  The coarse aggregate to be used for concrete work shall be approved by DIO(N).

# Fine aggregate.  Fine aggregate or sand for the entire project shall be obtained from the same source where practically possible.  Fine aggregate shall be coarse-grained pit or river sand with not more than 4% silt content determined by a sedimentation test.  It shall be hard, durable, clean and free from adherent colouring and organic matter.  The contractor shall submit sample to DIO(N) for approval before delivery at site.

# Construction of Formwork.  The formwork is to be securely constructed by the contractor, and then inspected by the Authority to ensure it is structurally sound and meets the required specifications.

# Reinforcement Bar.  Is to be placed by the contractor with a minimum 50mm end-cover from formwork prior to the concrete being poured then inspected by the Authority.

# Concrete Materials and Mix Designs.  The contractor shall submit to the Authority the proposed concrete mix design for any concrete works, including in-situ and pre-cast concrete.  The size of the aggregate used is not to exceed the nominal 20mm.  The contractor is to notify the Authority representative minimum 24 hours prior to pouring of concrete, to allow a Construction Material Technician to take cube samples.  Cubes are to be taken from structural concrete with 7 & 28 day crushing results passed to the SO.

# Concrete Practice.  The Contractor shall ensure that suitable consideration is given to the placing of concrete in hot and cold weather and appropriate precautionary/avoidance measures are to be undertaken in order to minimise shrinkage and cracking.  Concrete is not to be laid if the temperature is below -5°C or above 30°C.

# At the time of placing concrete the Contractor shall ensure that all surfaces on which concrete shall be placed are clean, with no debris, organic material or free water.  The concrete shall be placed while sufficiently plastic for full compaction.  Do not add water or re-temper mixes.  The temperature of the concrete at time of placing must not be less than 5°C.  Fully compact to full depth (until bubbles cease to appear on the top surface) especially around cast-in accessories, into corners of formwork and at joints.  Vibration of the concrete shall be by means of mechanical vibration only, with care taken in the mix design and compaction to minimise segregation.  A spare mechanical vibration unit should be at hand in the event of break down during the concrete pour.

# The Contractor shall prevent surface evaporation from the surfaces during the curing process.  It is the Contractor’s responsibility to ensure the concrete is cured correctly.  With the exception of plant and equipment for cutting contraction grooves the fresh concrete shall not be subjected to the weight of any traffic or equipment for a period of 7 days after the pour.

# At the time of placing concrete, the reinforcement shall be clean and free of corrosive pitting, loose mill scale, loose rust, and any substance which may adversely affect the reinforcement, concrete, or bond between the two.

# The formwork is the responsibility of the Contractor but should comply with the following:

## Formwork is to be rigid and durable, suitable for re-use during construction and of sufficient strength to support the weight of the wet concrete and the placing and finishing operations.

## Construct accurately and robustly to produce finished concrete to the required dimensions.  Formed surfaces must be free from twist and bow, all intersections, lines and angles being square, plumb and true.

## Forms are to be laid to line and level, adequately braced during placing operations to withstand, without springing or settlement, the impact and vibration of the spreading, compacting and finishing operations.

## Constructed (including joints between forms and completed work), to prevent loss of grout, using seals when necessary.  Secure tight against adjacent concrete to prevent formation of steps.

## The depth of forms shall be adequate to fully support the nominal thickness of the slab.  The thickness of packing below the forms shall not exceed the irregularity of the surface permitted by this specification, specifically +/- 3mm over a 3m straight edge.

## Forms are to be coated in mould release oil to aid in striking.

# Concrete Finish.  Carry out all finishing operations at optimum times in relation to the setting and hardening of the concrete.  Do not wet surfaces of concrete to assist surface working.  Do not sprinkle cement on to the surface.  Use a hand or skip float to give an even surface with no ridges or steps, when the concrete is suitably stiff apply a brush finish to produce a friction surface and resume specified curing without delay.  Brush marks are to be made in the same direction at right angels to the direction of travel on each pad after eliminating surface blemishes by scraping straight edges and before the commencement of curing operations.  The surface of the concrete shall receive no special treatment other than finishing operations required to produce the specified degree of accuracy of the surface level.  The edges are to have a 5mm bullnose edge applied.  Any exposed concrete edges are to have a 25 x 25mm chamfered finish applied to prevent damage when striking formwork.

# Surface Accuracy.  The concrete is to be placed with a surface tolerance of +/- 3mm over a 3m straight edge.

# Results.  The Contractor is to carry out 7 and 28 day cube testing of every batch of concrete during the Construction.  The results must be submitted daily by the Contractor to the Authority and will be compared against the Authorities independent test results.  Any concrete not forecast to meet the requirement of the 28 days strength at the 7 day cube test will be replaced at expense to the Contractor.  The Authority is to be notified 24 hrs prior to the Contractor pouring concrete.

Steel Reinforcement

# General.  Reinforcement shall comply with the following standards and be in prefabricated sheets or cages, or bars assembled on site and shall be free from oil, dirt, loose rust and scale:

## Carbon steel bars for the reinforcement of concrete to BS 4449.

## Cold-reduced steel wire for the reinforcement of concrete to BS 4482.

## Steel fabric for the reinforcement of concrete to BS 4483.

# When deformed bars are used they shall conform to Type 2 bond classification of BS 4449.

# Spacing of bars shall not be less than twice the maximum size of aggregate used.  Laps in longitudinal bars shall be not less than 35 bar diameters or 450mm whichever is greater.

# Laps in any transverse reinforcement shall be a minimum of 300mm.

# Reinforcement.  Laps in mesh reinforcement shall be not less than 250mm.  Laps in bar reinforcement shall be not less than 40 times the bar diameter or 300mm whichever is the greater.  At no instant should the reinforcement steel have less than 50mm of concrete cover measured in any direction.

# Fix reinforcement before the concrete is placed, providing suitable spacers at not more than 1m centres or closer spacing as necessary to support in position and maintain the specified cover.  Fix adequately (at every reinforcement crossing) using tying wire, which must not intrude into the concrete cover.

## The use of wire mesh is allowable in principle.  The Contractor shall inform the Authority of reinforcement scheduled for use; where wire mesh shall be used in load bearing and/or critical elements, normal bar reinforcement should be provided along the outside perimeter as well as other critical perimeters, and securely tied to the mesh.

Seismic Enhancement

# Dismantling works.  Dismantling works shall be done carefully so that it does not affect the other adjoining structure(s). Care should be taken not to exceed the required dismantling area. If there are any doors and windows, they shall be removed first. The contractor shall take all measures required for the safety of the demolition and must provide temporary screen between the demolition area and other areas, adjacent walls, doors and window opening etc. Any damage while dismantling shall be the contractor's responsibility.  Useful materials shall be stacked properly in a convenient place.  The contract is to remove the following as shown in drawings contained in the Drawing Pack at Booklet 4:

## Wall covering (chipping plaster).

## Existing Windows and doors.

## Brick wall.

## Kitchen tiles and kitchen units.

# Not Used.

# Column/Wall Jacketing.  All columns/walls for Jaya Niwas are to be seismically enhanced as per design specification contained in the drawing pack for Jaya Niwas at Booklet 4 to the following:

## Removal of existing wall covering.  Existing wall covering to be removed to revealing structural column.

## Concrete.  All concrete to be to paras 85 – 103.

## Reinforcement.  All reinforcement to be to paras 97 – 103.

## Steel jacketing. All steel jacketing members to be constructed as design specification detail of Jaya Niwas Dwg No S3.01 found in Booklet 3.

## Column Connectors.  All connectors to be 12mm dia steel at 150mm c/c to tie the existing column into the new form work.

## Wall Connectors.  All connectors to be 16mm dia steel at 150mm c/c to tie the existing wall to the new form work.

## Column Footing.  Exact footing unknown expected column footing detail shown in the design drawings found in the Drawing Pack at Booklet 4. Reinforcement to be 20mm Dia and binders to be 10mm Dia.

## Intermediate ceiling.  Reinforcement is to be continued through floor slab and bedded in a rich cement mortar grouting 1:1. Ensuring all laps are as paras 97 – 102.

## Final ceiling.  Reinforcement is to be welded to existing ring beam and sealed in a high chemical bond resin.

# Shear Wall reinforcement.  Walls to be reinforced with mesh reinforcement as per design specification contained in the drawing pack contained in the Booklet 4.  All reinforcement to be to the following:

## Existing Wall Covering.  All existing wall coverings removed.

## Base Layer.  12.5mm thick 1:4 (cement, sand) plaster to exposed brickwork.

## Vertical & Horizontal reinforcements.  16mm Dia @ 150 mm CC for verticals reinforcement bars, 12mm Dia @ 150mm CC for horizontal reinforcement bars and connected to existing wall using 12mm Dia EPOXY Dowels.

## Concrete.  All concrete to be to paras 85 – 103.

# Roof Water tank reinforcement.  Existing concrete water tank stand located on top of the roof to be reinforced as per design specification contained in the drawing pack for Reetu Niwas house at Booklet 4.

# Underground water tank. Where the underground water tank is located, the contractor will will be required to conduction seismic enhancement works in this area. All damages caused to the underground tank due to the seismic works to be repaired or reconstructed as per design specification contained in the drawing pack for Reetu Niwas house at Booklet 4 to the following:

## Removal of existing underground tank covering.  Existing underground covering to be removed to enable construction of the shear wall and its foundation.

## Removal of existing underground tank foundation. Existing underground foundation to be removed to enable construction of the new shear wall foundation.

## Concrete.  All concrete to be to paras 85 – 102.

## Reinforcement.  All reinforcement to be to paras 97 – 102.

## Column Connectors.  All connectors to be 12mm dia steel at 150mm c/c to tie the existing column into the new form work.

## Wall Connectors.  All connectors for the shear wall to be 16mm dia steel at 150mm c/c to tie the existing wall to the new form work.

# Pipes for Drainage.  Where drainage pipes are removed or damaged due to the seismic enhancement works, they are to be replaced by the contractor. Pipes for drainage are to be uPVC to BS EN 1329.  The Contractor shall show that the pipes they select have hydraulic flow capacity equal to that adopted in the hydraulic design of the system.  The falls on pipework runs must be sufficient for self-cleansing.  On completion of the whole of the drainage works, the Contractor shall provide the Authority with a schedule showing details of all pipe types used, including quality, joints and name of manufacturer.

# Soil Vent Pipe (SVP).  All SVP that have been removed during the construction work is to be reconnected to back into existing drainage system.

# Branches.  All branches to the pipework is to be connected to the SVP to the following conditions:

# A branch pipe should not discharge into a stack in a way which could cause crossflow into any other branch pipe.

# A branch discharge pipe should not discharge into a stack lower than 450mm above the invert of the tall of the bend at the foot of the stack.

# A branch pipe discharging to a gully should terminate between the grating or sealing plate and the top of the water seal.

# Bends in branch pipes should be avoided where possible, where they are not possible as large radius bend as possible is to be used.

# Junctions on branch pipes of about the same diameter should be made with a sweep of 25 mm radius or at 45°.  Connection of branch pipe of 75 mm diameter should be made with a sweep of 50 mm minimum radius or at 45°.

# Ventilation of branch pipes.  Separate ventilation of pipes is requires to prevent water seals in traps from being lost due to pressure.

# Ventilation.  Drainage pipework is to be ventilated using Air Admittance Valves (AAV),  DIO(N) will purchase required AAVs from UK and supply to the contractor to install.  The contractor is to leave a point for connection to fit AAV.

# Trap Sizes.  The minimum trap sizes should be used for the following appliances:

# Wash Hand Basin.  32 mm dia, depth of seal 75 mm

# Shower.  40 mm dia, depth of seal 50 mm

# WC.  100 mm dia, depth of seal 50 mm

# Testing.  The pipes, fittings and joints should be capable of withstanding an air test of positive pressure of at least 38 mm water gauge for at least 3 minutes.  Every trap should maintain a seal of at least 25 mm.  Smoke testing is not to be used to identify defects where a water test is failed.

# Electrical works.  Where electrical connections get affected by the seismic works, then contractor is to chase walls and floor for installation of electrical conduits where required less concrete beams and slabs.  The supply and installation of conduits and boxes will be carried out by DIO(N) electricians.  Fill the holes with cement sand mortar or screed not less than existing mix strength once installation of conduits complete.

# Walls.  Removal and reconstruction of existing brick walls required as per drawing.  The new walls are to be bedded in 1:4 cement sand mortar, joints to be between 10-20 mm.  The new fair faced brick wall is to match existing.  Remove windows, manufacture window as per drawing and install.  The frames and window leaves are to match existing window.  Use salwood to manufacture new window.

# Finishing work.   All mortar for plastering shall be prepared by mixing in mechanical mixers as previously described above for concrete mixing, using ratios of 1:4 and 1:3 unless otherwise specified. The joints in all new masonry work shall be raked out to a depth of 10 mm minimum and the surface watered and cleaned of all dust and dirt.  Concrete surfaces shall be properly hacked/keyed to provide an adequate bond.  All cracks, blisters and other defects must be cut out and made good and the whole of the area left in a perfect condition on completion.  The finished plaster shall be cured for 7 days and protected against damage.  The workmanship shall be to the satisfaction of DIO(N).

# Internal plastering.  The application of the coating is to be conducted firmly and in one continuous operation between angles and joints to achieve good adhesion.  The following is to be observed:

# Appearance.  The appearance of finished surfaces are to be even and consistent, free from rippling, hollows, ridges, cracks and crazing.  The accuracy of the finish is to be true plane, to correct line and level, with angles and corners to a right angle unless specified otherwise, and with walls and reveals plumb and square. Prevent excessively rapid or localized drying out.

# Flatness/surface regularity.  Sudden irregularities and not permitted not permitted.  Deviation of plaster surface is to be assessed by measuring from underside of a straight edge placed anywhere on surface; the permissible deviation (maximum) for plaster not less than 13 mm thick is 3 mm in any consecutive length of 1800 mm.

# Dubbing out.  Correct substrate inaccuracies with new smooth, dense concrete and similar surfaces.  Dubbing out prohibited unless total plaster thickness is within range recommended by plaster manufacturer.

# Undercoats.  Undercoat is to be ruled to an even surface and then cross scratch to provide a key for the next coat.  Undercoats on metal lathing are to be worked well into interstices to obtain maximum key.  Undercoats gauged with Portland cement should not have next coat applied until drying shrinkage is substantially complete.

# Application.  Thickness of any one coat (maximum) is 10 mm.  Mix to be as per manufactures recommendations for undercoat.  Application is to achieve a firm bond.  Allow each coat to set sufficiently before the next is applied. Cross scratch surface of each coat.

# Smooth finish.  Appearance should be a tight, matt, smooth surface with no hollows, abrupt changes of level or trowel marks.  Avoid water brush, excessive trowelling and over polishing.

# Wood float finish.  Appearance should be an even overall texture.  Finish with a dry wood float as soon as wet sheen has disappeared.

# Securing accesses.  Secure access of underground water tank with lockable grillage.  Provide padlock with numbered keys.  Seal the well cover permanently with new MS cover and provide padlock.

# Painting work.  All painting and stain works are to, where suitable match that of the original building. The following are to be observed for all painting works:

# Matt washable emulsion paint to walls/ceilings.  All Internal plaster finished masonry, plasterboard and plaster skim coat finished walls/ceilings are to be painted with matt emulsion (colour to be approved by DIO(N)).  All are to have a single thinned coat to paint manufacturer’s recommendations; finishing with a minimum of two full coats.

# Gloss paint to joinery.  All new/existing joinery including windows, doors, door frames/linings, architraves, skirting’s are to be painted with gloss paint (colour to be approved by DIO(N)) so to match the original finish.  Joinery is to have one coat of primer before fixing (existing joinery is to be spot primed as required), one coat of undercoat; finishing with one full coat of gloss paint.

# Gloss paint to internal metal work.  All new/existing internal metal are to be painted with gloss paint (colour to be approved by DIO(N)).  Metal work is to have one coat of primer (existing metal work is to be spot primed as required), one coat of undercoat; finishing with one full coat of gloss paint.

# Galvanizing paint to external metal work.  All new/existing external metal work is to be painted with gloss paint (colour to be approved by DIO(N)) so to match the original finish.  Metal work is to have two coats of red oxide primer prior to delivery to site (existing metal work is to be spot primed as required).  After erection of the structure re-clean and paint a further two coats of red oxide primer.  Finishing to metal surfaces are to be with two coats of galvanizing paint.

# Decorative wood stain to joinery.  All new/existing stained joinery including windows, doors, posts, rails and handrails are to be stained with a weather shield opaque stain (colour to be approved by DIO(N)) so to match the original finish.  Decorative wood stain is to be applied in 2 full coats.

# Protection.  ‘Wet paint’ signs and barriers are to be provided where necessary to protect other tradesmen/visitors; and to prevent damage to freshly applied coatings.  The seismic enhancements and initial Get You In work is in the residential building, the contractor is to arrange sufficient plastic/tarpaulin sheets to cover from dust and make the site clean and tidy every day.

# Preparation for painting works.  Where existing painted surfaces are affected by the seismic enhancement works, then all surfaces to be painted/stained are to be sufficiently dry in depth to suit the coating and have all efflorescence salts, dirt, grease, oil, surface irregularities, dust, particles and residues from preparation removed. The following are to be observed:

# Fixtures and fittings.  Before commencing work remove all surface mounted fixtures and fittings. Refurbish as necessary or replace with similar and refit when coating is dry.

# Ironmongery.  Before commencing work remove ironmongery from surfaces to be coated. Do not remove hinges. Refurbish as necessary (Remove old coating marks. Clean and polish) or replace with similar and refit when coating is dry.

# Purlins.  Finishing to roof purlins are to be applied prior to laying of roof covering.

Additional Specifications

# Other Construction Materials.  The use of additional construction materials must be compliant with generally accepted good practice and shall be in accordance with suppliers’ specifications.

# Windows and Doors. Where windows and doors are affected by the seismic enhancement works, the Contractor is to either protect them from damage, or remove and reinstall or replace with new windows or doors. The replacement windows or doors are to be like for like with the original item.

Restrictions/Constraints

# Access to the Site. This is to be agreed in detail with the PM prior to start on site.

# Working Hours.  The Contractor may be restricted to working between 0830 hrs and 1700 hrs (Monday to Sunday Inc), any deviation from these hours must have prior agreement with the PM.  The work site is located in a restricted or controlled area.  The contractor may therefore experience delays due to compliance with entrance/exit requirements of restricted/controlled areas.

Facilities/Temporary Works/Services

# Locations.  The Contractor is to agree with the PM of the intended sitting of all temporary works and services in advance.

# Lighting and Power.  The Contractor shall provide all temporary lighting and power for his works (if applicable).

# Communications.  The Contractor shall provide his workforce with adequate means of communications throughout the life of the Contract in order to carry out the work specified.

# Temporary Services.  The Contractor shall not provide temporary service connections to both mechanical and electrical systems.  All temporary service connections are to be carried out by DIO(N) personnel in accordance with current UK regulations.

WCO is the Authority for this project/contract.