CONTENTS

1.	PURPOSE	2

2.	BACKGROUND TO THE CONTRACTING AUTHORITY	2

3.	Background to requirement/OVERVIEW of requirement	3

4.	definitions	3

5.	scope of requirement	3

6.	The requirement	5

7.	key milestones	6

8.	authority’s responsibilities	7

9.	reporting	7

10.	volumes	7

11.	continuous improvement	7

12.	quality	7

13.	PRICE	7

14.	STAFF AND CUSTOMER SERVICE	8

15.	service levels and performance	8

16.	Security requirements	9

17.	intellectual property rights (ipr)	9

18.	payment	9

19.	additional information	9

20.	Location	9

# PURPOSE

## To contract with a Potential Provider for the purposes of capturing an evidence base and up to date assessment of:

## The cost of delivering different standards of drought resilience

# BACKGROUND TO THE CONTRACTING AUTHORITY

## The National Infrastructure Commission provides the government with impartial, expert advice on major long-term infrastructure challenges. It has been operating in interim form since October 2015 and was established permanently as an Executive Agency of HM Treasury on 24 January 2017.

## The Authority’s relationship with government is set out in a published Charter. This explains that it must carry out its work in accordance with a remit (and terms of reference for specific studies) set by the government, but in all other respects it has complete discretion to determine independently its work programme, methodologies and recommendations, as well as the content of its reports and public statements. A mutually agreed Framework Document provides further details of the Authority’s working relationship with government.

## The Government has outlined the high-level objectives of the Authority as follows:

## (1) Support sustainable economic growth across all regions of the UK;

## (2) Improve competitiveness;

## (3) Improve quality of life.

## Each Parliament, the Authority will deliver a study on the UK’s long-term strategic infrastructure needs and produce recommendations to address those needs across the infrastructure sectors including transport, energy, digital communications, water and wastewater, solid waste, flood risk management as well as considering their interdependencies and their interaction with the built environment.

## This study is the National Infrastructure Assessment (NIA). The delivery of the NIA will be overseen by the Authority’s Commissioners, and able to commission research and call for evidence from public sector bodies and private sector experts.

## The NIA will consist of two stages: Vision and Priorities, identifying the vision and long-term infrastructure needs, to be published in October 2017 and the final National Infrastructure Assessment, a roadmap of recommendations including both on policy and infrastructure solutions, to be published in early 2018.

## In 2016, the Authority launched a consultation in order to develop the process and methodology for the NIA. The responses to the consultation, as well as HM Treasury’s response to its consultation on the Authority, can be found here. There is currently an open call for evidence for the NIA, the details and questions can be found here.

## The Authority’s remit also includes in-depth studies. Since the Authority’s inception, it has produced a number of reports which include: Transport for a World City, Smart Power, Northern Powerhouse, an interim report on Oxford-Cambridge-Milton Keynes Growth Corridor and, most recently, 5G. The studies can be found on the Authority’s website here.

## The Potential Provider must read both the Authority’s consultation on the NIA, as well as HM Treasury’s response to its consultation on Authority, in order to understand the broader context for this requirement and to inform their response.

# Background to requirement/OVERVIEW of requirement

## This work will provide evidence for the Authority to develop policy recommendations around UK’s infrastructure needs over the next 30 years. In this context, this project aims to build a better understanding of the costs of implementing different water resource management interventions.

## The Potential Provider should build upon the work undertaken by Water UK within their ‘Water Resources Long Term Planning Framework’ report, published in July 2016, which can be found here. The Authority will facilitate the access to the results from this study.

## The Potential Provider should also consider and build upon other relevant work, including but not limited to:

## ‘CCRA2: Updated projections for water availability for the UK’ assessment undertaken by HR Wallingford for the Committee on Climate Change.

# definitions

| ## Expression or Acronym | ## Definition |
| --- | --- |
| ## Severe drought | ## Defined where drought indicators are exceptionally low over a long period of time triggering the imposition of emergency restrictions on domestic and commercial water uses. |
| ## Drought | ## Defined where drought indicators have been low for a prolonged period of time and are notably low for the time of year leading to the imposition of restrictions for non-essential use for domestic and commercial water use. |
| ## Drought resilience | ## A water supply system able to ensure continuity of service for essential uses even during a severe drought, under a majority of plausible futures. |

# scope of requirement

## This project aims to build a better understanding of the costs and benefits, in terms of additional water supply, of implementing different water resource management interventions.

## In particular, the Authority is looking for accurate, independent and up to date information on the costs of building strategic infrastructure and demand management interventions in England and Wales.

## The Authority is not seeking policy recommendations from the Potential Provider but data and information to build the evidence base for the Authority’s own policy analysis. Policy options and recommendations are not part of the scope and should not be included in any of the outcomes.

## The Potential Provider should propose appropriate spatial resolution(s) for carrying out the analysis and presenting the results. The final resolution will be agreed upon with The Authority. The analysis should focus on England and Wales, although data from elsewhere should be included if relevant.

## The Potential Provider should include information on the time to realise different interventions.

## The cost components must be to an appropriately detailed level, to be agreed upon with the Authority. The uncertainty for each variable must also be set out.

## Cost of demand management and efficiency measures

### The Authority expects the Potential Provider to develop cost curves that present costs against mega litres per day for different types of demand management measures. The cost curve should be developed for, as a minimum, metering and leakage management. Where possible, the Potential Provider should consider the effect that technological changes that could occur over the next 5-15 years could have on costs.

### The Potential Provider should build the cost of implementing each type of demand management measure starting from existing datasets (e.g. the Water UK report), other literature and international examples.

## Cost of building strategic infrastructure

### The Authority is interested in developing a long list of strategic infrastructure options that could provide additional supply of water, completed with their: capital and operating costs; additional supply of water resource made available by the option; as well as other indicators of their effectiveness, impacts and feasibility, such as social acceptability and construction timeframes. The Potential Provider should build on the existing list of infrastructure options developed by Water UK and any other relevant and more recent work. The Potential Provider should also consider whether there are further options that have not yet been identified in previous work e.g. regional options that may not appear in water company Water Resource Management Plans.

### The Authority expects the long list of costed options to be used to develop cost curves that present costs against mega litres per day for different infrastructure typologies e.g. reservoirs, transfers, water reuse, aquifer recharge, desalination etc. The Potential Provider should propose a list of infrastructure typologies, understanding that the final list will be agreed with The Authority upon contract award.

## Testing portfolios of options

### The Potential Provider must allow in their costs for applying the cost curves for at least ten different portfolios of options defined by the Authority.

## Review of draft water company Water Resource Management Plans

## Water companies are due to submit their draft water resource management plans to Defra in December 2017. The Authority expects to provide the Potential Provider with the draft Plans for review. The Potential Provider will be required to review the draft plans to extract key information e.g. proposed infrastructure options, demand reduction and leakage targets etc. to be agreed upon with the Authority.

## All assumptions made must be clearly stated and agreed upon with the Authority and the Potential Provider should make clear any potential conflicts of interest.

## This project potentially involves handling data that are commercially or otherwise sensitive, which would require the Potential Provider to sign a non-disclosure agreement.

## The scope of the requirement excludes analysis of current government or Ofwat strategy, except for data that would directly improve the assessment of costs and the identification of infrastructure options.

# The requirement

## The key output from this project will be analysis of the costs of infrastructure or other interventions to provide additional public water supply or reduce demand.

## Specific deliverables include:

### A report detailing the methodology, analysis, and findings in a clear and concise fashion – this must reflect any inputs/requests made by the Authority during the production phase. The Authority intends to publish this report.

### Data forming the cost curves as per 5.7 and 5.8.

### Data on infrastructure options including the information listed in 5.8.1.

### A presentation of the report to technical and non-technical members of the Authority. The purpose would be to set out the key findings from the report, the key assumptions, results, and caveats in a clear and concise fashion, to ensure these are fully understood by Commissioners.

## These products must be delivered by no later than 9th March 2018 to ensure that the findings of the report can be used to inform the NIA.  Delivery will be staggered, with output being supplied to the Authority from the 18th December 2017. The Potential Provider must provide a draft final report by 1st February 2018, the Potential Provider should make changes following feedback by the Authority by 9th February 2018 and provide a second draft for peer review. The final databases and report, addressing the peer review comments, should be submitted by the 26th February 2018.

## It is expected that the findings presented in the report are quality assured, including through peer review with relevant experts and that the report is finished to a publishable standard. This review will be arranged by the Authority. All assumptions and caveats must be clearly highlighted and agreed upon with the Authority.

## All materials (including research, calculations and models) used to generate the analysis must be made available to the Authority for future use.

## At the start of the project to the Authority will hold an inception/scoping meeting with the successful Potential Provider.  A short inception report should be provided to clarify the approach to be taken, set out key milestones and dates for deliverables, risks and how these will be managed etc. – for agreement, before the analysis commences. The Authority expects the Potential Provider to work closely with the Authority, including through weekly meetings or phone calls and other communication.

# key milestones

## The potential provider should note the following project milestones that the authority will measure the quality of delivery against:

| ### Milestone | ### Description | ### Timeframe |
| --- | --- | --- |
| ### 1 | ### Project inception meeting with the Authority, to agree the milestones for the project and precise coverage of the report. | ### Within week 1 of Contract Award |
| ### 2 | ### Inception report provided and agreed by the Authority, detailing the agreed methodology, along with a plan setting out key milestones and dates for deliverables, risks and how these will be managed. | ### Within week 2 of Contract Award |
| ### 3 | ### Update meeting / phone call on the project including any findings or assumptions to agree upon. | ### Weekly |
| ### 4 | ### First draft of the database including the draft cost curves as per 5.7 and 5.8 and the long list of infrastructure options as per 5.8.1. | ### 18th December 2017 |
| ### 5 | ### Draft analysis of water company WRMP’s as per 5.8. | ### 22nd January 2018 |
| ### 6 | ### First draft of final report. | ### 1st February 2018 |
| ### 7 | ### Second draft of final report addressing comments from the Authority. | ### 9th February 2018 |
| ### 8 | ### Final version of the report and databases, addressing comments from the peer reviewers and the Authority, suitable for publication. | ### 26th February 2018 |
| ### 9 | ### Presentation of the findings. | ### 9th March 2018 |

# authority’s responsibilities

## The Authority will share pertinent information received and introduce the Potential Provider to relevant stakeholders, who may be able to offer valuable advice on the requirement.

# reporting

## As referred to within the Key Milestones, section 7 of this Appendix B – Statement of Requirements.

# volumes

## This is a substantial piece of work – the expectation is that the key outputs and related materials will be both extensive and of publishable standard.

# continuous improvement

## The Potential Provider will be expected to give due consideration to how the way in which the required Services are to be delivered throughout the Contract duration can be continually improved.

## The Potential Provider must present new ways of working to the Authority during weekly Contract review meetings or phone calls.

## Changes to the way in which the Services are to be delivered must be brought to the Authority’s attention and agreed prior to any changes being implemented.

# quality

## The recommendations to government in the National Infrastructure Assessment will be informed by this report. The interim findings must first be presented to the Authority by 18 December 2017 for feedback, with the draft report provided by 1st February 2018. The absolute deadline for the final report is 26th February 2018. The report must therefore be to a publishable standard, with all assumptions and caveats clearly highlighted and referenced appropriately.

## As part of the Authority’s quality assurance process, the Authority can and will choose to have peer review of the output to be conducted by third parties and/or the Authority’s expert advisory panels. The quality assurance process must be agreed with the Authority once the Potential Provider has been selected. It is required that the Potential Provider will need to work proactively and collaboratively with the Authority to consider any reasonable comments and to incorporate them into their work and output accordingly.

# PRICE

## Prices should be capped for the term of the contract, rates inclusive of expenses and exclusive of VAT.

## Bids are expected to range between £40,000 and £50,000, prices above this maximum ceiling will not be considered.

## It is the Authority’s intention to adopt the following payment schedule:

### 10% of the total contract price for successful delivery up to and including milestone 2;

### 15% of the total contract price for successful delivery up to and including milestone 5;

### 15% of the total contract price for successful delivery of milestone 6;

### 20% of the total contract price for successful delivery of milestone 7;

### 30% of the total contract price for successful delivery of milestone 8;

### 10% of the total contract price for successful delivery of milestone 9.

## Prices are to be submitted via the e-Sourcing Suite using Appendix E excluding VAT.

# STAFF AND CUSTOMER SERVICE

## The Authority requires the Potential Provider to provide a sufficient level of resource throughout the duration of the Contract in order to consistently deliver a quality service to all Parties.

## The Potential Provider’s staff assigned to the Contract shall have the relevant qualifications and experience to deliver the Contract.

## The Potential Provider shall ensure that staff understand the Authority’s vision and objectives and will provide excellent customer service to the Authority throughout the duration of the Contract.

# service levels and performance

## The Authority will measure the quality of the Potential Provider’s delivery by against the staged milestones as mentioned in 13.3. If the Potential Provider fails to perform to the standard required then the Authority will manage any underperformance through regular performance improvement meetings. If the Potential Provider fails to meet the key Milestones in section 7.1, then the Authority will apply Remedies as stated in the table below.

| ## KPI | ## Service Area | ## KPI/SLA description | ## Target | ## Remedy | ## Milestone | ## Milestone payment % |
| --- | --- | --- | --- | --- | --- | --- |
| ## #1 | ## Key outputs delivered in draft | ## First draft of the database and cost curves to the Authority for internal review and comment. | ## 18th December 2017 | ## 10% | ## 4 | ## 15% - this payment applies to both Milestone 4 & 5 |
| ## #2 | ## Key outputs in delivered in draft | ## Draft analysis of water company WRMP’s. | ## 22nd January 2018 | ## 10% | ## 5 | ## 15% - this payment applies to both Milestone 4 & 5 |
| ## #3 | ## Key outputs delivered in draft | ## First draft of the report. | ## 1st February 2018 | ## 15% | ## 6 | ## 15% |
| ## #4 | ## Key outputs in final, publishable form | ## Final report and databases, addressing comments from the peer reviewers and the Authority, suitable for publication. | ## 26th February 2018 | ## 60% | ## 8 | ## 30% |
| ## #5 | ## Key outputs in final, publishable form | ## Presentation of the findings. | ## 9th March 2018 | ## 5% | ## 9 | ## 10% |

## 15.2	As an example to the above table, if the Potential Provider missed KPI #1, they would incur a remedy of 10% against the Milestone Payment. As the Potential Provider would have been paid 15% of the total contract value for meeting this KPI, they would now have their payment reduced by 10%. This means if the payment was for £1000, they would receive £900 if the KPI was missed.

## 15.3	These Remedies will be applied in accordance to section 5.4 of Appendix C.

# Security requirements

## All data security requirements will align with the Terms and Conditions of the Crown Commercial Service’s Terms and Conditions within Appendix C.

# intellectual property rights (ipr)

## All analysis (including any calculations, models and draft reports) used to generate the outputs must be provided to the Authority for future use.

# payment

## Payment can only be made following satisfactory delivery of pre-agreed certified products and deliverables.

## Before payment can be considered, each invoice must include a detailed elemental breakdown of work completed and the associated costs. The invoice(s) will also need to include a valid Purchase Order number and the Contract Reference for this event.

## Invoices to be sent to:

## HM Treasury

## Finance Department

## 1 Horse Guards Road

## London

## SW1A 2HQ

# additional information

## The Potential Provider should demonstrate that they are open to working collaboratively with other Potential Providers, contracted by the Authority in order to deliver related pieces of analysis.

# Location

## The location of the Services will be carried out at the offices of the Potential Provider – however frequent meetings will need to take place with the Authority who are based in London.

## ANNEX 1

## HMT Travel and Expenses guidance