## PRICING TEMPLATE
TECHNICAL SPCIFICATION AND PRICING TEMPLATE
JIGAWA PLANE OFFICE FIRST FLOOR: REQUIREMENT FOR THE PROVISION 25KW SOLAR POWER FOR 8 HOURS OF POWER SUPPLY )
S/N | DESCRIPTION OF MATERIAL | OEM | QTY | UNIT PRICE | TOTAL
1 | 57.6KWH, 48V LifePO4 Lithium battery with BMS |  | 5
2 | 700W, 48V Solar panel (Monocrystalline) to provide 5hrs charging time |  | 74
3 | 40KW, 48V Pure Sine Wave Inverter (with A/C input) |  | 1
4 | 200A MPPT charge Controller |  | 6
5 | 300A-rated Bus bar Combiner Box IP65 or higher rated |  | 4
6 | 200A Combiner box IP65 or higher rated |  | 1
7 | Galvanized framework for ground installation |  | lot
8 | 15A Digital Timer |  | 12
9 | 8000W LED Solar Powered Outdoor Wall Light, waterproof |  | 12
10 | Battery rack |  | lot
11 | 20A DC Circuit breaker |  | 74
12 | 150mmsquare DC flexible cable (for all DC connections) |  | lots
13 | Provide appropriate lighting protection and proper grounding for the entire installation. |  | lots
14 | Provide appropriate monitoring software and data logger |  | lot
15 | Rooftop Installation structure |  | lot
16 | provide an appropriate containerized facility for the storage of the batteries, inverters and panels. |  | lot
17 | Provide 1 installation warranty |  | lot
18 | Comprehensive training for in-house electrical persons |  | lot
19 | Automatic transfer switches at various building Distribution panels |  | 1
20 | Provide appropriate surge protection for the installation |  | lot
21 | appropriate cable size and length to convey the output of the solar inverter to the various DBs |  | lots
JIGAWA PLANE OFFICE GROUND FLOOR: REQUIREMENT FOR THE PROVISION 40KW SOLAR POWER FOR 8 HOURS OF POWER SUPPLY )
S/N | DESCRIPTION OF MATERIAL | OEM | QTY | PRICE | PRICE
1 | 57.6KWH, 48V LifePO4 Lithium battery with BMS |  | 7
2 | 700W, 48V Solar panel (Monocrystalline) to provide 5hrs charging time |  | 140
3 | 60KW, 48V Pure Sine Wave Inverter (with A/C input) |  | 1
4 | 200A MPPT charge Controller |  | 11
5 | 300A-rated Bus bar Combiner Box IP65 or higher rated |  | 9
6 | Rooftop Installation structure |  | lot
7 | galvanized framework for ground installation |  | lot
8 | Battery rack |  | 1
9 | 20A DC Circuit breaker |  | 140
10 | 150mmsquare DC flexible cable (for all DC connections) |  | lots
11 | Provide appropriate lighting protection and proper grounding for the entire installation. |  | lots
12 | Provide appropriate monitoring software and data logger |  | lot
13 | provide an appropriate containerized facility for the storage of the batteries, inverters and panels. |  | lot
14 | Provide 1 installation warranty |  | lot
15 | Comprehensive training for in-house electrical persons |  | lot
16 | Automatic transfer switches at various building Distribution panels |  | 1
17 | Provide appropriate surge protection for the installation |  | lot
18 | appropriate cable size and length to convey the output of the solar inverter to the various DBs |  | lots
ABUJA PLANE OPERATION OFFICE: REQUIREMENT FOR THE PROVISION 40KW SOLAR POWER FOR 8 HOURS OF POWER SUPPLY )
S/N | DESCRIPTION OF MATERIAL | OEM | QTY. | PRICE | PRICE
1 | 57.6KWH, 48V LifePO4 Lithium battery with BMS |  | 7
2 | 700W, 48V Solar panel (Monocrystalline) to provide 5hrs charging time |  | 140
3 | 60KW, 48V Pure Sine Wave Inverter (with A/C input capability) |  | 1
4 | 200A MPPT charge Controller |  | 11
5 | 300A-rated Bus bar Combiner Box ( IP65 or higher rated) |  | 9
7 | Rooftop Installation structure |  | lot
8 | Galvanized framework for ground installation |  | lot
9 | 15A Digital Timer |  | 15
11 | Battery rack |  | 1
12 | 20A DC Circuit breaker |  | 140
13 | 150mmsquare DC flexible cable (for all DC connections) |  | lots
14 | Provide appropriate lighting protection and proper grounding for the entire installation. |  | lots
15 | Provide appropriate monitoring software and data logger |  | lot
16 | provide an appropriate containerized facility for the storage of the batteries, inverters, and panels. |  | lot
17 | Provide 1 installation warranty |  | lot
18 | Comprehensive training for in-house electrical persons |  | lot
19 | Automatic transfer switches at various building Distribution panels |  | 1
20 | Provide appropriate surge protector for the installation |  | lot
21 | appropriate cable size and length to convey the output of the solar inverter to the various DBs |  | lots
GROUND FLOOR, BASEMENT,CRECHE PLANE OFFICE GROUND FLOOR: REQUIREMENT FOR THE PROVISION 40KW SOLAR POWER FOR 8 HOURS OF POWER SUPPLY )
S/N | DESCRIPTION OF MATERIAL | OEM | QTY. | PRICE | PRICE
1 | 57.6KWH, 48V LifePO4 Lithium battery with BMS |  | 7
2 | 700W, 48V Solar panel (Monocrystalline) to provide 5hrs charging time |  | 140
3 | 60KW, 48V Pure Sine Wave Inverter (with A/C input capability) |  | 1
4 | 200A MPPT charge Controller |  | 11
5 | 300A rated Bus bar Combiner Box (IP65 or higher rated) |  | 9
7 | Roof top Installation structure |  | lot
8 | Galvanized framework for ground installation |  | lot
9 | 15A Digital Timer |  | 15
11 | Battery rack |  | 1
12 | 20A DC circuit breaker |  | 140
13 | 150mmsquare DC flexible cable (for all DC connections) |  | lots
14 | Provide appropriate lighting protection and proper grounding for the entire installation. |  | lots
15 | Provide appropriate monitoring software and data logger |  | lot
16 | provide an appropriate containerized facility for the storage of the batteries, inverters and panels. |  | lot
17 | Provide 1 installation warranty |  | lot
18 | Comprehensive training for in-house electrical persons |  | lot
19 | Automatic transfer switches at various building Distribution panels |  | 2
20 | Provide appropriate surge protector for the installation |  | lot
21 | appropriate cable size and length to convey the output of the solar inverter to the various DBs |  | lots
FIRST FLOOR AND PENT HOUSE: REQUIREMENT FOR THE PROVISION 50KW SOLAR POWER FOR 8 HOURS OF POWER SUPPLY )
S/N | DESCRIPTION OF MATERIAL | OEM | QTY. | PRICE | PRICE
1 | 57.6KWH, 48V LifePO4 Lithium battery with BMS |  | 7
2 | 700W, 48V Solar panel (Monocrystalline) to provide 5hrs charging time |  | 140
3 | 80KW, 48V Pure Sine Wave Inverter (with A/C input capability) |  | 1
4 | 200A MPPT charge Controller |  | 11
5 | 300A-rated Bus bar Combiner Box ( IP65 or higher rated) |  | 9
6 | Rooftop Installation structure |  | lot
7 | Galvanized framework for ground installation |  | lot
8 | 15A Digital Timer |  | 16
9 | 8000W LED Solar Powered Outdoor Wall Light, waterproof |  | 12
10 | Appropriate Battery rack |  | 1
11 | 20A DC circuit breaker |  | 140
12 | 150mmsquare DC flexible cable (for all DC connections) |  | lots
13 | Provide appropriate lighting protection and proper grounding for the entire installation. |  | lots
14 | Provide appropriate monitoring software and data logger |  | lot
15 | provide an appropriate containerized facility for the storage of batteries, inverters, and panels. |  | lot
16 | Provide 1 installation warranty |  | lot
17 | Comprehensive training for in-house electrical persons |  | lot
18 | Automatic transfer switches at various building Distribution panels |  | 1
19 | Provide appropriate surge protector for the installation |  | lot
20 | appropriate cable size and length to convey the output of the solar inverter to the various DBs |  | lots