## Commercial Car Wash
SO18853 Commercial Car Wash
Potential Providers are required to outline their cost for delivering the brief as outlined in Appendix B - Service Description. Please populate this pricing matrix document to outline all costs. Please note this is a multi tab spreadsheet with all areas requiring completion.

## Materials & Workmanship
Appendix E Pricing Matrix
SO18853 Commercial Car Wash
Potential Providers are required to outline their cost for delivering the brief as outlined in Appendix B - Service Description. Please populate this pricing matrix document to outline all costs.
Please provide a breakdown of all costs associated with the service as per the Appendix B Statement of Requirements. It is the responsibility of the provider to detail all costs that will be applied, any other cost to facilitate the above installation, the Contractor is required to populate as necessary any costs not listed. Any cost not listed will not be paid following any potential award of contract.
General
Description | £ | P
3.01. The works shall be executed in a workmanlike manner in accordance with the standard practices.
3.02. MANUFACTURER'S INSTRUCTIONS All materials shall be used in strict accordance with the manufacturer's written instructions, which shall be kept available on Site at all times and produced to the CA whenever required.
3.03. SOURCE: Unless stated all materials are to be new and obtained from the manufacturer or his agent, accredited supplier etc. All material of each particular type shall be obtained from a single source.
3.04. BRITISH STANDARDS: Where applicable all materials shall comply with the appropriate British Standard.
3.05. The works shall be protected at all times
3.06. All materials used shall be sufficient for their purpose and be of a mechantable standard
3.07. Adjoining surfaces and finishes shall be protected and made good to match existing.
3.08. All walls and partitions shall be treated as structured unless specifically informed otherwise by the Contract Administrator.
3.09. Items described as making good shall be for carrying out local remedial work, including removing defective parts of existing finishes and components, filling in, extending existing finishes, making minor repairs and redecorating.
3.10. To Match existing means to use products, materials and methods which closely match all visual characteristics and features of the existing work.
3.11. All timber shall be originally obtained from independently verified legal and sustainable sources. Recycled timber is also accepted.
Subtotal carried to Collection (£)
Please note:
Prices must exclude VAT.
Prices must remain valid for 90 days after the deadline for return of bids.
Any prices not included within this Appendix E will be deemed to have been waived.

## Car Wash Specification
Potential Providers are required to outline their cost for delivering the brief as outlined in Appendix B - Service Description. Please populate this pricing matrix document to outline all costs.
Please provide a breakdown of all costs associated with the service as per the Appendix B Statement of Requirements. It is the responsibility of the provider to detail all costs that will be applied, any other cost to facilitate the above installation, the Contractor is required to populate as necessary any costs not listed. Any cost not listed will not be paid following any potential award of contract.
General
Description | £ | P
4.01. 3 Brush Car Wash
4.02 Galvanised Steel Frame with 8 Year Frame warranty
4.03. Bright LED Forward, Reverse and Stop Lights on the Left and Right Leg
4.04. Free-vend Push Button start with photo-eye wash Activation
4.05. Foam Bath Pre-Wash for improved cleaning
4.06. Soft Foam CarLite Brushes with PE at base
4.07. Overlapping side brushes
4.08. Alkaline Foam Wheel Pre-Wash for improved wheel washing
4.09 Oversized Bi-directional Wheel Scrub with Internal 60bar High Pressure Jets
4.10. Fixed Side 60bar High Pressure Jets
4.11. ContouringTio 60bar High Pressure Jets
4.12. 60bar High Pressure Pump Station
4.13. Front & Rear Top Cover
4.14. Black and Yellow striped Wheel Guides/ Driver Aid
4.15. Side Leg Safety Barriers to protect against for poorly parked vehicles
4.16. Contouring Top Dryer (2 x 3kW) with Lamella for Concentrated Air-flow
4.17. Fixed Side Dryers (2 x 4kW)
4.18. Automatic Frost Protection for Gantry, High Pressure and Wheel Foam Systems
Sub-Total Carried to Collection (£)
4.19. Plant Room Wash Pump, Compressor & 1,000 L Header Tank
4.20. Up to 2.3m wash height & up 2.25m wash width
4.21. Cable & Hose Services via Floor Mounted Energy Chain
4.22. Manifolds &Chemical Pump for Water, Wheel Cleaner, Shampoo, Wax & Foam
4.23. 80L Chemical Starter Pack
4.24. Variable speed direct drive motors give optimum wash & dry quality
4.25. Amp sensing side brushes for steady and controlled cleaning
4.26. Large Outdoor Pictorial instruction Board
Sub-Total Carried to Collection (£)
Please note:
Prices must exclude VAT.
Prices must remain valid for 90 days after the deadline for return of bids.
Any prices not included within this Appendix E will be deemed to have been waived.

## Jet Wash
Potential Providers are required to outline their cost for delivering the brief as outlined in Appendix B - Service Description. Please populate this pricing matrix document to outline all costs.
Please provide a breakdown of all costs associated with the service as per the Appendix B Statement of Requirements. It is the responsibility of the provider to detail all costs that will be applied, any other cost to facilitate the above installation, the Contractor is required to populate as necessary any costs not listed. Any cost not listed will not be paid following any potential award of contract.
General
Description | £ | P
5.01. Stainless Steel Cabinet with Brushed base
5.02. Option to Wrap cabinet in Vinyl
5.03. Power Supply as appropriate
5.04-05-06. Wash Options to include: - HP Pre Wash - LP Foam Brush Wash - HP Rinse - LP Wax - LP Wheel Cleaner
5.07. Lance/Brush with 10m Hose, Combination brush and HP lance in one tool
5.08-09. Two fixed positions - Fixed in Upper position fro HP Wash - Fixed in lower position for brush wash
5.10-11-12. Chemical Types 3: - Active Foam Shampoo - Hot Wax - Alloy wheel cleaner
5.13. HP 100 Bar (14.25 L/Min or 500 L/hr)
5.14. Water Heater 1 x 35L Hot Water store (4kW Element) Max 45oC Variable
5.15. Cold Water 5L store
5.16. Frost Protection insulated with Thermostatic Frost Protection (down to -20 oC)
5.17. Alarm LED Timer display with audible 20 sec alarm
5.18. Buy time Token and/or Coin Mech
5.19.Dims (LxWxH) 1,040mm x 725mm x 1,490mm (max)
5.20. Height inc boom 3,600mm (max)
Subtotal carried to Collection (£)
Please note:
Prices must exclude VAT.
Prices must remain valid for 90 days after the deadline for return of bids.
Any prices not included within this Appendix E will be deemed to have been waived.

## Jet Wash Canopies & Screens
Potential Providers are required to outline their cost for delivering the brief as outlined in Appendix B - Service Description. Please populate this pricing matrix document to outline all costs.
Please provide a breakdown of all costs associated with the service as per the Appendix B Statement of Requirements. It is the responsibility of the provider to detail all costs that will be applied, any other cost to facilitate the above installation, the Contractor is required to populate as necessary any costs not listed. Any cost not listed will not be paid following any potential award of contract.
General
Description | £ | P
6.01. Permanent canopy for all weathers with smooth curving profiles
6.02. Guaranteed for 5 years for winds up to 70mph
6.03.Colour option
6.04. Dimension: Approx 5m x 6m
6.05. Pre-contstrained PVC Material Canopy Covering
6.06. ISO 9000 compliant Steel Frames
Subtotal carried to Collection (£)
Please note:
Prices must exclude VAT.
Prices must remain valid for 90 days after the deadline for return of bids.
Any prices not included within this Appendix E will be deemed to have been waived.

## GRP 3- Stage Interceptor&Silt
Potential Providers are required to outline their cost for delivering the brief as outlined in Appendix B - Service Description. Please populate this pricing matrix document to outline all costs.
Please provide a breakdown of all costs associated with the service as per the Appendix B Statement of Requirements. It is the responsibility of the provider to detail all costs that will be applied, any other cost to facilitate the above installation, the Contractor is required to populate as necessary any costs not listed. Any cost not listed will not be paid following any potential award of contract.
General
Description | £ | P
7.01. Specifically designed for water reclamation
7.02 Built to European quality standard B.SEN-ISO 9002: 1994
7.03. G.R.P Construction
7.04. 3 Chambers
7.05. Inlet/Outlet Manifolds
Subtotal carried to Collection (£)
Please note:
Prices must exclude VAT.
Prices must remain valid for 90 days after the deadline for return of bids.
Any prices not included within this Appendix E will be deemed to have been waived.

## GRP Plantroom Housing
Potential Providers are required to outline their cost for delivering the brief as outlined in Appendix B - Service Description. Please populate this pricing matrix document to outline all costs.
Please provide a breakdown of all costs associated with the service as per the Appendix B Statement of Requirements. It is the responsibility of the provider to detail all costs that will be applied, any other cost to facilitate the above installation, the Contractor is required to populate as necessary any costs not listed. Any cost not listed will not be paid following any potential award of contract.
General
Description | £ | P
8.01. external GRP Housing dimensions (max) 2500mm L x 3000mm W x 2150mm H
8.02. GRP/ 12mm Ry/GRP composite construction to provide a maximum 'U' Value of 2.2 W/m2 Deg C (Thermal Insulation)
8.03. Dust and weather proof to an IP54 Protection rating
8.04. This panel construction offers half hour fire resistence, compliant with BS476 Part 22 (Surface spread flame)
8.05. Fire retardant resin is used to provide a self-extinguishing laminate to BS476 Part 7 Class 2 (Surface spread flame)
8.06-7-8. 2 No 1000mm W x 2000mm H clear opening double door fitted with door furniture as detailed below: -stainless steel door hinges- 2 No Stainless steel hold open stays -1 No Cylinder latch lock - 2 No Spring bolts
8.09. Louvre vents fitted with internal closers and mesh screen
8.10. 100mm internal GRP base flange for fixing to a prepared concrete base.
8.11. Stepped concrete base to ensure a weatherproof seal
8.12. Kiosk is to be supplied with a set of removeable lifting eyes with replacement sealing kit.
8.13. External Smooth gel-coat finish & Internal Matt white GRP Finish
8.14.External Colour: BS4800/RAL (colour tbc)
8.15. Electrical Installation as required
8.16. 1 No 18 mm ply treated blackboard on the left hand wall. 2500mm x 2150mm wall
Subtotal carried to Collection (£)
Please note:
Prices must exclude VAT.
Prices must remain valid for 90 days after the deadline for return of bids.
Any prices not included within this Appendix E will be deemed to have been waived.

## Complete water Recycling System
Potential Providers are required to outline their cost for delivering the brief as outlined in Appendix B - Service Description. Please populate this pricing matrix document to outline all costs.
Please provide a breakdown of all costs associated with the service as per the Appendix B Statement of Requirements. It is the responsibility of the provider to detail all costs that will be applied, any other cost to facilitate the above installation, the Contractor is required to populate as necessary any costs not listed. Any cost not listed will not be paid following any potential award of contract.
General
Description | £ | P
9.01 Supply and install a Complete Water Recycling System c/w
9.02 5 micron pre-filter
9.03. Multi- cyclone centrifugal filteration
9.04. 21" Stainless steel filter vessel
9.05. Biocide closing
9.06. Skid mounted hot welded polypropylene tanks
9.07. Electrical control panel
9.08. On-Site commissioning
9.09. Maintenance socket
9.10. Cutting and Removal of existing system
9.11. Making good the surfacing in all areas of the car park where works have taken place
Subtotal carried to Collection (£)
Please note:
Prices must exclude VAT.
Prices must remain valid for 90 days after the deadline for return of bids.
Any prices not included within this Appendix E will be deemed to have been waived.

## Civil Works
Potential Providers are required to outline their cost for delivering the brief as outlined in Appendix B - Service Description. Please populate this pricing matrix document to outline all costs.
Please provide a breakdown of all costs associated with the service as per the Appendix B Statement of Requirements. It is the responsibility of the provider to detail all costs that will be applied, any other cost to facilitate the above installation, the Contractor is required to populate as necessary any costs not listed. Any cost not listed will not be paid following any potential award of contract.
General
Description | £ | P
Car Wash Area
10.01. Break out old concrete, dispose of waste, form a 10m x 5m Car Wash Bay with 2 level strips
10.02. Install Silt Trap in centre of Wash Bay
10.03. 100mm drain from Wash Bay to Sump Tank
10.04. Excavate and install 2,500L Sump Tank
10.05. Excavate and install ducts to connect Bay, Sump, Plant Room &Foul Drain.
Jet wash Area
10.06. Break out old concrete, dispose of waste, form a 6m x 5m Jet Wash Pad
10.07. Install Silt Trap in centre of Wash Bay
10.08.100mm drain from Wash Bay to Sump Tank
10.09. Install ducts from Sump Tank
10.10. Excavate and install ducts to connect Bay, Sump, Plant Room
10.11. Remove 3no Tree Roots as required
Plant Room Plinth
10.12. 3m x 2.5m Plant Room Plinth
10.13. Remove Tree Roots
10.14. Not included
10.15. Removal of any contaminated waste if found
Subtotal carried to Collection (£)
Please note:
Prices must exclude VAT.
Prices must remain valid for 90 days after the deadline for return of bids.
Any prices not included within this Appendix E will be deemed to have been waived.

## Service Connections
Potential Providers are required to outline their cost for delivering the brief as outlined in Appendix B - Service Description. Please populate this pricing matrix document to outline all costs.
Please provide a breakdown of all costs associated with the service as per the Appendix B Statement of Requirements. It is the responsibility of the provider to detail all costs that will be applied, any other cost to facilitate the above installation, the Contractor is required to populate as necessary any costs not listed. Any cost not listed will not be paid following any potential award of contract.
General
Description | £ | P
Electrical Supply
11.01 The contractor will allow for an electrical supply from the pre installed distribution board (marked A on the services location plan)
11.02. The contractor will draw in and connect to the pre installed distribution board a cable from the live distribution board within the workshop (marked B on the services location plan). Note that the conduit is already installed to connect the two boards.
11.03. Prior to works commencing the contractor will provide load monitoring over 3 days prior to livening up the equipment to and provide commentary on whether there is spare capacity in the live board and the site wide supply for the car wash and jet wash to run concurrently.
Water Supply
11.04. The contractor is to tap off the existing water supply within the unit (marked C on the services location plan) and install and connect the supply to the equipment as required.
11.05. Prior to works commencing the contractor will take a pressure reading of existing supply pressure and confirm the adequency of the water pressure at the site to feed the car wash and jet was simultaneously.
Subtotal carried to Collection (£)
Please note:
Prices must exclude VAT.
Prices must remain valid for 90 days after the deadline for return of bids.
Any prices not included within this Appendix E will be deemed to have been waived.

## Final Summary
Potential Providers are required to outline their cost for delivering the brief as outlined in Appendix B - Service Description. Please populate this pricing matrix document to outline all costs.
Please provide a breakdown of all costs associated with the service as per the Appendix B Statement of Requirements. It is the responsibility of the provider to detail all costs that will be applied, any other cost to facilitate the above installation, the Contractor is required to populate as necessary any costs not listed. Any cost not listed will not be paid following any potential award of contract.
Summary
Description | £ | P
Materials & Workmanship
Car Wash Specification
Jet Wash Specification
Jet Wash Canopies & Screens
GRP-3 Stage Interceptor & Silt Trap
GRP Plantroom Housing
Complete Water Recycling System
Civil Works
Service connections
Tendered Sum Total (ex.VAT)
Please note:
Prices must exclude VAT.
Prices must remain valid for 90 days after the deadline for return of bids.
Any prices not included within this Appendix E will be deemed to have been waived.