Call-Off Schedule 20 (Call-Off Specification)
This Schedule sets out the characteristics of the Deliverables that the Supplier will be required to make to the Buyers under this Call-Off Contract

Contract Reference: CCPO25A02

[Customer User Agreement Reference:
EMS-42135-2025]

Contract Title: Provision of PFI Asset Condition Surveys

CONTENTS

PURPOSE AND OVERVIEW OF THE REQUIREMENT

  1. The purpose of this procurement is to commission a Supplier to address the ongoing need for high quality asset condition surveys as part of the expiry of PFI (Private Finance Initiative) contracts across the UK.

BACKGROUND TO THE BUYER

  1. THE NATIONAL INFRASTRUCTURE, SERVICE AND TRANSFORMATION AUTHORITY (previously the Infrastructure Projects Authority ‘IPA’) (also referred to as “NISTA” and “the Authority”) is the government’s centre of expertise for infrastructure and major projects. It sits at the heart of government, reporting to HM Treasury and Cabinet Office. Its core teams include experts in infrastructure, project delivery and project finance who work with government departments and industry. It supports the successful delivery of all types of infrastructure and major projects; ranging from railways, schools, hospitals and housing, to defence, IT and major transformation programmes. NISTA leads the project delivery and project finance professions across the government.

BACKGROUND TO THE REQUIREMENT

  1. As part of its activities, NISTA runs the “PFI Centre of Excellence” to provide expert support and advice to contracting authorities and government departments in relation to PFI projects in England.

  1. In 2020, the IPA set up a PFI Contract Management Programme – a collaboration between the centre, departments and functions – to manage the risks in operational PFI projects. The aim of the programme is that contracting authorities have the capabilities, knowledge and tools they need to manage their PFI contracts effectively and to engage confidently with their private sector partners. The specific objectives of the programme are to:
    1. Build PFI contract management capability and expertise across the public sector.
    2. Ensure operational projects are being managed appropriately and that project performance is in line with contractual expectations; and
    3. Manage the risks of contract expiry, ensuring continuity of public services and that contractual obligations are met.

  1. The programme comprises four projects.
    1. Contract Expiry – managing the risks of contract expiry and ensuring value for money at contract end.
    2. Improving Operational Performance – improving the performance and efficiency of operational contracts.
    3. Building Capability – building capability through system learning, guidance and training; and
    4. Advice & Support – providing expert support and advice to departments and contracting authorities.
  2. Contract Expiry:  NISTA provides an integrated package of support to contracting authorities including PFI Expiry Health Checks, systems learning, guidance and toolkits, training, and expert support and advice. The aim is to ensure that private sector counterparties meet their contractual obligations through to the expiry of the PFI contract, and that there is an efficient and effective hand-back and take-forward process allowing for continuity of all required services on PFI expiry.
  3. Improving Operational Performance: NISTA has undertaken a number of deep dive contract reviews which assessed the performance of a number of PFI contracts and recommended ways to improve their operational performance and to make efficiencies. Following that work, NISTA developed a contract management health check to assess the contract management capability and operational performance of individual PFI contracts. It will develop guidance and other toolkits in due course.
  4. Building Capability: The objective is to build capability within contracting authorities through training, guidance and tools, and systems learning. This includes facilitated training for Contract Expiry and a suite of online e-learning Contract Management training modules.
  5. Advice & Support: NISTA provides expert advice to support the implementation of contract reviews and contract expiry health checks. It will also support the implementation of solutions to specific issues and challenges in operating projects (including variations and terminations), as well as advice on other commercial and contractual issues.
  6. NISTA has identified asset condition being important to handback and ongoing operations and therefore the ability to assess the asset against contractual standards is a key requirement for expiry of contracts. These surveys will help provide information on key areas for the PFI Contract Management Programme and local governments such as whether asset condition meets contractual standards, and the assessment of rectification works and costs, and improving the capability of public sector teams to manage commercial matters arising from surveys.

DEFINITIONS

Expression or Acronym	Definition
NISTA	National Infrastructure, Service and Transformation Authority
IPA	Infrastructure And Projects Authority
PFI	Private Finance Initiative
LG	Local Governmental Government
LA	Local Authority
FM	Facilities Management
NHS	National Health Service

SCOPE OF THE REQUIREMENT

  1. All work completed as part of this requirement will adhere to the following guidelines and outcomes in section 5:

  1. Asset Condition Survey. All surveys shall be conducted in accordance with all relevant industry guidance as given below:

	Required Inspections
Structure and Building Fabric	Carry out a detailed asset condition survey of each facility addressing the PFI Companies principal maintenance obligations. / Inspections will be carried out to all main building components and subcomponents to NRM Level 2. / The condition of each element will be coded condition A to D (see below table). Detailed comments and photographs will be provided along with recommended remedial actions. Should any items be identified that are considered Latent Defects these will also be identified. / Help desk records and interviews should be held with key site staff in order to help identify key issues and any reoccurring problems.
Mechanical and / Electrical Systems	Complete a detailed mechanical and electrical inspection of all building systems. Plantrooms, roof mounted plant (where accessible) and distribution systems will be inspected. / In addition to physical condition, investigate other factors that may drive obsolescence such as software or parts availability. Plant lifecycle will be compared to industry benchmarks such as BCIS and CIBSE Guide M. Comments will be made on plant which is due lifecycle renewal. / Each engineering system will be condition coded A to D. Any works which have already been renewed through lifecycle will be reviewed and comments provided regarding if works have been correctly commissioned and are compliant with the standards within the original project documents.
Fire Compliance	Sample inspect each facility to check the adequacy of the following fire safety components both in terms of any problems with the original installation and on-going statutory maintenance required by the Regulatory Reform (Fire Safety) Order 2005: / Fire compartmentation / Fire damper compliance / Fire door compliance / Emergency lighting test records / Fire alarm test records / Fire alarm cause and effect testing
Documents and Record Keeping	The Project Documents will require that Project Co maintain up to date records including O&M, As Built Drawings, maintenance records etc. Sample check that this information remains available and is up to date.
	Proposed Inspections
Asset Registers, PPM Schedules and CAFM	Copies of asset registers should be requested from Project Co and comments provided regarding their quality and completeness. / PPM schedules and specifications will be reviewed and checked to identify if assets are receiving adequate maintenance. / PPM’s will be compared against the standards set out within SFG 20 and good industry practice.
Statutory and Non-Statutory Maintenance	Undertake a detailed review of procedures and record keeping for maintaining compliance with Project Co obligations for statutory and non-statutory maintenance. / Use the Estates Questionnaire audit tool to check Hard FM compliance. Issues identified should be RAG rated to help highlight key issues. / Identify any current health and safety issues along with any non-compliances with statutory obligations.
FF&E	The latest FF&E asset list will be requested for each site. Lists provided will be cross checked with the original or updated RDS. / FF&E condition will be reviewed on sample basis.

  1. Condition Gradings. All asset condition surveys are to be carried out against project specific condition gradings, as below
Condition Grade (Project Specific)	Condition Description (Project Specific)
A	As new and fully compliant with the relevant Project Requirements
B	Fully compliant with the relevant Project Requirements, sound, operationally safe, exhibits only minor deterioration and in the case of internal and external fabric is of good appearance
B/C	Currently as B, but will fall below B within 5 years (B/C1 within 1 year, B/C2 within 2 years, B/C3 within 3 years, B/C4 within 4 years, B/C5 within 5 years)
C	Operational, but major repair or replacement is currently needed to bring up to condition B
D	Operationally unsound and in imminent danger of breakdown

  1. In addition, the survey is to assess assets against the [Healthcare] industry standard condition gradings, as below
Condition Grade (Industry Standard)	Condition Description (Industry Standard)
A	As new and can be expected to perform adequately to its full normal life
B	Sound, operationally safe and exhibits only minor deterioration
B/C	Currently as B, but will fall below B within 5 years
C	Operational, but major repair or replacement is currently needed to bring up to condition B
D	Operationally unsound and in imminent danger of breakdown

  1. Risk Assessment - Each asset is to be risk assessed and coded accordingly, applying the following risk assessment criteria, and scoring from the NHS Risk Based Methodology for Establishing and Managing Backlog, 2004, as below:
  1. Data Capture - The following data should be reviewed and detailed within all reports provided as part of this requirement:
    1. Survey details: Surveyor identification number, survey type (internal or external), survey item number.
    2. New Rules Measurements (NRM) coding: NRM coding to level 4 is to be included for all assets surveyed; to include asset Group, Element, Sub-Element, Component, and overall NRM code.
    3. Asset Details: Asset details are to be included for all assets surveyed, comprising; contract, location (site), location (building), location (room / elevation / external area), asset description / specification, manufacturer, make / model / rating.
    4. Asset Condition (Industry Standard): Assessment of asset condition against the Industry Standard condition rankings and descriptions included in the tender document.
    5. Asset Condition (Project Specific): Assessment of asset condition against the Industry Standard condition rankings and descriptions included in the tender document.
    6. Asset Life and Handback Requirement: Year installed, age, life expectancy (from new), remaining life (based on life expectancy from new), remaining life (assessed by surveyor), life expectancy (after proposed replacement), residual life at end of concession (after proposed replacement), contract handback condition requirement, contract handback residual life requirement.
    7. Replacement Justification: Assessment of replacement justification against the replacement justification coding and description included in this tender document, photograph / video of asset, confirmation that the manufacturer / subcontractor has been contacted as part of the asset assessment.
    8. Asset Risk Ranking: Assessment of asset risk against the risk assessment criteria included in this tender document, including probability of failure, potential consequence of failure, risk score, risk ranking.
    9. Replacement Costs: Quantity, unit, replacement rate per unit, replacement cost, [CLIENT] cost code (where provided).
    10. Annual and Five-Year Cost Plan: Year 1 cost, year 2 cost, year 3 cost, year 4 cost, year 5 cost, total 5-year cost.
    11. Replacement Costs for Assets that have failed Residual Life Requirement: Presentation of replacement cost associated with assets that have not met contract residual life requirements.
  2. Condition Report - All Condition Reports to be issued under this requirement shall include the following sections:
    1. Front Cover Sheet: Site / building photograph, date of issue, issue number / reference.
    2. Introduction: Purpose, surveyors, time of survey.
    3. Condition Assessment Criteria: Confirmation of condition assessment grading and associated condition descriptions used for industry standard, and for project specific standard.
      1. Produce a detailed report setting out your findings following the survey specification detailed above.  The report should include a photographic schedule of issues identified along with narrative description.
      2. The report should also include a lifecycle benchmarking section where possible within the report that will identify any building components which based on industry guidance such as BCIS and CIBSE Guide M would typically be expected to have been replaced or be scheduled for replacement before the end of the PFI Concession Period.
    4. Data Capture Sheet: The full data set captured as part of the survey.
  3. Condition Report Issue and Sign-off Process - There will be a requirement to issue five reports per contract, as follows:
    1. First Draft Asset Condition Report, for detailed review.
    2. Second Draft Asset Condition Report, for further review and sign off.
    3. First Draft Asset Management (Compliance) Report, for detailed review.
    4. Second Draft Asset Management (Compliance) Report, for review, discussion, and sign-off.
    5. Client Report, for review, discussion and sign-off.
  4. Meetings - A small number of meetings may be requested to discuss the findings of the report.
  5. Liaison with Site FM Team, Sub-contractors, and Manufacturers.  Please refer to Section 8 for management responsibilities relating to the requirement.
  6. Data analysis – Support will be provided to NISTA to enable incorporation of survey findings into the NISTA database.

MANDATORY DELIVERABLES (SUPPLIER RESPONSIBILITIES)

  1. HM Treasury has identified the need to address resourcing of asset condition surveys for several early-expiring projects (such as PFI-funded schools and hospitals run by local authorities and NHS Trusts); particularly where there are shortfalls in asset condition priced by external technical advisers.

  1. Undertake a review of the key PFI contract documents relevant to the condition of the asset including (but not limited to) the following:
    1. Project Agreement
    2. Authorities Requirements
    3. Contractors Proposals
    4. FM Agreements
    5. Payment Mechanism
    6. Project Drawings and Room Data Sheets

  1. The Authority will provide the Supplier a pipeline of activity for the successive financial quarter starting at Q1 25/26 and ending Q4 26/27.

  1. The Supplier(s) will provide the necessary resourcing to complete the outputs given within the scope of requirement for all asset condition survey work assigned to them by the Authority.

  1. Support will be provided to NISTA to enable incorporation of survey findings into the NISTA database.

MANAGEMENT INFORMATION/REPORTING

  1. The supplier will need to liaise with the facilities management site team to arrange access to sites and buildings, the site information for survey, site inductions, health & safety updates, and security checks.
  1. All suppliers staff engaged on site will need to hold the appropriate security cover and certification required to conduct surveys on the sites included in this tender.

  1. Access to sites and buildings is to be arranged through the facilities management site team. Access will be made available as much as practicable, as the facilities being surveyed will remain operational during the survey period. The supplier will remain responsible for the completion of the survey and the issue of the required reports for the agreed fee and to the agreed timescales.
  1. The facilities management site team will provide details of maintenance subcontractors and suppliers. The supplier will be expected to liaise with maintenance subcontractors and suppliers to help ascertain as much information as possible regarding asset condition and performance.
  1. The supplier will be expected to complete all reporting requirements listed under section 5, scope of requirement.

POTENTIAL, ACTUAL OR EXPECTED DELIVERY VOLUMES

  1. This is a call-off contract and as such volumes of work are not guaranteed.

LOCATION

  1. The Services will be carried out at multiple UK locations, as required to carry out the engagement with the organisations described in this tender, and any others agreed to be required. Where practical and feasible and not detrimental to the objectives of the work, engagement may be conducted remotely via online platforms.
  1. Office space will not be provided.
  1. Where in-person meetings are requested or required by the Authority, these will be at an address specified by the Authority.

quality

  1. The Supplier shall ensure that the outputs and deliverables for asset condition surveys, condition grading, risk assessment, review of data capture and condition report issues within the scope of works are all completed by the relevant accredited professionals.

KEY MILESTONES AND DELIVERABLES

  1. The following Contract milestones/deliverables shall apply.

Milestone / / Deliverable	Description	Timeframe or Delivery Date
1	Template for surveys agreed with the Authority by Q3 25/26	No later than 31/09/2025
2	Assigned contracts agreed with the supplier to be on track for completion at Q3 25/26. Contract review meeting completed with the Authority.	No later than 31/12/2025
3	Assigned contracts agreed with the supplier to be on track for completion at Q4 25/26. Contract review meeting completed with the Authority.	No later than 31/03/2026
4	Lessons learned & summary findings report to be provided to the Authority covering pilots completed in the 25/26 year.	No later than 31/03/2026
5	Survey data to be obtained & accurately recorded in a template specified by NISTA, meeting NISTA data management needs	No later than 31/03/2026

SUSTAINABILITY AND CARBON NET ZERO

  1. The Supplier shall work with the Authority to identify opportunities to introduce innovation, reduce cost and waste and ensure sustainable development is at the heart of their operations.

SOCIAL VALUE

  1. This spend will achieve additional social benefits aligned to the following Government Priorities.

    1. Theme 3: Fighting Climate Change
      1. Policy outcome: Deliver environmental sustainability and reduce greenhouse gas emissions.
      2. Surveys will identify inefficient building systems / assets nearing end-of life, providing the data and justification for replacement with newer, more-efficient assets.
      3. Surveys promote a data-driven approach to retrofit planning and sustainable maintenance.
      4. Surveys include an analysis of environmental performance in line with contractual standards. Reports will highlight where assets are not meeting contracted environmental performance standards (e.g. heating/cooling/ventilation levels).
      5. Suppliers may reduce emissions by using digital tools (e.g. drones or sensors) to survey.
      6. Suppliers may reduce emissions by utilising low-emission travel where able & utilising virtual meeting frameworks.
    2. Surveyors will be evaluated on:
      1. Their ability to report on environmental performance.
      2. Utilisation of digital tools to reduce carbon emissions associated with survey delivery.
      3. Reporting formats which capture make, model & age of critical M&E infrastructure to enable analysis on retrofit options.
    3. Theme 4: Equal opportunity
      1. Policy outcome: Tackle workplace inequality.
      2. Surveys can be delivered by providers committed to fair work practices.
      3. Surveys will be delivered by providers who have reviewed modern slavery threats in their supply chain.
      4. Surveys will be delivered by providers who have committed to in-work progression within their contract workforce.
    4. Surveyors will be evaluated on:
      1. MAC 6.2 Support in-work progression to help people, including those from disadvantaged or minority groups, to move into higher paid work by developing new skills relevant to the contract.
      2. MAC 6.3 Demonstrate action to identify and manage the risks of modern slavery in the delivery of the contract, including in the supply chain.

STAFF AND CUSTOMER SERVICE

  1. The Supplier shall provide a sufficient level of resource throughout the duration of the Contract in order to consistently deliver a quality service.

  1. The Supplier’s staff assigned to the Contract shall have the relevant qualifications and experience to deliver the Contract to the required standard.

  1. The Supplier shall ensure that staff understand the Authority’s vision and objectives and will provide excellent customer service to the Authority throughout the duration of the Contract.

CONTINUOUS IMPROVEMENT

  1. The Supplier will be expected to continually improve the way in which the required Services are to be delivered throughout the Contract duration.

  1. The Supplier should present new ways of working to the Authority during monthly Contract review meetings.

  1. Changes to the way in which the Services are to be delivered must be brought to the Authority’s attention and agreed prior to any changes being implemented.

SECURITY AND CONFIDENTIALITY REQUIREMENTS

  1. Security, vetting and/or accreditation requirements will be established relevant to each project, in relation to both the Supplier’s staff and their systems.

  1. The information and data collected and produced in the delivery of surveys is to be deemed confidential. Approval is to be sought from the Authority for any distribution or communication of information relevant to this programme either during or after the stated programme delivery dates.

PRICING MECHANISM

  1. Prices are to be submitted via the e-Sourcing Suite Attachment 4 – Price Schedule excluding VAT and including all other expenses relating to Contract delivery.

  1. The maximum budget for this requirement is £500,000.00 (excluding VAT and including all extension options) for the completion of all work under the contract, with the percentages for each milestone as outlined in section 17 of this document.

PAYMENT AND INVOICING

  1. Payment will be made in line with the proportion of work completed, for work undertaken and received to the end of this current financial year, where a deliverable may not necessarily be completed.

  1. Before payment can be considered, each invoice must include a detailed elemental breakdown of work completed and the associated costs.

Invoices should be submitted to: Redacted Text – under FOIA section 43, Commercial Interests
Emailed copies of invoices should be submitted to: Redacted Text – under FOIA section 40, Personal Information

1. Redacted Text – under FOIA section 40, Personal Information

  1. It is a requirement that a PO number should always be quoted on the invoice to ensure prompt payment.

CONTRACT MANAGEMENT AND KEY PERFORMANCE INDICATORS

  1. The Supplier will update on progress each week, with a flash report to summarise progress against the engagement plan.

  1. The Supplier shall note and report any issues or risks and these will be discussed and actions agreed at a weekly meeting.

  1. The Supplier shall provide a monthly written progress update which shall include:
    1. Expenditure against forecast
    2. Progress against the engagement plan
    3. Visibility of in-progress deliverables
    4. Capacity to address any proposed pipeline activity
  2. Attendance at Contract Review meetings shall be at the Supplier’s own expense.
  3. Most meetings will be conducted remotely, though some in-person meetings may be required.
  4. The Authority will measure the quality of the Supplier’s delivery by:

KPI/SLA	Service Area	KPI/SLA description	Target
1	Delivery of reports	All reports to be issued per project, as set out in section 5.8	95%
2	Management of records	Survey party (Authority & SPV) agreement of Condition Indicators to be documented and recorded	95%
3	Management of data	Survey data to be obtained & accurately recorded in a template specified by NISTA, meeting data management needs	95%
4	Delivery timescale	All reports to be issued within the agreed timescales set within the monthly progress update. All reports are to be issued as indicated above.	90%
5	Quality of reporting	All reports are to be issued in a quality format, with accurate data and information and free of mistakes.	90%
6	Communication & updates	Regular programme reports on delivery progress to be issued to the Authority in an agreed format. Regular meetings to be held to update key stakeholders on programme progress	95%

  1. Where poor performance results in early termination of the contract the Supplier shall transfer ownership and all materials of goods and/or services produced up to that date to the Authority.