- Technical Support – Work Order Specification

Title: Further EPR Panther Model Development & Confirmatory Analysis to Inform an Assessment of the Fault Studies Aspects of HPC Safety Submissions

Background to the project The Hinkley Point C (HPC) site has been licensed by ONR to allow NNB GenCo to construct and operate two EPR plants. Nuclear safety aspects of the construction, commissioning and operation of the site will be regulated by ONR via a series of regulatory permissioning hold points under Licence Conditions 19 and 21, attached to the HPC site licence. The HPC Safety Case documentation produced to support these activities is complex and a full assessment by ONR of Fault Studies aspects requires input from a number of specialists and skill areas. ONR, as part of its regulatory assessment of the UK-EPR and the supporting work provided by NNB GenCo, has identified a number of issues relating to the faults arising from the proposed operation of the plant that may potentially impact the safety margins determined by transient analysis conducted in the Fault Studies topic stream. To gain confidence that the proposed operation maintains adequate safety margins, ONR has commissioned a set of additional confirmatory analyses, in order to assess the response of the plant to certain operating transients and fault sequences. In order to perform confirmatory analysis, a method and analysis tool that is both appropriate and independent is required. Such an independent tool was developed under contract ONR-278 by ONR’s TSC collaboratively with NNB GenCo and EDF Nuclear Generation Limited (NGL), resulting in a validated PANTHER model and input decks for the UK EPR, providing a calculation route independent from the codes used to support the HPC Safety Case. Whilst the model and input decks were developed collaboratively, the analysis plan implemented by ONR for confirmatory analysis is independent from any activities that NNB GenCo may undertake. This contract commenced in 2018 and work is part complete, and needs to be aligned with the new ONR Technical Support Framework (TSF). This updated specification is therefore needed to reassign the remainder of the original specification (ONR-362 – 2017/464131) to the new ONR TSC framework. It is expected that the revised tender shall consider the residual work and the remainder of the budget, based on the new TSC hourly rate card.

SCOPE OF THE SERVICES REQUIRED The scope of the service requirement is for the provision of technical expertise to perform confirmatory analyses to investigate the response of the plant to certain operating transients and fault sequences in support of the assessment of HPC Fault Studies submissions, further to those performed under contract ONR-278 and ONR-362, in order to further support ONR regulatory decisions. The original scope of ONR-362 is appended to this specification.

OBJECTIVES The proposed resource required to support the Project Officer, remains as per the original specification (ONR-362 – 2017/464131). The final report expectations remain the same as the original specification ONR-362 – 2017/464131.

CONSTRAINTS The constraints remain the same as the original specification ONR-362 – 2017/464131. Conflict of Interest Considerations - The potential risk of a conflict of interest for the individual(s) undertaking the work for ONR with regards to NNB GenCo should be avoided. Any potential conflict of interest should be declared. Relevant Skills and Experience - The services required should be delivered by resource(s) with relevant knowledge and experience. In particular, the individual(s) should have a sound knowledge and understanding of the PANTHER code, PWR faults, transient analysis and the associated physical phenomena of significance. Furthermore, familiarity with ONR and the UK regulatory environment would be highly beneficial. Security Considerations - Relevant documentation provided by NNB GenCo, the Responsible Designer, Framatome and ONR must be handled in accordance with the relevant security markings. These will be provided by ONR. Impact on, and Interface with, other Work or Systems - There should be no impacts on ONR resulting from the work undertaken by the individual(s). - There may be elements of the Fault Studies work stream that may be performed by another Contractor; in any event the exchange of information and interface between the two organisations will be managed by ONR’s Project Officer. Confidentiality Considerations - A specific confidentiality agreement is not required, however, it is recognised that the output could be commercially sensitive. The appropriate security classification will be applied to documentation produced if required. Working Arrangements - The individual(s) will need to work closely with the ONR Project Officer and provide regular feedback and updates on the work. In the course of the work the individual(s) will also need to engage with other ONR inspectors involved in the assessment of the HPC safety submissions. This may require interaction to be undertaken on a quarterly basis in ONR’s offices in Bootle, in order to facilitate close engagement with the Project Officer and other specialist inspectors involved in the assessment of the HPC safety submissions. Other project updates can be provided on a teleconf, as appropriate. Timescales - The provision of resource under this contract should last for the duration of contract. - Completion of confirmatory analyses, to inform the assessment of NNB’s Realisation Phase and Reconciliation phase Fault Studies submissions supporting the PCmSR, is required by end of Q4 2020. This should be used to develop a proposal in response to the remaining scope of work.

CONTRACT MANAGEMENT ONR will require to be kept updated about progress and delivery of the required work via monthly meetings, to include a contract start-up meeting at ONR’s offices at Bootle. Subsequent progress meeting should be arranged with the ONR Project Office and can be held at ONR’s office in Bootle, or the contractor’s premises. The ONR Project Officer and Technical contact for this work is: Prof. Ali Tehrani ONR Redgrave Court Merton Road Bootle, L20 7HS ali.tehrani@onr.gov.uk 0203 028 0012

TECHNICAL RESPONSE

Response To submit a compliant proposal in response to this specification bidders must: - Clearly address all remaining aspects of the original specification (including scope, objectives and constraints); - Include a project plan and timetable covering the remaining elements of the proposed tasks; - Provide a description of the Technical Support Contractor team’s appropriate experience to undertake this work package, and how it will go about the task; - Provide an anticipated cost, spend profile and planned invoice schedule, assuming Q2 2019 start date; - Provide confirmation of availability of the key staff for the period of proposal; - Provide the names and contact details of the Project and Contract Managers proposed for this task; - Identify the anticipated engagement with ONR, including any progress meetings.