## Forest House
THIS TEMPLATE MAY BE USED TO CALCULATE THE SUB-SECTIONS
FOREST HOUSE - CCTV REFURBISHMENT
Item | Item Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
Preliminaries
1 | Site Set-up / Accomodation | 1 | 0 | 1800.72 | 1800.72
2 | Staff and Management Costs | 1 | 0 | 17164.35 | 17164.35
3 | Surveys & Validations | 1 | 0 | 1228.18 | 1228.18
4 | Design Development | 0 | 0 | 0 | 0
5 | O&M Manuals, Record Drawings & Client Training / demonstrations | 1 | 0 | 2065.42 | 2065.42
6 | Access Equipment / Podiums | 1 | 0 | 1284.51 | 1284.51
7 | Any other items, please list:
a | Any other items: | 0 | 0 | 0 | 0
b | Any other items: | 0 | 0 | 0 | 0
c | Any other items: | 0 | 0 | 0 | 0
d | Any other items: | 0 | 0 | 0 | 0
Main Works
8 | Strip-out of existing system | 1 | 0 | 1212.61 | 1212.61
9 | Data Cabinets (Please specify manufacturer) - RITTAL ENCL NETWORK/SERVER TS-IT 42U 2000X800X800MM RAL 7035 GLAZED | 1 | 0 | 2353.78 | 2353.78
10 | Network Switches (Please specify manufacturer) - D-Link DGS-1210-26MP | 3 | 0 | 369.27 | 1107.81
11 | Patch Panels (Please specify manufacturer) - Excel Unloaded Keystone Patch Panel Frame 24 port 1U Black | 3 | 0 | 95.34 | 286.02
12 | Recording Server (Please specify manufacturer) - Milestone Husky HE1000R 64TB Rack Mount | 1 | 0 | 10354.14 | 10354.14
13 | UPS (Please specify manufacturer) - APC Smart-UPS 2200VA LCD 230V with SmartConnect SRT2200XLI | 1 | 0 | 1668.75 | 1668.75
14 | Cooling System to Central Recording Equipment | 0 | 0 | 0 | 0
15 | Viewing / Monitoring Equipment | 3 | 0 | 2004.8 | 6014.4
16 | Primary Containment - Galvanised Trunking (Option 1) | 0 | 0 | 0 | 0
17 | Primary Containment - Galvanised Tray (Option 2) | 0 | 0 | 0 | 0
18 | Primary Containment - Galvanised Basket (Option 3) | 33 | 0 | 64.63 | 2132.79
19 | Primary Containment - Steel Galvanised Conduit (Option 4) | 0 | 0 | 0 | 0
20 | Secondary Containment - Steel Galvanised Conduit | 24 | 0 | 12.06 | 289.44
21 | Cat 6a Data Cabling | 12 | 0 | 132.05 | 1584.6
22 | Terminations - Included in Item 21 above | 0 | 0 | 0 | 0
23 | Anti-Ligature Corner to Corner Cameras (Please specify manufacturer) - AXIS P9106-V Network Camera | 45 | 0 | 500.35 | 22515.75
24 | Internal Dome Cameras (Please specify manufacturer) - AXIS M3206-LVE Network Camera | 5 | 0 | 500.35 | 2501.75
25 | External Dome Cameras (Please specify manufacturer) - AXIS M3206-LVE Network Camera | 21 | 0 | 500.35 | 10507.35
26 | Internal PTZ Cameras (Please specify manufacturer) | 0 | 0 | 0 | 0
27 | External PTZ Cameras (Please specify manufacturer) - Bosch NDP-5502-Z30L | 1 | 0 | 1608.27 | 1608.27
28 | Vandal Resistant, Dust and Waterproof camera casing | 0 | 0 | 0 | 0
29 | Camera Brackets | 0 | 0 | 0 | 0
30 | Camera mounting poles / columns | 0 | 0 | 0 | 0
31 | Camera Licenses | 0 | 0 | 0 | 0
| Milestone Professional Plus Base Licences | 1 | 0 | 323.6 | 323.6
| Milestone Professional Plus Device Licence plus 1 yr care plus | 72 | 0 | 122.45 | 8816.4
32 | Allowance for Labelling, Testing & Commissioning | 1 | 0 | 6371.41 | 6371.41
33 | Any other items, please list:
a | 2-Year Warranty | 1 | 0 | 4086.3 | 4086.3
b | Electrical Installation | 1 | 0 | 1133.79 | 1133.79
c | Equipment Installation | 1 | 0 | 57342.67 | 57342.67
d | Any other items: | 0 | 0 | 0 | 0
Builderswork
34 | Access Holes to ceiling where required | 0 | 0 | 0 | 0
35 | Make Good existing ceilings where access holes installed | 1 | 0 | 1968.67 | 1968.67
36 | Excavate, backfill and make good | 0 | 0 | 0 | 0
37 | Ducting to external areas (if required) | 0 | 0 | 0 | 0
38 | Inspection chambers (if required) | 0 | 0 | 0 | 0
39 | Concrete bases for column mounted cameras (if required) | 0 | 0 | 0 | 0
40 | Builderswork holes for installation internally | 0 | 0 | 0 | 0
41 | Allowance for firestopping (where necessary) | 1 | 0 | 8431.38 | 8431.38
42 | Any other items, please list:
a | Any other items: | 0 | 0 | 0 | 0
b | Any other items: | 0 | 0 | 0 | 0
c | Any other items: | 0 | 0 | 0 | 0
d | Any other items: | 0 | 0 | 0 | 0
| Sub-total |  |  |  | 176154.86
| FOREST HOUSE - CCTV REFURBISHMENT | TOTAL - TO SUMMARY |  |  | 176154.86