Request for Quotation

To: Sir/Madam

From: Dr Philippe Bersuder

Tel: 01502 524417

Date of Issue: 17 April 2015

Response Deadline: 17.00 on 27 April 2015

Questions and responses to be returned to: philippe.bersuder@cefas.co.uk

Late submissions will not be accepted

Title:  Request for Quotation for the Provision of Instrumentation Servicing

Ref:  MPM/PB

# Technical Specification

# Background to Requirement:

Cefas has a requirement to renew the service contract for our Agilent Technologies (LOT 1) and Thermo Scientific (LOT 2) analytical instruments located in our Lowestoft laboratory.

Requirements:

The service contract is to cover all instruments listed under Lot 1 and Lot 2 in Annex 1 and must include:

- Maintenance service to include annual on-site Preventive Maintenance for instruments stipulated as “YES” in column “Option 1 PM” of Lot 1 and Lot 2

- On-site repair services, including

  - Unlimited on-site troubleshooting and repair visits (including travel and labour)

  - Parts required for repair

  - Consumables/supplies required for repair, including liners, seals, tubing assemblies, lamps and multipliers

  - Response time as specified in Lot 1 and Lot 2. Where two days response time is stipulated, this refers to the expectation that, in the event of a breakdown, an engineer would be available for on-site repair within 2 working days of the call being logged.

- Other services:

  - Hardware and software telephone support

  - Statement on the origin (e.g. manufacturer or generic supplier) of parts and consumables to be used for repair/maintenance.

  - Added benefits such as instrument module exchange with identical one of similar age to speed up repairs, paperless service reports, etc…

Some of the instruments listed under Lot 1 are planned to be decommissioned over the next 24 months, and tenderer are asked to provide an approach in terms of contract amendment/pricing in such occurrences.

Suppliers can submit quotations for one of both of the specified Lots.

Location of equipment to be under the service agreement:

Cefas Lowestoft laboratory

Contract start date:

01 May 2015

Contract Duration:

We are looking at options for 12 months (i.e. to 30/04/2016) and 24 months (i.e. to 30/04/2017) agreements.

Quotations will be evaluated on value for money:

Quality	70%

Cost	30%

Information to be submitted by tenderer:

Please provide a detailed copy of your proposed service level agreement and details of the skills and experience of the support staff.

# Submitted Pricing:

Please submit costs for the provision of the service for either LOT1 and/or LOT2 for a period of 12 months and a period of 24 months. An Annex with a breakdown of cost is expected.

| Services Required | Cost – 12 month agreement (Option 1) | VAT | Cost – 24 month agreement (Option 2) | VAT | Service Agreement Start Date |
| --- | --- | --- | --- | --- | --- |
| LOT1 -Maintenance Service and on site repair services as per points 1, 2 and 3 of the Requirements section of this document |  |  |  |  |  |
| LOT2 -Maintenance Service and on site repair services as per points 1, 2 and 3 of the Requirements section of this document |  |  |  |  |  |
| Total Cost: |  |  |  |  |  |

We understand and accept that Cefas’ Condensed set of Standard Terms and Conditions for Goods and Services apply to this project and any subsequent work. These can be found at: Terms and Conditions

| Signed: | For: (Company Name) |
| --- | --- |
| Name: (Block Capitals) | Date: |
| Name of contact to call in the event of a query (if different from above): | Direct telephone number of contact: |

Annex 1

Please complete the Supplier Response Time column to confirm if you can meet our requirement and provide the proposed response time where non-guaranteed.

LOT1: Agilent Technologies instrumentation Model description, Preventive maintenance (PM) and response time requirements

| Model Description | Instrument Modules | Model Number | Option 1 PM | Cefas Required Response Time | Supplier Response Time |
| --- | --- | --- | --- | --- | --- |
| GCMS 5975 Turbo System | 5975C inert XL MSD Perf Turbo EI. | G3172A | YES | Guaranteed 2 working days or less |  |
|  | 6890N Network GC System | G1530N |  |  |  |
|  | 7683 Autosampler tray module | G2614A |  |  |  |
|  | 7683B Autoinjector Module | G2913A |  |  |  |
| GC-QQQ-MS 7000 system | 7000B Triple Quadrupole MS/MS | G7000B | YES | Guaranted 2 working days or less |  |
|  | 7890A GC System | G3440A |  |  |  |
|  | 7693 Autosampler tray module | G4513A |  |  |  |
| GCMS 5973 Turbo System | 5973N MSD EI/PCI/NCI Mainframe | G1088A | YES | Guaranteed 2 working days or less |  |
|  | 6890 Plus GC system | G1530A |  |  |  |
|  | 7683 Autoinjector module | G2613A |  |  |  |
|  | 7683 Autosampler tray module | G2614A |  |  |  |
| GCMS 5973 Turbo System | 5973N MSD EI/PCI/NCI Mainframe | G2589A | YES | Guaranteed 2 working days or less |  |
|  | 6890 Plus GC system | G1530A |  |  |  |
|  | 7683 Autoinjector module | G2613A |  |  |  |
|  | 7683 Autosampler tray module µECD Detector | G2614A G2397A |  |  |  |
| ICPMS 7500 Single Turbo system | Agilent 7500cs ICP-MS | G3162B | YES | Guaranteed 2 working days or less |  |
| GC 6890 system | 6890 Plus GC system | G1530A | NO | Guaranteed 2 working days or less |  |
|  | 7683 Autoinjector module | G2613A |  |  |  |
|  | 7683 Autoinjector module | G2613A |  |  |  |
|  | 7683 Autosampler tray module µECD detector µECD detector | G2614A G2397A G2397A |  |  |  |
| GC 6890 system | 6890 Plus GC system | G1540N | NO | Non-guaranteed (specify response time) |  |
|  | 7673 Autoinjector tower module | G2613A |  |  |  |
|  | 7673 Autoinjector tower module | G2613A |  |  |  |
|  | 7683 Autosampler tray module FPD Detector FPD Detector | G2614A |  |  |  |
| GC6890 System | 6890N Network GC System | G1530N | NO | Non-guaranteed (specify response time) |  |
|  | 7683 Autosampler tray module | G2614A |  |  |  |
|  | 7683B Autoinjector Module | G2913A |  |  |  |
| LC1100 System | 1100 Autosampler | G1313A | YES | Non-guaranteed (specify response time) |  |
|  | 1100 Series Fraction Collector | G1364A |  |  |  |
|  | 1100 Variable Wavelength Detector | G1314A |  |  |  |
|  | 1100/1200 Isocratic Pump | G1310A |  |  |  |
|  | 1100/1200 Quaternary Pump | G1311A |  |  |  |
|  | 1100/1200 Thermostatted Column Compartment | G1316A |  |  |  |
|  | 1100/1200 Vacuum Degasser | G1322A |  |  |  |
| LC1100 System | 1100 Autosampler | G1313A | YES | Non-guaranteed (specify response time) |  |
|  | 1100 Micro Vacuum Degasser | G1379A |  |  |  |
|  | 1100 Variable Wavelength Detector | G1314A |  |  |  |
|  | 1100/1200 Fraction Collector Prep | G1364B |  |  |  |
|  | 1100/1200 Quaternary Pump | G1311A |  |  |  |
|  | 1100/1200 Thermostatted Column Compartment | G1316A |  |  |  |

LOT2: Thermo Scientific instrumentation Model description, Preventive maintenance (PM) and response time requirements

| Model Description | Instrument Modules | Part Number | Option 1 PM | Cefas Required Response Time | Supplier Response Time |
| --- | --- | --- | --- | --- | --- |
| iCAP 6500 ICP Spectrometer | Thermo Scientific iCAP 6500 ICP Spectrometer with Cetac ASX-520 Autosampler | 842310065021 | YES | Guaranteed 2 working days or less |  |