## SUMMARY
CONTRACT SUM ANALYSIS - SUMMARY
REF NO. | ELEMENT | Elements | Additional Items | TOTAL £
| Preamble | 0 |  | 0
0 | Facilitating Works | 0 |  | 0
1 | Substructure | 0 |  | 0
2 | Superstructure | 0 |  | 0
3 | Finishes | 0 |  | 0
4 | Fittings and Furnishings | 0 |  | 0
5 | Services | 0 |  | 0
6 | External works | 0 |  | 0
7 | Preliminaries | 0 |  | 0
8 | Employer's contingencies and Provisional Sums (Defined) | 0 |  | 0
9 | Design Fees | 0 |  | 0
10 | Contractor's Overheads & Profit | 0 |  | 0
|  | TOTAL TO FORM OF TENDER |  | 0

## Preambles
Item | Description |  |  | Quantity | Unit | Rate | Amount
£
PREAMBLES
A |  | The Contractor is referred to the Drawings and Specification for the complete description of the scope of works identified by the items forming this Pricing Schedule/CSA. The description for each item is worded to enable a clear identification of the works required to be included in the price for such an item and does not repeat verbatim information given elsewhere.
B |  | The Contractor is to include in his Tender Total for all works shown on the Drawings and/or referred to in the Specifications and Tender as necessary for completion of the project in its entirety, whether they are specifically listed in this Contract Sum Analysis or not. If the Contractor identifies items, not indicated in the Pricing Schedule/CSA that he wishes to price separately, they are to be inserted on the Additional items Tab.
C |  | If any item in this Pricing Schedule/CSA is left unpriced, it shall be deemed that the cost of the unpriced item has been allowed elsewhere and is included within the Tender Total. Tenderers should endeavour to price each item separately.
D |  | The Tender rates are to be fixed price for the duration of the contract.
E |  | This section should be read in conjunction with the other sections of the Employer’s Requirements.
F |  | The Contractor is to make due allowance in his rates or elsewhere for constraints imposed upon the Works by the close proximity of adjacent buildings, access routes and services.
[6 empty] | To Collection £ | 0
PREAMBLES (Cont’d.)
A |  | The Contractor is to comply with any specific requirements for traffic management measures detailed in the Planning Approval or otherwise. The Contractor’s operations are to allow for uninterrupted clear vehicular access to the Site. The Contractor is to make due allowance within his rates, or elsewhere, for any costs associated with this requirement.
B |  | The Contractor must make due allowance in his rates, or elsewhere for the preparation of Method Statements for every stage of the Works.
C |  | Rates are to make due allowance for the removal of any asbestos-based materials, PCBs and other contaminants.
D |  | Some works may extend beyond the curtilage of the Site.
E |  | Rates for works to existing live drainage are deemed to allow for all necessary additional costs including pumping, maintaining flows, temporary diversions, making good, out of hours working and the like.
F |  | The Contractor may consider that elements of the demolitions will produce salvageable materials with a commercial value. If such is the case the materials are to be scheduled, where so indicated on the Collection to this section, showing the individual credits allowed. In the event that the Employer wishes to retain ownership of any materials arising from the demolitions, the Contractor will be reimbursed pro rata to the appropriate credit indicated in the schedule. Materials that are not included in the Schedule of Credits will not be eligible for any such reimbursement.
[6 empty] | To Collection £ | 0
PREAMBLES (Cont’d.)
A |  | Any quantities given in the Pricing Schedule are approximate and the Contractor is to satisfy himself of their adequacy. There will be no re-measurement and no claim by the Contractor arising from any increase, reduction or omission of quantities of work will be considered.
[6 empty] | To Collection £ | 0
Collection
Page Nr.
|  |  | Preamble 1 |  |  |  | 0
|  |  | Preamble 2 |  |  |  | 0
|  |  | Preamble 3 |  |  |  | 0
[6 empty] | Total to Summary £ | 0

## Works
CONTRACT SUM ANALYSIS - ELEMENTS - Do Not amend or insert additional items. If the tenderer feels that additional items need to be added then they are to use the Additional Items tab to itemise such works/prices.
REF NO. | ELEMENT | Quantity | Unit | Rate | SUB TOTAL £ | TOTAL £
Facilitating Works
0.A | Demolition works |  |  |  |  | 0
| Remove existing centre railings and supports from access ramp | 1 | item |  | 0
| Remove existing side railings and supports from access ramp | 1 | item |  | 0
| Remove existing access ramp and landing finishes and associated buildup | 1 | item |  | 0
| Remove all existing waterproofing and roof finishes within the area hatched in grey including all flashings and upstands at the interface with the building, upstand, deck roof or perimeter drainage channel. Remove and expose the existing structural RC frame and glazed in rooflights/blocks. Substrate should be clean and tidy and without weeds and any other detritus to receive new waterproofing system and applied finishes. See Drawing 409-ACG-XX-00-DR-A-2001 | 1 | item |  | 0
| Remove existing roof gullys as described on 409-ACG-XX-00-DR-A-2001 | 1 | item |  | 0
| Remove existing 'Croydon College' signage above the door entrance | 1 | item |  | 0
0 | FACILITATING WORKS |  |  |  |  | 0
SUBSTRUCTURE
1.A | Substructure |  |  |  |  | 0
| Specialist foundations | N/A
| Lowest floor construction | N/A
1 | SUBSTRUCTURE |  |  |  |  | 0
SUPERSTRUCTURE
2.A | Frame |  |  |  |  | 0
| Trail holes required to existing structure for SE to confirm required depth of fixings is achievable and making good thereafter - Allow 2 nr | 1 | item |  | 0
| SHS & RSA Framing to mesh screens including all necessary fittings; fully galvanised | 1 | item |  | 0
| Framing detail to roof sign as THP detail on drawing 2304-THP-XX-GF-DR-S-GA01 _ T01; including all necssary fittings; fully galvanised | 1 | item |  | 0
2.B | Upper floors | N/A |  |  |  | 0
2.C | Roof |  |  |  |  | 0
| Install bitumonious hot melt roofing to the reinforced concrete slab . Dress new roofing membrane up the vertical face of the existing adjacent raised plinth and stone coping (to be maintained). | 1 | item |  | 0
| RF-01 Biodiverse Green Roof System, special lightweight substrate to be no more than 200kg/m2 weight limit as specified by the SE). Buildup as follows: - Native Wildflower Vegetation (Meadow Turf - Botanical Skyline PT09 supplied by Pictorial Meadows Ltd) - Growing Medium (max. 130mm - Bauder GREEN SUB-BM UK biodiverse substrate) with perimeter/infill gravel margin. - Filtration Layer (nominal - Bauder FV 125 filter fleece) - Drainage Board (60mm - Bauder DSE 60 drainage board) - Protection Layer (nominal - Bauder FSM 600 protection mat) - SBS modified roofing membrane (Bauder – Plant E Membrane with root protection inhibitors) - Existing structural frame/substrate | 1 | item |  | 0
| GGM 6 Rubber protection mat | 1 | item |  | 0
| PE 02 separation and slip layer | 1 | item |  | 0
| Extension of Bauder BBS modified membrane across the entire deck including dressing into gully's; installed on Bauder underlay and finshed with protection/slip layer | 1 | item |  | 0
| AL 150 edge/Drainage Trim to secure in place separate pieces of torch applied Bauder Plant E capping sheet and additional Buader capping sheet to secure the metal trim | 1 | item |  | 0
| GVL-001 Perimeter Margin to the RF-01 Green Roof System and maintenance access. Gravel ballast 50mm. Rounded pebble ballast typically 20 - 40mm. A light colour to match existing building stone façade. | 1 | item |  | 0
| Pre finished aluminium flashing; powder coated in colour to match existing building exterior stone colour | 1 | item |  | 0
| Replace the roof gullys removed with Bauder roof outlet, connect to existing pipework that discharges at high level basement; install linings, trims and flashings as detailed | 1 | item |  | 0
2.D | Stairs and Balustrades |  |  |  |  | 0
Stair / ramp structures
| Extension of Bauder drainage board underneath inclined area. Fully fill with granular material/hardcore prior to commencement of RC concrete to form the slope above | 1 | item |  | 0
| Cordek Filcor void former | 1 | item |  | 0
| 150mm thick C30 concrete slab with A393 mesh placed centrally over void former. Includes foundation detail to the edges of the slab for the balustrade wall above; mesh reinforcement turned down into foundation detail; Slab thickens to 210mm thick and tapers to 100mm thick at the road end with no void former below. | 1 | item |  | 0
| Where slab thickness reduces to less than 100mm use sand/cement screed to make the remainder of the ramp slope. | 1 | item |  | 0
| Gravel margin between existing coping/handrail and new stone balustrade. 75mm deep, round washed pebbles 30-50mm dia. | 1 | item |  | 0
| Retain gravel at edges and rood gullys with prefinished aluminium angles | 1 | item |  | 0
Stair / ramp finishes
| RF-02 Hardscaped Paving System to ramp and landing as shown in drawings. Buildup as follows; - Drainage Board (60mm - Bauder DSE 60 drainage board, fully filled with granular material/hardcore to receive raised structural slab) - Protection Layer (nominal - Bauder FSM 600 protection mat) - SBS modified roofing membrane (Bauder – K5K Membrane with UV inhibitors in non green roof locations) - All on structural frame/substrate | 1 | item |  | 0
| Additional mortar to form sloping top | 1 | item |  | 0
| Pav 001; 600mm x 400mm x 50mm stone paving laid onto rigid base with 6mm joints filled with stone dust and cement. Stretcher bond. Molianos Cream Limestone, surface finish sandblasted (non Slip). Supplied by Hardscape Products Ltd; Minimum 30mm mortar bedding to paving slabs | 1 | item |  | 0
Stair / ramp balustrades and handrails
| Repainting existing railings and pressure washing coping to existing retained profiled metal roof deck | 1 | item |  | 0
2.E | External walls | N/A |  |  |  | 0
| External soffits | N/A
| Subsidiary walls, balustrades and proprietary balconies | N/A
2.F | Windows and external doors | N/A |  |  |  | 0
External windows
External doors -
2.G | Internal walls and partitions | N/A |  |  |  | 0
Walls and partitions
Balustrades and Handrails
Cubicles
2.H | Internal doors - Any access control requirements to be priced in Section 5 | N/A |  |  |  | 0
Internal doors
2 | SUPERSTRUCTURE |  |  |  |  | 0
FINISHES
3.A | Wall finishes |  |  |  |  | 0
Wall finishes
3.B | Floor finishes |  |  |  |  | 0
Finishes to floors
3.C | Ceiling finishes |  |  |  |  | 0
Finishes to ceilings
False ceilings
Demountable suspended ceilings
3 | FINISHES |  |  |  |  | 0
FITTINGS AND FURNISHINGS
4.A | Fittings and furnishings |  |  |  |  | 0
General fittings, furnishing and equipment
4 | FITTINGS AND FURNISHINGS |  |  |  |  | 0
SERVICES -
5.A | Sanitary installations | N/A |  |  |  | 0
Sanitary appliances
Sanitary ancillaries
5.B | Services equipment | N/A |  |  |  | 0
Services equipment
5.C | Disposal installations | N/A |  |  |  | 0
Foul drainage above ground
Chemical, toxic and industrial liquid waste drainage
Refuse disposal
5.D | Water installations | N/A |  |  |  | 0
Mains water supply
Cold water distribution
Hot water distribution
Local hot water distribution
Steam and condensate distribution
5.E | Heat source | N/A |  |  |  | 0
Heat source
5.F | Space heating and air conditioning | N/A |  |  |  | 0
Central heating
Local heating
Central cooling
Local cooling
Central heating and cooling
Local heating and cooling
Central air conditioning
Local air conditioning
5.G | Ventilation |  |  |  |  | 0
| Central ventilation | N/A
Local and special ventilation
| Smoke extract/control | N/A
5.H | Electrical installations |  |  |  |  | 0
| Electrical mains and sub-mains distribution | 1 | item |  | 0
| Power installations | 1 | item |  | 0
Lighting installations
| Luminaire Ref A | 1 | item |  | 0
| Luminaire Ref B & D | 1 | item |  | 0
| Luminaire Ref C | 1 | item |  | 0
| Luminaire Ref F/E | 1 | item |  | 0
| Remove existing lights either side of doors and make good stonework | 1 | item |  | 0
| Supplies to illuminated signage | 1 | item |  | 0
| Specialist lighting installations | N/A
| Local electricity generation systems | N/A
| Earthing and bonding systems | 1 | item |  | 0
5.J | Fuel installations | N/A |  |  |  | 0
Fuel storage
Fuel distribution systems
5.K | Lift and conveyor installations | N/A |  |  |  | 0
Lifts and enclosed hoists
Escalators
Moving pavements
Powered stairlifts
Conveyors
Dock levellers and scissor lifts
Cranes and unenclosed hoists
Car lifts, car stacking systems, turntables and the like
Document handling systems
Lift and conveyor systems
5.L | Fire and lightning protection | N/A |  |  |  | 0
Fire fighting systems
Fire suppression systems
Lightning protection
5.M | Communication, security and control systems | N/A |  |  |  | 0
Communication systems
Security systems All for any works necessary to any of the following, as a result of the Works
| Access Control | 1 | item |  | 0
| Intruder Alarm | 1 | item |  | 0
| CCTV | 1 | item |  | 0
| Fire Alarm | 1 | item |  | 0
| Central control/building management systems | 1 | item |  | 0
5.N | Specialist installations | N/A |  |  |  | 0
Specialist piped supply installations
Specialist refrigeration systems
Specialist mechanical installations
Specialist electrical/electronic installations
Water features
5.P | Builder's work in connection with services |  |  |  |  | 0
| Builder’s work in connection with services | 1 | item |  | 0
5 | SERVICES |  |  |  |  | 0
EXTERNAL WORKS
6.A | Site works |  |  |  |  | 0
Site clearance
Preparatory groundworks
Roads, paths and pavings
Seeding and turfing
External planting
Walls and screens
| SHS framing to form balustrade walls either side of new ramp. Baseplates fixed into new base slab; all necessary fixtures and fittings; all fully galvanised; All as THP drawing 2304-THP-XX-GF-DR-S-GA02 _ T01 | 1 | item |  | 0
| Apply natural stone panels to inner sides of SHS sub-frames; vertical; including all necessary support/fixing bracketry/rails; Mechanical fixing | 1 | item |  | 0
| Apply natural stone panels to outer sides of SHS sub-frames; vertical; including all necessary support/fixing bracketry/rails; Mechanical fixing | 1 | item |  | 0
| Apply natural stone panel caping to top surface of SHS sub-frame; horizontal; including all necessary support/fixing bracketry/rails; Mechanical fixing | 1 | item |  | 0
| Apply natural stone panels to ends of SHS sub-frame; vertical; including all necessary support/fixing bracketry/rails; Mechanical fixing | 1 | item |  | 0
| Pre-finished aluminium flashing/trim at base of stone cladding | 1 | item |  | 0
| Infill screens within collonade; perforated metal mesh screen of powder coated aluminium in RAL 9003 light grey; approx 3.9m x 7.3m; 20% minimum perforation; frames and signage elsewhere | 1 | item |  | 0
Gates
| 2nr single black metal powder coated gates, lockable, for maintenance access to ground level roofs. | 1 | item |  | 0
External fixtures
| Type 01 Signage, applied to front face of mesh infill screens | 1 | item |  | 0
| Type 02 Signage, above front entrance door - illuminated | 1 | item |  | 0
| Type 03 Signage, atop the front entrance roof | 1 | item |  | 0
6.B | Drainage |  |  |  |  | 0
Foul water drainage
Surface water drainage
6.D | Minor Building Work |  |  |  |  | 0
| Remove and reinstate existing railings as necessary to allow installation of new balustrade wall | 1 | item |  | 0
6 | EXTERNAL WORKS |  |  |  |  | 0
PRELIMINARIES - To be priced using 'Preliminaries' tab. |  | Fixed £ | Time Related Weeks Rate £
7.A | Site Administration
7.B | Head Office Charges
7.C | Site Accommodation
7.D | Plant, tools, vehicles and scaffolding and skips
7.E | Temporary works
7.F | Insurances and NHBC
7.G | Cleaning, drying and commissioning
7.H | Performance bond
7.J | Contractor's contingency
7 | PRELIMINARIES |  |  |  |  | 0
EMPLOYER'S PROVISIONAL SUMS (DEFINED)
8.A | Employer's Provisional Sums (Defined) |  |  |  |  | 0
8 | EMPLOYER's PROVISIONAL SUMS (DEFINED) |  |  |  |  | 0
DESIGN FEES: Please list below
9.A |  |  |  |  | 0
9.B |  |  |  |  | 0
9.C |  |  |  |  | 0
9.D |  |  |  |  | 0
9.E |  |  |  |  | 0
9 | DESIGN FEES |  |  |  |  | 0
PROFIT
10 | CONTRACTOR'S OVERHEAD & PROFIT | 0 | % | 0% | 0 | 0
[5 empty] | ORIGINAL TENDER TOTAL £ | 0

## Preliminaries
CONTRACT SUM ANALYSIS - PRELIMINARIES
Cost centre | Component |  |  | Quantity | Unit | Rate | Time-related charges | Fixed charges | Total charges
[7 empty] | £ p | £ p | £ p
1.1 | EMPLOYER’S REQUIREMENTS
1.1.1 | Site accommodation | [7 empty] | 0
1.1.1.1 | Site accommodation | 1 | Bringing to site and installing, including all temporary drainage, services and intruder alarms. |  |  |  | 0 |  | 0
|  | 2 | Adaptations/alterations during works |  |  |  | 0 |  | 0
|  | 3 | Dismantling and removing from site, including rectifying any damage |  |  |  | 0 |  | 0
|  | 4 | Maintaining |  |  |  | 0 |  | 0
|  | 5 | Cleaning |  |  |  | 0 |  | 0
|  | 6 | Charges |  |  |  | 0 |  | 0
|  | 7 | Off-site rented temporary accommodation |  |  |  | 0 |  | 0
|  | 8 | Rectifying damage to off-site rented temporary accommodation |  |  |  | 0 |  | 0
1.1.1.2 | Furniture and equipment | 1 | Bringing to site and installing |  |  |  | 0 |  | 0
|  | 2 | Cleaning |  |  |  | 0 |  | 0
|  | 3 | Charges |  |  |  | 0 |  | 0
|  | 4 | Dismantling and removing from site |  |  |  | 0 |  | 0
1.1.1.3 | Telecommunications and IT systems | 1 | Purchase charge |  |  |  | 0 |  | 0
|  | 2 | Hire charges |  |  |  | 0 |  | 0
|  | 3 | Consumables |  |  |  | 0 |  | 0
1.1.2 | Site records | [7 empty] | 0
1.1.2.1 | Site records | 1 | Operation and maintenance |  |  |  | 0 |  | 0
|  | 2 | Compilation of health and safety file. |  |  |  | 0 |  | 0
1.1.3 | Completion and post-completion requirements | [7 empty] | 0
1.1.3.1 | Handover requirements | 1 | Training of buildings users staff in the operation and maintenance of the building engineering services systems |  |  |  | 0 |  | 0
|  | 2 | Provision of spare parts for maintenance of building engineering services |  |  |  | 0 |  | 0
|  | 3 | Provision of tools and portable indicating instruments for the operation of building engineering services systems |  |  |  | 0 |  | 0
1.1.3.2 | Operation and maintenance services | 1 | Operation and maintenance of building engineering services installations, mechanical plant and equipment and the like during defect liability period, period for rectifying defects, maintenance period or other specified period |  |  |  | 0 |  | 0
1.2 | MAIN CONTRACTOR’S COST ITEMS
1.2.1 | Management and staff | [7 empty] | 0
1.2.1.1 | Project specific management and staff | 1 | Project manager/director |  |  |  | 0 |  | 0
|  | 2 | Construction manager |  |  |  | 0 |  | 0
|  | 3 | Supervision, including works/trade package managers, buildings services engineering managers/ co-ordinators and off-site production managers |  |  |  | 0 |  | 0
|  | 4 | Health and safety manager/officers |  |  |  | 0 |  | 0
|  | 5 | Commissioning manager(building engineering services) |  |  |  | 0 |  | 0
|  | 6 | Planning/ programming manager and staff |  |  |  | 0 |  | 0
|  | 7 | Senior/ managing quantity surveyors |  |  |  | 0 |  | 0
|  | 8 | Project/package quantity surveyors |  |  |  | 0 |  | 0
|  | 9 | Procurement manager |  |  |  | 0 |  | 0
|  | 10 | Design manager |  |  |  | 0 |  | 0
|  | 11 | Project engineers |  |  |  | 0 |  | 0
|  | 12 | Environmental manager |  |  |  | 0 |  | 0
|  | 13 | temporary work design engineers |  |  |  | 0 |  | 0
|  | 14 | Materials management staff (e.g. Storeman) |  |  |  | 0 |  | 0
|  | 15 | Administrative staff including secretary, document controllers, finance checks and the like |  |  |  | 0 |  | 0
|  | 16 | Other management and staff |  |  |  | 0 |  | 0
1.2.1.2 | Visiting management and staff | 1 | Managing director, regional director, operation director, commercial director and the like |  |  |  | 0 |  | 0
|  | 2 | Quality manager |  |  |  | 0 |  | 0
|  | 3 | Contracts/commercial manager |  |  |  | 0 |  | 0
|  | 4 | Health and safety manager |  |  |  | 0 |  | 0
|  | 5 | Environmental manager/ consultant |  |  |  | 0 |  | 0
|  | 6 | Other visiting management and staff |  |  |  | 0 |  | 0
1.2.1.3 | Extraordinary support costs | 1 | Legal advice costs |  |  |  | 0 |  | 0
|  | 2 | Recruitment costs |  |  |  | 0 |  | 0
|  | 3 | Team building costs |  |  |  | 0 |  | 0
|  | 4 | Other extraordinary support costs |  |  |  | 0 |  | 0
|  | 5 | Day transport |  |  |  | 0 |  | 0
|  | 6 | Personnel transport |  |  |  | 0 |  | 0
|  | 7 | Temporary living accommodation |  |  |  | 0 |  | 0
|  | 8 | Subsistence payments |  |  |  | 0 |  | 0
|  | 9 | Out of normal hours working, including non productive overtime allowance |  |  |  | 0 |  | 0
1.2.1.4 | Staff travel | 1 | Costs associated with off-site visits such as: 1) Visits to employers and consultants offices |  |  |  | 0 |  | 0
|  | 2 | Visits to subcontractors office/works |  |  |  | 0 |  | 0
|  | 3 | Overseas visits |  |  |  | 0 |  | 0
|  | 4 | Accommodation charges and overnight expenses |  |  |  | 0 |  | 0
1.2.2 | Site establishment | [7 empty] | 0
1.2.2.1 | Site accommodation | 1 | Purchase charges |  |  |  | 0 |  | 0
|  | 2 | Hire charges |  |  |  | 0 |  | 0
|  | 3 | Employers accommodation, where an integral part of the main contractors site accommodation |  |  |  | 0 |  | 0
|  | 4 | Delivery of temporary site accommodation to site, erection, construction and removal |  |  |  | 0 |  | 0
|  | 5 | Temporary accommodation made available by the employer |  |  |  | 0 |  | 0
|  | 6 | Intruder alarms |  |  |  | 0 |  | 0
|  | 7 | Land/property rental where site accommodation located off-site |  |  |  | 0 |  | 0
|  | 8 | Alterations and adaptations to site accommodation, including partitioning, doors, painting and decorating and the like |  |  |  | 0 |  | 0
|  | 9 | Relocation and alterations of temporary accommodation during construction stage |  |  |  | 0 |  | 0
|  | 10 | Reinstating temporary site accommodation to original condition prior to removal from site |  |  |  | 0 |  | 0
|  | 11 | Removal of site accommodation and temporary works in connection with site accommodation. |  |  |  | 0 |  | 0
1.2.2.2 | Temporary works in connection with site establishment | 1 | Temporary bases and foundations for site accommodation including maintenance and reinstatement of existing surfaces on completion of the works |  |  |  | 0 |  | 0
|  | 2 | Connections to temporary service, including maintenance and removal on completion of the works |  |  |  | 0 |  | 0
|  | 3 | connections to temporary drainage, including maintenance and removal on completion of the works |  |  |  | 0 |  | 0
|  | 4 | Temporary site roads, paths and paving's (including on-site car park), including reinstatement of existing surfaces on completion of the works |  |  |  | 0 |  | 0
|  | 5 | Temporary surface water drainage to temporary site roads, paths and pavements, including maintenance and removal on completion of works |  |  |  | 0 |  | 0
1.2.2.3 | Furniture and equipment | 1 | Workstations for staff, including maintenance |  |  |  | 0 |  | 0
|  | 2 | General office furniture, including maintenance |  |  |  | 0 |  | 0
|  | 3 | Conference/ meeting room furniture, including maintenance |  |  |  | 0 |  | 0
|  | 4 | Photocopiers, including purchase/rental, maintenance and other running costs |  |  |  | 0 |  | 0
|  | 5 | Canteen furniture, including maintenance. |  |  |  | 0 |  | 0
|  | 6 | Canteen equipment, including purchase/rental, maintenance and other running costs |  |  |  | 0 |  | 0
|  | 7 | Floor coverings, including maintenance. |  |  |  | 0 |  | 0
|  | 8 | Water dispenser, including purchase/rental, maintenance and other running costs |  |  |  | 0 |  | 0
|  | 9 | Heaters, including maintenance of heaters. |  |  |  | 0 |  | 0
|  | 10 | Other office equipment, including maintenance. |  |  |  | 0 |  | 0
|  | 11 | Removal of furniture and equipment. |  |  |  | 0 |  | 0
|  | 12 | Maintenance furniture and floor covering. |  |  |  | 0 |  | 0
1.2.2.4 | IT systems | 1 | Computer hardware, including, purchase/rental, installation, initial set up, maintenance and running cost such as: -CAD station -server and network equipment -printers and plotters -Other computer system hardware |  |  |  | 0 |  | 0
|  | 2 | Software and software licences |  |  |  | 0 |  | 0
|  | 3 | Modern lines, modems and connections |  |  |  | 0 |  | 0
|  | 4 | WAN lines and connection |  |  |  | 0 |  | 0
|  | 5 | Line rental charges |  |  |  | 0 |  | 0
|  | 6 | internet/website addresses |  |  |  | 0 |  | 0
|  | 7 | Internet service provider charges |  |  |  | 0 |  | 0
|  | 8 | Line call charges |  |  |  | 0 |  | 0
|  | 9 | IT support and maintenance |  |  |  | 0 |  | 0
1.2.2.5 | Consumables and services | 1 | Stationary |  |  |  | 0 |  | 0
|  | 2 | Computer and printer consumables |  |  |  | 0 |  | 0
|  | 3 | Postage |  |  |  | 0 |  | 0
|  | 4 | Courier charges |  |  |  | 0 |  | 0
|  | 5 | Tea, coffee, water bottles and the like |  |  |  | 0 |  | 0
|  | 6 | First aid consumables |  |  |  | 0 |  | 0
|  | 7 | Photocopier consumables |  |  |  | 0 |  | 0
|  | 8 | Fax consumables |  |  |  | 0 |  | 0
|  | 9 | Drawing printer consumables |  |  |  | 0 |  | 0
1.2.2.6 | Brought-in services | 1 | Catering |  |  |  | 0 |  | 0
|  | 2 | Equipment maintenance |  |  |  | 0 |  | 0
|  | 3 | Document management, including management information systems and electronic data management systems |  |  |  | 0 |  | 0
|  | 4 | Printing(purchasing), including reports and drawings |  |  |  | 0 |  | 0
|  | 5 | staff transport |  |  |  | 0 |  | 0
|  | 6 | off-site parking charges |  |  |  | 0 |  | 0
|  | 7 | meeting room facilities |  |  |  | 0 |  | 0
|  | 8 | Photographic services |  |  |  | 0 |  | 0
|  | 9 | Other |  |  |  | 0 |  | 0
1.2.2.7 | Sundries | 1 | Main contractors signboards |  |  |  | 0 |  | 0
|  | 2 | Safety and information notice boards |  |  |  | 0 |  | 0
|  | 3 | fire points |  |  |  | 0 |  | 0
|  | 4 | shelters |  |  |  | 0 |  | 0
|  | 5 | tool stores |  |  |  | 0 |  | 0
|  | 6 | crane signage |  |  |  | 0 |  | 0
|  | 7 | employers composite signboards |  |  |  | 0 |  | 0
1.2.3 | Temporary services | [7 empty] | 0
1.2.3.1 | Temporary water supply | 1 | Temporary connections |  |  |  | 0 |  | 0
|  | 2 | Distribution equipment, installation and adaptations |  |  |  | 0 |  | 0
|  | 3 | Meter charges |  |  |  | 0 |  | 0
1.2.3.2 | Temporary gas supply | 1 | Gas connections |  |  |  | 0 |  | 0
|  | 2 | Distribution equipment, installation and adaptations |  |  |  | 0 |  | 0
|  | 3 | Charges |  |  |  | 0 |  | 0
|  | 4 | Bottled gas |  |  |  | 0 |  | 0
1.2.3.3 | Temporary electricity supply | 1 | Temporary connections |  |  |  | 0 |  | 0
|  | 2 | Temporary electrical supply for tower cranes |  |  |  | 0 |  | 0
|  | 3 | Charges- power consumption for site establishment |  |  |  | 0 |  | 0
|  | 4 | Charges- power consumption for the works |  |  |  | 0 |  | 0
|  | 5 | Distribution equipment, installation and adaptations |  |  |  | 0 |  | 0
|  | 6 | Attendance |  |  |  | 0 |  | 0
|  | 7 | Uninterrupted power supply(UPS) |  |  |  | 0 |  | 0
|  | 8 | Temporary substation modifications |  |  |  | 0 |  | 0
1.2.3.4 | Temporary telecommunication systems | 1 | Landlines, including: - Telephones and fax lines - ISDN line |  |  |  | 0 |  | 0
|  | 2 | Telephone and facsimile equipment, including: -PABX -handsets including purchase or rental -Fax machines, including purchase or rental - Installation of equipment - Maintenance of equipment |  |  |  | 0 |  | 0
|  | 3 | Mobile(cellular), phones, including: -Mobile phones, including purchase or rental and connection charges -Spare batteries -Mobile phone charges |  |  |  | 0 |  | 0
|  | 4 | Telephone charges including: -telephone call charges -fax charges -fax and telephone consumables |  |  |  | 0 |  | 0
|  | 5 | Radios including: -base set -handset and chargers -repairs and maintenance -licences -spare batteries |  |  |  | 0 |  | 0
1.2.3.5 | Temporary drainage | 1 | Temporary mains |  |  |  | 0 |  | 0
|  | 2 | Septic tank |  |  |  | 0 |  | 0
|  | 3 | On-site treatment plant |  |  |  | 0 |  | 0
|  | 4 | Holding tanks |  |  |  | 0 |  | 0
|  | 5 | Sewage pumping |  |  |  | 0 |  | 0
|  | 6 | Distribution pipework, etc. |  |  |  | 0 |  | 0
|  | 7 | Drainage installation and adaptations |  |  |  | 0 |  | 0
|  | 8 | Disposal charges |  |  |  | 0 |  | 0
|  | 9 | Disposal costs |  |  |  | 0 |  | 0
1.2.4 | Security | [7 empty] | 0
1.2.4.1 | Security staff | 1 | Security guard (day & night) |  |  |  | 0 |  | 0
|  | 2 | Watchmen(day & night) |  |  |  | 0 |  | 0
1.2.4.2 | Security equipment | 1 | Site pass issue equipment including maintenance and removal |  |  |  | 0 |  | 0
|  | 2 | Site pass consumables |  |  |  | 0 |  | 0
|  | 3 | CCTV surveillance installation, including maintenance and removal |  |  |  | 0 |  | 0
|  | 4 | Temporary vehicle control barriers, including maintenance and removal |  |  |  | 0 |  | 0
1.2.4.3 | Hoardings, fences and gates | 1 | Perimeter hoardings and fencing and the like to site boundaries and to form site compounds |  |  |  | 0 |  | 0
|  | 2 | Access gates, including frames and ironmongery |  |  |  | 0 |  | 0
|  | 3 | Painting of hoardings, fencing, gates and the like |  |  |  | 0 |  | 0
|  | 4 | Temporary doors |  |  |  | 0 |  | 0
|  | 5 | Modification to line of hoardings and fencing during construction |  |  |  | 0 |  | 0
|  | 6 | Dismantling and removal of hoarding, fencing, gates, and the like |  |  |  | 0 |  | 0
1.2.5 | Safety and environmental protection | [7 empty] | 0
1.2.5.1 | Safety programme | 1 | Works required to satisfy requirements of CDM regulations: Health and safety manager/ officers |  |  |  | 0 |  | 0
|  | 2 | Safety audit, including safety audits carried out by external consultant |  |  |  | 0 |  | 0
|  | 3 | Staff safety training |  |  |  | 0 |  | 0
|  | 4 | Site safety incentive scheme |  |  |  | 0 |  | 0
|  | 5 | Notices and information to neighbours |  |  |  | 0 |  | 0
|  | 6 | Personal protective equipment (PPE), including for employer and consultant |  |  |  | 0 |  | 0
|  | 7 | PPE for multi service gangs |  |  |  | 0 |  | 0
|  | 8 | Fire points |  |  |  | 0 |  | 0
|  | 9 | Temporary fire alarms |  |  |  | 0 |  | 0
|  | 10 | Fire extinguisher |  |  |  | 0 |  | 0
|  | 11 | Statutory safety signage |  |  |  | 0 |  | 0
|  | 12 | Nurse |  |  |  | 0 |  | 0
|  | 13 | Traffic marshals |  |  |  | 0 |  | 0
1.2.5.2 | Barriers and safety scaffolding | 1 | Guard rails and edge protection(e.g.to edges of suspended slabs and roofs) |  |  |  | 0 |  | 0
|  | 2 | Temporary staircase balustrades(i.e. to new staircases during construction) |  |  |  | 0 |  | 0
|  | 3 | Lift shaft protection |  |  |  | 0 |  | 0
|  | 4 | Protection to holes and opening in ground floor slabs, suspended slabs and the like |  |  |  | 0 |  | 0
|  | 5 | Debris netting/plastic sheeting |  |  |  | 0 |  | 0
|  | 6 | Fan protection |  |  |  | 0 |  | 0
|  | 7 | Scaffolding inspections |  |  |  | 0 |  | 0
|  | 8 | Hoist run-offs |  |  |  | 0 |  | 0
|  | 9 | Protective walkways |  |  |  | 0 |  | 0
|  | 10 | Other safety measures |  |  |  | 0 |  | 0
1.2.5.3 | Environmental protection measures | 1 | Control of pollution |  |  |  | 0 |  | 0
|  | 2 | Residual control of noise |  |  |  | 0 |  | 0
|  | 3 | Environmental monitoring |  |  |  | 0 |  | 0
|  | 4 | Environmental manager/ consultant |  |  |  | 0 |  | 0
|  | 5 | environmental audits including safety audits carried out by external consultants |  |  |  | 0 |  | 0
1.2.6 | Control and protection | [7 empty] | 0
1.2.6.1 | Survey, inspections and monitoring | 1 | Surveys (expand this section and insert list of surveys as necessary) |  |  |  | 0 |  | 0
|  | 2 | Topographical survey |  |  |  | 0 |  | 0
|  | 3 | Non-employer dilapidation survey |  |  |  | 0 |  | 0
|  | 4 | Structural/dilapidations survey adjoining building |  |  |  | 0 |  | 0
|  | 5 | Environmental surveys |  |  |  | 0 |  | 0
|  | 6 | Movement monitoring |  |  |  | 0 |  | 0
|  | 7 | Maintenance and inspection costs |  |  |  | 0 |  | 0
1.2.6.2 | Setting out | 1 | Setting out primary grids |  |  |  | 0 |  | 0
|  | 2 | Grid transfer and level checks |  |  |  | 0 |  | 0
|  | 3 | Maintenance of grids |  |  |  | 0 |  | 0
|  | 4 | Take over control and independent checks |  |  |  | 0 |  | 0
|  | 5 | Instruments for setting out |  |  |  | 0 |  | 0
1.2.6.3 | Protection of works | 1 | Protection of finished works to project handover |  |  |  | 0 |  | 0
|  | 2 | Protection of stairs, balustrades and the like works to project handover |  |  |  | 0 |  | 0
|  | 3 | Protection of fittings and furnishings works to project handover |  |  |  | 0 |  | 0
|  | 4 | Protection of entrance doors and frames works to project handover |  |  |  | 0 |  | 0
|  | 5 | Protection of lift cars and doors works to project handover |  |  |  | 0 |  | 0
|  | 6 | Protection of specifically vulnerable products to project handover |  |  |  | 0 |  | 0
|  | 7 | Protection of all sundry items |  |  |  | 0 |  | 0
1.2.6.4 | Samples | 1 | Provision of samples |  |  |  | 0 |  | 0
|  | 2 | Provision of sample room |  |  |  | 0 |  | 0
|  | 3 | Mock ups and sample panels |  |  |  | 0 |  | 0
|  | 4 | Testing of samples/ mock ups, including testing fees |  |  |  | 0 |  | 0
|  | 5 | On site laboratory equipment |  |  |  | 0 |  | 0
|  | 6 | Mock ups of prefabricated units(e.g. residential units, students accommodation, hotel accommodation and the like) |  |  |  | 0 |  | 0
1.2.6.5 | Environmental control of building | 1 | Dry out building |  |  |  | 0 |  | 0
|  | 2 | Temporary heating and cooling |  |  |  | 0 |  | 0
|  | 3 | Temporary waterproofing, including over roofs |  |  |  | 0 |  | 0
|  | 4 | Temporary enclosures |  |  |  | 0 |  | 0
1.2.7 | Mechanical plant | [7 empty] | 0
1.2.7.1 | Generally |  | Common user mechanical plant and equipment used in construction operations |  |  |  | 0 |  | 0
1.2.7.2 | Tower cranes | 1 | Hire charges |  |  |  | 0 |  | 0
|  | 2 | Crane Operator |  |  |  | 0 |  | 0
|  | 3 | Overtime for crane and operator |  |  |  | 0 |  | 0
|  | 4 | Piles for tower crane bases, including maintenance removal |  |  |  | 0 |  | 0
|  | 5 | Temporary bases for tower crane, including anchors, maintenance , removal and reinstatement on completion(size in m2 to be stated) |  |  |  | 0 |  | 0
|  | 6 | Ties |  |  |  | 0 |  | 0
|  | 7 | Connections to temporary electrical supply |  |  |  | 0 |  | 0
|  | 8 | Bring to site, erection, test and commission |  |  |  | 0 |  | 0
|  | 9 | Periodic safety checks/ inspections |  |  |  | 0 |  | 0
|  | 10 | Dismantling and removing from site |  |  |  | 0 |  | 0
|  | 11 | Other costs specific to tower crane |  |  |  | 0 |  | 0
|  | 12 | Temporary voids in building structure for craneage, hoist and the like including filling voids after removal |  |  |  | 0 |  | 0
1.2.7.3 | Mobile cranes | 1 | Mobile crane hire charges, including driver/operator charges |  |  |  | 0 |  | 0
|  | 2 | Attendance |  |  |  | 0 |  | 0
|  | 3 | Other costs specific to mobile crane hire |  |  |  | 0 |  | 0
1.2.7.4 | Hoists | 1 | Goods and passenger hoists, including protection cages and embedment frames |  |  |  | 0 |  | 0
|  | 2 | Hoist bases |  |  |  | 0 |  | 0
|  | 3 | Bringing to site, erecting, testing and commissioning |  |  |  | 0 |  | 0
|  | 4 | Dismantling and removing from site |  |  |  | 0 |  | 0
|  | 5 | Protecting systems |  |  |  | 0 |  | 0
|  | 6 | Hoist operator, including overtime |  |  |  | 0 |  | 0
|  | 7 | Beam hoist |  |  |  | 0 |  | 0
|  | 8 | Periodic safety checks |  |  |  | 0 |  | 0
|  | 9 | Other costs specific to temporary hoist installation |  |  |  | 0 |  | 0
1.2.7.5 | Access plant | 1 | Fork lifts |  |  |  | 0 |  | 0
|  | 2 | Scissor lifts |  |  |  | 0 |  | 0
|  | 3 | Loading platforms |  |  |  | 0 |  | 0
|  | 4 | Maintenance of mechanical access equipment |  |  |  | 0 |  | 0
|  | 5 | Other costs specific to mechanical access equipment |  |  |  | 0 |  | 0
1.2.7.6 | Concrete plant | 1 | Concrete plant |  |  |  | 0 |  | 0
|  | 2 | Plant operator |  |  |  | 0 |  | 0
|  | 3 | Overtime for plant and operator |  |  |  | 0 |  | 0
|  | 4 | Bases for concrete plant |  |  |  | 0 |  | 0
|  | 5 | Power connections, including cabling and statutory undertakers charges for temporary connection to their supply |  |  |  | 0 |  | 0
|  | 6 | Bring to site, erection, test and commission |  |  |  | 0 |  | 0
|  | 7 | Maintenance of concrete plant |  |  |  | 0 |  | 0
|  | 8 | Dismantling and removing from site |  |  |  | 0 |  | 0
1.2.7.7 | Other plant | 1 | Small plant and tools |  |  |  | 0 |  | 0
1.2.8 | Temporary works | [7 empty] | 0
1.2.8.1 | Access scaffolding | 1 | Bringing to site, erecting and initial safety checks |  |  |  | 0 |  | 0
|  | 2 | Hire charges |  |  |  | 0 |  | 0
|  | 3 | Altering and adapting during construction |  |  |  | 0 |  | 0
|  | 4 | Dismantling and removing from site |  |  |  | 0 |  | 0
1.2.8.2 | Temporary works | 1 | Bringing to site, erecting and initial safety checks |  |  |  | 0 |  | 0
|  | 2 | Hire charges |  |  |  | 0 |  | 0
|  | 3 | Altering and adapting during construction |  |  |  | 0 |  | 0
|  | 4 | Dismantling and removing from site |  |  |  | 0 |  | 0
1.2.9 | Site records | [7 empty] | 0
1.2.9.1 | Site records | 1 | Photography: -Camera purchase -Consumables -printing and presentation |  |  |  | 0 |  | 0
|  | 2 | Works records: -progress reporting -site setting out drawings -condition survey and reports -operation and maintenance manuals -As built/installed drawings and schedules -Co-ordinating, gathering and compiling health and safety information and presentation to CDM co-ordinator -Compilation of health and safety file |  |  |  | 0 |  | 0
1.2.10 | Completion and post-completion requirements | [7 empty] | 0
1.2.10.1 | Testing and commissioning plan | 1 | Preparation of commissioning plan |  |  |  | 0 |  | 0
1.2.10.2 | Handover | 1 | Preparation of handover plan |  |  |  | 0 |  | 0
|  | 2 | Training of building users staff in the operation and maintenance of the building engineering services systems |  |  |  | 0 |  | 0
|  | 3 | Provision of spare parts for maintenance of building engineering services |  |  |  | 0 |  | 0
|  | 4 | Provision of tools and portable indicating instruments for the operation and maintenance of building engineering services systems |  |  |  | 0 |  | 0
|  | 5 | Pre-completion inspections |  |  |  | 0 |  | 0
|  | 6 | Final inspections |  |  |  | 0 |  | 0
1.2.10.3 | Post-completion services | 1 | Supervisory staff |  |  |  | 0 |  | 0
|  | 2 | Handyman |  |  |  | 0 |  | 0
|  | 3 | Minor materials and sundry items |  |  |  | 0 |  | 0
|  | 4 | Insurances |  |  |  | 0 |  | 0
|  | 5 | Other post construction staff |  |  |  | 0 |  | 0
1.2.11 | Cleaning | [7 empty] | 0
1.2.11.1 | Site tidy | 1 | Cleaning site accommodation- internal, including cleaning telephone, handsets other office furniture and equipment and window cleaning |  |  |  | 0 |  | 0
|  | 2 | Periodic maintenance of site accommodation, including redecoration |  |  |  | 0 |  | 0
|  | 3 | Waste management, including rubbish disposal |  |  |  | 0 |  | 0
|  | 4 | Pest control |  |  |  | 0 |  | 0
1.2.11.2 | Maintenance of roads, paths and pavings | 1 | Maintenance of temporary site roads, paths and pavements |  |  |  | 0 |  | 0
|  | 2 | Maintenance of public and private roads, including wheel spinners and road sweepers |  |  |  | 0 |  | 0
1.2.11.3 | Building clean | 1 | Final builders clean |  |  |  | 0 |  | 0
1.2.12 | Fees and charges | [7 empty] | 0
1.2.12.1 | Fees | 1 | Building control fees where not paid by the employer |  |  |  | 0 |  | 0
|  | 2 | Oversailing fees, where not paid by employer |  |  |  | 0 |  | 0
|  | 3 | Considerate Contractors scheme fees |  |  |  | 0 |  | 0
|  | 4 | Scheme registration fees r similar fees where not paid by the employer |  |  |  | 0 |  | 0
1.2.12.2 | Charges | 1 | Rates on temporary accommodation |  |  |  | 0 |  | 0
|  | 2 | Licences in connection with hoardings, scaffolding, gantries and the like |  |  |  | 0 |  | 0
|  | 3 | Licences in connection with crossovers, parking permits, parking bay suspensions and the like |  |  |  | 0 |  | 0
1.2.13 | Site services | [7 empty] | 0
1.2.13.1 | Temporary works | 1 | Temporary works that are not specific to an element |  |  |  | 0 |  | 0
1.2.13.2 | Multi-service gang | 1 | Ganger |  |  |  | 0 |  | 0
|  | 2 | Labour |  |  |  | 0 |  | 0
|  | 3 | Fork lift drivers |  |  |  | 0 |  | 0
|  | 4 | Service gang plant and transport |  |  |  | 0 |  | 0
1.2.14 | Insurance, bonds, guarantees and warranties | [7 empty] | 0
1.2.14.1 | Works insurance | 1 | Contractors 'all risk(CAR) Insurance |  |  |  | 0 |  | 0
|  | 2 | Contractors plant and equipment insurance |  |  |  | 0 |  | 0
|  | 3 | Temporary building insurance |  |  |  | 0 |  | 0
|  | 4 | Terrorism insurance |  |  |  | 0 |  | 0
|  | 5 | Other insurances in connection with the works |  |  |  | 0 |  | 0
|  | 6 | Insurance premium tax(IPT) |  |  |  | 0 |  | 0
|  | 7 | Allowance for recovery of all or part of insurance premium excess |  |  |  | 0 |  | 0
1.2.14.2 | Public liability insurance | 1 | Non-negligence insurance |  |  |  | 0 |  | 0
|  | 2 | Professional indemnity insurance |  |  |  | 0 |  | 0
|  | 3 | Insurance premium tax(IPT) |  |  |  | 0 |  | 0
|  | 4 | Allowance for recovery of all or parts of insurance premium excess |  |  |  | 0 |  | 0
1.2.14.3 | Employer’s (main contractor’s) liability insurance | 1 | Management and staff including administrative staff |  |  |  | 0 |  | 0
|  | 2 | Works operatives |  |  |  | 0 |  | 0
|  | 3 | IPT |  |  |  | 0 |  | 0
|  | 4 | Allowance for recovery of all or parts of insurance premium excess |  |  |  | 0 |  | 0
1.2.14.4 | Other insurances | 1 | Employers loss of liquidating damages |  |  |  | 0 |  | 0
|  | 2 | Latent defects covers |  |  |  | 0 |  | 0
|  | 3 | Motor vehicle |  |  |  | 0 |  | 0
|  | 4 | Other insurances |  |  |  | 0 |  | 0
|  | 5 | IPT |  |  |  | 0 |  | 0
|  | 6 | Allowance for recovery of all or parts of insurance premium excess |  |  |  | 0 |  | 0
1.2.14.5 | Bonds | 1 | Tender bonds |  |  |  | 0 |  | 0
|  | 2 | Performance bonds |  |  |  | 0 |  | 0
1.2.14.6 | Guarantees | 1 | Parent company guarantees |  |  |  | 0 |  | 0
|  | 2 | Product guarantees, insurance backed guarantees |  |  |  | 0 |  | 0
1.2.14.7 | Warranties | 1 | Collateral warranties |  |  |  | 0 |  | 0
|  | 2 | Funders warranties |  |  |  | 0 |  | 0
|  | 3 | Purchasers and tenants warranties |  |  |  | 0 |  | 0
|  | 4 | Other warranties |  |  |  | 0 |  | 0
1.2.15 | BREEAM | [7 empty] | 0
| No requirement | 1 |  |  |  |  | 0 |  | 0
|  | 2 |  |  |  |  | 0 |  | 0
|  | 3 |  |  |  |  | 0 |  | 0
|  | 4 |  |  |  |  | 0 |  | 0
| TOTAL CARRIED TO MAIN SUMMARY | [7 empty] | 0
Note: Costs relating to preliminaries items that are not specifically identified in the contractor’s
full and detailed breakdown shall be deemed to have no cost implications or have been included
elsewhere within the contractor’s rates and prices.

## Additional Items
ADDITIONAL ITEMS
Any other items not listed in the Contract Sum Analysis but required to fulfil Contract Works - see Preambles
Items to be allocated to relevant BCIS element and carried forward to the Summary accordingly
REF NO. | ELEMENT | Quantity | Unit | Rate | SUB TOTAL £ | TOTAL £
[5 empty] | 0 | 0
0