## Schedule of Works
0
0
0
0
0
0
0
| CITY COLLEGE PLYMOUTH |  |  |  | 0
| KINGS ROAD |  |  |  | 0
| PLYMOUTH |  |  |  | 0
| PL1 5QG |  |  |  | 0
0
0
| PROJECT DETAILS: |  |  |  | 0
| DANCE STUDIO WALL REMOVAL |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | Qty | Item | Rate | £ p
0
0
0
| NOTES |  |  |  | 0
0
| Allow for all preparation works to include filling any holes, sanding, filling, stopping, chalking |  |  |  | 0
0
| PROJECT REQUIREMENTS |  |  |  | 0
0
| BUILDERS WORKS |  |  |  | 0
0
1 | Allow to remove existing wall between Dance Studios A and B to create larger Dance Studio Space to include making good to walls |  |  |  | 0
0
2 | Allow to install MDF painted panels between existing ceilings allowing for any differences in height, colour to be Crown Matt Emulsion in Black |  |  |  | 0
0
| DECORATION WORKS |  |  |  | 0
0
1 | All walls and woodwork to be painted in Crown Matt Emulsion in Black to match existing |  |  |  | 0
0
| FLOORING |  |  |  | 0
0
1 | Allow to uplift existing flooring |  |  |  | 0
0
2 | Allow to make any repairs and apply latex suitable to receive vinyl flooring following wall removal. |  |  |  | 0
0
3 | Allow to lay in new Tarkett Omnisport cushioned vinyl flooring to match existing following wall removal to include welding of all joints |  |  |  | 0
0
| ELECTRICAL WORKS |  |  |  | 0
0
1 | Allow to remove all electrical services from wall to be removed and make safe |  |  |  | 0
0
2 | Relocate existing BMS sensors |  |  |  | 0
0
3 | Fire alarm sounders to be removed by College prior to works commencing and re-positioned in ceiling |  |  |  | 0
0
0
| SUB TOTAL |  |  |  | 0
| VAT @ 20% |  |  |  | 0
| TOTAL PROJECT COST |  |  |  | 0