## Schedule of Works
0
0
0
0
0
0
0
| CITY COLLEGE PLYMOUTH |  |  |  | 0
| KINGS ROAD |  |  |  | 0
| PLYMOUTH |  |  |  | 0
| PL1 5QG |  |  |  | 0
0
0
0
| PROJECT DETAILS: |  |  |  | 0
| IOT KI204 CAD SUITE |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| This specification is to be priced in conjunction with drawings: CCP-AH-I2C-01, CCP-AH-I2C-02, CCP-AH-I2C-03, CCP-AH-I2C-04, CCP-AH-I2C-05, CCP-AH-I2C-06 and CCP-AH-I2C-07 |  |  |  | 0
0
| ENABLING & STRIP OUT WORKS | Qty | Item | Rate | £ p
1 | Remove all Computer Equipment to be placed in safe storage for re-use following refurbishment |  |  |  | 0
0
2 | Remove all existing furniture and set aside for disposal/re-use elsewhere |  |  |  | 0
0
3 | Uplift existing flooring and dispose |  |  |  | 0
4 | Allow to remove existing lighting and containment and make safe
0
| SUSPENDED CEILING |  |  |  | 0
0
1 | Allow to alter existing supply air grille from current wall position by installing new ductwork to fit in new suspended ceiling. |  |  |  | 0
0
2 | To supply and fit new Armstrong Dune Max suspended ceiling tiles and grid 600mm x 600mm |  |  |  | 0
0
| LIGHTING |  |  |  | 0
0
| Lighting will need to be designed to achieve suitable light levels. |  |  |  | 0
| Contractor will need to confirm in their tender if lighting will require re-wiring and if existing Distribution Board has sufficient capacity for the new lighting design, and will need to provide a price accordingly. |  |  |  | 0
| Allow to use existing switching configuration |  |  |  | 0
1 | To supply and install new lighting scheme as per Contractor's specification |  |  |  | 0
0
| DECORATION WORKS |  |  |  | 0
0
| Allow for all preparation works to include filling any holes, sanding, filling, stopping, chalking. |  |  |  | 0
| Do not allow for painting of radiators, pipes, doors or windows. |  |  |  | 0
| Allow to remove all door furniture from linings prior to painting. |  |  |  | 0
0
1 | Paint walls with Crown Eggshell, colour to be White |  |  |  | 0
0
2 | Paint door linings and architraves with Dark Grey undercoat and top coat of Satinwood RAL 7016 |  |  |  | 0
0
3 | Paint previously painted skirting with Dark Grey undercoat and top coat of Satinwood RAL 7016 |  |  |  | 0
0
| FLOORING |  |  |  | 0
0
1 | To supply and fit new Forbo Tessera carpet tiles (Colour - Teviot Neptune) |  |  |  | 0
0
| SUB TOTAL |  |  |  | 0
| VAT @ 20% |  |  |  | 0
| TOTAL PROJECT COST |  |  |  | 0