## Schedule of Works
0
0
0
0
0
0
| GROUND FLOOR, STEM BUILDING |  |  |  | 0
| CITY COLLEGE PLYMOUTH |  |  |  | 0
| KINGS ROAD |  |  |  | 0
| PLYMOUTH |  |  |  | 0
| PL1 5QG |  |  |  | 0
0
0
0
| PROJECT: |  |  |  | 0
| REFURBISHMENT WORKS TO GROUND FLOOR MAIN CORRIDOR |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| This specification is to be priced in conjunction with drawings: CCP-AH-MC-01 CCP-AH-MC-02 CCP-AH-MC-03 CCP-AH-MC-04 CCP-AH-MC-05 CCP-AH-MC-06 CCP-AH-MC-07 |  |  |  | 0
0
| NOTES |  |  |  | 0
| The main corridor needs to remain open throughout the refurbishment. Allow to phase all works to enable safe access to all staff, students and members of the public. |  |  |  | 0
0
| Allow to move, reposition or protect any equipment including vending machines, TV monitors and cashpoint within the work area to avoid any damage. |  |  |  | 0
0
| Allow to remove and set aside all pictures, signs, posters, noticeboards, pin boards, wipe boards. Allow to remove all transfers to include adhesive. |  |  |  | 0
0
| Allow to remove existing suspended ceiling including perimeter trims from work area and dispose. Allow to support all services, cabling and infrastructure as ceiling is removed. |  |  |  | 0
0
| Remove painted steel handrail beside staircase and dispose. Allow to make good floor leaving ready to receive latex. |  |  |  | 0
0
| All new doors to be fitted into existing linings. All linings are to be made good following new door installation ready for redecoration. |  |  |  | 0
0
0
0
0
0
0
0
0
| STRIP OUT WORKS | Qty | Item | Rate | £ p
0
1 | Allow to uplift flooring to work area and dispose. |  |  |  | 0
0
2 | Allow to remove existing electrical services to ceiling and make safe. Set aside existing fire sensors to maintain fire protection. Disconnection and reconnection will be organised by the College once new ceiling has been installed. Allow to disconnect CCTV cameras and reconnect in the same location and fit into new suspended ceiling tiles. |  |  |  | 0
0
3 | Allow to remove existing suspended ceiling from work area and dispose. Allow to support all services, cabling and infrastructure as ceiling is removed. See drawing CCP-AH-MC-03. |  |  |  | 0
0
4 | Remove painted steel handrail beside staircase and dispose. Allow to make good floor leaving ready to receive latex. |  |  |  | 0
0
5 | Remove doors SD1, SD5-SD9, SD12 and SD13 and make good to linings leaving ready for redecoration (corridor side only). |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
0
|  | Qty | Item | Rate | £ p
| DECORATION WORKS |  |  |  | 0
0
| NOTES: |  |  |  | 0
| Allow to remove all pictures, pin boards, wipe boards, notice boards, transfers, stickers and flyers and set aside and allow to refit. |  |  |  | 0
0
| Allow for all preparation works to include filling any holes, sanding, filling, stopping, chalking. |  |  |  | 0
0
| Do not allow for painting of radiators, pipes or doors. |  |  |  | 0
0
| Allow to remove all door furniture from linings prior to painting. |  |  |  | 0
0
0
1 | Paint walls with Crown Eggshell, to include 50% mist coat to new dot & dabbed wall. Colour to be White |  |  |  | 0
0
2 | Paint double door linings and architraves DD1, DD2 (corridor side only) with Dark Grey undercoat and top coat of Satinwood RAL 7016 |  |  |  | 0
0
3 | Paint double cupboard door lining and architraves DD3 (corridor side only) with Satinwood White |  |  |  | 0
0
4 | Paint double cupboard doors DD3 (both sides) with Satinwood White |  |  |  | 0
0
5 | Paint single door linings and architraves SD1-SD13 and mail room (corridor side only) with Dark Grey undercoat and top coat of Satinwood RAL 7016 |  |  |  | 0
0
6 | Paint previously painted and new skirting with Dark Grey undercoat and top coat of Satinwood RAL 7016 |  |  |  | 0
0
7 | Paint previously painted ceilings with Crown Emulsion, colour to be White |  |  |  | 0
0
8 | Paint previously painted linings and architraves WD1, WD2 with Dark Grey undercoat and top coat of Satinwood RAL 7016 |  |  |  | 0
0
9 | To dot and dab over existing brickwork as noted on Drawing CCP-AH-MC-02. Skim ready for decoration and fit new skirting leaving ready for decoration. |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
0
|  | Qty | Item | Rate | £ p
| DOOR SCHEDULE |  |  |  | 0
0
1 | SD1, SD2, SD9, SD12 and SD13 to be Howdens Blyton Oak Flush Veneered pre-finished 20G Glazed Door FD30 |  |  |  | 0
0
2 | SD5, SD6, SD7 and SD8 to be Howdens Blyton Oak Flush Veneered pre-finished Fire Door FD30 |  |  |  | 0
0
3 | All doors to have Stainless Steel kickers fitted to both sides of doors |  |  |  | 0
0
4 | Door furniture to SD1, SD5, SD7, SD8, SD9, SD12 and SD13 to be as follows: |  |  |  | 0
0
4.1 | Howdens Round Bar Lever on Rose Satin Door Handle Pair - Product Code DFU0260 |  |  |  | 0
0
4.2 | All fitted with Euro/Oval Profile Cylinder Sashlock Case - Product Code LAL0221 c/w escutcheon lock covers to both sides of door |  |  |  | 0
0
5 | All Euro locks to be supplied by the College, allow to fit |  |  |  | 0
0
6 | Door furniture to SD2 and SD6 to be as follows: |  |  |  | 0
0
6.1 | D Handle Bolt Fixing - Product Code DFU0143 |  |  |  | 0
0
6.2 | Door Fingerplate - Product Code DFU0094 |  |  |  | 0
0
6.3 | All doors to have 1.5 pairs of Stainless heavy duty hinges |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
0
|  | Qty | Item | Rate | £ p
| SUSPENDED CEILINGS |  |  |  | 0
0
| NOTES: |  |  |  | 0
0
| The main corridor needs to remain open throughout the refurbishment. Allow to phase all works to enable safe access to all staff, students and members of the public. |  |  |  | 0
0
| Allow to refit all set aside signs and services |  |  |  | 0
0
0
1 | To remove existing suspended ceiling and dispose |  |  |  | 0
0
2 | To supply and fit 256 sq.m. new Armstrong Dune Max suspended ceiling tiles and grid as per Drawing CCP-AH-MC-03 | 256 | m2 |  | 0
0
3 | To supply and fit 36 sq.m. new Armstrong Dune Max suspended ceiling tiles as per Drawing CCP-AH-MC-03 | 36 | m2 |  | 0
0
4 | To supply and install new white bulkhead as per Drawing CCP-AH-MC-03 | 6 | lin/m |  | 0
0
5 | Allow to remove 4 nr air grilles, to clean and have powder coated and refitted. Colour to be White 50% gloss | 4 | nr |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
0
|  | Qty | Item | Rate | £ p
| LIGHTING |  |  |  | 0
0
| NOTES: |  |  |  | 0
0
| Lighting will need to be designed to achieve suitable light levels. |  |  |  | 0
0
| Contractor will need to confirm in their tender if lighting will require re-wiring and if existing Distribution Board has sufficient capacity for the new lighting design, and will need to provide a price accordingly. |  |  |  | 0
0
| Allow to use existing switching configuration |  |  |  | 0
0
0
1 | To supply and install new lighting scheme as per Contractor's specification |  |  |  | 0
0
2 | To replace all emergency lights to ensure all areas are fully compliant |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
0
0
|  | Qty | Item | Rate | £ p
| FLOORING |  |  |  | 0
0
1 | To remove existing flooring and dispose of accordingly |  |  |  | 0
0
2 | To supply and install vinyl flooring to main corridor as per Drawing CCP-AH-MC-06. Flooring to be Forbo Vinyl Flooring in Sunshine Yellow (5421) | 291 | m2 |  | 0
0
3 | To supply and install entrance matting to main corridor as per Drawing CCP-AH-MC-06. Flooring to be Forbo Vinyl Entrance Matting in Mouse Grey (4721) | 26 | m2 |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
£ p
COLLECTION
| STRIP OUT WORKS |  |  |  | 0
| DECORATION WORKS |  |  |  | 0
| DOOR SCHEDULE |  |  |  | 0
| CEILINGS |  |  |  | 0
| LIGHTING |  |  |  | 0
| FLOORING |  |  |  | 0
| SUB TOTAL |  |  |  | 0
| VAT @ 20% |  |  |  | 0
| TOTAL PROJECT COST |  |  |  | 0