## Preamble
| Doric Park, Trowbridge |  | Contract Sum Analysis: |  | No.1
| Preamble |  |  | Base Date: | 2021-06-24
| Item | Description
| 1 | GENERALLY
| 1.01 | The Scope of Construction Works will be a guide to the construction works. The Scope of Construction Works is provided in appendix A.
| 1.02 | The Pricing Schedule shall be priced in detail and not priced in groups. Items not priced shall be deemed to be included in the Pricing Schedule unless specifically annotated as "excluded". Any items marked as "excluded" shall be detailed in a covering letter.
| 1.03 | The Scope of Construction Works described is not intended to be exhaustive and should be read in conjunction with all other information provided with the Employer's Requirements. The sums entered by the Contractor shall be deemed to be fully inclusive sums in respect of the item concerned.
| 1.04 | The Employer accepts no liability or responsibility for any descriptions provided in the Pricing Schedule. If the Contractor should discover any errors or omissions within the Pricing Schedule during the Tender period, he shall forthwith inform the Project Manager who will take such action as is necessary prior to return of Tenders. After the date of return of Tenders, the Contractor shall be deemed to have made his own assessment of the quantity of the Contract Works based upon the contents of the entire Employer's Requirements and to have submitted his offer accordingly.
| 1.05 | The Contractor should add any additional items to the Scope of Construction Works that he believes are missing but are necessary to satisfy the Employer's Requirements.
| 1.06 | Any alternatives as defined in the Preliminaries should be scheduled separately from the compliant bid and issued as an alternative tender
| 1.07 | On request we would expect to see additional cost breakdowns to the items priced overleaf.
3.0 Doric Park, Trowbridge Contract Sum Analysis |  |  |  |  | Page 1 of 23

## Tender Summary
| Doric Park, Trowbridge |  | Contract Sum Analysis: |  | No.1
| Part A: Tender Summary |  | Base Date: |  | 2021-06-24
|  | Building Description |  |  | £
|  | New sports facility incorporating a |  |  | 0
new pavilion, access road and
parking
|  | CONTRACT SUM: |  | £ | 0
3.0 Doric Park, Trowbridge Contract Sum Analysis |  |  |  |  | Page 2 of 23

## Pricing Summary - Pavilion
| Doric Park, Trowbridge |  | Contract Sum Analysis: |  | No.1
| Part B: Pricing Summary - Pavilion Building |  |  | Base Date: | 2021-06-24
| Description |  |  | £ | £/m2
MEASURED WORKS
|  | General |  | 0
| 1 | Site Clearance |  | 0
| 2 | Demolition |  | 0
| 2 | General Earthworks |  | 0
| 3 | Substructure |  | 0
| 4 | Modular Building Structure |  | 0
| 5 | External Walls |  | 0
| 6 | Roof |  | 0
| 7 | Internal Walls |  | 0
| 8 | External Doorsets & Glazing |  | 0
| 9 | Curtain Walling |  | Incl
| 10 | Internal Doorsets |  | 0
| 11 | Floor Finishes |  | 0
| 12 | Wall Finishes |  | 0
| 13 | Ceiling Finishes |  | 0
| 14 | Sanitaryware & Associated Fittings |  | 0
| 15 | Fixtures & Fittings |  | 0
| 16 | Service Connections |  | 0
| 17 | Car Parking, Paths & Fencing |  | 0
| 18 | Mechanical Services |  | 0
| 19 | Electrical Services |  | 0
| 20 | Drainage |  | 0
| 21 | Landscaping Works |  | 0
| 22 | Provisional Sums |  | 0
| 23 | Other Works |  | 0
ON COSTS
| 24 | Preliminaries |  | 0
| 25 | Design Fees |  | 0
| 26 | Overheads & Profit |  | incl. | incl.
| 27 | Design Development |  | 0
|  | TOTAL CARRIED TO TENDER SUMMARY |  | 0
3.0 Doric Park, Trowbridge Contract Sum Analysis |  |  |  |  | Page 3 of 23

## Pricing Schedule - Pavilion
| Doric Park, Trowbridge |  | Contract Sum Analysis: |  |  | No.1
| Part C: Pricing Schedule - Pavilion Building |  |  | Base Date: |  | 2021-06-24
| Item | Description | Qty | Unit | Rate | Total
[5 empty] | £ | £
General
| A | Allow for all preliminiries required in order to undertake the works. Including office, storgage, dry rooms, fencing, security and the like |  | item
| B | Where conflicting information between this section and the tender supporting documents of the consultants, the consultants information is to take precedent. Any conflicts In information is to be brought to the attention of the project manager. No claim will be entertained where a conflict in information has not been disclosed to the project manager. It is the tenderers obligation to check the tender information provided for conflicts. |  | item
| C | Works are to be undertaken in accordance with Williams Architects Ltd, Specification. 170815-400.04 |  | item
[5 empty] | Sub-Total | 0
| 1 | SITE CLEARANCE
| 1.01 | NB: Site clearance works will be subject to all wildlife constraints as identified in the ecology reports in appendix B |  | item
| 1.02 | Clear site of all trees, shrubs, planting, general rubbish and the like, and dispose off site |  | m2
[5 empty] | Sub-Total | 0
| 2 | DEMOLITION
| 2.01 | Demolition and Refurbishment Survey |  | item
| 2.02 | Demolition of existing stable buildings to the north of the site. Within badger exclusion zone. See Ecological appraisal for required methodology |  | item
[5 empty] | Sub-Total | 0
| 3 | GENERAL EARTHWORKS
| 3.01 | Undertake all earthworks as identified on Williams Architects and BWB design drawings and in accordance with specifictions. |  | item
| 3.02 | Excavation of site strip / topsoil and disposal to on site spoil heaps for regrading and re-use. All in accordance as specification clauses Ss_15_10_30_25 and Ss_15_10_30_27 |  | m2
| 3.03 | Cut and Fill works to create site levels in accordance with BWB earthworks strategy and specification clauses Ss_15_10_30_25 and Ss_15_10_30_27 |  | m2
[5 empty] | Sub-Total | 0
| 4 | SUBSTRUCTURE
| 4.01 | Foundation solution to suit ground conditions; including all clearance, excavation to reduce levels, filling and compaction to be contractor designed in accordance with structural drawings |  | m2
[5 empty] | Sub-Total | 0
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 4 of 23
| Item | Description | Qty | Unit | Rate | Total
[5 empty] | £ | £
| 5 | BUILDING STRUCTURE
| 5.01 | Building Frame in accordance with structural engineer's drawings |  | Item
| 5.02 | Ground floor construction as specification Ss_30_20_10_95 and structural drawings |  | Item
| 5.03 | Extra over for gymnasium floor structure to structural engineers approval as specification Ss_30_20_10_95 |  | Item
[5 empty] | Sub-Total | 0
| 6 | EXTERNAL WALLS
| 6.01 | External Wall Panels as specification Ss_25_13_50_51, Ss_25_20_70_25 |  | Item
| 6.02 | Aquarian Cladding Systems SR10-99 smooth buff (yellow) brick slips as UK Type P stretcher bond panels |  | m2
| 6.03 | Marley Eternit Cedral Click cladding, Smooth finish, in 'C62 Violet Blue' |  | m2
| 6.04 | External wall Render to Main Entrance - Off white as specification Ss_25_45_70_55 |  | m2
| 6.05 | Allow for all insulation, waterproofing, weather strips, bonding, lapping, movement joints, pointing, ties and the like |  | m2
| 6.06 | Timber and powder coated steel slatted screen as specification Ss_25_50_45_45 |  | m
[5 empty] | Sub-Total | 0
| 7 | ROOF
| 7.01 | Composite roof including edge trims, all fixings, sealants, jointing and the like; as structural engineer's drawings and specification Ss_30_40_30_72 |  | m2
| 7.02 | Access walkways and mansafe system for rooftop plant |  | Item
| 7.03 | Internal gravity rainwater drainage systems as specification Ss_50_30_02_40 |  | m
| 7.04 | Rooflights as specification Ss_30_30_72_73 |  | Item
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 5 of 23
| Item | Description | Qty | Unit | Rate | Total
[5 empty] | £ | £
| 7.05 | Grey metal finish fascia and parapet detail; as specification Ss_30_40_50_10 |  | m2
[5 empty] | Sub-Total | 0
| 8 | INTERNAL WALLS
| 8.01 | Metal stud acoustic partitioning 30 min fire rating, generally; to meet all structural and performance requirements; including all deflection heads, joints, fixings and insulation; as specification SS_25_10_30_35 |  | m2
| 8.02 | extra over; form opening for single doorset |  | No.
| 8.03 | extra over; form opening for double doorset |  | No.
| 8.04 | extra over; 1 No sound block, 15mm skim (47db sound insulation applied both sides of partition), full height to underside of soffit |  | m2
| 8.05 | extra over; 1 No 15mm Duraline and skim (47db sound insulation Rw applied both sides of partition), full height to underside of soffit, combine with soundblock |  | m2
| 8.06 | Metal stud FR30 fire rated partitioning generally; to meet all structural and performance requirements; including all deflection heads, joints, fixings and insulation |  | m2
| 8.07 | extra over; form opening for single doorset |  | No.
| 8.08 | extra over; form opening for double doorset |  | No.
[5 empty] | Sub-Total | 0
| 9 | EXTERNAL WINDOWS & DOORSETS
| 9.01 | Aluminium double glazed safety glass; polyester powdercoated finish, colour RAL7016; including frames, architraves and ironmongery, Part M threshold, Part Q security where applicable; as specification Ss_25_30_95_26; Window/Door type A |  | No.
| 9.02 | Aluminium double glazed safety glass; polyester powdercoated finish, colour RAL7016; including frames, architraves and ironmongery, Part M threshold, Part Q security where applicable;as specification Ss_25_30_95_26; Window type B |  | No.
| 9.03 | Aluminium double glazed safety glass; polyester powdercoated finish, colour RAL7016; including frames, architraves and ironmongery, Part M threshold, Part Q security where applicable; as specification Ss_25_30_95_26; Window type C |  | No.
| 9.04 | Aluminium double glazed safety glass; polyester powdercoated finish, colour RAL7016; including frames, architraves and ironmongery, Part M threshold, Part Q security where applicable; as specification Ss_25_30_95_26; Window type D |  | No.
| 9.05 | Aluminium double glazed safety glass; polyester powdercoated finish, colour RAL7016; including frames, architraves and ironmongery, Part M threshold, Part Q security where applicable; as specification Ss_25_30_95_26; Window/Door type E |  | No.
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 6 of 23
| Item | Description | Qty | Unit | Rate | Total
[5 empty] | £ | £
| 9.06 | Aluminium double glazed safety glass; polyester powdercoated finish, colour RAL7016; including frames, architraves and ironmongery, Part M threshold, Part Q security where applicable; as specification Ss_25_30_95_26; Window type F |  | No.
| 9.07 | Aluminium double glazed safety glass; polyester powdercoated finish, colour RAL7016; including frames, architraves and ironmongery, Part M threshold, Part Q security where applicable; as specification Ss_25_30_95_26; Window/Door type G |  | No.
| 9.08 | Aluminium double glazed safety glass; polyester powdercoated finish, colour RAL7016; including frames, architraves and ironmongery, Part M threshold, Part Q security where applicable; as specification Ss_25_30_95_26; Window/Door type H |  | No.
| 9.09 | Aluminium double glazed safety glass; polyester powdercoated finish, colour RAL7016; including frames, architraves and ironmongery, Part M threshold, Part Q security where applicable; as specification Ss_25_30_95_26; Window type J |  | No.
| 9.1 | Aluminium double glazed safety glass; polyester powdercoated finish, colour RAL7016; including frames, architraves and ironmongery, Part M threshold, Part Q security where applicable; as specification Ss_25_30_95_26; Window/Door type K |  | No.
| 9.11 | Aluminium double glazed safety glass; polyester powdercoated finish, colour RAL7016; including frames, architraves and ironmongery, Part M threshold, Part Q security where applicable; as specification Ss_25_30_95_26; Window type L |  | No.
| 9.12 | Aluminium louvred plant room door; polyester powdercoated finish, colour RAL7016; including frames, architraves and ironmongery, Part M threshold, Part Q security where applicable; as specification Ss_25_30_95_26; Window type M |  | No.
| 9.13 | Aluminium double glazed safety glass; polyester powdercoated finish, colour RAL7016; including frames, architraves and ironmongery, Part M threshold, Part Q security where applicable; as specification Ss_25_30_95_26; Window type N |  | No.
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 7 of 23
| Item | Description | Qty | Unit | Rate | Total
[5 empty] | £ | £
| 9.14 | extra over; intergrated blinds to match windows / curtain walling |  | No.
[5 empty] | Sub-Total | 0
| 10 | CURTAIN WALLING
| 10.01 | Included in section 8.
[5 empty] | Sub-Total | 0
| 11 | INTERNAL DOORSETS
Solid core, American light oak veneer internal doorset; hardwood lippings to match facing veneers; ironmongery, finger traps, perimeter seals and accessories as door hardware schedule; including frames, architraves and fixings; painted finish to frames; Door type 2.01; as specification Ss_25_30_20_25, Pr_30_59_24_97
| 11.01 | single; 810 x 2110mm |  | No.
| 11.02 | single; 1010 x 2110mm |  | No.
| 11.03 | extra over; FD30's |  | No.
| 11.04 | extra over; access control |  | No.
| 11.05 | extra over; vision panels; 200 x 1450mm |  | No.
| 11.06 | single; 1110 x 2110mm |  | No.
Solid core, American light oak veneer internal doorset; hardwood lippings to match facing veneers; ironmongery, finger traps, perimeter seals and accessories as door hardware schedule; including frames, architraves and fixings; painted finish to frames; Door type 2.02;as specification Ss_25_30_20_25, Pr_30_59_24_97
| 11.07 | single; 1010 x 2110mm |  | No.
| 11.08 | double; 2070 x 2110mm |  | No.
| 11.09 | double; 2070 x 2110mm |  | No.
| 11.1 | extra over; FD30's |  | No.
| 11.11 | extra over; access control |  | No.
| 11.12 | extra over; vision panels; 200 x 1450mm |  | No.
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 8 of 23
| Item | Description | Qty | Unit | Rate | Total
[5 empty] | £ | £
Solid core, American light oak veneer internal doorset; hardwood lippings to match facing veneers; ironmongery, finger traps, perimeter seals and accessories as door hardware schedule; including frames, architraves and fixings; painted finish to frames; Door type 2.06; as specification Ss_25_30_20_25, Pr_30_59_24_97
| 11.15 | single; 1010 x 2110mm |  | No.
| 11.17 | Manual sliding stacking partitions; door type 6.01; to Club space; as specification as specification Ss_25_30_20_80 |  | No.
[5 empty] | Sub-Total | 0
| 12 | FLOOR FINISHES
| 12.01 | Entrance barrier matting, Burmatex 7700 Grimebuster in 1440 grey, c/w painted MDF skirting, RAL 9010 as specification Ss_30_42_72_05; floor type 1 |  | m2
| 12.02 | extra over for recess and barrier matting frame as required |  | item
| 12.03 | Carpet Heckmondwike Supacord, colour steel grey. Styccobond F3.F52.S910 permanent adhesives. Painted MDF skirting, RAL 9010 as specification Ss_30_42_72_10, floor type 2 |  | m2
| 12.04 | Altro Wood Safety floor Oak Traditions WSA2013, c/w cove former and suitable capping profile for wall finish or equal approved slip resistant floor finish; floor type 3 |  | m2
| 12.05 | Altro Aquarius Vinyl floor c/w cove former and suitable capping profile for wall finish or equal approved slip resistant floor finish. Colour Blue Penguin AQI2002. As specification Ss_30_42_72_72; floor type 4 |  | m2
| 12.06 | 10mm heavy duty gym matting, floor type 5 |  | m2
[5 empty] | Sub-Total | 0
| 13 | WALL FINISHES
| 13.01 | Acrylic painting; one mist and two full coats eggshell paint finish; colour white, RAL 9010; as specification Ss_40_90_60_95. Relevant colour contrasts between wall, floor and fittings elements as required for visually impaired applicable as per specification; Type 1 |  | m2
| 13.02 | Tarkett ProtectWALL wall covering, white. Applied to standard wall partition with full fill sound deadening quilt and 15mm sound board each side applicable as per specification Ss_25_25_75_63; Type 2 |  | m2
| 13.03 | CPA2 Aluminium Chequer Plate to studio and gym walls. Full height safety backed Pilkington Opitmirror glass mirrors above.as specification Ss_25_25_45_70; Type 3 |  | m2
[5 empty] | Sub-Total | 0
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 9 of 23
| Item | Description | Qty | Unit | Rate | Total
[5 empty] | £ | £
| 14 | CEILING FINISHES
| 14.01 | 600 x 600 mm lay-in Ultima+OP board profile tile by Armstrong, on Prelude 35 XL² grid, white.t. As specification Ss_30_25_22_90; Ceiling type 2 |  | m2
| 14.02 | Sealed ceiling system with access panels where required suitable for 100% RH environments, Eurobond 'Firemaster' panels with 'Advantica L' coating or equivalent.; as specification Ss_30_25_10_10; Ceiling type 2 |  | m2
| 14.03 | Open soffit with acoustic absorbing panels suspended from soffit, Ecophon 'Solo Rectangle Akutex HS' and Ecophon Solo Square', aligned in grid in mix of available sizes. with gaps in grid as required for M&E.; as specification Ss_30_25_22_70; Ceiling type 3 |  | m2
| 14.04 | Open soffit, no special finish requirements other than any required for compliance with building regulations (fire protection etc). Ceiling type 4 |  | m2
[5 empty] | Sub-Total | 0
| 15 | SANITARYWARE AND ASSOCIATED FITTINGS
| 15.01 | White sanitary ware with vanity style arrangement, concealed cistern within IPS panels, pneumatic flush actuators; to all WC facilities; as specification Ss_40_15_90_97 |  | No.
| 15.02 | Wall mounted wash hand basins serviced with hot and cold feeds, precussion mixer tap, lever handle operation; to all WC facilities; as specification Ss_40_15_75_94 |  | No.
| 15.03 | Extra over fitting to IPS panels and push button flush actuation |  | No.
| 15.04 | Cleaners sink/bucket sink; floor mounted; bib taps;as specification Pr_40_20_96_44 |  | No.
| 15.05 | Doc M WC pack; accessible changing room and shower; including back rests; as specification Ss_40_15_90_05 |  | No.
| 15.06 | Extra over Doc M shower pack; accessible changing room and shower |  | No.
| 15.07 | Shower units to officials changing rooms; as specification Ss_40_15_75_78 |  | No.
| 15.08 | Wet room showers to team and access changing; as specification Ss_40_15_75_78 |  | No.
| 15.09 | Extra over Showerheads served with premixed water, push button timed control, to all showers |  | No.
| 15.1 | Extra over Anti-Vandal shower heads c/w legionella filter, serviced with premixed water. |  | No.
| 15.11 | Surface mounted automatic high velocity air hand dryers; to all WC facilities; as specification Pr_40_70_62_37 |  | No.
| 15.12 | Water fountain, sensor activated; as specification Ss_40_15_75_25 |  | No.
| 15.13 | Basin: Full-Height Clinical Basin IPS Panel Assembly, HBN 00-10 compliant with sequential lever tap; specification Ss_40_15_75_94 |  | No.
[5 empty] | Sub-Total | 0
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 10 of 23
| Item | Description | Qty | Unit | Rate | Total
[5 empty] | £ | £
| 16 | FIXTURES AND FITTINGS
Allow for fixtures and fittings as described below and identified in the Room Data sheets 170815-401.01, dated 30-10-20
| 16.01 | Powder coated cantilevered bench seating brackets (RAL 9005) c/w SGL seat in Formica 'Night Sea F8242', benching system by Cubicle Systems or equivalent. Fixing concealed within wall construction. |  | m
| 16.02 | Powder coated cantilevered bench seating brackets c/w steamed beech slats. Fixing concealed within wall construction. |  | No.
| 16.03 | Coat hooks located above bench areas; twin double hooks per space: to all changing rooms and officials rooms; as specification Pr_40_30_78_16 |  | No.
| 16.04 | Coat hooks fixed to door; to accessible changing rooms; two hooks per door; as specification Pr_40_30_78_16 |  | No.
| 16.05 | Coat hooks fixed to door; to all WC's; single hook as specification Pr_40_30_78_16 |  | No.
| 16.06 | Coat hooks; general other areas |  | No.
| 16.07 | SAA hooks located above bench seating fixed to gloss painted pattress/rail, RAL 7016. |  | No.
| 16.08 | SAA hooks located above bench seating fixed to eggshell painted pattress/rail, RAL 7016. |  | No.
| 16.09 | Shelving |  | m
| 16.1 | Colostomy changing shelf |  | Item
| 16.11 | Low shelf with rounded corner |  | m
| 16.12 | GL IPS panels by Cubicle Centre in Formica 'Elegant Oak F5374' finish with Formica 'Night Sea' flashgaps |  | m2
| 16.13 | SGL IPS panels by Cubicle Centre in Formica 'Elegant Oak F5374' finish with Formica 'Night Sea Flashgaps" |  | m2
| 16.14 | Proprietary SGL IPS system to WC and sinks, Formica 'Night Sea F8242' finish & flashgaps. |  | m2
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 11 of 23
| Item | Description | Qty | Unit | Rate | Total
[5 empty] | £ | £
| 16.15 | Safety glass full height mirror adjacent entrance door |  | No.
| 16.16 | Safety glass mirror above WHB’s |  | No.
| 16.17 | Safety glass mirror above hairdriers in holsters |  | No.
| 16.18 | Safety Glass full height mirror adjacent changing area entrance door |  | No.
| 16.19 | Full height safety mirror |  | No.
| 16.2 | Air hand dryers. |  | No.
| 16.21 | Hairdryers in holsters |  | No.
| 16.22 | As per fig. 18 of SE 'Accessible Sports Facilities'. Indicator bolts, coat hooks, Colostomy changing shelf, low shelf with rounded corner, full height safety mirror, safety glass mirror above WHB's, hairdrier in holster |  | No.
| 16.23 | Doc M pack ambulant cubicle & large cubicle handrails. |  | No.
| 16.24 | DDA compliant curtain rail and curtain |  | m
| 16.25 | Wall mounted fold down changing table |  | No.
| 16.26 | Toilet paper dispenser |  | No.
| 16.27 | Soap dispenser |  | No.
| 16.28 | Fire-resistant lockers on rubber feet/plinth. |  | No.
| 16.29 | Lockers on rubber feet/plinth. |  | No.
| 16.3 | Purpose made reception desk unit and Counter front. All to comply with relevant Sport England Accessible Sports Facilities DGNs, servery area to have DDA compliant portion of counter front. |  | No.
| 16.31 | Cash registers |  | No.
| 16.32 | PCs |  | No.
| 16.33 | Roller shutter to servery; fire rated |  | No.
| 16.34 | HPL worktops, Kitchen base and wall units.. |  | No.
| 16.35 | Double Stainless steel inset sink and drainer serviced with hot & cold feeds. Mixer tap. |  | No.
| 16.36 | Wash basin serviced with hot and cold feeds, knee operated Sanitiser & soap dispenser. |  | No.
| 16.37 | Insectocutor |  | No.
| 16.38 | Dishwasher |  | No.
| 16.39 | Fridge-Freezer |  | No.
| 16.4 | Microwave |  | No.
| 16.41 | Coffee Machine |  | No.
| 16.42 | Tea Urn |  | No.
| 16.43 | Toaster |  | No.
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 12 of 23
| Item | Description | Qty | Unit | Rate | Total
[5 empty] | £ | £
[5 empty] | Sub-Total | 0
| 17 | SERVICE CONNECTIONS
Electrical Supply
| 17.01 | Contractor is to allow for taking new Electrical Supply into building and connection to mains electricity; including all excavation, ducts, cabling, inspection chambers and the like up to utility providers main to be undertaken by Contractor |  | Item
Water Supply
| 17.02 | Contractor is to allow for new services connection to utility providers mains water supply at a suitable location adjacent to plant room entry position; including all excavation, ducts, pipework, inspection chambers and the like up to utility providers main to be undertaken by Contractor |  | Item
New Openreach connection
| 17.03 | Contractor is to allow for new openreach connection to utility providers mains supply at a suitable location adjacent to plant room entry position; including all excavation, ducts, pipework, inspection chambers and the like up to utility providers main to be undertaken by Contractor |  | Item
BWIC with New Utility Service Supplies
| 17.04 | Contractor is to allow for all trench excavation, disposal, fine fill surround to ducts and making good/ reinstatement in connection with the new utility service connections to be installed by the respective utility service providers |  | Item
[5 empty] | Sub-Total | 0
| 18 | CAR PARKING, PATHS AND SITE WORKS
| 18.01 | NB: For full details of all works included in this section refer to drawings 359-P-001 - A - Trowbridge Hard Works Plan 1 of 2 Nov 20, 359-P-002 - A - Trowbridge Hard Works Plan 2 of 2 Nov 20, TRC-BWB-DGN-XX-DR-C-600_Proposed Finished Levels, Tender TRC-BWB-DPV-XX-DR-C-0720_External Construction Details, TRC-BWB-HKF-XX-DR-C-700_External Construction Layout and TRC-BWB-HKF-XX-DR-C-1100_Kerbing Layout
| 18.02 | Vehicular Grade Tarmac - Black top wearing surface for vehicular areas designed to engineers detail |  | m2
| 18.03 | Existing vehicular tarmac - to be made good during the works |  | m2
| 18.04 | Pedestrian Grade Tarmac - Black top wearing surface for pedestrian areas designed to engineers detail |  | m2
| 18.05 | Block Paving - Tobermore sienna granite block paving; colour: sandstone laid in stretcher bond |  | m2
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 13 of 23
| Item | Description | Qty | Unit | Rate | Total
[5 empty] | £ | £
| 18.06 | Terram BodPave 85 Porous Paving Grids - Cellular porous plastic paving grid 500 x 500 x 50 |  | m2
| 18.07 | Flat top pin kerb |  | m
| 18.08 | Flush Kerb |  | m
| 18.09 | British Standard Kerb |  | m
| 18.1 | Metal Fencing - EuroGuard Flatform Welded Mesh Panels |  | m
| 18.11 | Stainless Steel Bollard |  | Item
| 18.12 | Removable Stainless Steel Bollard |  | no.
| 18.13 | Double Leaf Vehiculate Gate |  | no.
| 18.14 | Single Leaf Pedestrian Gate |  | no.
| 18.15 | Bin Store - Hit and miss panel fencing |  | no.
| 18.16 | Cycle Shelter - Langley Design Sheldon Cycle Shelter including base |  | no.
| 18.17 | Raised Timber Planter |  | no.
| 18.18 | Tree pit |  | no.
| 18.19 | Line marking to all parking bays and roadways |  | Item
| 18.2 | External signage; wayfinding signage generally to car parks and footpaths |  | Item
[5 empty] | Sub-Total | 0
| 19 | MECHANICAL SERVICES
Total of BWB Mechanical Tender breakdown
[5 empty] | Sub-Total | 0
| 20 | ELECTRICAL SERVICES
Total of BWB Electrical Tender breakdown
[5 empty] | Sub-Total | 0
| 21 | DRAINAGE
| 21.01 | Installation of foul and surface water below ground drainage systems to suit the proposed scheme as detailed in the Employer's Requirements; including all excavations, backfilling, disposal of surplus spoil and making good as required |  | Item
[5 empty] | Sub-Total | 0
| 22 | LANDSCAPING WORKS
| 22.01 | Carry out full landscaping scheme to the site as drawings 359-P-003, 359-P-004 and 359-P-005; including topsoiling and planting all trees, hedgerows, wild flower grass and general grass areas, and blackberry/ bramble bushes; make good any works disturbed |  | Item
| 22.02 | Creation of landscaping bunds from site won material |  | Item
[5 empty] | Sub-Total | 0
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 14 of 23
| Item | Description | Qty | Unit | Rate | Total
[5 empty] | £ | £
| 23 | PROVISIONAL SUMS
| 23.01 | Allow the provisional sum of £100,000.00 for new utility service supplies to the site |  | Sum | 100000
| 23.02 | Allow the contingency sum of 5% |  | Sum
[5 empty] | Sub-Total | 0
| 23 | OTHER WORKS
| 23.01 | Allow for any costs not itemised above, but specified in the tender documentation:-
Item
Item
Item
Item
Item
Item
Item
Item
[5 empty] | Sub-Total | 0
|  | TOTAL CARRIED TO PRICING SUMMARY: |  |  | £ | 0
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 15 of 23

## Preliminaries
| Doric Park, Trowbridge |  | Contract Sum Analysis: |  |  | No.1
| Part D: Preliminaries |  |  | Base Date: |  | 2021-06-24
| Item | Description | Qty | Unit | Rate | Total
[5 empty] | £ | £
| 1 | Supervison / Management
| 1.01 | Site Agent |  | weeks
| 1.02 | General Foreman |  | weeks
| 1.03 | Engineer |  | weeks
| 1.04 | M&E Manager |  | weeks
| 1.05 | Commercial |  | weeks
| 1.06 | Admin. |  | weeks
| 1.07 | Other (Please state) |  | weeks
| 2 | Site Labourer/ Waste Removal
| 2.01 | Site Assistant |  | weeks
| 2.02 | Skips |  | No.
| 2.03 | Site Clearance |  | Item
| 2.04 | Other (Please state) |  | weeks
| 3 | Transport/Deliveries
| 3.01 | Vehicle |  | weeks
| 3.02 | Site Deliveries |  | weeks
| 3.03 | Car Parking |  | weeks
| 3.04 | Other (Please state) |  | weeks
| 4 | Site Accommodation
| 4.01 | Site Office |  | weeks
| 4.02 | Meeting Room |  | weeks
| 4.03 | Mess |  | weeks
| 4.04 | Clients Office |  | weeks
| 4.05 | Mobile Toilet |  | weeks
| 4.06 | Steel Lock up |  | weeks
| 4.07 | WC Drainage |  | weeks
| 4.08 | Tank Empty |  | No.
| 4.09 | Staircase |  | weeks
| 4.1 | Stack/Removal |  | Item
| 4.11 | Delivery/Removal |  | Item
| 4.12 | Drying Room |  | weeks
0
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 16 of 23
| Doric Park, Trowbridge |  | Contract Sum Analysis: |  |  | No.1
| Part D: Preliminaries |  |  | Base Date: |  | 2021-06-24
| Item | Description | Qty | Unit | Rate | Total
[5 empty] | £ | £
| 5 | Site Set Up
| 5.01 | Photocopier |  | weeks
| 5.02 | Printing/Stationery |  | Item
| 5.03 | Workwear |  | Item
| 5.04 | Start Up Kit/Sundries |  | Item
| 5.05 | Fixings |  | Item
| 5.06 | Other (Please state) |  | weeks
| 6 | Site Compound
| 6.01 | Hardstanding/Road |  | Item
| 6.02 | Hardstanding/Road (m2) |  | m2
| 6.03 | Fencing (hire per wk) |  | weeks
| 6.04 | Maintain/Repair/Relocate/Reinstate |  | Item
| 6.05 | Heras Fencing - purchase (large contracts) |  | m
| 6.06 | Hoardings |  | m
| 6.07 | Sundries |  | Item
| 6.08 | Road Sweeping Plant |  | Visit
| 6.09 | Other (Please state) |  | weeks
| 7 | Temporary Services
| 7.01 | Electricity Supply to Cabins |  | Item
| 7.02 | Water Supply to Cabins |  | Item
| 7.03 | Drainage to Cabins |  | Item
| 7.04 | Site Power Connection |  | Item
| 7.05 | Site Water Connection |  | Item
| 7.06 | Site Power Use |  | weeks
| 7.07 | Site Water Use |  | weeks
| 7.08 | Temp Light/Heating - Refurb |  | Item
| 7.09 | Temp Ligh/Heating - New Build |  | Item
| 7.1 | Generator incl fuel |  | weeks
| 7.11 | Oversail Charges |  | Item
| 7.12 | Licences/Fees |  | Item
| 7.13 | Other (Please state) |  | weeks
0
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 17 of 23
| Doric Park, Trowbridge |  | Contract Sum Analysis: |  |  | No.1
| Part D: Preliminaries |  |  | Base Date: |  | 2021-06-24
| Item | Description | Qty | Unit | Rate | Total
[5 empty] | £ | £
| 8 | Hire Equipment
| 8.01 | Small Plant & Tools - Refurb |  | weeks
| 8.02 | Small Plant & Tools - New Build |  | weeks
| 8.03 | Mixer |  | weeks
| 8.04 | Hoist |  | weeks
| 8.05 | Dumper |  | weeks
| 8.06 | Fork Lift |  | weeks
| 8.07 | Fork Lift driver |  | weeks
| 8.08 | Surveying Equpment |  | weeks
| 8.09 | Fuel for Equipment |  | weeks
| 9 | Cranage
| 9.01 | 30t Capacity |  | visits
| 9.02 | 50t Capacity |  | visits
| 9.03 | 90t Capacity |  | visits
| 9.04 | Heavy Duty Trackway to receive crane: Allow Prov. 100m |  | weeks
| 10 | Signage
| 10.01 | Site Signs |  | Item
| 10.02 | Clients Notice Board |  | Item
| 10.03 | Sundry Requirements |  | Item
| 10.04 | Other (Please state) |  | weeks
| 11 | Telephones/Fax
| 11.01 | Line Connection |  | lines
| 11.02 | Rental |  | weeks
| 11.03 | Calls |  | weeks
| 11.04 | Mobile |  | weeks
| 11.05 | Broadband Installation |  | Item
| 11.06 | Line rental |  | weeks
| 11.07 | Sundries |  | Item
| 11.08 | Other (Please state) |  | weeks
0
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 18 of 23
| Doric Park, Trowbridge |  | Contract Sum Analysis: |  |  | No.1
| Part D: Preliminaries |  |  | Base Date: |  | 2021-06-24
| 12 | Scaffold
| 12.01 | External |  | m2
| 12.02 | Internal |  | Item
| 12.03 | Alter/Adapt
| 12.04 | Signage Erection |  | Item
| 12.05 | Other (Please state) |  | Item
| 13 | Site Security
| 13.01 | Guard |  | weeks
| 13.02 | Sundry |  | Item
| 13.03 | CCTV |  | Item
| 14 | Cleaning
| 14.01 | Contract Cleaners |  | Item
| 14.02 | Other (Please state) |  | Item
| 15 | Health & Safety
| 15.01 | Inspections |  | weeks
| 15.02 | Site Supplies |  | weeks
| 15.03 | H+S Plan |  | Item
| 15.04 | Sundry Requirements |  | Item
| 15.05 | Other (Please state) |  | Item
| 16 | Other Prelims
| 16.01 | Insurances |  | Item
| 16.02 | Surety Bond |  | Item
| 16.03 | Expenses/Hotels |  | weeks
| 16.04 | CCTV survey to drains x 2 |  | No.
| 16.05 | Other
| 17 | Surveys Fees
| 17.01 | CCTV drainage survey |  | Item
| 17.02 | Gas monitoring |  | Item
| 17.03 | Other surveys as deemed required. Please detail below: |  | Item
|  | ……………………. |  |  |  | 0
…………………….
|  | TOTAL CARRIED TO SUMMARY: |  |  |  | 0
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 19 of 23
| Doric Park, Trowbridge |  | Contract Sum Analysis: |  |  | No.1
| Part D: Preliminaries |  |  | Base Date: |  | 2021-06-24
| 18 | Dayworks
Labour (before completion) - all inclusive labour rate per hr
| 18.01 | Building Craft Operative | 1 | hr |  | Rate only
| 18.02 | Building General Operative | 1 | hr |  | Rate only
| 18.03 | Electrical Technician | 1 | hr |  | Rate only
| 18.04 | Electrical Labourer | 1 | hr |  | Rate only
| 18.05 | Mechanical Technician | 1 | hr |  | Rate only
| 18.06 | Mechanical Labourer | 1 | hr |  | Rate only
Labour (after completion) - all inclusive labour rate per hr
| 18.07 | Building Craft Operative | 1 | hr |  | Rate only
| 18.08 | Building General Operative | 1 | hr |  | Rate only
| 18.09 | Electrical Technician | 1 | hr |  | Rate only
| 18.1 | Electrical Labourer | 1 | hr |  | Rate only
| 18.11 | Mechanical Technician | 1 | hr |  | Rate only
| 18.12 | Mechanical Labourer | 1 | hr |  | Rate only
Plant and materials definitions: As described in "Definitions of Prime Cost of Daywork carried out under a Building Contract" published by the RICS and the Construction Confederation.
Percentage additions to cover overheads, incidental coats and profit:
| 18.13 | Plant (before completion) |  | % |  | Rate only
| 18.14 | Plant (after completion) |  | % |  | Rate only
| 18.15 | Materials (before completion) |  | % |  | Rate only
| 18.16 | Materials (after completion) |  | % |  | Rate only
NOT CARRIED TO SUMMARY:
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 20 of 23

## Design Fees
| Doric Park, Trowbridge |  | Contract Sum Analysis: |  |  | No.1
| Part E: Design Fees |  |  |  | Base Date: | 2021-06-24
| Item | Description | Qty | Unit | Rate | Total
[5 empty] | £ | £
| 1 | GENERALLY
| 1.01 | The Contractor shall price the Design Fee costs below, which will form a Lump Sum fixed price offer. The rates and prices against the items shall be comprehensive and allow for compliance with the Employer's Requirements.
| 1.02 | Design Fee costs shall be priced in detail and not priced in groups. Items which are not priced shall be deemed to be included unless specifically annotated as "excluded" and detailed in a covering letter.
| 1.03 | The Contractor is to allow against item 2.08 for any additional design fees he requires to carry out the works. Full details to be provided.
| 2 | DESIGN FEES SUMMARY
| 2.01 | Architect |  | Item
| 2.02 | Structural Engineer |  | Item
| 2.03 | M&E Services Engineer |  | Item
| 2.04 | Principal Designer |  | Item
| 2.05 | Planning Fees |  | Item
| 2.06 | Building Regs |  | Item
| 2.07 | Road / Footpath closures |  | Item
| 2.08 | Other; please list as appropriate |  | Item
|  | CCS |  | Item
Item
|  | BREEAM Administration |  | Item
|  | Fire Consultant |  | Item
EPC
Acoustic
Air Test
SBEM
|  | TOTAL CARRIED TO SUMMARY: |  |  |  | 0
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 21 of 23

## Overheads & Profit
| Doric Park, Trowbridge |  | Contract Sum Analysis: |  | No.1
| Part F: Overheads and Profit |  |  | Base Date: | 2021-06-24
| Item | Description
| 1 | OVERHEADS AND PROFIT
The costs included in your tender return are deemed to include any necessary markup. Please identify below the percentage markup to be applied when pricing for any variations. If no percentage is included it will be deemed that no markup will be applied to variations.
%
3.0 Doric Park, Trowbridge Contract Sum Analysis |  |  |  |  | Page 22 of 23

## Design Development
| Doric Park, Trowbridge |  | Contract Sum Analysis: |  |  | No.1
| Part G: Design Development |  |  | Base Date: |  | 2021-06-24
| Item | Description |  |  |  | Total
£
| 1 | GENERALLY
The Contractor shall offer a fixed price offer for Design Development items below.
| 2 | DESIGN DEVELOPMENT
| 2.01 | Construction Works | £ | @ | % | 0
| 2.02 | Design Fees | £ | @ | % | 0
| 2.03 | Preliminaries | £ | @ | % | 0
|  | TOTAL CARRIED TO SUMMARY: |  |  |  | 0
3.0 Doric Park, Trowbridge Contract Sum Analysis | [5 empty] | Page 23 of 23