SPECIFICATION

1. OBJECTIVES AND SCOPE

The contractor will be responsible for ensuring the equipment listed within the Schedule of Buildings below is tested and maintained to the current British Standards, in a safe and effective way with minimum disruption. You would be expected to carry out the service visits on each building system, as specified in the Schedule of buildings below each year, invoicing after each visit with a copy of the service report. The contractor will also provide the necessary tools and labour required to access equipment. In addition to this the company must provide a 24 hour emergency call out service. The contractor will be expected to advise on the condition of the equipment and provide details of any remedial works for each building with a breakdown of the associated cost within two weeks of inspection to ensure TPI achieves maximum value from the assets and the contract. The contractor will also be expected to update or create ‘Fire Plans’ when changes occur, or with the assistance of TPI, in the event of a plan not existing.

2. MONITORING ARRANGEMENTS

Orders will be issued with an expected timescale, according to urgency. The timescales are:

Critical Call Out ‐ to be made safe within 4 hours;

Emergency ‐ to be completed within 24 hours;

The contractor’s performance will be monitored against feedback from staff and users of the facilities. Regular reviews of the timescales and values of orders completed will also take place.

3. HEALTH AND SAFETY REQUIREMENTS

3.1. Risk assessments and method statements

The successful Tenderer will be required to submit general risk assessments and method statements for likely tasks that will be carried out during the contract. In addition job specific risk assessments and method statements may be required for work outside of the typical conditions prior to work starting.

3.2. Accident reporting

Any accidents that take place on TPI property or during work carried out on TPI’s behalf must be reported to the Contract Manager.

3.3. CDM

The contractor will comply with the Construction (Design and Management) Regulations currently in force, where applicable.

3.4. Asbestos

The contractor will be supplied with a copy of the Asbestos Register, which must be consulted prior to carrying out any works likely to disturb asbestos and all appropriate precautions adopted.

4. BUILDING & PRICING SCHEDULE

The costs should be broken down into components with a full description of each component and its associated costs.

| Building Name | Building Description | Number of Testable Assets | Number of service visits per year | Costs (£)/year |
| --- | --- | --- | --- | --- |
| BSU - MX (panel one) | Two story building with external panel | 41 | 2 |  |
| IS4L - MX (panel five) | Two story building with ground and first floor panels | 68 | 2 |  |
| Insectary - MX (panel four) | Two story building with external panel | 29 | 2 |  |
| New Gatehouse - MX (panel seven) | Single story building | 17 | 2 |  |
| Mod 1 cabin. Fire Line MAG4 Panel | Single story building | 21 | 2 |  |
| A & B Block Fire Line MAG4 Panel | Single story building | 31 | 2 |  |
| Mod 2 Cabin. | Single story building | 18 | 2 |  |
| HV Switch Room/T7/Gen Set | Metal Container | 10 | 2 |  |
| Engineers Workshop | Three story building | 18 | 2 |  |
| Plowright – Main Building - MX | Multi story building with basement | 498 | 4 |  |
| ( Panels 9, 10, 1 and 12 ) |  |  |  |  |
| Plowright – Public Address (PAVA) | As above | 721 | 2 |  |
| Energy Centre - MX | Two story building | 54 | 2 |  |
| ( Panel eight ) |  |  |  |  |
| Energy Centre – inside Gen Set 1 - KENTEC | Metal Container | 4 | 2 |  |
| (Connected to panel eight) |  |  |  |  |

| Building Name | Building Description | Testable Assets | Number of visits per year | Costs (£)/year |
| --- | --- | --- | --- | --- |
| Energy Centre – inside Gen Set 2 - KENTEC | Metal Container | 4 | 2 |  |
| (Connected to panel eight) | Two story building | 89 | 2 |  |
| Western Steam Plant | Metal Container | 6 | 2 |  |
| MZX Technology |  |  |  |  |
| DrUPS Building | Metal Container | 2 | 2 |  |
| ISO 8 & 9 MX panel | Two story buildings | 23 | 2 |  |
| ISO 10 | Two story buildings | 31 | 2 |  |
| ISO 11 MX panel | Two story buildings | 31 | 2 |  |
| Jenner Building | Three story building | 134 | 2 |  |

| Extra to Contract Costs |  |  |
| --- | --- | --- |
| Component | Component description | Costs (£) |
| Callout Hourly Rate out of hours Mon ‐ Fri 5pm - 8am | All inclusive cost to respond to a callout to investigate a fault, per hour and subsequent hours |  |
| Callout Hourly Rate normal working hours Mon ‐ Fri 8am - 5pm | All inclusive cost to respond to a callout to investigate a fault, per hour and subsequent hours |  |
| Callout Hourly Rate weekend Friday 5pm - Mon 8am | All inclusive cost to respond to a callout to investigate a fault, per hour and subsequent hours |  |
| Hourly Rate Mon - Fri 8am‐5pm. For a 4 hour day | All inclusive cost to attend site to test equipment during scheduled shutdowns. |  |
| Hourly Rate Mon - Fri 8am‐5pm. For an 8 hour day | All inclusive cost to attend site to test equipment during scheduled shutdowns. |  |
| Percentage to be applied to materials used | Percentage that will be applied and charged in addition to cost of materials used during remedial works |  |