RE: Invitation to Tender AVI006LTU: Motion Capture System: supply, installation, training and support

## 6. Specification and Service Level Agreement

Motion capture (MoCap) System - Statement of requirements

Project overview:

A motion capture system is required to enable the Sports Science department to conduct three-dimensional motion capture, beneficial for high quality teaching, research outputs and consultancy work within Biomechanics

Additionally the motion capture system will enable Film, Television and Media to utilise and teach the theory and practise of motion capture and how it relates to modern visual production.

An additional benefit of the system will be to extend the current functionality of the university’s TV studio; allowing the opportunity for creating a virtual TV/Film studio space, running live and in tandem with the MoCap system.

Technical requirements:

For the system to deliver the required data, the selected system has to provide exceptional performance in the following areas:

- Must be portable – The system must be flexible enough to be manually moved between different departments/locations within a short time frame.

- Fast to set up – The system must allow for a quick set-up and calibration time.

- Operate in a range of environments – The system should be able to operate in a number of different facilities across both the Media and Sports departments, as well as having the capability to be used outside.

- Provide accurate data – The system must provide accurate quantitative data in order for research to be publishable in high impact journals.

- Must have a minimum life expectancy of 5 years – The system must not become obsolete within a minimum of 5 years after the date of purchase.

Company Training/Support:

The successful company must provide training to staff members from both Media and Sports Science. Preferably, staff members from each department will have separate training.

The successful company must also provide a support package for any technical issues that are encountered along with any software updates.

- As a minimum the contractor will provide the following goods and services in scope of this contract:

- Install new equipment

- Training manuals

- Training for staff

- Maintenance contract

- On-going customer support

- All Staff attending Our site will be supervised at all times by Us

- All staff attending our site must undertake Our site induction

- All contractors will adhere to Our “Contractors Procedure” which is embedded in this document below

- Before any installation, at his own cost the contractor will undertake a site survey to fully satisfy himself of the contract requirements, site access and restrictions, and to enable the thorough preparation of risk assessments and method statements.

- The Contractor will provide Us with his written risk assessment and method statement for Our approval in advance of any works on site being undertaken

- Planned installation dates proposed by the contractor must be agreed by Us in advance

- Before any equipment schedule is accepted by Us, the contractor will provide full details of all warranty that is given to the equipment supplied under this contract

- Before any equipment schedule is accepted by Us, the contractor will provide full details as to the extent and duration that equipment supplied under this contract is inclusive under maintenance cover offered

- In instances where equipment falls outside the scope of the agreed warranty and/or maintenance schedule, the contractor will provide quotations for our acceptance in advance for undertaking any remedial work.  Without affecting any other rights we have under this contract, we may at our discretion engage a third party to undertake the remedial work.

- All repair will be undertaken using original equipment manufacturers parts or parts of an equivalent compatibility and industry standard.

Tenderers are invited to propose other relevant service levels and key performance indicators in the tender questionnaire (Part 7 of this invitation to tender)

Signed __________________________	Date ______________________________

Name __________________________	Position ___________________________

Authorised to sign tenders for and on behalf of: Tenderer to enter company name here