KWL CODE: DOR02

BATTEN DOOR & FRAME, PRIMED, SOFTWOOD, GRADE 5TH

Door size UPTO 2500mm Height X 1000mm Width

(ANY SIZES OVER AND ABOVE THIS WOULD BE PRICED INDIVIDUALLY)

Specification of materials

Frame

Mortice & Tenoned 45mm x 95mm PSE softwood timber with loose stop lath 22mm x 45mm, finished with water based primer

Door

22mm T&G Match Boarding

22mm x 120mm Rails & Braces

Glue and screw both sides

Use Knotting Solution were required

Fill & sand screw holes

I coat white primer