KWL CODE: DOR03

INTERNAL FLUSH PLYWOOD HOLLOW CORE DOOR, 35MM THICK, PRIMED, SOFTWOOD, GRADE 5TH

Door size UP TO 2040mm Height x 836mm Width

(ANY SIZES OVER AND ABOVE THIS WOULD BE PRICED INDIVIDAULLY)

Specification of materials

Door

Standard door cut down and lath replaced to fit unusual size casing

All laths to be glued filled and sanded

1 coat white primer