KWL CODE: DOR04

INTERNAL PSE DOOR CASING, PRIMED, SOFTWOOD, GRADE 5TH

Rebated as required

Size UP TO 2500mm Height x 1000mm Width

(ANY SIZES OVER AND ABOVE WOULD BE PRICED INDIVIDUALLY)

Specification of materials

Casing dimensions up to maximum size 45mm x 125mm (Common Size 45mm x 100mm)

Glued and Screwed

Knotting Solution were required

1 coat white primer