KWL CODE: DOR06

EXTERNAL SOLID CORE DOOR & FRAME WITH OR WITHOUT SILL, PRIMED, SOFTWOOD, GRADE 5TH

(Excluding Letterbox, handle & lock)

Door size UPTO  2070mm Height x 838mm Width

Specification of Materials

Door

1 External PREMDOR FD30 Fire Door, 44mm

Frame to be rebated for 10mm/15mm smoke seals

Frame to be morticed and tenoned

Glue screw and sand

Use knotting solution were required

1 coat white primer