KWL CODE: DOR11

FRAMED, LEDGED & BRACED DOOR, SOFTWOOD, GRADE 5TH

PRIMED & ASSEMBLED

ANYSIZE

Specification of Materials

45mm x 95mm stiles and top rail

22mm x 95mm Rails and braces

22mm T&G match boarding

Rails morticed and tenoned in to stiles

Use knotting solution were required

1 coat white primer