KWL CODE: DOR13

INTERNAL PLYWOOD CUPBOARD DOOR, 25MM THICK, PRIMED,

SOFTWOOD, GRADE 5TH

Door size UP TO 2040mm Height x 900mm Width

(ANY SIZES OVER AND ABOVE THIS WOULD BE PRICED INDIVIDUALLY)

Specification of materials

DOOR MANUFACTURED FROM

1”x4” PSE frame

Covered with 6mm paint grade ply

12mm timber laths

Glued screwed filled and sanded

1 coat white primer