KWL CODE: DOR17

GARAGE DOOR FRAME, 3X4 PSE AND PRIMED, APPROXIMATELY 2.2 METERS WIDE X 2.1 METER HIGH, SOFTWOOD, GRADE 5TH

Specification of materials

All supplied dry to assemble on site due to size of frame

Frame

Morticed and Tenoned 3”x4” PSE Timber

1”x2” PSE Timber Stop Laths

Use knotting solution were required

1 coat of white primer