KWL CODE: DOR19

BIN OR METER CUPBOARD DOOR ONLY, PRIMED, 44MM THICK UPTO 1300MM HIGH AND 620MM WIDE, SOFTWOOD, GRADE 5TH

44mm Solid Flush Door

Specification of Materials

44mm Solid flush door cut from solid blank

12mm Timber laths to all sides

Use knotting solution were required

1 coat white primer