KWL CODE: DOR20

DOOR FRAME WITH FANLIGHT, ANY SIZE, EXTERNAL USE, UPTO 1 METER WIDE WITH TOP LIGHT AND PLYWOOD INFILL 2X4 PSE AND PRIMED, SOFTWOOD, GRADE 5TH

PLY INFILL

Specification of Materials

Morticed and tenoned

Hardwood sill if required

Door frame to be square or bevelled as required

Normal section size 45mm x 95mm PSE

Use knotting solution were required

1 coat of white primer