KWL CODE: DOR21

DOOR FRAME, ANY SIZE, EXTERNAL USE, UPTO 1 METER WIDE 2X4 PSE AND PRIMED, SOFTWOOD, GRADE 5TH

Specification of Materials

Morticed and tenoned

Rebated timber

Hardwood Sill if required

Door frame to be square or bevelled as required

Normal section size 45mm x 95mm PSE

Use knotting solution were required

1 coat of white primer