KWL CODE: GATE02

TREATED SMALL GATE AS PER ORIGINAL SPEC AGREED, 750MM WIDE X 710 HIGH, SOFTWOOD, GRADE 5TH

Specification of Materials

50mm x 100mm stiles tannalised timber

25mm x 100mm rails, braces pales

Glued and screwed