Invitation to Tender for Electricity Distribution Network Analysis

Tender Reference Number: 1281/2/2017

Deadline for Tender Responses: 11am 17th March 2017

Department for Business, Energy & Industrial Strategy

Date: 16th February 2017

The Department for Business, Energy & Industrial Strategy (“BEIS”) wishes to commission a project to improve the Department’s understanding of the required electricity distribution network upgrade and reinforcement works, and the costs there associated with, under a range of scenarios that reflect full or partial levels of electrification of heat.

Enclosed are the following sections:

- Section 1 (page 3) 	Instructions on tendering procedures

- Section 2 (page 7) 	Specification of requirements

- Section 3 (page 30)	Further information on tendering procedure

- Section 4 (page 33)  	Declarations and information to be provided;

          - Statement of Non-Collusion

          - Form of Tender

          - Conflict of Interest

          - Questions for tenderers

          - Code of Practice for Research

- Annex A: Pricing schedule

- Annex B: Code of practice for research

- Annex C: Quality Rating

- Annex D: Impact Rating

- Annex E: Risk Flag

Please register your interest in submitting a tender for this project by emailing james.perrott@beis.gov.uk. This will ensure you receive immediate notification of updates to the ITT process or answers to questions raised by potential bidders.

Please read the instructions on the tendering procedures carefully since failure to comply with them may invalidate your tender. Your tender must be returned by 17th March 2017 clearly marked as “TENDER”.

I look forward to receiving your response.

Yours sincerely,

James Perrott

Economist – Heat Strategy

james.perrott@beis.gov.uk

Section 1

Instructions and Information on Tendering Procedures

Invitation to Tender for Electricity Distribution Network Analysis

Tender Reference Number: 1281/2/2017

Deadline for Tender Responses: 11am 17th March 2017

Contents

A.	Indicative Timetable	4

B.	Procedure for Submitting Tenders	4

C.	Conflict of Interest	5

D.	Evaluation of Responses	6

E.	Terms and conditions applying to this Invitation to Tender	6

F.	Further Instructions to Contractors	6

G.	Checklist of Documents to be Returned	6

# Indicative Timetable

The anticipated timetable for this tender exercise is as follows.  THE DEPARTMENT reserves the right to vary this timetable. Any variations will be published on contracts finder or circulated to all organisations who have registered an interest in notifications.

| Tender Timeline | Date |
| --- | --- |
| Advert and full invitation to tender issued | 16 February 2017 |
| Deadline for questions relating to the tender | 3 March 2017 |
| Responses to questions published | 10 March 2017 |
| Deadline for receipt of tender | 11am 17 March 2017 |
| Invite suppliers for bid clarification (if needed) | Between 24 March and 31 March 2017 |
| All suppliers alerted of outcome | 3 April 2017 |
| Contract award on signature by both parties | w/c 10th April 2017 |
| Contract start date | w/c 10th April 2017 |

The contract is to be for a period of 5 months unless terminated or extended by the Department in accordance with the terms of the contract.

# Procedure for Submitting Tenders

The maximum page limit for tenders is 30 (excluding declarations, pricing schedule and CVs).

For questions regarding the procurement process please contact james.perrott@beis.gov.uk.

Tenders will be received up to the time and date stated. Please ensure that your tender is delivered not later than the appointed time on the appointed date. The Department does not undertake to consider tenders received after that time. The Department requires tenders to remain valid for a period indicated in the specification of requirements.

The Department shall have the right to disqualify you from the procurement if you fail to fully complete your response, or do not return all of the fully completed documentation and declarations requested in this ITT.  The Department shall also have the right to disqualify you if it later becomes aware of any omission or misrepresentation in your response to any question within this invitation to tender. If you require further information concerning the tender process, or the nature of the proposed contract, email james.perrott@beis.gov.uk. All questions should be submitted by 3 March 2017; questions submitted after this date may not be answered. Should questions arise during the tendering period, which in our judgement are of material significance, we will publish these questions with our formal reply by the end of 10 March 2017 and circulate – unnamed – to all organisations that have expressed an interest in bidding.  All contractors should then take that reply into consideration when preparing their own bids, and we will evaluate bids on the assumption that they have done so.

You will not be entitled to claim from the Department any costs or expenses that you may incur in preparing your tender whether or not your tender is successful.

# Conflict of Interest

The Department’s standard terms and conditions of contract include reference to conflict of interest and require contractors to declare any potential conflict of interest to the Secretary of State.

For research and analysis, conflict of interest is defined the presence of an interest or involvement of the contractor, subcontractor (or consortium member) which could affect the actual or perceived impartiality of the research or analysis.

Where there may be a potential conflict of interest, it is suggested that the consortia or organisation designs a working arrangements such that the findings cannot be influenced (or perceived to be influenced) by the organisation which is the owner of a potential conflict of interest. For example, consideration should be given to the different roles which organisations play in the research or analysis, and how these can be structured to ensue maintain an impartial approach to the project is maintained.

The process by which this is managed in the procurement process is as follows:

- During the bidding process, organisations may contact BEIS to discuss whether or not their proposed arrangement is likely to yield a conflict of interest. Any responses given to individual organisations or consortia will be published on contract finder (in a form which does not reveal the questioner’s identity). Any organisation thinking of submitting a bid, should share their contact details with the staff member responsible for this procurement, to ensure they receive an update when any responses to questions are published.

- Contractors are asked to sign and return Declaration 3 (page 36) to indicate whether or not any conflict of interest may be, or be perceived to be, an issue. If this is the case, the contractor or consortium should give a full account of the actions or processes that it will use to ensure that conflict of interest is avoided. In any statement of mitigating actions, contractors are expected to outline how they propose to achieve a robust, impartial and credible approach to the research.

- When tenders are scored, this declaration will be subject to a pass/fail score, according to whether, on the basis of the information in the proposal and declaration, there remains a conflict of interest which may affect the impartiality of the research.

Failure to declare or avoid conflict of interest at this or a later stage may result in exclusion from the procurement competition, or in the Department exercising its right to terminate any contract awarded.

# Evaluation of Responses

The tender process will be conducted to ensure that bids are evaluated fairly and transparently, in accordance with agreed assessment criteria.  Further details are provided in the specification.

# Terms and conditions applying to this Invitation to Tender

The BEIS terms and conditions will apply to this tender.

# Further Instructions to Contractors

The Department reserves the right to amend the enclosed tender documents at any time prior to the deadline for receipt of tenders. Any such amendment will be numbered, dated and issued by 10 March 2017. Where amendments are significant, the Department may at its discretion extend the deadline for receipt of tenders.

The Department reserves the right to withdraw this contract opportunity without notice and will not be liable for any costs incurred by contractors during any stage of the process. Contractors should also note that, in the event a tender is considered to be fundamentally unacceptable on a key issue, regardless of its other merits, that tender may be rejected. By issuing this invitation the Department is not bound in any way and does not have to accept the lowest or any tender and reserves the right to accept a portion of any tender unless the tenderer expressly stipulates otherwise in their tender.

# Checklist of Documents to be Returned

- Proposal (maximum 30 pages)

- Annex A – pricing schedule

- Declaration 1: Statement of non-collusion

- Declaration 2: Form of Tender

- Declaration 3: Conflict of Interest

- Declaration 4: Questions for tenderers

- Declaration 5: Code of Practice

Section 2

Specification of Requirements

Invitation to Tender for Electricity Distribution Network Analysis

Tender Reference Number: 1281/2/2017

Deadline for Tender Responses: 11am 17th March 2017

Contents

1.	Introduction and summary of requirements	8

2.	Background	8

3.	Aims and Objectives	8

4.	Methodology	9

5.	Handover and support	14

6.	Ownership and Publication	14

7.	Quality Assurance	15

8.	Timetable	17

9.	Challenges	18

10.	Working Arrangements	18

11.	Ethics	19

12.	Skills and experience	19

13.	Consortium Bids	19

14.	Budget	20

15.	Evaluation of Tenders	20

Criterion	21

Description	21

Weighting	21

16.    BEIS research report writing guidelines …………………………………………………. 23

# Introduction and summary of requirements

The Department for Business, Energy and Industrial Strategy (“BEIS”) wishes to commission a project to improve the Department’s understanding of the required electricity distribution network upgrade and reinforcement works, and the costs there associated with, under a range of scenarios that reflect full or partial levels of electrification of heat.

BEIS requires the contractor to deliver a list of specific outputs, outlined in this document, directly corresponding to a set of scenarios specified by BEIS. In addition, the contractor will need to provide a clear description of the underlying methodology and assumptions used. The deliverables will be required to meet the defined aim and objectives of this research project.

# Background

Heat refers to any energy that is used, or might be used, for the purposes of heating or cooling in buildings, including cooking, providing hot water and in industrial processes. The Climate Change Act places a statutory obligation on the UK Government to make an 80% reduction in 1990 greenhouse gas emissions by 2050. Achieving nearly zero carbon heating continues to be identified by government analysis as an important feature of any lowest cost pathway to 2050. Heat currently accounts for ~48% of UK energy consumption and approximately one third of our greenhouse gas emissions. For more information about the challenge of decarbonising heat, see Baroness Neville-Rolfe’s keynote speech from the Policy Exchange event “The Heat Summit: How Can We Decarbonise Heating?”

There already exists an evidence base on the impact of greater electrification of the UK energy system on the electricity networks and the implications for reinforcement. This includes the work by the Smart Grid Forum, co-chaired by DECC and Ofgem, focusing on the impact of increased uptake projections of low carbon technologies on network reinforcement costs. Subsequently, DECC commissioned further analysis to obtain a more comprehensive understanding of how the Government’s low carbon policies impact on the electricity network investment and consumer bills out to 2030.

While these reports are valuable, there is an evidence need for BEIS to understand the electricity network impacts associated with a range of diverse scenarios that reflect various potential transition pathways to a low carbon energy system in 2050.

# Aim and Objectives

This aim of this research project is to improve BEIS’s understanding of the required distribution network upgrades and reinforcements for scenarios that reflect full or partial levels of the electrification of heat.

To answer the aim, there are four specific objectives of this project:

- Identify the type, scale and cost of the required upgrade and reinforcement works for a range of scenarios that reflect full and partial levels of the electrification of heat to 2050;

- Produce quantitative analysis containing an annual timeline for when the network would need to be upgraded and reinforced. The analysis should consider a range of technical solutions available to upgrade and reinforce the distribution network;

- Assess the implications of different geographical deployment scenarios, which will include where in the country heating is electrified, on electricity network upgrade and reinforcement works, and the associated costs;

- Produce results that will enable the Department to undertake further work to look at the feasibility of the upgrade and reinforcement works at the scale required in order to assess the costs to society.

We are seeking technical expertise for this project to analyse and report on a total of approximately 20-30 scenarios that will be specified by BEIS. This includes a transparent description of the analysis including the methodology, key drivers and uncertainties of the modelling results.

# Methodology and outputs

Tenderers are invited to set out their proposed methodology for delivering the requirements of this work, including how they deliver on the requirement for transparency of the approach used to generate the results; and how they will quality-assure the results produced.

Given the nature of the problem, and in view of analysis undertaken previously of electricity network reinforcement, we expect the technical study to necessarily involve utilising an existing model for analysis that includes a comprehensive representation of the Great Britain electricity network. Any model that is used for this work will need to be maximally transparent, so that BEIS can fully understand the basis of results generated; and be capable of analysing specific and quite precise scenarios specified by BEIS.

Specifics of the modelling approach aside, BEIS has a number of general requirements which will need to be reflected in the tenderer’s proposed methodology for undertaking the work, in terms of:

- Scenarios which the analysis will need to focus on

- Variables which the analysis will need to take account of

- Form and coverage of the quantitative outputs delivered

Scenarios to model

Separately to this project, BEIS is undertaking an exercise that will provide a range of heat demand scenarios to analyse different vector solutions and, ultimately, support a robust analysis of strategic options. It will deliver baseline demand for heat, by fuel, use and sector out to 2050; as well as detailed (half-hourly) heat demand profiles, by fuel. In each case, it will consider a range of factors that might affect the profile of heat demand, such as building insulation; thermal storage; and smart controls. The outputs from this project will be the total and daily profile of electricity demand for heat. This will be for a range of electrification of heat scenarios for Great Britain. The scenarios are likely to include states of the world where:

- Heating is electrified in nearly all buildings. Boilers replaced with heat pumps, and cookers and fires are also electrified.

- The majority of buildings are heated by hybrid heat pump systems. Heating systems combine heat pumps to meet the majority of heating demand (~80%) with gas boilers installed to meet peak demand.

The production of the heat demand profiles by the aforementioned project is separate and not within the scope of this ITT. BEIS anticipates that work will be required from the contractor to translate these profiles in an appropriate format for the technical study as outlined below.

Adapting the heat demand profiles for use in the technical study

The separate BEIS project will produce outputs for the total and daily profile of electricity demand for heat. This will ultimately provide a peak electricity demand for heat for a number of scenarios out to 2050. The heat demand outputs will be disaggregated by the usage, in terms of space heating, cooking and hot water usage, and by the residential, commercial and industrial sectors. It is likely that substantial work will be needed to translate the outputs to an appropriate format for the technical study for this project in order to produce robust estimates of network reinforcement requirements. This is likely to include: - Integrating the non-heat electricity demands to produce projections that include the economy wide electricity demand - Depending on the methodology taken, it may be necessary to translate the electricity demand to its underlying drivers such as the appliance uptake units and performance profiles - Including the future projections of solar photovoltaic and wind distributed generation - Incorporating the potential impact of different charging patterns of Electric Vehicles on the daily profile of electricity demand within the scenarios to model

Technical study methodology requirements

As previously indicated, it is likely that the contractor will need to utilise an existing model to undertake a quantitative technical study to assess the following three features for each scenario:

- The network infrastructure that requires reinforcing and upgrading

- The solutions available to reinforce and upgrade the network

- Where and when the solutions are deployed on the network

The contractor will need to present to BEIS a transparent methodology that they intend to use for this study. This will need to adhere to BEIS quality assurance standards. To satisfy the project aim and objectives, the methodology should include:

- Representation of the Great Britain distribution network

The analysis will need to cover the Great Britain distribution network and be underpinned by data relating to Great Britain distribution networks. The methodology will need to involve an assessment of the current demands placed on the network and the current network capacity to enable an assessment of the implications of the future electricity demand scenarios.

The methodology to produce the costs of reinforcement to represent the Great Britain distribution network will need to be clearly explained. This should include a clear account of how the costs of electrical heating appliances will be allocated to the distribution network and how costs will be proportioned between supplying power for heat and supplying power for electric vehicle charging.

- Conventional and smart solutions

The analysis will need to capture conventional and innovative infrastructure options to upgrade and reinforce the distribution network. This should focus on achieving higher power delivery for heating at the least cost and should include consideration of the:

- Scope for increased capacities from existing assets using novel technologies and practices

- Use of power electronics in the LV circuits and the possibility that modern power electronics may allow power delivery from more than one sub-transformer

- Use of ring distribution rather than spurs and the delivery of three phase supplies into more buildings than is currently the normal practice in the UK

- Possible savings in reinforcement costs from the industry led review of network design standards

- Timeline of reinforcement

The analysis will need to develop an annual timeline of when the technical solutions would need to be deployed on the network and when the costs would be incurred.

In particular, BEIS will want to look at the cost implications of different investment strategies to deploy reinforcement solutions. This should include a strategy where the operator reinforces when it is a necessity and a strategy of anticipatory investment, where the operator reinforces beyond immediate need and considers the future demands on the network.

- Distribution of electrical heating deployment

BEIS will want to obtain an insight into the cost implications under different geographical electric heating scenarios.

Depending on the modelling methodology taken, it may be necessary to translate the geographical scenarios into assumptions on the level of clustering of heat pump uptake. It is important for the Department to understand the impact of a highly clustered deployment distribution on the network. The contractor should provide a clear account of the approach to capture this requirement. The contractor should also consider the different network topologies used in towns and cities compared to those used in the countryside.

- The feasibility of deploying infrastructure at the scale required

This research needs to provide an insight and a foundation for further analysis on the feasibility to reinforce the network at the scale required.

To meet this objective, non-financial results are needed as specified in the output requirements to enable further analysis of the societal impacts. To add additional value to this project, this research where possible should seek to identify potential barriers to deployment at this scale.

Technical study output requirements

The technical study will need to identify the upgrades and reinforcements required and include a quantitative assessment to cost the upgrades and reinforcements for each scenario. The outputs will need to meet the objectives of this project and deliver the project aim of improving the Department's understanding of the required distribution network upgrades and reinforcements for scenarios that reflect full or partial levels of the electrification of heat.

It is intended that the outputs of this study will be used by BEIS alongside other analysis on the electricity generation and transmission network to inform the costs of electrifying heat. In particular, BEIS is planning on using the Dynamic Dispatch Model to assess the electricity generation implications. The contractor will need to work with BEIS to ensure the results produced are in the appropriate format BEIS needs.

The scenario outputs will need to be presented in a number of predetermined metrics to ensure that they can be incorporated into the Department’s existing and future work. The following outputs are required:

- Excel spreadsheet

This will contain the quantitative results for each scenario from the technical study including:

- An overview of the scenario input data including the system level of peak electricity demand for each scenario

- The total annual cost of reinforcement to 2050 for the Great Britain distribution network disaggregated by:

  - The type of reinforcement and the network to which the reinforcement is applied. Where possible, this should include a regional breakdown to give an indication of where in Great Britain the reinforcement is required.

  - The capital and operating expenditure

  - The discounted, annualised and gross costs. In many cases, the infrastructure will have lifetimes in excess of 35 years, so the residual value will need to be considered.

- Non-financial results including an indication on the amount of overhead line or underground cable deployed as a reinforcement solution to enable further analysis on the societal costs of disruption.

- Report containing an analysis of the outputs

The report will need to include a description of the workings of the analysis including a transparent overview of the methodology undertaken to derive the results.

The report will need to set out the findings of the technical study, drawing key messages in reference to the project aim and objectives. It is important for the Department to understand the results for each scenario including the main drivers of the results and the key uncertainties around the analysis.

The report will need to align with the BEIS research report writing guidelines included in this ITT.

Added Value:

Additional output that contractors may be able to provide beyond the core outputs

- Access to the quantitative study

In addition to the two core outputs specified, BEIS welcomes bids that will deliver a model that enables the analysis to be reproduced by BEIS analysts going forward and give BEIS the capability to explore alternate scenarios beyond the end of this project.

# Handover and support

The contractor is required to deliver the analysis over a short timeframe as set out in section 8. Contractors should keep BEIS officials up to date with the project progress on a regular basis. At minimum, this should include:

- A weekly teleconference with BEIS officials and key representatives from the contractors.

- A weekly status update along a timetable agreed with BEIS in the project initiation aligning with the project plan. This should include files detailing progress on the different stages of the project.

- During the technical study stage, which is scheduled for June, it is likely that updates will be required twice a week to keep track of the project progress over this timeframe

# Ownership and Publication

BEIS is committed to openness and transparency. All outputs listed in section 4 should be accessible, non-disclosive and suitable for publication and further use. The exceptions to this are where:

- The intellectual property rights to an output (or part of an output) are owned by someone other than the contractor. Contractors should state in their tender if this is the case and indicate whether the third party copy righted materials can be redacted.

- Data is commercial in confidence.

- A non-anonymised dataset is required for the project.

If these exceptions apply to any part of the outputs, contractors should indicate this in their proposal alongside any approaches to resolving these. Where applicable, contractors can provide optional costs for obtaining rights to data or outputs. These will be agreed before BEIS lets the contract.

Unless the above exceptions have been stated in a proposal, all outputs from a research project will assumed to be owned by BEIS. The outputs, raw data and tools developed in the research cannot therefore be used for contractors for purposes other than our work.

BEIS standard terms and conditions require that BEIS retain the Intellectual Property (IP) from all models and software paid for by BEIS:

- Where the contractor is using or building on top of existing IP, such as modules that interface with the model, or proprietary datasets, this must be explicitly stated in the tender response.

- Where open source code or models are to be used within this model, please make clear under which license this open source software is released.

- The Open Government Licence should be used wherever possible:

  - http://www.nationalarchives.gov.uk/doc/open-government-licence/version/2/

Non-disclosure

All outputs must be provided to BEIS in a format that is non-disclosive (i.e. no individuals or individual organisations are identifiable from the data or analysis, directly or indirectly), unless the specification states otherwise. The contractor is responsible for ensuring that the data is supplied in this form alongside a report on the checks made. A minimum standard for checking includes cell counts within sub-groups for all outputs and analysis. The contractor will be asked to agree their approach to checking for disclosure with BEIS during the course of the contract, before the checks are carried out. Where data or analysis is found to be disclosive during checking, the contractor will be required to suggest an approach or approaches to aggregate the analysis and to agree this with BEIS.

Storage and Transfer

The contractor will need to ensure that all appropriate regulations are adhered to regarding safe storage and transfer, compliant with BEIS requirements for the data processing of restricted data.

# Quality Assurance

This project must comply with the BEIS Code of Practice for Research (Annex B) or if applicable the Code of Practice for Official Statistics and bidders must set out their approach to quality assurance in their response to this ITT.

All models and modelling must be quality assured and documented.  Contractors should include a quality assurance plan that they will apply to all of the research tasks and modelling.

- This QA plan should be no longer than 2 sides of A4 paper.

- Ensure that all updated QA log and QA guidance are provided.

- The following link contains an externally accessible version of the Modelling QA guidance, and the QA log

  - https://www.gov.uk/government/collections/quality-assurance-tools-and-guidance-in-decc

  - The QA log should be filled in at project completion to demonstrate the QA undertaken

Contractors must supply quality assurance evidence for any existing models they wish to submit to BEIS. This must be

- to a standard that is at least the equivalent of BEIS’s internal standard Available at

https://www.gov.uk/government/collections/quality-assurance-tools-and-guidance-in-decc

- accepted as suitable by BEIS

To demonstrate relevant experience in producing high quality reporting, the contactor/s must:

- ensure that quality assurance is done by individuals who were not directly involved in the research, analysis or model development

- specify who will be responsible for quality assurance before it comes to BEIS

Sign-off for the quality assurance must be done by someone of sufficient seniority within the contractor organisation to be able take responsibility for the work done.  Acceptance of the work by BEIS will take this into consideration. BEIS reserves the right to refuse to sign off outputs which do not meet the required standard specified in this invitation to tender.

All bids must include a completed declaration as set out in the Code of Practice at Annex B and any additional information you wish to submit up to must be a maximum of 1 side of A4, font size 10.  (Links to other documents will not be considered as part of your response e.g. links to published documents online, etc.)

The successful bidder will be responsible for any work supplied by sub-contractors and should therefore provide assurance that all work in the contract is undertaken in accordance with the Code of Practice.

BEIS reserves the right to request an audit of projects against the BEIS Code of Practice for Research and the commitments made in the tender documents and subsequent contract.   Your response could be automatically rejected if the project will not be performed under quality assurance measures that fully meet the Code’s requirements.

For primary research, contractors should be willing to facilitate BEIS research staff to attend interviews or listen in to telephone surveys as part of the quality assurance process.

Other useful sources of guidance and advice that will help bids and the resulting work be of the highest quality include:

- The Government Social Research Code, in particular those that relate to GSR Products: http://www.civilservice.gov.uk/networks/gsr/gsr-code

- The Green Book: appraisal and evaluation in central government. https://www.gov.uk/government/publications/the-green-book-appraisal-and-evaluation-in-central-governent

- UK Statistics Authority Code of Practice/ or an equivalent standard.

http://www.statisticsauthority.gov.uk/assessment/code-of-practice/

- The Magenta Book, Government guidance on policy evaluation and analysis.

  - Magenta book:

  - http://www.hm-treasury.gov.uk/data_magentabook_index.htm

  - Supplementary Guidance on the Quality in Policy Impact Evaluations

  - http://www.hm-treasury.gov.uk/data_magentabook_supguidance.htm

- Quality in Qualitative Evaluation: A Framework for assessing research evidence provides a Framework for appraising the quality of qualitative evaluations.

- Rapid Evidence Assessment (REA). http://www.civilservice.gov.uk/networks/gsr/resources-and-guidance/rapid-evidence-assessment/what-is. This toolkit will help researchers to identify whether a Rapid Evidence Assessment is best for their needs, and help with the process of planning and carrying out a review

Where relevant, all bids should refer to these pieces of guidance and advice and how they will be used.

# Timetable

The below table contains the required timetable for the delivery of the project.

The separate heat demand project that the Department is undertaking is a key in-bound dependency, and scenario transition stage will not be able to begin until this project is finalised. If there are any delays to this separate project then the start date for the scenario transition, and therefore the subsequent project stages, will need to be delayed.

This ITT also includes an optional additional stage for further analysis if BEIS requires analysis for an additional small number of scenarios. The cost of this optional stage is outside of the scope of this budget and will come at an additional cost to BEIS which will need to be agreed with BEIS and the supplier.

| Activity | Timeframe |
| --- | --- |
| Contract awarded | w/c 10th April 2017 |
| Initiation phase | April 2017 |
| Scenario transition | 29th May 2017 – 2nd June 2017 |
| Technical study | 5th June 2017 – 23rd June 2017 |
| Quality Assurance | 26th June 2017 – 7th July 2017 |
| Reporting, review and sign-off | 26th June 2017 – 7th July 2017 |
| Optional further stage | July 2017 – December 2017 |

Procurement phase (February 2017 to April 2017)

- Publish ITT: 16th February 2017

- Deadline for bids: 17th March 2017

- Contract awarded: w/c 10th April 2017

Initiation phase (April 2017)

- Activity: A plan of work and the methodology is finalised.

- Key outputs: (1) A detailed project plan

Scenario transition (29th May 2017 – 2nd June 2017)

- Activity: The contractors will transition the scenario input data supplied by BEIS into a format appropriate for the technical study.

- Key outputs: (1) Scenario input assumptions

Technical study (5th June 2017 – 23rd June 2017)

- Activity: The contractors will undertake a technical study that will include identifying the type, scale and cost of the required reinforcement for the specified scenarios to meet the project aim and objectives.

- Key outputs: (1) Excel spreadsheet with the results specified in section 4 of this ITT

Quality assurance (5th June 2017 – 7th July 2017)

- Activity: A working group made up of the relevant experts in BEIS will review the work semi-regularly to ensure that the project is progressing at an appropriate pace and the work is being delivered at an adequate quality.

- Key outputs: (1) Comments for amendments (if required)

Reporting (26th June 2017 – 7th July 2017)

- Activity: Contractor to produce the written analysis deliverable. This will be reviewed and signed off by the BEIS working group.

- Key outputs: (1) Written analysis deliverable

Optional further stage (July 2017 – December 2017)

- Contractor to produce or revise analysis for a small number of additional scenarios specified by BEIS. The cost of this optional stage is outside of the scope of this budget and will come at an additional cost to BEIS which will need to be agreed with BEIS and the supplier.

# Challenges

This project feeds into other time critical dependent projects and the contractor must be able to convince BEIS of prompt delivery of the project to a high standard.

# Working Arrangements

The successful contractor(s) will be expected to identify one named point of contact through whom all enquiries can be filtered. A BEIS project manager will be assigned to oversee the project and will be the central point of contact.

# Ethics

All applicants will need to identify and propose arrangements for initial scrutiny and on-going monitoring of ethical issues. The appropriate handling of ethical issues is part of the tender assessment exercise and proposals will be evaluated on this as part of the ‘addressing challenges and risks’ criterion.

We expect contractors to adhere to the following GSR Principals:

- Sound application and conduct of social research methods and appropriate dissemination and utilisation of findings

- Participation based on valid consent

- Enabling participation

- Avoidance of personal harm

- Non-disclosure of identity and personal information

# Skills and experience

BEIS would like you to demonstrate that you have the experience and capabilities to undertake the project. Your tender response should include a summary of each proposed team members experience and capabilities.

Contractors should propose named members of the project team, and include the tasks and responsibilities of each team member. This should be clearly linked to the work programme, indicating the grade/ seniority of staff and number of days allocated to specific tasks.

Contractors should identify the individual(s) who will be responsible for managing the project.

# Consortium Bids

In the case of a consortium tender, only one submission covering all of the partners is required but consortia are advised to make clear the proposed role that each partner will play in performing the contract as per the requirements of the technical specification.  We expect the bidder to indicate who in the consortium will be the lead contact for this project, and the organisation and governance associated with the consortia.

Contractors must provide details as to how they will manage any sub-contractors and what percentage of the tendered activity (in terms of monetary value) will be sub-contracted.

If a consortium is not proposing to form a corporate entity, full details of alternative proposed arrangements should be provided in the Annex. However, please note the Department reserves the right to require a successful consortium to form a single legal entity in accordance with Regulation 28 of the Public Contracts Regulations 2006.

The Department recognises that arrangements in relation to consortia may (within limits) be subject to future change. Potential Providers should therefore respond in the light of the arrangements as currently envisaged. Potential Providers are reminded that any future proposed change in relation to consortia must be notified to the Department so that it can make a further assessment by applying the selection criteria to the new information provided.

# Budget

The budget for this project (excluding VAT) is £40,000 - £60,000.

Contractors should provide a full and detailed breakdown of costs (including options where appropriate). This should include staff (and day rate) allocated to specific tasks.

Where contractors determine that the value of the work is in excess of this budget we would like an opportunity to consider bids accordingly.

Cost will be a criterion against which bids which will be assessed.

Payments will be linked to delivery of key milestones. The indicative milestones and phasing of payments is as follows:

Delivering a finalised quality assured technical study that has been signed-off by BEIS.

This can be adjusted and agreed with the contractor based on the tender response. Please advise in your tender response how this breakdown reflects your usual payment processes.

In submitting full tenders, contractors confirm in writing that the price offered will be held for a minimum of 60 calendar days from the date of submission. Any payment conditions applicable to the prime contractor must also be replicated with sub-contractors.

The Department aims to pay all correctly submitted invoices as soon as possible with a target of 10 days from the date of receipt and within 30 days at the latest in line with standard terms and conditions of contract.

# Evaluation of Tenders

Contractors are invited to submit full tenders of no more than 30 pages, excluding declarations. Tenders will be evaluated by at least three BEIS staff.

BEIS will select the bidder that scores highest against the criteria and weighting listed below:

- Conflict of interest: pass/fail. See page 5 of the ITT for further information

EVALUATION CRITERIA AND SCORING METHODOLOGY

The bid will be evaluated under the following evaluation criteria and scoring methodology.

| #### Criterion | #### Description | #### Weighting |
| --- | --- | --- |
| 1. Understanding the requirement | Demonstrate understanding of the requirements to analyse the implications to the electricity distribution network for future electricity demand scenarios | 20% |
| 2. Methodology and coverage of outputs | Clearly demonstrate a transparent methodology to be used for delivery of the core outputs and added value outputs. This includes adherence to BEIS quality assurance standards. | 30% |
| 3. Skills and expertise | Experience/demonstration of relevant skills and supply a strong team of individuals with the capability to fulfil this requirement. | 20% |
| 4. Management and delivery | Effective quality, relevance and breadth of management oversight processes, including work planning, budget control, effective working arrangements, an appropriate level of input from each skillset, quality assurance and on-going risk management/identification. | 15% |
| 5. Cost | Price. More detail in scoring method below. | 15% |

Scoring Method

Tenders will be scored against each of the criteria above, according to the extent to which they meet the requirements of the tender. The meaning of each score is outlined in the table below.

The total score will be calculated by applying the weighting set against each criterion, outlined above; the maximum number of marks possible will be 100.  Should any contractor score 1 in any of the criteria, they will be excluded from the tender competition.

| Score | Description |
| --- | --- |
| 1 | Not Satisfactory: Proposal contains significant shortcomings and does not meet the required standard |
| 2 | Partially Satisfactory: Proposal partially meets the required standard, with one or more moderate weaknesses or gaps |
| 3 | Satisfactory: Proposal mostly meets the required standard, with one or more minor weaknesses or gaps. |
| 4 | Good: Proposal meets the required standard, with moderate levels of assurance |
| 5 | Excellent: Proposal fully meets the required standard with high levels of assurance |

Scoring for Pricing Evaluation

Marking proportionate to the lowest price

There will be a maximum of 20 marks.

The lowest priced bid will receive the full 20 marks, all other bids will then be marked as set out below.

Proportionate Pricing scoring example

If 20% = 20 marks

| Supplier | Price | Marks |
| --- | --- | --- |
| 1 (lowest bid) | £100,000 | 20 |
| 2 | £120,000 | 100/120 * 20 = 18.2 |
| 3 | £140,000 | 100/140 * 20 = 16.7 |

Structure of Tenders

Contractors are strongly advised to structure their tender submissions to cover each of the criteria above. Complete the price schedule attached at Annex A, specifying the daily rates (ex-VAT) you will charge for each level of your staff.

Bid Clarification

After reviewing and evaluating the written proposals, BEIS may decide to hold bid clarifications with suppliers.

Feedback

Feedback will be given in the unsuccessful letters or emails.

- BEIS Research Report Writing Guidelines

Introduction

This guide describes the conventions and standards that we expect in the production of written reports and summaries of all social research, customer insight and evaluation commissioned by BEIS, whether intended for internal use and/or publication.

The aim of this guide is to help authors produce clearly and concisely presented reports, which reflect the needs of BEIS and will be accessible and engaging to their intended audience.  These guidelines should help to: streamline the reporting process; reduce the need for extensive comment and redrafting; and maximise the impact of the final report.

These guidelines are the basis for good reporting practice and may not cover all eventualities (in particular, they are not intended to be a guide for conducting social research). Full discussion with the BEIS project manager about the report structure, format and function will be expected in all cases, to ensure the final report is of high quality and meets individual project requirements.

General Guidelines

Basic principles to observe:

- Aim for Plain English; keep sentences short, prefer active verbs, and use words that are appropriate for the reader.

- Assume the audience for the main report and summary to be interested, but non-technical / specialist, readers.

- Reports should provide a concise but clearly evidence-based presentation of findings, with a separate conclusions section.

- The main report should be around 25-30 pages long, with a standalone 3-4 page summary. Annexes should be used as appropriate to include further information and detail. Any exception to this will need to be agreed with the BEIS project manager at the start of the project.

- Draft reports should be as close as possible to the final version of the report and comply with all standards set out in this document, unless otherwise agreed with the BEIS research project manager.

Report structure and style

Report structure

- The report should contain a standalone executive summary, with a short summary of the objectives, methodology, key findings and conclusions, and normally be no longer than 4 pages.

- The main report should be no longer than 30 pages, unless this has been agreed with the project manager at the start of the project.

- The report should contain an introduction setting out the aims and objectives of the project and the context of the research.

- A short methodology section should also be included and provide sufficient information about the research design, sample and timing, and any limitations for the reader to understand how the findings were generated and interpret the conclusions.

- The findings, which are clearly related to each of the research objectives, should make up the main body of the report.

- Conclusions should be presented in a separate section (N.B. ensure the conclusions are not simply a repeat of the exec summary or vice versa).

- Further relevant information, including detailed methodology, evidence sources, research tools etc., should be included in the annexes.

Report layout

- The report should be standardised to the format of the BEIS Report Template (to be supplied by the BEIS project manager), including chapter numbering, heading styles, font size, typeface and line-spacing.

- Be consistent with punctuation, capitalisation and the use of acronyms and abbreviations.

- Use informative chapter and section headings to guide the reader.

- Use bullet lists where appropriate.

- Be consistent with the format, position and labelling of tables, charts and figures throughout the report, following those included in the report template where possible.

- Use chapter, page and paragraph cross-references where necessary.

- Reports should be page-numbered.

Report style

- Be consistent in the use of tense. Any research findings should generally be in the past tense - 'the research found... / 20% of respondents reported... etc.’

- Be consistent in the use of terminology - e.g. householders / residents; energy companies / energy suppliers; consumers / customers etc.

- For abbreviations and acronyms, unless in common English usage, put the name in full when first used followed by the abbreviation or acronym in brackets, and then use the abbreviation.

- In addition, it may be appropriate to also include a glossary.

- Avoid unnecessary jargon. Unavoidable jargon terms should be explained the first time they are used.

Bibliography and References

- Number references to published work consecutively throughout the report preferably using Arabic numerals as superscript.  References should follow standard citation procedures – for example:

  - Author, A., Author, B.  Year.   Title of paper. Title of Journal, volume no, pages;

  - Author, A., Author, B.  Year.  Title of book/chapter, (Editors Title of book) publisher;

  - Author, A., Author, B.  Year.  Title of report. Available at XXX-web link. (access date)

Disclaimer

- A disclaimer should be inserted on the first inside page of the report, as follows: “The views expressed in this report are those of the authors, not necessarily those of the Department for Business, Energy and Industrial Strategy (nor do they reflect Government policy).”

Logos

- The BEIS logo is provided on the Report Template. Other logos of the contractor / other parties involved may be placed on the inside front cover.

Presenting methods, analysis and findings

Key points about presenting evidence

- The report should clearly and fully reflect the agreed aims of the research, be impartial, and clearly indicate when the research took place.

- Findings and conclusions should be clearly related to the objectives and research questions for the study.

- All findings must be clearly substantiated by the evidence, and it should be clear to the reader how conclusions have been drawn and what they are based upon.

- Any recommendations, where requested, should clearly stem from the interpretation of the evidence, where possible being linked back to specific key findings.

Presenting the methodology and research tools

- The methodology section in the main report should include enough information for the reader to understand exactly how the findings were generated, including a brief description of the research design; sampling approach, size and response rate; timing and location of fieldwork; and any limitations of the approach (including implications for robustness of data and findings).

- Detailed methodology should be included in an annex, along with research tools, case study details etc.

- For evidence reviews, the approach and criteria for identification, inclusion and weighting of evidence should be clearly explained in the report.

Reporting findings

- Any limitations of the evidence should be clearly set out (for example restricted access to participants, gaps in sample coverage, time restraints) and implications for errors / bias in findings.

- In any research study which has included both qualitative and quantitative research, these findings should always be linked and interpreted together in the report.

Presenting quantitative research

- Research findings should normally refer to the respondents in the research rather than the general population (i.e. 20% of respondents thought X rather than 20% of householders / people / consumers) unless the research methodology allows such generalisation - i.e. a random sampling approach. In such cases statistical significance should be referred to.

- However, it is not normally appropriate to use significance testing with non-random samples (e.g. quota samples).

- Any reporting of percentages should make clear the base/total number of respondents on which percentages are being calculated. Percentages should not normally be presented on bases less than 100.

- Sub-group analysis should respect minimum sample sizes for quantification and/or significance testing of differences between groups, related to expected size of change or difference between groups.

- Generalisations from samples should only be made where the sample is sufficiently large and representative to warrant this.

- Where precise figures are not available or not appropriate use the greatest degree of precision possible - e.g. ‘around three quarters’ or ‘the majority’.

Presenting qualitative research

- As part of good qualitative research, corroborating evidence should be used to support and triangulate any findings (including other sources of evidence / data generated or identified by the research). However, there should also be discussion of where there was limited evidence which prevented this.

- Similarly, discussion of any conflicting or rival theories should be presented, e.g. contradictory evidence; absence of evidence.

- It should be made clear that findings relate to the research respondents and are not overarching or generalisable to e.g. the whole population, although may be considered representative of the range of views held by the target group for the research.

- Reporting should make clear the extent to which findings reflect the views of most or few respondents, and/or specific subgroups.

- Very general terms for groups of respondents such as 'stakeholders' should be avoided, rather descriptive terms should be used, as appropriate – e.g. 'local authority representatives' etc.

- Verbatim quotes should be used to illustrate and reinforce a point made in the text, but not as a substitute for presenting a finding. All key points should be illustrated with at least one quote.

- All quotations should be anonymous but give a clear indication of how the respondent fits into the sampling scheme - the details to be included should be agreed with the BEIS project manager before the report is drafted and used consistently throughout (e.g. 'respondent 17, female, homeowner' etc.).

Presenting tables, charts, diagrams and statistics

- Charts and diagrams should be used, where appropriate, to illustrate noteworthy findings and to break up the text.

- Supporting narrative should always be included to highlight, explain, qualify or expand on the message of a table or chart.

- Tables and figures should be headed, numbered and sourced. They should always be clearly and accurately referenced in the text.

- Tables of data should normally be presented with row and column totals.

- Base totals should be presented with every table or chart presenting survey data.

- A definition should be given of the base sample, e.g. all respondents (n) or all respondents [within a subset] (n).

- It should be clear whether any percentages are weighted or un-weighted, and where weighting is used both weighted and un-weighted bases should be provided for charts and tables.

- Any weighting used should be explained to the reader, in a way which is understandable to a non-specialist audience.

- Chart axes should be clearly and unambiguously labelled, and use consistent scales, to avoid false comparison between charts.

Anonymity

- To preserve confidentiality and anonymity, no identifying details of individual participants in the research or of particular organisations should be included in any report to the Department, unless this has been specifically cleared in advance with the individual or organisation concerned.

Previous literature

- Any review of previous literature included in a report of primary research should clearly relate to the aims and objectives of the research.  As far as possible, it should also indicate the status of the literature reviewed, whether it has been subject to any rigorous quality control criteria, and how robust any cited findings are.

- Findings or conclusions from previous literature should be clearly differentiated from findings of primary research.

- All sources of evidence should be clearly referenced.

Submitting reports

Report outline

- A report outline, setting out chapter and section headings, and bullets of what will be covered within each chapter/section, should be agreed with the Project Manager well in advance of the draft report. This should show clearly how each of the research questions have been answered.

Draft Reports

- All draft reports should be thoroughly proof read by someone other than the author before submission to BEIS, to minimise spelling and grammar errors and gaps and inconsistencies in information and logic.

- If several authors have contributed separate sections to the report a thorough editorial review is needed prior to submission, to ensure consistent style and avoid unnecessary repetition.

- The date and status of the report should be clear (e.g. Draft 1, June 2016).

- The electronic version of the draft final report should be in Microsoft Word. Other formats should only be used with prior agreement from the BEIS project manager.

Interim reports

- If there have been previously disseminated or published interim reports, the final report should show clear links between the emerging findings in the interim report and the findings in the final report.

- Any other work mentioned in the text, including earlier or interim reports, should be fully referenced.

Final draft report

- The final draft report should have a further proof-read before submission, following comments and sign-off from the BEIS project manager.

Supplying data

- For quantitative research you will be expected to provide copies of cleaned data with documentation at the same time as the final agreed report – this should be presented as excel/CSV or SPSS files. There should be a full and detailed explanation of all labels and variables of the dataset, to allow easy use by researchers within BEIS.

- For qualitative research you will generally be expected to provide transcripts or other notes collated as qualitative data. The data should have clear labels and sufficient explanation to allow further analysis where necessary (e.g. gender, age, geographical location).

- For secondary research / evidence reviews etc. you will be expected to provide summaries and full references of all sources reviewed, e.g. using a proforma developed as part of the research.

Section 3

Further Information on Tender Procedure

Invitation to Tender for Electricity Distribution Network Analysis

Tender Reference Number: 1281/2/2017

Deadline for Tender Responses: 17th March 2017

Contents:

A.	Definitions	24

B.	Data security	24

C.	Non-Collusion	25

# Definitions

Please note that references to the "Department" throughout these documents mean The Secretary of State for Business, Energy and Industrial Strategy acting through his/her representatives.

The Freedom of Information Act 2000 (“FOIA”) and the Environmental Information Regulations 2004 (“EIR”) apply to the Department.  You should be aware of the Department’s obligations and responsibilities under FOIA or EIR to disclose, on written request, recorded information held by the Department.  Information provided in connection with this procurement exercise, or with any contract that may be awarded as a result of this exercise, may therefore have to be disclosed by the Department in response to such a request, unless the Department decides that one of the statutory exemptions under the FOIA or the exceptions in the EIR applies.  If you wish to designate information supplied as part of this response as confidential, of if you believe that its disclosure would be prejudicial to any person’s commercial interests, you must provide clear and specific detail as to the precise information involved and explain (in broad terms) what harm may result from disclosure if a request is received, and the time period applicable to that sensitivity.  Such designation alone may not prevent disclosure if in the Department’s reasonable opinion publication is required by applicable legislation or Government policy or where disclosure is required by the Information Commissioner or the First-tier Tribunal (Information Rights).

Additionally, the Government’s transparency agenda requires that tender documents (including ITTs such as this) are published on a designated, publicly searchable web site.  The same applies to other tender documents issued by the Department (including the original advertisement and the pre-qualification questionnaire (if used)), and any contract entered into by the Department with its preferred supplier once the procurement is complete.  By submitting a tender you agree that your participation in this procurement may be made public.  The answers you give in this response will not be published on the transparency web site (but may fall to be disclosed under FOIA or EIR (see above)).  Where tender documents issued by the Department or contracts with its suppliers fall to be disclosed the Department will redact them as it thinks necessary, having regard (inter alia) to the exemptions/exceptions in the FOIA or EIR.

# Data security

The successful tenderer must comply with the Data Protection Act (DPA) 1998 and any information collected, processed and transferred on behalf of the Department, and in particular personal information, must be held and transferred securely. Contractors must provide assurances of compliance with the DPA and set out in their proposals details of the practices and systems they have in place for handling data securely including transmission between the field and head office and then to the Department. Contractors will have responsibility for ensuring that they and any subcontractor who processes or handles information on behalf of the Department is conducted securely. The sorts of issues which must be addressed satisfactorily and described in contractors’ submissions include:

- procedures for storing both physical and system data;

- data back-up procedures;

- procedures for the destruction of physical and system data;

- how data is protected;

- data encryption software used;

- use of laptops and electronic removable media;

- details of person/s responsible for data security;

- policies for unauthorised staff access or misuse of confidential/personal data;

- policies for staff awareness and training of DPA;

- physical security of premises.

- How research respondents will be made aware of all potential uses of their     data.

# Non-Collusion

No tender will be considered for acceptance if the contractor has indulged or attempted to indulge in any corrupt practice or canvassed the tender with an officer of the Department. Section 4 contains a "Statement of non-collusion" (declaration 1); any breach of the undertakings covered under items 1 - 3 inclusive will invalidate your tender.   If a contractor has indulged or attempted to indulge in such practices and the tender is accepted, then grounds shall exist for the termination of the contract and the claiming damages from the successful contractors. You must not:

- Tell anyone else what your tender price is or will be, before the time limit for delivery of tenders.

- Try to obtain any information about anyone else's tender or proposed tender before the time limit for delivery of tenders.

- Make any arrangements with another organisation about whether or not they should tender, or about their or your tender price.

Offering an inducement of any kind in relation to obtaining this or any other contract with the Department will disqualify your tender from being considered and may constitute a criminal offence.

Section 4

Declarations to be submitted by the Tenderer

Invitation to Tender for Electricity Distribution Network Analysis

Tender Reference Number: 1281/2/2017

Deadline for Tender Responses: 11am 17th March 2017

Contents

Declaration 1: Statement of non-collusion	34

Declaration 2: Form of Tender	35

Declaration 3: Conflict of Interest	36

Declaration 4: Questions for tenderers	38

Declaration 5: Code of Practice …………………………………………………………………. 40

# Declaration 1: Statement of non-collusion

To: The Department for Energy & Industrial Strategy

1.  We recognise that the essence of competitive tendering is that the Department will receive a bona fide competitive tender from all persons tendering.  We therefore certify that this is a bona fide tender and that we have not fixed or adjusted the amount of the tender or our rates and prices included therein by or in accordance with any agreement or arrangement with any other person.

2. We also certify that we have not done and undertake not to do at any time before the hour and date specified for the return of this tender any of the following acts:

- communicate to any person other than the Department the amount or approximate amount of our proposed tender, except where the disclosure, in confidence, of the approximate amount is necessary to obtain any insurance premium quotation required for the preparation of the tender;

- enter into any agreement or arrangement with any other person that he shall refrain for submitting a tender or as to the amount included in the tender;

- offer or pay or give or agree to pay or give any sum of money, inducement or valuable consideration directly or indirectly to any person doing or having done or causing or having caused to be done, in relation to any other actual or proposed tender for the contract any act, omission or thing of the kind described above.

3. In this certificate, the word “person” shall include any person, body or association, corporate or unincorporated; and “any agreement or arrangement” includes any such information, formal or informal, whether legally binding or not.

……………………………………………………………………………….….

Signature (duly authorised on behalf of the tenderer)

……….………………………………………………………………………….

Print name

…………………………………………………………….…………………….

On behalf of (organisation name)

…………………………………………………………………….…………….

Date

# Declaration 2: Form of Tender

To: The Department for Energy & Industrial Strategy

1. Having considered the invitation to tender and all accompanying documents

(including without limitation, the terms and conditions of contract and the Specification) we confirm that we are fully satisfied as to our experience and ability to deliver the goods/services in all respects in accordance with the requirements of this invitation to tender.

2. We hereby tender and undertake to provide and complete all the services required to be performed in accordance with the terms and conditions of contract and the Specification for the amount set out in the Pricing Schedule.

3. We agree that any insertion by us of any conditions qualifying this tender or any unauthorised alteration to any of the terms and conditions of contract made by us may result in the rejection of this tender.

4. We agree that this tender shall remain open to be accepted by the Department for 8 weeks from the date below.

5. We understand that if we are a subsidiary (within the meaning of section 1159 of (and schedule 6 to) the Companies Act 2006) if requested by the Department we may be required to secure a Deed of Guarantee in favour of the Department from our holding company or ultimate holding company, as determined by the Department in their discretion.

6. We understand that the Department is not bound to accept the lowest or any tender it may receive.

7. We certify that this is a bona fide tender.

…………………………………………………………………………........

Signature (duly authorised on behalf of the tenderer)

…………………………………………………………………………………

Print name

………………………………………………………………………….

On behalf of (organisation name)

………………………………………………………………………….

Date

# Declaration 3: Conflict of Interest

I have nothing to declare with respect to any current or potential interest or conflict in relation to this research (or any potential providers who may be subcontracted to deliver this work, their advisers or other related parties). By conflict of interest, I mean, anything which could be reasonably perceived to affect the impartiality of this research, or to indicate a professional or personal interest in the outcomes from this research.

Signed      …………………………………….

Name	…………………………………….

Position     …………………………………….

OR

I wish to declare the following with respect to personal or professional interests related to relevant organisations*;

- X

- X

Where a potential conflict of interest has been declared for an individual or organisation within a consortia, please clearly outline the role which this individual or organisation will play in the proposed project and how any conflict of interest has or will be mitigated.

- X

- X

Signed      …………………………………….

Name	…………………………………….

Position     …………………………………….

Please complete this form and return this with your ITT documentation - Nil returns are required.

* These may include (but are not restricted to);

- A professional or personal interest in the outcome of this research

- For evaluation projects, a close working, governance, or commercial involvement in the project under evaluation

- Current or past employment with relevant organisations

- Payment (cash or other) received or likely to be received from relevant organisations for goods or services provided (Including consulting or advisory fees)

- Gifts or entertainment received from relevant organisations

- Shareholdings (excluding those within unit trusts, pension funds etc) in relevant organisations

- Close personal relationship or friendships with individuals employed by or otherwise closely associated with relevant organisations

All of the above apply both to the individual signing this form and their close family / friends / partners etc.

If your situation changes during the project in terms of interests or conflicts, you must notify the Department straight away.

A DECLARATION OF INTEREST WILL NOT NECESSARILY MEAN THE INDIVIDUAL OR ORGANISATION CANNOT WORK ON THE PROJECT; BUT IT IS VITAL THAT ANY INTEREST OR CONFLICT IS DECLARED SO IT CAN BE CONSIDERED OPENLY.

# Declaration 4: Questions for tenderers

In some circumstances the Department is required by law to exclude you from participating further in a procurement.  If you cannot answer ‘no’ to every question in this section it is very unlikely that your application will be accepted, and you should contact us for advice before completing this form.

Please state ‘Yes’ or ‘No’ to each question.

| Has your organisation or any directors or partner or any other person who has powers of representation, decision or control been convicted of any of the following offences? | Answer |
| --- | --- |
| - conspiracy within the meaning of section 1 or 1A of the Criminal Law Act 1977 or article 9 or 9A of the Criminal Attempts and Conspiracy (Northern Ireland) Order 1983 where that conspiracy relates to participation in a criminal organisation as defined in Article 2 of Council Framework Decision 2008/841/JHA; |  |
| - corruption within the meaning of section 1(2) of the Public Bodies Corrupt Practices Act 1889 or section 1 of the Prevention of Corruption Act 1906; where the offence relates to active corruption; |  |
| - the offence of bribery, where the offence relates to active corruption; |  |
| - bribery within the meaning of section 1 or 6 of the Bribery Act 2010; |  |
| - fraud, where the offence relates to fraud affecting the European Communities’ financial interests as defined by Article 1 of the Convention on the protection of the financial interests of the European Communities, within the meaning of: |  |
| - the offence of cheating the Revenue; |  |
| - the offence of conspiracy to defraud; |  |
| - fraud or theft within the meaning of the Theft Act 1968, the Theft Act (Northern Ireland) 1969, the Theft Act 1978 or the Theft (Northern Ireland) Order 1978; |  |
| - fraudulent trading within the meaning of section 458 of the Companies Act 1985, article 451 of the Companies (Northern Ireland) Order 1986 or section 993 of the Companies Act 2006; |  |
| - fraudulent evasion within the meaning of section 170 of the Customs and Excise Management Act 1979 or section 72 of the Value Added Tax Act 1994; |  |
| - an offence in connection with taxation in the European Union within the meaning of section 71 of the Criminal Justice Act 1993; |  |
| - destroying, defacing or concealing of documents or procuring the execution of a valuable security within the meaning of section 20 of the Theft Act 1968 or section 19 of the Theft Act (Northern Ireland) 1969; |  |
| - fraud within the meaning of section 2, 3 or 4 of the Fraud Act 2006; or |  |
| - making, adapting, supplying or offering to supply articles for use in frauds within the meaning of section 7 of the Fraud Act 2006; |  |
| - money laundering within the meaning of section 340(11) of the Proceeds of Crime Act 2002; |  |
| - an offence in connection with the proceeds of criminal conduct within the meaning of section 93A, 93B or 93C of the Criminal Justice Act 1988 or article 45, 46 or 47 of the Proceeds of Crime (Northern Ireland) Order 1996; or |  |
| - an offence in connection with the proceeds of drug trafficking within the meaning of section 49, 50 or 51 of the Drug Trafficking Act 1994; or |  |
| - any other offence within the meaning of Article 45(1) of Directive 2004/18/EC as defined by the national law of any relevant State. |  |

# Declaration 5: Code of Practice

I confirm that I am aware of the requirements of the Department’s Code of Practice for Research and, in the proposed project, I will use my best efforts to ensure that the procedures used conform to those requirements under the following headings:

Responsibilities

Competence

Project planning

Quality Control

Handling of samples and materials

Facilities and equipment

Documentation of procedures and methods

Research/work records

I understand that the Department has the right to inspect our procedures and practices against the requirements of the Code of Practice, and that I may be asked to provide documentary evidence of our working practices or provide access and assistance to auditors appointed by the Department.

(There is some flexibility in the application of the Code of Practice to specific research projects. Contractors are encouraged to discuss with the Department any aspects that cause them concern, in order to reach agreement on the interpretation of each requirement.)

Annex A: Pricing Schedule

Part A – Staff/project team charges

| Set up Costs – please specify |  |
| --- | --- |
| Expenses |  |

| *Grade/level of staff | Daily rate (ex VAT) | No. days offered over course of contract | Tasks to be undertaken on this project | Total price offered per staff member |
| --- | --- | --- | --- | --- |
|  | £ |  |  | £ |
|  | £ |  |  | £ |
|  | £ |  |  | £ |
|  | £ |  |  | £ |
|  | £ |  |  | £ |
| Sub-total |  |  |  | £ |

[*Suppliers should also include sub-contractors]

Part B – Non-staff/project team charges

| Item | No. of items | Price per item (ex VAT) | Total price per offered |
| --- | --- | --- | --- |
|  |  | £ | £ |
|  |  | £ | £ |
|  |  | £ | £ |
|  |  | £ | £ |
|  |  | £ | £ |
| Sub-total |  |  | £ |

Part C – Full price offered

| Sub-total (Part A + Part B) | £ |
| --- | --- |
| VAT | £ |
| TOTAL (Sub-total + VAT) | £ |

Annex B: Code of Practice for Research

CODE OF PRACTICE FOR RESEARCH

Issued by the Department for Business, Energy and Industrial Strategy

The Department has developed this Code of Practice from the Joint Code of Practice issued by BBSRC; the Department for Environment, Food and Rural Affairs (Defra); the Food Standards Agency; and the Natural Environment Research Council (NERC) which lays out a framework for the proper conduct of research. It sets out the key aspects of the research process and the importance of making judgements on the appropriate precautions needed in every research activity.

The Code applies to all research funded by The Department. It is intended to apply to all types of research, but the overriding principle is fitness of purpose and that all research must be conducted diligently by competent researchers and therefore the individual provisions must be interpreted with that in mind.

PRINCIPLES BEHIND THE CODE OF PRACTICE

Contractors and consortia funded by the Department are expected to be committed to the quality of the research process in addition to quality of the evidence outputs

The Code of Practice has been created in order to assist contractors to conduct research of the highest quality and to encourage good conduct in research and help prevent misconduct,.

Set out over 8 responsibilities the code of practice provides general principles and standards for good practice in research.

Most contractors will already have in place many of the measures set out in the

Code and its adoption should not require great effort.

COMPLIANCE WITH THE CODE OF PRACTICE

All organisations contracting to the Department (including those sub-contracting as part of a consortium) will be expected to commit to upholding these responsibilities and will be expected to indicate acceptance of the Code when submitting proposals to the Department.

Contractors are encouraged to discuss with the Department any clauses in the Code that they consider inappropriate or unnecessary in the context of the proposed research project. The Code, and records of the discussions if held, will become part of the Terms and Conditions under which the research is funded.

Additionally, The Department may conduct (or request from the Contractor as appropriate) a formal risk assessment on the project to identify where additional controls may be needed.

MONITORING OF COMPLIANCE WITH THE CODE OF PRACTICE

Monitoring of compliance with the Code is necessary to ensure:

- Policies and managed processes exist to support compliance with the Code

- That these are being applied in practice.

In the short term, the Department can require contractors to conduct planned internal audits although the Department reserves the right to obtain evidence that a funded project is carried out to the required standard. The Department may also conduct an audit of a Contractor’s research system if deemed necessary.

In the longer term it is expected that most research organisations will assure the quality of their research processes by means of a formal system that is audited by an impartial and competent third party against an appropriate internationally recognised standard that is fit for purpose.

A recommended checklist for researchers can be found on the UK Research Integrity Office (UKRIO) website at http://www.ukrio.org/what-we-do/code-of-practice-for-research

SPECIFIC REQUIREMENTS IN THE CODE OF PRACTICE

1. Responsibilities

All organisations contracting to the Department (including those sub-contracting as part of a consortium will be responsible for the overall quality of research they conducted. Managers, group leaders and supervisors have a responsibility to ensure a climate of good practice in the research teams, including a commitment to the development of scientific and technical skills.

The Principal Investigator or Project Leader is responsible for all the work conducted in the project including that of any subcontractors. All staff and students must have defined responsibilities in relation to the project and be aware of these responsibilities.

2. Competence

All personnel associated with the project must be competent to perform the technical, scientific and support tasks required of them. Personnel undergoing training must be supervised at a level such that the quality of the results is not compromised by the inexperience of the researcher.

3. Project planning

An appropriate level of risk assessment must be conducted to demonstrate awareness of the key factors that will influence the success of the project and the ability to meet its objectives. There must be a written project plan showing that these factors (including research design, statistical methods and others) have been addressed. Projects must be ethical and project plans must be agreed in collaboration with theDepartment, taking account of the requirements of ethical committees or the terms of project licences, if relevant.

Significant amendments to the plan or milestones must be recorded and approved by the Department if applicable.

4. Quality Control

The organisation must have planned processes in place to assure the quality of the research undertaken by its staff Projects must be subjected to formal reviews of an appropriate frequency. Final and interim outputs must always be accompanied by a statement of what quality control has been undertaken.

The authorisation of outputs and publications shall be as agreed by the Department, and subject to senior approval in the Department, where appropriate. Errors identified after publication must be notified to the Department and agreed corrective action initiated.

5. Handling of samples and materials

All samples and other experimental materials must be labelled (clearly, accurately, uniquely and durably), and retained for a period to be agreed by the Department. The storage and handling of the samples, materials and data must be as specified in the project plan (or proposal), and must be appropriate to their nature. If the storage conditions are critical, they must be monitored and recorded.

6. Documentation of procedures and methods

All the procedures and methods used in a research project must be documented, at least in the personal records of the researcher. This includes analytical and statistical procedures and the generation of a clear audit trial linking secondary processed information to primary data.

There must be a procedure for validation of research methods as fit for purpose, and modifications must be trackable through each stage of development of the method.

7. Research/work records

All records must be of sufficient quality to present a complete picture of the work performed, enabling it to be repeated if necessary.

The project leader is accountable for the validity of the wok and responsible for ensuring that regular reviews of the records of each researcher are conducted

The location of all project records, including critical data, must be recorded. They must be retained in a form that ensures their integrity and security, and prevents unauthorised modification, for a period to be agreed by the Department.

A recommended checklist for researchers can be found on the UK Research Integrity Office (UKRIO) website at http://www.ukrio.org/what-we-do/code-of-practice-for-research

Annex C: Quality Rating

| Quality rating. The ‘quality’ of an assumption measures both how certain and robust an assumption is and how appropriate it is for its intended use. We would consider a published data source like DUKES or ONS data as very robust, but if it needs to be transformed significantly to fit the model, the quality rating would be downgraded. You may want to lower the quality rating if it is not possible to get technical sign-off for the assumptions (e.g. lack of technical knowledge). You will also want to lower the quality if the confidence interval is likely to be wide (i.e. you wouldn't be surprised if the value was 50% different) - in this case, you should rank it as amber/red. | Green | Based on validated ‘actual’ data. Methodology is robust. There are no or few transformations, or transformation methodology is also fully verified and robust. Data is current, and signed off by experts. Small confidence interval. |
| --- | --- | --- |
|  | Amber | Assumptions are amber if: -the methodology is robust but based on limited data; -Data required significant transformation to fit the model; -Your confidence interval is quite wide; -Data has not been reviewed recently. |
|  | Red | Unclear/unreliable data source or no data source provided. Based on limited data and methodology not robust. Data is not current. Confidence interval wide/unknown. |

Annex D: Impact Rating

| Impact rating. You should consider the sensitivity of the model outputs to changing the values of the data item(s). The rating should reflect the percentage change in the output of the model relative to a percentage change in the input. This stage is likely to be more time-consuming than the others as it may involve sensitivity testing and impact assessment. | Low | Negligible overall impact on outputs |
| --- | --- | --- |
|  | Medium | Some impact on outputs |
|  | High | Decision changing or significant impact on outputs |

Annex E: Risk Flag

| Risk Flag: The risk flag helps you to prioritise which assumptions need escalating to your approving body. Higher risk assumptions are those which could have a big impact on the model outputs, which are based on lower quality data, or where intelligence suggests that the assumption may change very soon. The table on the right should provide guidance on how to estimate the risk rating based on the quality and impact rating. | Low | Assumption is low or medium impact and has a very high quality rating. There is very little you can do to improve it at this time. |
| --- | --- | --- |
|  | Medium | Assumption has medium impact on the model outputs and is of medium quality. If it changes the results would be affected but not significantly. |
|  | High | Assumption has high impact on the model outputs or has medium impact but is of very poor quality. |

Baroness Neville-Rolfe’s Speech at the Policy Exchange’s Heat Summit (2016)

Smart Grid Forum workstream three: Developing networks for low-carbon (2011)

EA Technology report on the impact of policy that drives low carbon technologies on distribution networks (2014)

http://www.statisticsauthority.gov.uk/assessment/code-of-practice/index.html

Please note that this declaration applies to individuals, single organisations and consortia.

The Code of Practice is attached to this ITT as Annex C

Please delete as appropriate

Please note ethical approval does not remove the responsibility of the individual for ethical behaviour.

Please note that this also applies to projects being undertaken by consortia.