Clarification to Bidders question

What are the ground condition?

2 Pits dug down 900mm, we found the odd bit of granite stone.

Is there any ducting in the ground between the solar site and the farm shop?

No

Can the workers use toilet facilities?

No

Is it possible to store the batteries on the wall beside the Electric box?

Yes