**PRICE SCHEDULE ADDENDUM (19 September 2024):**

Please see the following additions to the Price Schedule

* Add. Include for pricing complete the Lightning protection as shown on the M & E drawings to include full roof installation and temporary connection to ground pending the main works.
* Add, Include painting and decorating, including full preparation, stripping, priming and painting as per the Architects Specification to all renovated and replaced window and doors. Inside and out.