Jubilee Centre Specification:

Main Building:

11 x 8MP IR cameras and fittings

1 x 16 Channel Network Video Recorder c/w 16 Port of PoE

Cat5 Cabling

1 x Uninterrupted Power Supply (UPS) for surge & spike protection

2 x Additional Enterprise Level 4TB SATA Hard Drive

1 x 24" HD Monitor

Changing rooms (Add on 1):

2 x 8MP IR cameras and fittings

2 x Wireless Wi-Fi Link

New Conservatory Camera (Add on 2):

1 x 8MP IR camera

Play Area Camera (Add on 3):

1 x 8MP IR camera

1 x Wireless Wi-Fi Link

All equipment fitted must follow the latest government advice.

Baileys Court Specification:

Main Building:

16 x replacement to 8MP IR cameras and fittings

1 x new 8MP IR camera and fittings in bar area

1 x 32 Channel Network Video Recorder c/w 16 Port of PoE

Cat5 Cabling

1 x Uninterrupted Power Supply (UPS) for surge & spike protection

2 x Additional Enterprise Level 4TB SATA Hard Drive

1 x 24" HD Monitor

Bowlers Shed (Add on 1):

1 x 8MP IR camera

1 x Wireless Wi-Fi Link

All equipment fitted must follow the latest government advice.

Brook Way Specification:

9 x replacement to 8MP IR cameras and fittings

1 x 16 Channel Network Video Recorder c/w 16 Port of PoE

Cat5 Cabling

1 x Uninterrupted Power Supply (UPS) for surge & spike protection

2 x Additional Enterprise Level 4TB SATA Hard Drive

1 x 24" HD Monitor

All equipment fitted must follow the latest government advice.