INVITATION TO TENDER FOR:

THE COMPLETION AND DELIVERY OF NATIONAL

ASBESTOS MANAGEMENT SURVEY’S, SAMPLING, AIR TESTING AND CONSULTANCY SERVICES FOR NHSBT PREMISES

| TENDER REF NUMBER: | NHSBT1054/S/SP |
| --- | --- |
| TENDER RETURN DATE: | 27th July 2020 @ 17:00 hours |
| SUPERVISING OFFICER | Jeremy Humphries National Engineering Manager |
| CONTACT DETAILS | Jeremy.Humphries@nhsbt.nhs.uk |

INDEX

Section	Title								         Page No.

  - NHSBT - BACKGROUND							     4

1.2	BRIEF OUTLINE OF REQUIREMENTS					     4

2.	CONFIRMATION OF DOCUMENTS TO BE SUBMITTED	5

3.	INVITATION TO TENDER	7

3.1	BASIS FOR THE AWARD OF CONTRACT	7

4.	EXTENT and scope OF PROJECT	7

4.1	GENERAL PROGRAMME REQUIREMENTS	7

4.2	TENDER DECLINE	8

4.3	METHODOLOGY	8

4.4	SURVEYORS SURVEY WILL INCLUDE THE FOLLOWING CONTENTS

AS A MINIMUM	9

4.5	OBJECTIVE OF THIS SURVEY	10

4.6	AREAS OF EXCLUSION	10

4.7	THE ASBESTOS REGISTER	11

4.8	MATERIAL ASSESSMENT	11

4.9	LABORATORY SERVICES	11

4.10	ASBESTOS AWARENESS TRAINING TO NHSBT STAFF	12

4.11	SITE VISITS DURING TENDER PERIOD	12

4.12	PREPARATION OF PRIORITISED REMEDIAL WORKS	13

4.13	FLOOR LAYOUT DRAWINGS AND PHOTOGRAPHIC REPRESENTATION	13

4.14	POST-RISK ASSESSMENT REQUIRMENTS:	13

4.15	cONSULTANCY MEMORANDA	13

4.16	ON-LINE PORTAL / DATABASE FOR ACCESS AND STORING OF

ASBESTOS MANAGEMENT SURVEYS / REPORTS	13

4.17	cONDITIONS OF TENDER	14

4.18	eVALUATION APPROACH AND SELECTION CRITERIA	14

4.19	ELIGIBILITY TO TENDER	15

4.20	COMPETENCE OF THE RISK ASSESSOR / SURVEYOR	15

4.21	PREPARATION TO TENDER	15

4.22	CANVASSING	16

4.23	CONFIDENTIALITY	16

4.24	BASIS FOR THE AWARD OF CONTRACT	16

4.25		COMPLIANCE WITH SITE POLICIES AND PROCEDURES (SITE RULES)	16

4.26		SITE CONDITIONS	16

4.27		TENDERERS EQUIPMENT	16

4.28		INTERFERENCE SUPPRESSION	17

4.29		SECURITY	17

4.30		FIRE PRECAUTIONS	17

4.31	NO SMOKING POLICY 	17

4.32 	HEALTH AND SAFETY	17

4.33 	TENDERERS ATTENDING SITE	18

###### 4.34	INJURY TO PERSONS AND PROPERTY AND NHSBT INDEMNITY	18

4.35	daMAGE	18

4.36	VALUE ADDED TAX	18

5.	COMMENCEMENT AND DURATION OF CONTRACT	18

5.1	SCHEDULING – PROGRAMME OF WORKS	18

5.2	MOBILISATION	19

5.3	SITE AND SYSTEMS FAMILIARISATION	19

5.4	EXIT PLAN	19

6.	APPENDICES	19 -20

  - NHSBT - Background

NHSBT is a special health authority, dedicated to saving lives. We provide a blood and transplantation service to the NHS, looking after blood donation services in England and transplant services across the UK. This includes managing the donation, storage and transplantation of blood, organs, tissues, bone marrow and stems cells, and researching new treatments and processes.

NHSBT Estates and Facilities (E&F) are managed from four regions, North East, North West, South East and South West. Each region operates from three main hub centres.  In total NHSBT are currently operating from eighty-four properties nationally.

  - Brief Outline Requirements

An invitation to tender has been issued by NHSBT to procure a national service from a specialist consultancy to assist in the management and control of asbestos within NHSBT property by the undertaking of Asbestos Management Surveys in all of the properties owned or leased by NHSBT. The surveys will be undertaken to ensure compliance with HSG 264. NHSBT require full management surveys to be undertaken in accordance with the Control of Asbestos Regulations 2012. Previous surveys will not be issued. The appointed asbestos consultancy will be required to identify and prioritise recommendations on any remedial works which are identified during the survey. Not all sites were constructed prior to 1999 / 2000. Sites constructed prior to 1999 / 2000 are identified in the site addresses in Appendix A.

NHSBT E&F undertake refurbishment and construction works in line with our changing business requirements. At such times it will be necessary for the appointed asbestos consultancy to undertake Refurbishment and Demolition surveys in line with current requirements & regulations.

The contract duration will be for an initial five year term with an option for two, one-year extensions.  A budget estimate has been established as between £60k - £70k for the initial survey & £40k P.A. thereafter for re-surveys & provision of web-based portal data base.

Please note NHSBT make no guarantee to commit to spend these cost estimates.

- CONFIRMATION OF DOCUMENTS TO BE SUBMITTED

PROVISION OF SERVICES FOR: THE COMPLETION AND DELIVERY OF NATIONAL ASBESTOS MANAGEMENT SURVEYS ON NHSBT PREMISES.

| Document Required | Document Name: | Submitted (Yes/No) |
| --- | --- | --- |
|  |  |  | Maximum Evaluation Points (800) | Evaluation points Scored |
| Details of any aspect of the specification that you are unable to meet in full. | Document A |  | 50 |  |
| Form of Tender Summary (document enclosed) – Tendered Costs, duly signed | Document B |  | 150 |  |
| Additional Related Tendered Consultancy Services (document included), duly signed | Document C |  | 50 |  |
| To provide a brief company overview / profile, detailing the history / service provision / how the organisation developed from conception to present day. | Document D |  | 100 |  |
| For the above, assessor’s, c.v.(s) are to be submitted detailing previous similar projects undertaken by the successful Tenderer concerned and the names of previous customers who can be contacted for references. Surveyor competence certification to UKAS ISO 14001 / IEC 17024 and/or hold the British Occupational Hygiene Society (BOHS) proficiency module P402 “Building Surveys and Bulk Sampling for asbestos”.* | Document E |  | N/A |  |
| The tenderer shall provide the names of two previous NHS clients from whom references may be obtained for whom similar commissions have been carried out. | Document F |  | 100 |  |
| The tenderer shall provide a sample Asbestos Management Survey Report demonstrating compliance with HSG 264 . | Document G |  | 100 |  |
| The tenderer shall submit a valid UKAS ISO/IEC 17020:2012 & UKAS Accreditation to ISO 17020 & 17025 certificate* | Document H |  | N/A |  |
| The tenderer shall submit a valid Asbestos Testing and Consultancy Association affiliation certificate* | Document I |  | N/A |  |
| The tenderer shall submit a proposed timetable with key milestones. | Document J |  | 50 |  |
| The tenderer shall, provide unrestricted access to the on-line portal/database and Electronic Data Collection and Management Programme software used to store the Management Surveys, proposed for use by NHSBT. | Document K |  | 250 |  |
| The tenderer shall submit their Health and Safety Policy, Quality Control and Environmental Management Certification. | Document L |  | 50 |  |
| The tenderer will submit detailed statements on work that will be sub-contracted and the names of the companies that would carry out the work | Document M |  | 25 |  |
| The tenderer shall identify the areas of assistance that will be required from the NHSBT. | Document N |  | 25 |  |
| Supplier Presentations (Subject to confirmation) | Document O |  | 50 |  |

*Exclusion question

Signed:                   ….……………………………………………

Name:                    ………….……………………………………

Position:                 ….……………………………………………

Duly authorised to sign tenders for and on behalf of:

Date:	…………………………………….…………

------------------------------------------------------------------------------------------------------------------

Witness to authorised signature:

Signed:   	…………………………………….…………

Name:	…………………………………….…………

Address:	…………………………………….…………

Date:	…………………………………….…………

3.	INVITATION TO TENDER

Persons proposing to submit a tender are advised to read the Tender documents carefully to ensure that they are fully familiar with the nature and extent of the obligations to be accepted by them if the tender is accepted. It is recommended that the successful Tenderer/Consultant visit sites to ascertain and confirm asset listings prior to submission of their tender.

Should a person proposing to submit a tender be in doubt as to the interpretation of any part of the documents, the nominated Supervising Officer will endeavour to answer any written enquiries, so that queries can be resolved prior to tenders being submitted. Telephone enquiries will not be entertained.

3.1	Basis for the award of Contract

All tendering companies will be required to satisfy the first sift questions identified in section 2 of this document.  The three top scoring tendering companies will possibly be asked to undertake a presentation to the Supervising Officer & Procurement Lead.

4.	EXTENT AND SCOPE OF PROJECT

The aim of this tender is to address the following:

PROVISION OF SERVICES FOR: THE COMPLETION AND DELIVERY OF NATIONAL ASBESTOS MANAGEMENT SURVEY FOR NHSBT PREMISES.

4.1	General PROGRAMME REQUIREMENTS:

Aim of Asbestos Management Survey

An invitation to tender has been issued by NHSBT to procure a national service from a specialist consultancy to assist in the management and control of asbestos within NHSBT property by the undertaking of Asbestos Management Surveys in all of the properties owned or leased by NHSBT. The appointed asbestos consultancy will be required to identify and prioritise recommendations on any remedial works which are identified during the survey. Not all sites were constructed prior to 1999 / 2000 those that were are identified in Appendix A and the pricing schedule documents.

NHSBT E&F undertake refurbishment and construction works in line with our changing business requirements.  At such times it will be necessary for the appointed asbestos consultancy to undertake Refurbishment and Demolition surveys in line with current requirements & regulations.

All aspects of the services required under this contract are to be provided directly by the contractor/consultancy.  Sub-contracted laboratory analysis services will not be accepted.

4.2	Tender Decline

The tendering consultancy should inform NHSBT’s Supervising Officer should they withdraw from the tender process.

The Supervising Officer:

Name: Jeremy Humphries Position: National Engineering Manager E-mail: Jeremy.Humphries@nhsbt.nhs.uk

4.3 	Methodology

The tendering consultancy will provide information on the extent and type of asbestos which is present in the building shown on the site plans (Appendix B).

The buildings are part of the NHSBT property portfolio and the tendering consultancy return is to provide a price for carrying out a survey of every room in each building.

The tendering consultancy appointed to undertake the asbestos surveying and sampling work must be technically competent through accreditation to the United Kingdom Accreditation Service (UKAS) ISO/IEC 17020.  They must hold all relevant insurances; and be able to demonstrate relevant experience of, and provide references and sample plans of work in connection with similar projects undertaken for similar organisations as NHSBT.

Individual surveyors must have a minimum of 24 months full time relevant, practical field experience on asbestos surveys.  They must be able to demonstrate technical competence by holding a personal accreditation by UKAS ISO/IEC 17024 and/or hold the British Occupational Hygiene Society (BOHS) proficiency module P402” Building Surveys and Bulk Sampling for asbestos”.

The tendering consultancy will provide copies of their public and employee liability insurance and professional indemnity documentation as part of the tender submission.

The tendering consultancy must submit risk assessments for the setting up of a safe system of work specific to the agreed contract incorporating the procedures of NHSBT. The system of work must incorporate the following steps

- Assessments of tasks

- Hazard identification and individual risk assessments

- Identification of safe methods

- Implementation of the system

- Monitoring of the system

The formal procedure which results, shall be a systematic examination of tasks in order to identify hazards and access risks in order to identify safe methods of work to ensure that the hazard is eliminated or the remaining risks are minimised.

Generic risk assessments for carrying out the surveys and the taking of samples must be agreed by NHSBT E&F Site Managers initially. Site specific risk assessments must be agreed with Heads of Departments and E&F Site Managers prior to each survey of the pre-arranged location/site taking place and a period of 7 days’ notice will be given prior to the dates and times agreed as to when the surveyor will attend the pre-agreed location/site.

Access to all areas will need to be undertaken in conjunction with the Estates & Facilities Manager responsible for the site.  Access to all above ceiling voids, plant rooms and risers (where safe and no damage is caused) will be required. Locked locations will not be deemed as an acceptable caveat within the survey reports.  Adequate steps and / or access equipment will be provided by the tendering consultancy.

In the case of high volume occupancy, it will be essential that the surveys are undertaken out of hours and at varying times.

During the course of the survey any areas considered to require urgent action, must be brought to the attention of the NHSBT Site E&F Manager responsible for the site.  Contact should be made immediately, and arrangements agreed to make the area / location safe as soon as possible and provide risk assessments for any remedial action required, to ensure the work is carried out safely.

All Surveyors will need to enter “Good Manufacturing Practice” (GMP) locations.  Prior to entry the surveyor will require GMP training to be undertaken by the local E&F office and takes approximately 30 minutes.

On completion of the first survey report, this will be issued as draft to the Supervising Officer to be checked for standard & compliance with the specification.

4.4	SURVEYORS SURVEY WILL INCLUDE THE FOLLOWING CONTENTS AS A MINIMUM

- Name of the survey location and description of site

- Date and time agreed for the survey to take place

- Type of construction and any inaccessible areas

- Purpose and Scope of Works and any specific remit

- Inspection details including any specific exclusions, sample analysis etc

- Bulk Sample Certificate of Analysis

- Survey caveat

- Register depicting all items assessed shown on a room by room basis, based on priority assessment

- Clearly marked up-to-date CAD drawings of annotated floor plans that are colour coded and referenced (to be included within Asbestos register)

- Where survey information is not available, a detailed description of the location needs to be provided and clearly shown on the overall site plan

- NHSBT main centres have room numbers affixed to the room doors these are the room numbers identified on the drawings and should be used as the room reference for the purpose of undertaking the survey’s

- Photo Analysis Sheets and Recommendations

- Register of all asbestos containing materials found during the survey

- Action Plan Register

Survey information will need to be uploaded on to the E&F CAFM data base once the surveys are complete.  NHSBT use TAB’s Ethos CAFM system.

The survey register will be available in both electronic (e-format) & Paper (PDF) format, the register will include:-

- Known ACM’s

- Presumed ACM’s

- Materials known to be non ACM’s (tested).

4.5	OBJECTIVE OF THIS SURVEY

An asbestos Management Survey is the standard survey required on any building built or refurbished before the year 2000.

The objective of the asbestos surveys involves a material assessment of asbestos containing materials (ACMs) that may be disturbed or damaged during normal activities, maintenance or through the installation of new equipment.  One of the main objectives of these surveys is to assess the ability of ACMs to release dangerous asbestos fibres into the air, if disturbed or damaged.

The survey will involve minor intrusive work and some disturbance. The extent of intrusion will vary between buildings and depend on what is reasonably practicable for individual areas, but NHSBT is totally committed to enabling free access to allow for an accurate and robust survey to be completed.

The surveys will involve the taking of samples and subsequent laboratory analysis to confirm or refute asbestos content. During the survey the surveyor may make a strong presumption that there is or is not the presence of asbestos. Any materials presumed to contain asbestos must have its condition assessed.

The information required from the survey will be:

- Asbestos product type(s)

- Location of materials (to include room number where identified on floor plans)

- Extent (or quality) of material(s)

- Accessibility and vulnerability of the material(s)

- Amount of deterioration

- Surface treatment (if any)

The areas inspected will include underfloor coverings above false ceilings, (ceiling voids) lofts, inside risers, service shafts, service ducts and lift shafts, basements, cellars, underground rooms, under crofts, plant rooms (this list is not exhaustive). Caveats for the inability to gain access to all locations will not be accepted without proof that all access attempts were made.

4.6	AREAS OF EXCLUSION

The following areas or materials are excluded from the survey and as such will not require inspecting or assessing during the management survey:

- Where NHSBT part occupy premises under lease, common areas such as entrances, stairwells, landings etc. allowing access to NHSBT demise will be outside the scope of the survey.

4.7	THE ASBESTOS REGISTER

An asbestos register in accordance with Appendix C must be completed by the tendering consultancy.

NHSBT intend to maintain a centralised asbestos inventory that is compliant with statutory and best practice guidance, using a recognised web based CAFM (TAB’s ETHOS) system.

This holds live space management information based on CAD floor plans.

The Tendering Surveyor must be proficient in the use of CAFM systems. They will be required to liaise with NHSBT’s CAFM Manager to assist in the uploading of the ACM information. Adequate time resource should be allowed for this liaison, this will include:-

- Navigation through the system

- To find and view documents and drawings

- Add documents and live evidence

- Amend room information drawings and reports

- Export reports to excel

- Create and run graphical and custom reports

- Provide documented action plans

4.8	MATERIAL ASSESSMENT

For each entry on to the asbestos register the surveyor will need to determine a material score and a priority score. This can be achieved by using an algorithm system.

A risk algorithm is a mathematical means of scoring the level of risk to people from asbestos materials in a building.  It has three parts, a “material” risk assessment, a “Priority” risk assessment and a “Total “ risk assessment.

The algorithm is calculated by adding the 4 “scores” for the 4 parameters namely product type, extent of damage or determination, surface treatment and the asbestos type. The total is known as the Material Assessment score.  The total is further interpreted to give a potential to release fibres as follows:-

10 or above; have a high potential to release fibres

7-9; Medium potential

5-6; low potential

4 or below Very low potential

The survey should be carried out with the detailed knowledge of the operation and context, however, where there is any doubt, estate staff should be invited to comment and contribute before the score is finalised.

A prioritised action plan for remedial works will be provided by the Surveying Consultancy.  Further involvement of the surveying consultancy in undertaking the remedial works will not be permitted.

4.9 	LABORATORY SERVICES

Analysis of samples must be carried out using either phased contrast microscopy or transmission electron microscopy techniques in accordance with HSG 248 “Asbestos: The Analyst Guide for Sampling Analysis and Clearance Procedures” by laboratories who have UKAS Accreditation to ISO 17025.  Evidence of accreditation will be required.

The price of analysis must be included within the overall price submitted in the pricing schedule.

The laboratory service will comprise of sampling and analysis of airborne fibre concentrations and site assessment for reoccupation, including;

Compliance monitoring

Background sampling

Leak (enclosure check) sampling

Clearance Indicator sampling

Reassurance sampling

Assessment of the suitability of respirator protection

The Consultancy will be responsible for completing site clearance certification for the works area, and for issuing a certificate of reoccupation.

The Consultancy shall, on behalf of NHSBT, act as an independent party to be involved in resolving any problems that arise during the clearance process.

Due to the non-intrusive nature of the surveys, exact assessments of the quantities of all asbestos materials will / may not be possible, however where exact measurements are not possible every effort should be made to assess approximate quantities to allow for costing any remedial actions.

The surveyor will provide all materials, plant and equipment necessary for the execution of the service.

Following completion of each survey the surveyor must make good any consequent damage upon the services or surfaces.  They must clean the working area so that it is ready for occupation, to the satisfaction of NHSBT.  A high level of cleanliness should be maintained in all occupied areas. They must obtain any COSSH information on cleaning products used and they must make good any minor faults in newly painted areas / repainted works.

###### 4.10	ASBESTOS AWARENESS TRAINING TO NHSBT STAFF

Asbestos awareness training is required for E&F staff based at our twelve main centres. This is to be delivered every two years face to face with an annual refresher through web-based training. The training is to be to UKATA standards.

4.11	SITE VISITS DURING TENDER PERIOD

A familiarisation period will be agreed for the Tendering Surveyors to familiarise themselves with NHSBT property, policies and standards.  It is expected that the tendering surveyors will make themselves fully aware of the work required in undertaking the surveys and that they will visit sites as required in order to provide an accurate cost breakdown for the contract.

To facilitate this, NHSBT is offering the Tendering Surveyors the opportunity to visit sites listed in Appendix A.  To make arrangements for access the tenderer must contact the Estates and Facilities Manager responsible for the site.  NHSBT reserves the right to have open day(s) depending on the number of companies responding.

NHSBT reserves the right to add or delete parts of the estate property portfolio and does not guarantee a value or volume of orders for the contract duration.

4.12	Preparation of PriorItised Remedial Works

From all data and information gathered during the survey, a listing of priority risks shall be produced for each site / building surveyed and a detailed Remedial Works priority listing shall then be produced in order to allow for the correct scheduling of all proposed works.

4.13	floor layout drawings and Photographic Representation

Floor layout drawings shall be produced for each site surveyed and shall include representation of all location samples of suspected ACMs removed for confirmation purposes.

Electronic photographs shall be included in the report to illustrate the location of any actual suspected ACMs identified on the drawing with the photograph allowing greater clarity of location (generic stock photographs will not be accepted).

4.14	Post-risk assessment requirements:

Interim Reports

For all buildings / areas assessed to be of Moderate Risk or higher, the Risk Assessor Consultant shall issue an “Interim Problem Notification Form” indicating any necessary immediate corrective and remedial actions that need to be carried out.  In addition, the notification shall indicate the Short/Medium-term and Long-term corrective and remedial actions that need to be carried out.

4.15	Consultancy Memoranda

Any additional instructions and advice from the Asbestos Surveyor shall be in the form of a “Consultancy Memorandum”, which shall clearly indicate the nature of any problems requiring urgent / immediate action.

4.16	ON-LINE PORTAL / DATABASE FOR ACCESS AND STORING OF ASBESTOS MANAGEMENT SURVEYS / REPORTS

The contractor shall provide, at his own expense, a safe and secure on-line portal / database to allow, user-specific access and storage of all Asbestos Management Surveys.  The use of this facility must not be user number restricted and shall allow access to all relevant NHSBT staff.

In addition, the software shall include, but not be limited to, the following:

ASBESTOS MANAGEMENT SURVEY / REPORTS (ASBESTOS REGISTER)

- Automatic Risk Assessment Report Production

- View CAD floor plans / photographs identifying ACM’s

- View relevant documents

DATA & INFORMATION MANAGEMENT

NHSBT takes data and information management responsibilities seriously and requires The Contractor to comply with all The General Data Protection Regulation data protection legislation and the requirements of regulatory licensing body, data produced throughout this contract must meet the principles of Data Integrity.

•	Data Integrity: The extent to which data is complete, consistent and accurate (and retained) throughout its lifecycle.

•	Data Lifecycle: From initial data generation and recording, through processing (including transformation or migration), use, retention, archiving and retrieval, to destruction.

•	Data Governance: The sum total of arrangements to ensure data (irrespective of format) is recorded, processed, retained and used to ensure a complete, consistent and accurate record is held during its life cycle.

ALCOA applies i.e. information derived or obtained from raw data must be:

•	Attributable to the person generating the data

•	Legible and permanent

•	Contemporaneous (made at the time the action is taken / record generated)

•	Original (or a True Copy)

•	Accurate

4.17	CONDITIONS OF TENDER

The works shall be carried out as a Fixed Price Contract with NHSBT for the initial 5 year contract term.  Every tender received by NHSBT shall be deemed to have been made subject to these instructions.

Any alternative terms and conditions offered on behalf of a tender shall, if inconsistent with these instructions, be deemed to have been rejected by NHSBT.

Full transparency of any clarification regarding the tender process will be provided by the BARO e-portal.

Tenders must be for the supply of the whole service upon the terms and conditions of the Contract.

4.18	EVALUATION APPROACH AND SELECTION CRITERIA

The objective of the Tender process is to assess the Tender submissions and select a suitable contractor / consultant to deliver the requirements of this project.

The Employer will make its decision based upon the following Award Criteria and weightings:

| Section | Evaluation score |
| --- | --- |
| Quality - Compliance with Specification, Technical Skills, Knowledge and Experience | 800 points |
| Cost | 200 points |

Selected tenderers may be invited to make a presentation to the Supervising Officer and other pertinent NHSBT staff, prior to contract award.  NHSBT is reserving the right to further shortlist before the presentations. Full details of the arrangements will be provided to the selected providers at a later date. The purpose of the presentations will be to allow NHSBT to further assess, seek additional detail and/or clarification of the submission made by the tenderer.

4.19	ELIGIBILITY TO TENDER

Tenderers shall be eligible to submit a tender only if all the following conditions are met.  No tender will be accepted from tenderers who fail to meet any of the eligibility conditions listed below:

- Tenderers must be accredited to and operate UKAS ISO/IEC 17020:2012,  ISO 17025,  ISO 9001, ISO14001

- Tenderers shall be members of the Asbestos Testing and Consultancy Association.

- The successful Tenderer will not be allowed to provide the following services as part of their contract commitments:

- Asbestos Removal Services

- Cleaning & Decontamination

- Plant & Equipment - supply & Refurbishments

- Installation

- Facilities Management

- Tenderers shall operate an externally audited and verified Quality System.

- Tenderers shall operate an externally audited and verified Environmental Management System.

4.20	Competence of the risk assessor / surveyor

The person(s) appointed to carry out the National Asbestos Management Surveys must be able to demonstrate that they have specialist knowledge, qualifications, training and are competent and experienced to carry out the assessments in a healthcare environment.

The successful Tenderer shall be responsible to ensure that all persons employed on works covered by the contract shall have sufficient technical knowledge, training and experience to enable them to carry out the works in a competent and safe manner.  The successful Tenderer shall ensure that the works do not interfere with the safe working of any other NHSBT service or equipment. The successful Tenderer shall properly supervise all the works on site.

4.21	PREPARATION TO TENDER

Tenderers must obtain for themselves, at their responsibility and expense, all information necessary for the preparation of their tenders.

Whether in this invitation or otherwise, information supplied is for general guidance in the preparation of the tender.

Tenderers must satisfy themselves, by their own investigations, as to the accuracy of any such information, and no responsibility is accepted by NHSBT for any loss or damage of whatever kind or however caused, arising from the use by the tenderers of such information.  Tenderers are encouraged to arrange site visits via the Supervising Officer prior to submitting tender.

4.22	CANVASSING

Any tenderer who directly or indirectly, canvasses any other member or official of NHSBT, concerning the award of the Contract for the provision of services, will be disqualified.

4.23	CONFIDENTIALITY

All information supplied by NHSBT in connection with this invitation to tender shall be regarded as confidential to NHSBT.  This tender document and its appendices are and shall remain the property of NHSBT and must be returned upon demand.

4.24	BASIS FOR THE AWARD OF CONTRACT

NHSBT is not bound to accept the lowest or any tender. Contracts will be awarded on the basis of the most economically advantageous offer, taking account of: quality of service; technical merit; expertise in the field and price.

A presentation may be required from short-listed applicants – this must be undertaken by the proposed surveyors working directly on the project.

NHSBT does not undertake to incur any expense in connection with the preparation of tenders.

4.25	Compliance with Site Policies and Procedures (Site Rules)

a)	Tenderers attending NHSBT premises shall be familiar with site policies and procedures. No allowance shall be made for ignorance owing to the successful Tenderer’s neglect in this respect. A copy of the Site Policies and Procedures are available upon request from each Estates & Facilities dept. within NHSBT main centres.

b)	Any clarification relating to the meaning or application of these policies and procedures should be sought, in writing, from the Supervising Officer.

c)	It shall be understood that any disregard for these policies and procedures can result in removal of staff from the site, termination of contracts, stoppage of work and financial penalties.

4.26	Site Conditions

The successful Tenderer shall be deemed to have examined the conditions of quotation and the Schedule of Works.

The Tenderer is encouraged to visit sites before submitting a quotation and to ascertain for himself the site conditions and make any measurements or to obtain any information or details that may be required for the execution of the works.  No allowance shall be made for ignorance due to the successful Tenderer’s neglect in this respect.

4.27	Tenderers Equipment

All measuring equipment must be accompanied by a valid and adequate calibration certificate.

The successful Tenderer shall provide at his own expense, all materials, labour, haulage, tools and equipment necessary to execute and complete the work covered by the Schedule of Works.  No materials or equipment will be available from NHSBT.

4.28	Interference Suppression

All equipment used by the successful Tenderer for the works on site shall be suppressed so as to cause no interference with apparatus in use by NHSBT.

4.29	Security

The successful Tenderer shall ensure that his employees comply with security arrangements and procedures of the site in being at the time.

It is essential that the successful Tenderer’s employees visiting site are able to produce a definite form of identification, acceptable to NHSBT Site Manager at the time. Entry will be refused if this requirement cannot be met.

The successful Tenderer shall ensure their employees do not visit any other part of NHSBT sites for purposes other than in connection with the works on the site.

When NHSBT requires, on grounds of inefficiency, public interest or misconduct, the Tenderer shall remove his employee from the works.

It is essential that the successful Tenderer shall ensure that all plant room and roof doors are kept secure at all times.

4.30	Fire Precautions

The successful Tenderer shall adhere to the current Standard Fire Precautions of NHSBT in being at the time the successful Tenderer submits his quotation.  Please refer to the Site Policies and Procedures.

4.31	No Smoking Policy

NHSBT operates a no smoking policy.  Strictly, no smoking anywhere on NHSBT premises.

4.32	Health and Safety

The successful Tenderer shall ensure that all the works on site are carried out within the Health and Safety at Work Act 1974.  The successful Tenderer shall provide his employees with all necessary safety equipment.

The successful Tenderer shall ensure that all chemicals brought on to site are accompanied by the relevant data/COSHH sheets and that they are removed from site at the end of each working day. No chemicals shall be left on site overnight without prior written agreement and authorisation from the Supervising Officer.

The successful Tenderer shall comply at his expense with all Acts of Parliament and all statutory orders, regulations and bye-laws applicable to the contract including all Health and Safety Regulations and approved practices.

The successful Tenderer shall comply with any regulation that becomes statutory during the contract period.

4.33	Tenderers Attending Site

Prior to contractors attending site, arrangements need to be agreed with the Supervising Officer.

All contractor employees must be vetted and deemed suitable for the appointment along with having undertaken the Good Manufacturing Practice (GMP) training as required by NHSBT.

NHSBT shall be informed of the names of all the employees that may attend NHSBT‘s sites in connection with this service provision.  If NHSBT requests for any reason, the successful Tenderer will remove any person employed under the contract from the site with immediate effect.

All the employees attending the site must have a form of identification to be agreed.  Employees need to be presented clean, smart and have a pleasant disposition.

Provisions must be made in respect of H&S issues surrounding the successful Tenderer’s employees working on NHSBT sites i.e. familiarisation with the site policies and procedures such as fire alarms, fire training, system user area risks, security and confidential issues, emergency actions.

4.34	Injury to Persons and Property and NHSBT Indemnity

The successful Tenderer shall be liable for and shall indemnify NHSBT against any liability, loss, claim or proceedings whatsoever arising under any statute or at common law in respect of personal injury to or the death of any person whomsoever arising out of the course of or caused by the carrying out of the works, unless due to any act of neglect of NHSBT or of any person for whom NHSBT is responsible.

4.35	Damage

Damage resulting from the works to building fabric, decor, service floor coverings etc., shall be rectified by NHSBT and charged to the successful Tenderer.

4.36	Value Added Tax

The contract price as shown on the form of quotation shall not include for Value Added Tax (VAT) which will be paid at the current rate.

5.	COMMENCEMENT AND DURATION OF CONTRACT

The successful Tenderer is required to commence the commission within four weeks of receipt of official order and continue until the satisfactory completion of all inclusive Risk Assessment surveying and Report presentation.  The term of the contract will be for five years with an option to extend by a further two, one-year terms.

5.1	SCHEDULING – PROGRAMME OF WORKS

The successful Tenderer shall submit to the Supervising Officer for approval, a schedule of works detailing the sequence of works to be carried out ensuring one week notice prior to commencement of each set of works. In any event the successful Tenderer shall confirm the situation prior to any site attendance with the Supervising Officer prior to each service visit.

5.2	MOBILISATION

The successful contractor shall mobilise their ‘Contract Team’ by ensuring that all members of the team are suitably selected and briefed, by the Supervising Officer, of the contractual requirements including: Specific Health & Safety issues; working environment peculiarities; and equipment check.

Any proposed changes to the membership of the ‘Contract Team / Surveyor’ shall be notified in writing to the Supervising Officer for approval and before being deployed on NHSBT premises. Notification of such proposed changes shall be supported by the inclusion of all relevant CVs and training certificates for any new members of the team.

5.3	SITE AND SYSTEMS FAMILIARISATION

Once the Contract Team has been fully prepared, it must attend site and meet with NHSBT representatives in order to agree any security and access requirements and any limiting working restrictions. At this time, the Contract Team shall be provided with all available drawings, property listing etc.

5.4 	Exit Plan

The successful contractor shall be required to provide to the Supervising Officer an agreed exit plan from the contract no later than six months from contract commencement.

6.	APPENDICES

Appendix A – Separate Cover

Appendix B

Appendix C

References

Statutory Regulations/Requirements and Codes of Practice

The Health and Safety at Work Act etc 1974

The Management of Health and Safety at Work Act 1999

The Control of Asbestos Regulations 2012

The Control of Substances Hazardous to Health (Amendment) Regulations 2004,

Construction (Design and Management) Regulations 2015.

HSG 248 ~ asbestos: the analysts' guide for sampling, analysis and clearance procedures

HSE Guidance note HSG 264 ~ asbestos: t