**Specification:**

* 5 year maintenance service contract Priority care comprehensive cover, includes 2 transducer replacements including user damage (1 replacement for each model transducer) for 1x BK Spectro ultrasound scanner and 2x transducers.
* Equipment: 1x BK Spectro ultrasound scanner (s/n 2001383) and 2x transducers (1x X14L4 3D endo transducer - s/n 9038-3199143 & 1x 20R3 Anorectal 3D transducer s/n 9052-3138948). Pelvic floor procedural application & intergrated printer kit included
* Location: King’s College Hospital NHS Foundation Trust Surgical OPD - 2nd floor Willowfield
* Response times: Please advise
* Coverage times: Please advise
* Free of Charge Loaner (for 8 weeks maximum)
* Cancellation terms: Please advise
* Payment terms: Please advise