Zircotec Limited

39-41 Nuffield Way

Abingdon

OX14 1RL

England

T: +44 (0)1235 546050

F: +44 (0)1235 546059

enquiries@zircotec.com

www.zircotec.com

INVITATION TO TENDER

For the Design, Installation of a Mezzanine Floor, Pallet Lift, and all related Electrical wiring        		and any Building work where required

| Contractual Enquiries: | Geoff Barton | Technical Enquiries: | Phil Broadbent |
| --- | --- | --- | --- |
| Telephone: Email: | 01235 546050 geoff.barton@zircotec.com | Telephone: Email: | 01235 546050 phil.broadbent@zircotec.com |

| TENDER NO: ZL/1001 |  |
| --- | --- |
| (To be quoted on all correspondence) |  |
| DATE TENDER ISSUED: | 30th July 2021 |
| DATE FOR RETURN: | 23rd August 2021 |

| TENDERER’S NAME AND ADDRESS |  |  | DELIVERY CARRIAGE PAID HOME TO: |
| --- | --- | --- | --- |
|  |  |  | ZIRCOTEC LIMITED 39-41 NUFFIELD WAY ABINGDON OXFORDSHIRE OX14 1RL |
| TELEPHONE |  |  |  |
| FACSIMILE |  |  |  |

Dear Sir

You are invited to complete and return the documentation which will constitute your tender offer for the Works described in Part 1: Specification in accordance with Conditions of Contract attached and by the date(s) shown in Part 2: Tender Information. An email of your tender submission shall be returned by noon on the due date, any late receipts shall not be included for consideration.

Yours faithfully

Geoff Barton

Purchasing Coordinator

- PART 1: SPECIFICATION

- Mezzanine Floor with approximate sizes of 19.00 metre x 12.00 metre – All Fabricated Structural Steelwork to have CE Mark in accordance with EN1090 which is the technical standard applicable to Fabricated Structural Steelwork

- Floor rating – options to be identified by Tenderer within their Tender submission

- Suspended Ceiling – a minimum of 60 minutes of Fire Protection is required to the ceiling tiles.

- 2off Staircase(s) – 1off for general use and 1off for utility/fire escape use.

- Price required for any building work for possible staircase access.

- Goods lift with separate prices for 250 kgs capacity & 500 kgs capacity, platform sizes to be detailed by yourself. Full Mesh shaft, 2000mm high Double Gates with a ramp (fixed or otherwise), Interlock System, Dual push button control, delivery, installation, commissioning, and training. 36 months statutory inspection and maintenance also required.

- Electrical work installation to the Mezzanine Floor as detailed below.

- Install electrical service onto a new mezzanine floor

- LED strip lighting to be installed below mezzanine floor to a pre supplied ceiling, to include emergency lighting for general area and illuminated exit signs as appropriate. To be switched from 1 bank of switches on the left-hand side wall, lighting design and locations to be agreed dependant on work locations/storage areas.

- Install LED strip lighting and emergency lighting on the factory ceiling to illuminate the top deck of the mezzanine floor. Emergency lighting to be installed to illuminate the general area along with 2 off illuminated emergency exit signs to be installed above the main and exit staircase. A light switch will be installed near to the staircase with a 2-way switching from below.

- Install a Schneider 8-way TP&N consumer unit on the top floor, this will be connected into panel board 8 via a new MCCB and SWA cable this will provide power to the upper deck area.

- Install 4-inch metal trunking along the backwall of the mezzanine floor, this will contain the final circuit wiring to the top deck and will also allow for future expansion where required.

- Install general power sockets along the back wall of the mezzanine to mirror the ground floor area.

- Install a 20-amp single phase supply to 3 spot welders on the top floor.

- Install power supplies to 6 work benches on the top floor, this will include single phase power.

- Install a 20-amp TP&N power supply for the goods lift, location to be agreed.

You are invited to visit the site to enable you to take firm measurements and familiarise yourself with the layout within the building. The above requirements are purely a guide to what is required, and the Tenderer shall firm up on all requirements and either confirm or recommend alternatives that meet building regulations.

If you are successful in winning the contract it shall be run in accordance with CDM requirements with yourselves being the principal contractor and having full supervisory control of any other contractors, you have employed for this Mezzanine Floor installation and all other packages of work. All work to be carried out in accordance with Building Regulations 2010 (England & Wales) with 2013 updates (see below).

Part A – Structural Requirements

Part B – Fire Safety Access

Part K – Protection from Falling, Collision and Impact

Part M – Access to and Use of Buildings

Copy of a valid Certificate of Insurance will also need to be submitted with your Tender.

The Tender return date is Monday 23rd August 2021 and subject to subsequent planning approval we are looking to have all works completed by 31st October 2021.

Pricing Structure below shall be used for each package of work, I.E. Design, Mezzanine Floor, Access Lift, Electrical work and Building work if required.

|  |  |  | FIRM PRICE (EXCLUDING VAT) CARRIAGE PAID HOME |  |  |
| --- | --- | --- | --- | --- | --- |
| Item No | Description | Quantity | * UNIT COST |  | *TOTAL |
|  |  |  | £ p | per | £ p |
| 1 2 3 4 | Mezzanine Floor Materials Labour Hourly Rate Daily Rate |  |  |  |  |

TOTAL TENDER PRICE

| FIRM TOTAL PRICE (EXCLUDING VAT) | *£ |
| --- | --- |

* DELIVERY / COMPLETION: The date for delivery / completion will be ____________ working weeks from any resulting Contract.

* TENDER VALIDITY: The tender submitted shall be valid for acceptance until ________________________.

* TENDERER TO INSERT DETAILS

IMPORTANT: Deliveries will only be accepted Monday to Thursday between the hours of 08.00 - 12.30 and 14.00 - 16.00; Friday between the hours of 08.00 - 12.00.

- PART 2: CONDITIONS OF TENDER

GENERAL

Any resulting Contract will be subject to ZIRCOTEC LIMITED’s General Terms and Conditions and associated Extending Conditions (Attached).

The Superintending Officer (SO) is Phil Broadbent

Inspection will be carried out at Zircotec Limited premises by the SO or his authorised representative.

QUALITY ASSURANCE

The Supplier shall maintain during the life of this Contract a Quality Assurance Programme at least to the standard set out in ISO 9000 (latest issue).

When requested to do so the Supplier shall provide a documented Quality Plan, which shall define the systems and procedures to be used to ensure the work complies with the Contract requirements. The Quality Plan shall be submitted at the discretion of the Purchaser. After acceptance by the Purchaser no changes shall be made to the Quality Plan without the written agreement of the Purchaser.

During the Contract, the Purchaser may monitor the implementation of the Quality Assurance Programme. Monitoring will be by means of surveillance of activities at the work location and/or by formal audits of the adherence of the Suppliers to the systems and procedures which constitute its Quality Assurance Programme. A Corrective Action Programme shall be agreed and implemented in respect of any deficiencies revealed by such monitoring.

The Suppliers shall provide any facilities, including access, which may be reasonably required by the Purchaser for monitoring and progress activities.

Records, as specified in the relevant clause of ISO 9001 shall be prepared coincident with the performance of the activity to which they relate or as soon as practicable thereafter. These records shall, at the Purchaser’s requests, be provided as part of the Contract.

The requirements of this Condition shall not relieve the Suppliers of any of his obligations or prejudice any rights of the Purchaser under any other Condition in this Contract.

TENDERS

Tenders and all supporting documentation should be submitted by 12.00 hrs on the date shown.

The tenderer should comment on each clause of the specification (if applicable), stating whether it is accepted in its entirety, or giving full details of any proposed deviation.

Names of any proposed sub-contractors and the work you are proposing to sub-contract should be included with your tender.

A programme, in the form of a linked bar chart, should be included showing the major stages that lead to completion and the period allowed for such activities. Method statements must be included for each package of work showing how you are intending to provide the service identified. Previous examples of Method Statements must also be enclosed as proof of similar work delivered by your company.

LOWEST TENDER NOT NECESSARILY TO BE ACCEPTED

The Purchaser shall be under no obligation to accept the lowest or any tender.

POWER TO ACCEPT PORTION OF TENDER

The Purchaser reserves the power, unless the tenderer expressly stipulates to the contrary in the tender, of accepting such portion thereof as the Purchaser may decide.

ALTERNATIVE, ETC. CONDITIONS

Tenders should be to the conditions set out or referred to in this form and in the Schedule. Offers made subject to additional or alternative conditions may not be considered and may be rejected on the ground of such conditions alone.

SCHEDULE NOT TO BE ALTERED BY TENDERER

The tenderer must not alter the Schedule. Any modification of the Schedule considered expedient by the tenderer should form the subject of a separate letter to accompany the tender.

TENDERS FOR SELECTED ITEMS

Tenders need not necessarily be for all the items mentioned in the Schedule. Where a tenderer does not wish to quote for some items, a line should be drawn across the relevant spaces in the price column.

INCOMPLETE TENDERS

It may not be possible to consider a tender if complete information is not given at the time of tendering, or if any particulars and data asked for in the Schedule are not provided in full.

PRICES

Quotations should be net; all cash and trade discounts being allowed for.

VALUE ADDED TAX

Price(s) tendered should be exclusive of any tax chargeable.

BUDGET PRICE FOR THIS WORK

The Total budget for this work is £77,148.00 (Seventy-seven thousand one hundred and forty-eight pounds)

ALTERATION OF PRICES, ETC

Figures should not be altered or erased: striking through the incorrect figures and inserting the correct figures above the original figures should affect any alteration of prices, etc. The tenderer should initial all such alterations.

SPECIFICATIONS, DRAWINGS, ETC

The tender documents and any specifications, plans, drawings, patterns, samples, or information issued or furnished by, or on behalf of, ZIRCOTEC LIMITED in connection therewith are issued solely for the purpose of enabling a tender to be completed and may not be used for any other purpose. Such tender and other documents and any information provided remain the property of the Purchaser. All documents must be returned to the sender whether a tender is submitted or declined, and any special instructions applicable to the tender and other documents or information must be adhered to. The drawings, etc., must be accompanied, if required, by a declaration that the designs, and particulars have not been copied, seen, or extracted wholly or partly for any unauthorised purpose and that they have only been used for the purpose of tendering. The Purchaser will supply any documents not issued as aforesaid that are required in connection with this tender (if not already in the tenderer’s possession). All design drawings created for the Contract shall become the Property of Zircotec Limited, and shall be used as planning/building requirement with the building Landlord

QUESTIONS AND ANSWERS

All questions/clarification raised by a Tenderer on any aspect of the specification will be answered and that question/answer will be passed on to all other Tenderers for their information

HEALTH & SAFETY DOCUMENTATION

Copies of your Health & Safety Policy and your Health & Safety records for the last two years are required.

INSURANCE REQUIREMENTS

A valid copy of a Certificate of Insurance must be supplied with your Tender. (See section 13 of the attached General Terms and conditions for Insurance requirements).

REFERENCES

A minimum of 3 references required from customers who you’ve already done similar sized work for are required with your Tender.

###### AWARD CRITERIA

Each Tender received will be evaluated against a range of scored and mandatory criteria comprising of the

following:

- Tendered Price

- Evidence of experience in delivering similar work to a programme of works

- Process for managing other Contractors on this Project, Health & Safety Policy

- A clear Project plan for delivering the Project to cost and time

- The mechanism for scoring Tendered Price is set out in Table 3

Table 1 Scored criteria for this RFQ and respective weightings:

| Criteria | Weighting (%) | Sub-Criteria | Weighting (%) |
| --- | --- | --- | --- |
| Price | 40% |  | 40% |
| Experience | 30% | Relevant knowledge and skills relating to this Project Evidence of experience in delivering similar work to a Program timescale | 20% 10% |
| Methodology | 30% | Process for managing other Contractors for this Project. Health & Safety Policy is an example | 10% |
|  |  | A clear Project Plan for delivering the Project to cost and time | 20% |

Please note that if there are any mandatory requirements in the Specification which are not met, Zircotec Limited will treat your Bid as non-compliant.

Table 2 Scoring mechanism for the scored criteria of this RFQ:

Assessment Score Table

| Score | Definition |
| --- | --- |
| 10 | Very Good (fulfils the requirement) |
|  | The response meets all that is expected for the criteria. It leaves Zircotec Limited and the Contract Participants in no doubt as to the capability and commitment to deliver what is required. The response therefore shows: |
|  | - Very good understanding of the requirements - Considerable competence demonstrated through relevant evidence - Considerable insight into the relevant issues |
|  | Where the response relates to the development of a product or service, it is viable and that it will meet expectations in full. |
| 8 | Good (provides the requirement with limited minor issues) |
|  | The response broadly meets what is expected for the criteria. There are no significant areas of concern, although there may be limited minor issues that need further exploration or attention later in the procurement process. The response therefore shows: |
|  | - Good understanding of the requirements |
|  | - Sufficient competence demonstrated through relevant evidence |
|  | - Some insight demonstrated into the relevant issues. |
|  | Where the response relates to the development of a product or service, it has demonstrated a good and sound proposal which is likely to meet expectations, with limited minor issues. |
|  | . |
| 6 | Fair (provides a basic measure of the requirement) |
|  | The response meets most of the requirement but there is at least one significant issue of concern, or several smaller issues. These would require some further clarification or attention later in the procurement process and may arise through lack of demonstrated capability and/or appropriate evidence. The response therefore shows: |
|  | - Basic understanding of the requirements |
|  | - Basic competence demonstrated through relevant evidence |
|  | - Some areas of concern that require attention. |
|  | Where the response relates to the development of a product or service, it is likely to meet most of the requirement, although there are areas of concern or shortfalls that require attention. |
|  | . |
| 4 | Poor (provides some of the requirement with significant issues) |
|  | The response meets elements of the requirement but gives concern in a few significant areas. There are reservations because of one or all of the following: |
|  | - There are significant issues needing considerable attention |
|  | - There is insufficient evidence to demonstrate competence or understanding |
|  | - The response is light and unconvincing. |
|  | Where the response relates to the development of a product or service, it has met a limited amount of the requirement, but is light and unconvincing and has fallen short of expectations. |
|  | . |
| 2 | Very Poor (provides very little of the requirement) |
|  | The response meets very little of what would be expected. |
|  | Where the response relates to the development of a product or service, it has met very little of the requirement. |
|  | . |
| 0 | No Answer given or non-Compliant |

Table 3 Scoring mechanism for Price

Tenderers’ price scores will be calculated based upon the lowest price submitted by Tenderers.

The Tenderer with the lowest price will be awarded the full score of 30, with the remaining Tenderers gaining a pro-rated score in relation to how much higher their prices are when compared to the lowest price.

In the example below price is scored out of 30:

| - Tenderer | - Price | - (Price - lowest price) / lowest price = % of price which is above lowest price | - Score - Maximum points x (100% - % of price which is above lowest price) |
| --- | --- | --- | --- |
| - 1 | - £100 | - (£100 - £100) / £100 = 0.00% | - 30 x (100%-0%) = 30 |
| - 2 | - £125 | - (£125 - £100) / £125 = 20.00% | - 30 x (100% - 20.00%) = 24.00 |
| - 3 | - £150 | - (£150 - £100) / £150 = 33.33% | - 30 x (100% - 33.33%) = 20.00 |
| - 4 | - £175 | - (£175 - £100) / £175 = 42.85% | - 30 x (100% - 42.85%) = 17.15 |
| - 5 | - £200 | - (£200 - £100) / £200 = 50.00% | - 30 x (100% - 50.00%) = 15.00 |
| - 6 | - £300 | - (£300 - £100) / £300 = 66.66% | - 30 x (100% - 66.66%) = 10 |

There are no minimum turnover criteria for this procurement, however you should provide accounts (or equivalent) for your previous financial year. If these are unavailable, you must explain why.

ADDITIONAL INFORMATION

All information provided by you in your response to this RFQ will remain confidential and will not be disclosed to any other party except where required for official audit purposes or to the extent that Zircotec Limited considers that disclosure is required pursuant to the Freedom of Information Act 2000 or any other applicable legislation, legal requirement, or code of practice.

ACCOUNTS

There is no minimum turnover criteria for this procurement, however you should provide accounts (or equivalent) for your previous two financial years. If these are unavailable, you must explain why.

TENDERER INFORMATION

Tenderer details Answer. Full name of Tenderer:. Registered Address:. Registered Company No:. Registered Charity No:. Registered VAT No:. Name of immediate parent company:. Name of ultimate parent Company:. Please circle to indicate your trading status.; - A public limited company - A limited company - Limited liability partnership - Other partnership - Sole trader - Other (please specify). Please circle to indicate whether any of the following classifications apply to you; i) Voluntary, Community and Social Enterprise (VCSE – defined as a non-governmental organisation that is value-driven and which principally reinvests its surpluses to further social, environmental, or cultural objectives.). ii) Small or Medium Enterprise (SME). iii) Sheltered workshop. iv) public service mutual.

NO USEFUL PURPOSE IS SERVED BY CALLING AT OR COMMUNICATING WITH ZIRCOTEC LIMITED TO ENQUIRE AS TO THE RESULTS OF COMPETITIVE TENDERING. TENDERERS ARE NOTIFIED OF THE RESULT AS SOON AS POSSIBLE.

I/we the undersigned DO HEREBY OFFER to provide the Service upon and subject to the terms and conditions set out in such Contract Conditions, Specification, and the pricing and rates contained in the Pricing Schedule and other documents as are contained or incorporated herein. This offer remains valid and open for acceptance for three months.

The amount of my/our Bid has not been calculated by agreement or arrangement with any person other than Zircotec Limited and that the amount of my/our Bid has not been communicated to any person until after the closing date for the submission of Bids and in any event not without the consent of Zircotec Limited.

I/we have not and will not enter into any agreement or arrangement with any person that they shall refrain from bidding, that they shall withdraw or vary the amount of any Bid once offered or otherwise collude with any person with the intent of preventing or restricting full competition.

I/we have not canvassed and will not, before the evaluation process, canvass or solicit any member or officer, employee, or agent of Zircotec Limited in connection with the award of the Contract and that no person employed by me/us has done or will do any such act.

Signature 				...............................................................

Duly authorised for and on behalf of the tenderer. (Electronic/typed signatures are acceptable)

Position held				...............................................................

Name and Address			...............................................................

of Tenderer

...............................................................

...............................................................